NATIONAL GRID COMPANY PLC

‘The Standardised System’

PSI Catalogue

Numerical List of Purchase Schedule Items

- NUMBERING SCHEME – 3 FIGURE NUMBERS

Early PSI items were allocated numbers in the 0-999 range on a “next free” number  basis; no general rules for allocating groups of associated items to specific number ranges were adopted, although groupings do occur naturally as systems developed chronologically.

The 0-999 range is listed in “portrait” style in the first part of the catalogue.

Users with access to NGC GRIDNET may check the latest state of the catalogue and search for entries as required.

NB. The PSI catalogue is now marked with an asterisk to show availability of technical specifications for each item.  Copies of PSI Technical Specifications are still available by contacting the appropriate Engineering department.  The absence of an asterisk means that no master Technical Specification exists.

- NUMBERING SCHEME – 4 FIGURE NUMBERS

These items are listed in “landscape” style in the 2nd part of the catalogue. An alpha-numeric scheme is adopted to reduce the size of the catalogue and to make identification of an item easier.

  - Example (Type 73VF):

A Plessey Modem, 75 bps max data rate

operating on CCITT channel 116 (2200 Hz)

frequency shift +/- 30 Hz Mk I version,

would be made up as follows:-

PSI 1000 = Modem

P = Plessey

116 = CCITT channel 116, 2200 Hz, 75 bps

A = Mk I version

The full number would be PSI 1000/P/116/A

If the Modem was a Remsdaq one it would be PSI 1000/RQ/116/A

2.2 Channel Numbers

Full information on the CCITT channels is illustrated in Drawing TTC 7501.

2.3 Miscellaneous and Other Items

In simpler cases, eg Converter Unit 48 V D.C. made by Plessey (Mk II version) would be PSI 1006/P/B. The Remsdaq version would have RQ instead of ‘P’ in the numbering.  The catalogue provides for ease of reference where either the PSI number or equipment description is known.

TTC 333                                                                                                                                      1989 ISSUE A

2.4 Proprietary Items

Where proprietary equipment is bulk purchased for use in GI or CCN standardised systems it is allocated a PSI number in the 8000 series for identification and handling purposes. This range is also used to indicate that the item is a proprietary product and to warn that its documentation will not conform to normal PSI standards.

2.5 Drawing and Technical Specifications

Drawings are listed under various headings where either TTC or CEGB drawing numbers have been allocated.

Details of drawing available will be made known under the existing interface list procedure.

Technical specification availability is identified by an asterisk as for the 0 - 999 PSI range.

2.6 Number Range Allocations

---------------------------------------------------------------------------------------------------------------------------------

PSI Numbers		Items

---------------------------------------------------------------------------------------------------------------------------------

1000  -  1020/RQ/***	Type 73 VF 50 (75) bps and associated items

1050  -  1053/RQ/***	Type 73 VF 100 (150) bps items

1100  -  1103/RQ/***	Type 73 VF 200 (300) bps items

2000  -  2019		STC GI 74 (outstation items)

2100  -  2106		STC GI 74 (master station items)

2300  -  2332 		GEC GI 74 (outstation items)

2400  -  2412		GEC GI 74 (master station items)

2500  -  2536		Ferranti GI 74 (outstation items)

2600  -  2614		Ferranti GI 74 (master station items)

2700  -  2742*		Bull METRO items

3001  -  3020		CCN Telephony Miscellaneous (Non-Proprietary) items

3200  -  3298		CCN Telephony Thorn-Ericsson (Proprietary) items

3400  -  3440		CCN Telephony General (Proprietary) items

4000  -  4401		CNN Data General (Proprietary) items

5017  -  5018		SSEB PSIs used by NGC

6000  -  7999		Not Yet Allocated

8001A  -  8086		Common Miscellaneous (Proprietary) items

9000  -  9069D		Common Miscellaneous (Non-Proprietary) items

---------------------------------------------------------------------------------------------------------------------------------

3. TYPE 73 VF HISTORY

Type 73 VF equipment is made by two companies, Plessey and Remsdaq.

3.1 Plessey Type 73 VF

Modems, Transmitters and Receivers made on early contracts up to I0789 are known as the MK I type, and have the suffix letter A after the CCITT channel number.

Those made on contract I0827 and later contracts, are known as the MK II type and have the suffix letter B after the CCITT channel number.

Contract I1098 was let with Plessey for supply of the 300bps Type 73 VF range for the Five Centre Grid Control Project. Remsdaq also competed for this range but their equipment did not meet the Type 73 VF specification for this data rate. Accordingly, Plessey were asked to increase their supply to include a new range of modules referred to as “hybrid” modems and ABP amplifiers.

These units consist of a Plessey circuit mounted on a pcb dimensioned to fit into a Remsdaq crate. These items are given an “H” identifier to replace the “P” for Plessey.

TTC 333                                                                                                                                      1989 ISSUE A

I1098 also required that all 300 bps modems were supplied without the Type A (relay contact) data interface.  No 300 bps Plessey modems have been supplied prior to this contract and so the “Mark” number has been held at II (suffix B) despite this difference from the slower speed units.

Finally, Plessey ABP amplifiers of all speeds from I1098 onwards are supplied with the filter components mounted directly on the main printed circuit board.  These are identified as Mark III units and are given the “C” suffix.

3.2 Remdaq/Quindar, Modems, Transmitters, Receivers and Speech Amplifiers

The original alternative supplier of type 73 VF equipment was Quindar (UK) and early contracts on Quindar had the Manufacturer’s suffix ‘Q’ after the PSI number.  Contracts CC725 and CC755 have PSI equipment with ‘Q’ labels on them.  A new company, Remsdaq, took over the Board’s contracts when Quindar UK ceased trading, and with subsequent drawing amendments, it became necessary to adopt the name Remsdaq and use the manufacturers code RQ following the PSI numbers.  The modems, transmitters and receivers made on Contracts CC725 and CC755 are known as the MK I version, and have the suffix letter ‘A’ after the CCITT channel number.

Those supplied under contract I0790 are known as the MK II version and have the letter ‘B’ after CCITT channel number.  The current version (MK III) has the suffix letter ‘C’.  The MK III version will continue to be ordered for any future requirements.

Remsdaq do not currently supply any modems in the 1100 (300 bps) range and only a limited quantity of ABP amplifiers in the 1103 range were made.  These should be used with care, if at all, as their performance does not fully meet the Type 73 VF Specification.

3.3  Remsdaq Drawings (Modems, Transmitters and Receivers.

MK I, II, III modules are grouped in the catalogue under data rates of 50 (75) bps, 100 (150) bps and 200 (300) bps.  The drawings for all data rates are the same, but a separate series of drawings apply to each version, ie MK I, MK II and MK III modules.

TTC 333                                                                                                                                      1989 ISSUE A

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 1 | Station cubicle complete with alternative wiring for "4-wire" operation but without jack-in groups (for new work on three tier working see PSI 530) | * | 2016 | 1 | - |  |
| 2 | (not used) |  |  |  | - |  |
| 3 | Combined receiver and 300/2220/2340 Hz oscillator jack-in group (for new work see PSI 319 to 322) |  | 2025 |  | 2804 2807 2822 | SH 5 SH 6 |
| 4 | Oscillator (300/2220/2340 Hz) jack-in group (for new work see PSI 317) |  | 2026 2803 | 1 | 2804 2822 | SH 5 SH 6 |
| 5 | Single VF receiver jack-in group (for new work see PSI 318 and 377) |  | 2027 2806 |  | 2807 2822 | SH 5 SH 6 |
| 6 | Amplifier (1 cct) jack-in group (for new work see PSI 323 and 322) | * | 2809 | Ass A | 2810 2822 | SH 5 & 6 |
| 7 | Amplifier (2 cct) jack-in group (for new work see PSI 324) | * | 2809 | Ass B | 2810 2822 | SH 5 & 6 |
| 8 | Filter 2220 Hz B/P (for new work see PSI 309) | * | 2812 | Ass A | 2813 |  |
| 9 | Filter 2340 Hz B/P (for new work see PSI 310) | * | 2814 | Ass A | 2815 |  |
| 10 | Filter 2000-2500 Hz band stop | * | 2816 | Ass A | 2817 |  |
| 11 | Filter, 300 Hz combined L/P and H/P normal grade (for new work see PSI 311) | * | 2820 | Ass B | 2821 | 2 |
| 12 | Filter, 300 Hz combined H/P and L/P high grade | * | 2818 | Ass A | 2819 |  |
| 13 | Common relay jack-in group (at outstation) | * | 2018 |  | 2012 | 1 |
| 14A | Sender, 20-point, jack-in group |  | 2019 |  | 2012 | 2 & 4 |
| 14B | Sender, 20-point, jack-in group for use at sites with 2 separate stations on a common earth mat (DVI 565) |  | 2019 |  | 2012 SHT 4 | 2 |
| 15A | Sender, auxiliary 20-point and 12 point telephone call jack-in group |  | 2020 | 1 & 2 | 2012 | 3, 4 & 5 |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 15B | Sender, Auxiliary 20-points with 13 telephone call relays providing access to alternative district control room jack-in group |  | 2020 | 3 | 7094 |  |
| 16 | Sender, auxiliary 20-point jack-in group (see also PSI 524) | * | 2020 | 1 | 2012 | 4 & 5 |
| 17A | Station selector with 3 satellite line ccts | * | 2023 |  | 2012 | 7 & 8 |
| 17B | Station selector with 3 satellite line ccts for type 73 VF working. (DVI 614) |  |  |  |  |  |
| 18 | Code receiver jack-in group (for digital instruction see PSI 480) | * | 2021 |  | 2012 | 9 |
| 19A | Sixteen-way telegraph, telegraph acknowledge generation instruction jack-in group (for new work See PSI's 481 (for 3 tier working) and 565) |  | 2022 |  | 2012 2014 2015 | 6 |
| 19B | Sixteen-way telegraph, telegraph acknowledge and generation instruction jack-in group for outstation equipped with G174 |  | 2022 |  | 2012 2014 2015 | 6 |
| 20 | Not used |  |  |  |  |  |
| 21A | Ten-way Meter sender jack-in group |  | 3106 |  | 3104 |  |
| 21B | Ten-way meter sender interfaced for type 73 VF (DVI 611) |  |  |  |  |  |
| 22A | Two-way meter sender jack-in group | * | 3130 |  | 3112 |  |
| 22B | Two-way meter sender interfaced for type 73 VF (DVI 625) |  |  |  |  |  |
| 23A | Two-way meter decoder and VF receiver jack-in group |  | 3131 2806 |  | 3113 2807 2822 |  |
| 23B | Two-way meter decoder interfaced for type 73 VF (DVI 626) |  |  |  |  |  |
| 24 | TGO Watts & Vars power station telemeter jack-in group type A fast | * | 3108 |  | 3127 |  |
| 25 | TGO Watts & Vars power station telemeter jack-in group type B medium | * | 3108 |  | 3128 |  |
| 26 | TGO Watts & Vars power station telemeter jack-in group type C slow (Not used) |  | 3108 |  | 3129 |  |
| 27 | Telephone common equipment and operator's jack-in relay group (for new work see PSI 479) |  | 1503 |  | 1000 | 2 |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 28 | Control telephone (2 ccts) jack-in group including uniselector mechanism (for new work at three tier stations see PSI 478) | * | 1501 |  | 1000 | 1 |
| 29 | Control telephone and tie line jack-in group including uniselector mechanism (for new work at three tier stations see PSI 527) |  | 1517 |  | 1000 1019 | 1 |
| 30 | Tie line (1 cct) jack-in group | * | 1519 | 1 | 1019 | 1 |
| 31 | Tie line (2 ccts) jack-in group | * | 1519 | 2 | 1019 | 1 |
| 32 | Parent telephone jack-in group | * | 1505 |  | 1002 | 1 |
| 33 | Satellite telephone (1 cct) jack-in group | * | 1506 |  | 1002 | 2 |
| 34 | Satellite telephone (2 ccts) jack-in group |  | 1506 |  | 1002 | 2 |
| 35 | Satellite telephone (3 ccts) jack-in group |  | 1506 |  | 1002 | 2 |
| 36 | D.C. distribution board (outstation) 50 V 10 way | * |  |  |  |  |
| 37 | D.C. distribution board (outstation) 50 V 10 way extension panel for item 36 | * |  |  |  |  |
| 38 | Generating station instruction panel less Var instructor ratiometer and accept button. Milliammeter and Watts ratiometer to be scaled as specified (see also PSI's 615-619 and 525) | * | 1100 | 2 | 1200 | 2 |
| 39 | Generating station instruction panel as Item 38 but without 16 way telegraph | * | 1100 | 3 | 1200 | 3 |
| 40 | Telephone common equipment (for new work at three tier stations see PSI 529) |  | 1504 |  | 1000 | 2 |
| 41A | GCC No 2 line inter-PAX jack-in group at outstations (2 kV) | * | 2095 | 10 | 2333 SHT 10 |  |
| 41B | GCC No 2 line Inter-PAX jack-in group at outstations, interfaced for type 73 VF (DVI 606) | * |  |  |  |  |
| 42A | GCC No 2 line inter-PAX jack-in group at outstations (5 kV) | * | 2096 | 10 | 2333 SHT 11 |  |
| 42B | GCC No 2 line inter-PAX jack-in group at outstations, interfaced for type 73 VF (DVI 606) |  |  |  |  |  |
| 43A | Outstation No 2 line inter-PAX jack-in group at CIS (3 ccts) | * | 1531 |  | 1062 SHTS 2 & 3 |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 43B | Outstation No 2 line inter-PAX jack-in group at CIS (3 ccts) for use with type 73 VF (DVI 5099) | * |  |  | 1092 SHTS 1 & 2 |  |
| 44 | Parent station rack complete less filters and jack-in groups (see also PSI 796) | * | 1102 |  | 1201 1202 |  |
| 45 | Radial station rack complete less filters and jack-in groups (see also PSI 796) | * | 1101 |  | 1203 1204 |  |
| 46 | Indication rack complete less jack-in groups | * | 1108 | 1206 SHTS 1 & 2 |  |  |
| 47 | Meter decoder rack complete less jack-in groups and filters (see also PSI 498) | * | 3203 3203 |  | 3115 3323 |  |
| 48 | Miscellaneous services and National Control telemeter rack complete less jack-in group | * | 3132 |  |  |  |
| 49 | Telemeter rack complete less jack-in groups (see also PSI's 504A, 420, 534, 776 and 777) | * | 3204 3218 |  | 3116 3324 |  |
| 50 | Amplifier rack complete less jack-in groups and filters | * | 2054 | 1 |  |  |
| 51 | Not used |  |  |  |  |  |
| 52 | Miscellaneous telephone rack complete less jack-in groups, 2-motion switches and uniselector mechanism | * | 1104 |  | 1207 SHTS 1 - 4 |  |
| 53 | Not used |  |  |  |  |  |
| 54 | Intermediate distribution frame for 40 stations (see also PSI 464) | * | 1017 |  |  |  |
| 55 | Common relay jack-in group (st GCC) (see also PSI 639) | * | 2030 |  | 2011 | 1 |
| 56 | Jack-in relay group, ccts as follows:- |  | 2031 | 1 |  |  |
|  | (a) Telephone selections 1 - 6 |  |  |  | 2011 | 2 |
|  | (b) 16-way telegraph |  |  |  | 2011 | 3 |
|  | (c) Watts instructor |  |  |  | 2011 | 4 |
|  | (Not used) |  |  |  |  |  |
| 57 | Jack-in relay group, ccts as follows:- |  | 2031 | 2 |  |  |
|  | (a) Telephone selections 1 -12 |  |  |  | 2011 | 2 |
|  | (b) 16-way telegraph |  |  |  | 2011 | 3 |
|  | (c) Watts instructor |  |  |  | 2011 | 4 |
|  | (For new work see PSI 771) |  |  |  |  |  |
| 58 | Jack-in relay group, ccts as follows:- |  | 2031 | 3 |  |  |
|  | (a) Telephone selections 1 - 6 |  |  |  | 2011 | 2 |
|  | (b) 16-way telegraph |  |  |  | 2011 | 3 |
|  | (c) Watts instructor A |  |  |  | 2011 | 4 |
|  | (d) Watts instructor B |  |  |  | 2011 | 4 |
|  | (Not used) |  |  |  |  |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 59 | Station or indication group selector jack-in relay group | * | 2032 |  | 2011 | 5 |
| 60 | Indication receiver and point circuit jack-in group (40 points) | * | 2033 | 1 & 2 | 2011 | 6, 8, 9 & 10 |
| 61 | Indication receiver and point circuit jack-in group (20 points) | * | 2033 | 1 | 2011 | 6, 8, 9 & 10 |
| 62A | Ten-way meter decoder and VF receiver jack-in group (for new work see PSI 93 and 499) | * | 3107 |  | 3105 |  |
| 62B | Ten-way meter decoder interfaced for type 73 VF (DVI 5087) | * | 3107 |  | 3015 SHTS 1 & 2 |  |
| 63 | Feeder flow telemeter receiver fast response jack-in group (for new work see PSI 474) | * | 3126 |  | 3123 |  |
| 64 | TGO telemeter receiver fast response jack-in group (for new work see PSI 476) | * | 3125 |  | 3118 |  |
| 65 | TGO telemeter receiver medium response jack-in group (for new work see PSI 477) | * | 3125 |  | 3119 |  |
| 66 | TGO telemeter receiver slow response jack-in group |  | 3125 |  | 3120 |  |
| 67 | Instructor panel assembly (100 point) with Watts instruction and indication, and Vars indication only | * | 1110 |  | 2011 | 4 |
| 68 | Telephone line, 2 wire, jack-in group (see also PSI 774) | * | 1508 |  | 1003 SHT 2 | 1 |
| 69 | Telephone line, 4 wire, jack-in group including hybrid at GCC (see also PSI 806) | * | 1507 |  | 1003 SHT 1 | 1 |
| 70 | Parent sender oscillator jack-in group, 2220 or 2340 Hz only (for new work see PSI 369) | * | 2509 2803 |  | 1003 2822 | 2 5 & 6 |
| 71 | Cordless board and finder circuit (2 ccts) jack-in group including uniselector mechanisms | * | 1510 |  | 1004 |  |
| 72 | Network connector | * | 1511 |  | 1005 |  |
| 73 | Div HQ junction jack-in group including uniselector mechanism (see also PSI 423) | * | 1512 |  | 1006 |  |
| 74 | Network connector for junction to Division combined with Division to GCC tie line equipment at GCC | * | 1513 |  | 1007 1010 |  |
| 75 | Div HQ jack-in group (2 ccts) | * | 1514 |  | 1008 |  |
| 76 | Flashing, audible alarms, and common equipment jack-in group | * | 1515 |  | 1003 1009 |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 77 | GCC to Div tie line jack-in group at GCC (4 ccts) | * | 1516 |  | 1011 |  |
| 78 | Electronically controlled power pack (-85, -120, -150 V) jack-in group (for new work see PSI 282) |  | 3121 |  | 3122 |  |
| 79 | Diesel alternator set (12kW) with local oil storage and control cubicle |  | 3005 |  | 3021 |  |
| 80 | Diesel alternator set (24 kW) with local oil storage and control cubicle |  | 3022 |  | 3023 |  |
| 81 | A.C. distribution cubicle at GCC complete with special arrangements for supply from 3-phase domestic diesel set | * | 3001 |  | 3025 |  |
| 82 | D.C. distribution cubicle at GCC | * | 3002 |  | 3026 |  |
| 83 | Power Pack cubicle 250-0-250 V D.C. at GCC (2 circuits per cubicle) | * | 3003 |  | 3027 |  |
| 84 | Constant voltage transformer 26-0-26 V 950 VA at CIS (not used) |  | 3028 |  | 3029 |  |
| 85 | Charger cubicle, constant voltage (for new work see PSI 362) | * | 3030 |  | 3031 |  |
| 86 | Battery, lead acid, 100 Ah 24 cell with fuse holder and stand | * | 3032 |  | 3033 |  |
| 87 | A.C. and D.C. distribution cubicle at GCC (not used) |  | 3034 |  | 3035 |  |
| 88 | Power pack cubicle 50 V and 250-0-250 V D.C. at GCC (not used) |  |  |  |  |  |
| 89 | Div HQ cubicle, complete with alternative wiring for 4-wire operation but without jack-in groups and filters | * | 1111 |  | 1217 SHTS 1& 2 |  |
| 90 | Operator's telephone board at GCC (for new work see PSI 610) |  | 1112 |  | 1004 |  |
| 91 | Clerk's telephone board at GCC | * | 1113 |  | 1004 |  |
| 92 | Telephone Board at Div HQ | * | 1114 |  | 1008 |  |
| 93 | Ten-way meter decoder and VF receiver jack-in group (not used for new work, see also PSI 62) |  | 3107 |  | 3105 |  |
| 94 | Feeder flow telemeter receiver medium response jack-in group (for new work see PSI 475) | * | 3126 |  | 3124 |  |
| 95 | Feeder flow telemeter receiver slow response, jack-in group (not used) |  |  |  |  |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 96 | Intertripping S/A oscillator 300/2220/2340 Hz and common relay jack-in group | * | 2081 2803 | 1 | 2061 2804 | 1 |
| 97 | Intertripping S/A oscillator 2460/2580 Hz and common relay jack-in group | * | 2081 2827 | 2 | 2061 2828 | 1 |
| 98 | Intertripping VF oscillator 540/660 Hz and 2 ccts trip send jack-in group | * | 2082 2830 | 1 | 2061 2831 | 2 |
| 99 | Intertripping VF oscillator 900/1020 Hz and 2 ccts trip send jack-in group | * | 2082 2862 | 2 | 2061 2863 | 2 |
| 100 | Intertripping S/A receiver and common relay jack-in group | * | 2083 2806 | 1 | 2062 2807 | 1 |
| 101 | Not used |  |  |  |  |  |
| 102 | Intertripping VF receiver and 2 cct trip receive jack-in group | * | 2084 2806 | 1 | 2062 2807 | 2 |
| 103 | Intertripping VF receiver and 2 cct trip receive jack-in group, but including clock test receive relays | * | 2084 2806 | 2 | 2062 2807 | 2 & 2A |
| 104 | Intertripping repeater S/A receiver jack-in group | * | 2085 2806 | 1 | 2063 2807 | 1 |
| 105 | Intertripping repeater VF receiver jack-in group | * | 2085 2806 | 2 | 2063 2807 | 2 |
| 106 | Intertripping repeater S/A oscillator 300/2220/2340 Hz and switching relay jack-in group | * | 2086 2803 | 1 | 2063 2804 |  |
| 107 | Not Used |  |  |  |  |  |
| 108 | Intertripping repeater S/A oscillator 2460/2580 Hz and switching relay jack-in group | * | 2087 2827 | 1 | 2063 2828 |  |
| 109 | Not used |  |  |  |  |  |
| 110 | Intertripping repeater VF oscillator 540/660 Hz jack-in group | * | 2088 2830 | 1 | 2063 2831 | 4 |
| 111 | Intertripping repeater VF oscillator 900/1020 Hz jack-in group | * | 2088 2862 | 1 | 2063 2863 | 4 |
| 112 | Intertripping repeater VF oscillator 540/660 Hz and VF oscillator 900/1020 Hz jack-in group | * | 2089 2830 2862 | 1 | 2063 2831 2863 | 4 |
| 113 | Major-Mk I Minor system CRG at Major station jack-in group | * | 2091 | 1 | 2068 | 2 |
| 114 | Major-Mk I Minor system CRG at Minor station jack-in group | * | 2091 | 1 | 2068 | 2 |
| 115 | Filter 2460 Hz B/P (for new work see PSI 403) | * | 2845 |  | 2846 |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 116 | Filter 2580 Hz B/P (for new work see PSI 403) | * | 2847 |  | 2848 |  |
| 117 | Filter 900 Hz B/P (for new work see PSI 337) | * | 2842 |  | 2843 |  |
| 118 | Filter 1020 Hz B/P (for new work see PSI 338) | * | 2865 |  | 2866 |  |
| 119 | Filter 660 Hz B/P (for new work see PSI 335) | * | 2838 |  | 2839 |  |
| 120 | Filter 540 Hz B/P (for new work see PSI 334) | * | 2836 |  | 2837 |  |
| 121 | Filter 2000 Hz low pass (for new work see PSI 308 or 375) | * | 2825 |  | 2826 |  |
| 122A | Combined line signalling and terminating unit (2 kV isolation), equipped with meter links, jacks, framework and terminal blocks but excluding transformers |  | 2094 | 1 | 2097 |  |
| 122B | Line terminating unit less transformers for 5 kV for use with type 73 VF, without D.C. interface (DVI 639) |  |  |  |  |  |
| 122C | Line terminating unit less transformers for 5 kV for use with type 73 VF with D.C. interface (DVI 615 and 616) |  |  |  | 1019 SHT 2 |  |
| 123 | Line Signalling telephone call jack-in group, 2 kV isolation | * | 2095 | 1 | 1000 | 7 |
| 124 | Line signalling telephone call jack-in group, at station with single telephone, 2 kV isolation | * | 2095 | 2 | 1000 | 8 |
| 125A | Line signalling interstation dialling jack-in group, 2 kV isolation | * | 2095 | 7 | 1027 | 2 |
| 125B | Interstation dialling jack-in group interfaced for type 73 VF (DVI 616) | * |  |  |  |  |
| 126A | Line signalling Major station jack-in group, 2 kV isolation | * | 2095 | 4 | 2067 | 1 |
| 126B | Line signalling Major Station interfaced for GEC AM/VF (DVI 621) (Not used for New Work) |  |  |  |  |  |
| 126C | Mk 1 minor system VF signalling interface at Major station (DVI 619) (Not used for New Work) |  |  |  |  |  |
| 127A | Line signalling Mk 1 Minor station jack-in group, 2 kV isolation |  | 2095 | 5 | 2068 | 1 |
| 127B | Line signalling Mk 1 Minor station interfaced for GEC AM/VF (Not used for New Work) |  |  |  |  |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 127C | Mk I minor system VF signalling interface at Minor station (DVI 618) (Not used for New Work) |  |  |  |  |  |
| 128 | Line signalling telephone call jack-in group, 5 kV isolation | * | 2096 | 1 | 1000 | 7 |
| 129 | Line signalling telephone call jack-in group, at station with single telephone, 5 kV isolation | * | 2096 | 1 | 1000 | 8 |
| 130A | Line signalling interstation dialling jack-in group, 5 kV isolation | * | 2096 | 1 | 1027 | 2 |
| 130B | Interstation dialling group interfaced for type 73 VF (DVI 616) | * |  |  |  |  |
| 131A | Line signalling Major station jack-in group, 5 kV isolation |  | 2096 | 4 | 2067 | 1 |
| 131B | Line signalling Major station interfaced for GEC AM/VF (DVI 621) (Not used for New Work) |  |  |  |  |  |
| 131C | Mk 1 minor system VF signalling interfaced at Major station (DVI 621) |  |  |  |  |  |
|  | (Not used for New Work) |  |  |  |  |  |
| 132A | Line signalling Mk I Minor station jack-in group, 5 kV isolation |  | 2096 | 5 | 2068 | 1 |
| 132B | Line signalling for Mk I Minor station interfaced for GEC AM/VF (DVI 622) (Not used for New Work) |  |  |  |  |  |
| 132C | Mk 1 minor system VF signalling interfaced at Minor station (DVI 618) (Not used for New Work) |  |  |  |  |  |
| 133A | Line terminating unit less transformers 2 kV or 5 kV isolation |  | 2092 | 1 | 2098 |  |
| 133B | Line terminating unit less transformers 5 kV line isolation PSI 852) for use with type 73 VF (DVI 638) | * | 2092 SHT 3 |  | 2333 SHT 66 2098 SHT 2 |  |
| 134 | Line test set less battery | * | 2093 | 1 | 2099 |  |
| 135 | Line transformer 2 kV isolation (for new work see PSI's 580 or 581) | * | 2093 |  | 1000G | 5 |
| 136A | Line transformer 5 kV isolation (for new work see PSI's 580 or 581) | * |  |  |  |  |
| 136B | Line transformer 5kV isolation (see also PSI's 580/581) (for new work see PSI 852) | * |  |  |  |  |
| 137 | Intertripping cubicle, small type, completely wired for 2 circuit both-way intertripping on one PO line, less jack-in groups and filters | * | 2100 | 5 | 2116 SHT 1 2064 | 20-22 |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 138 | Intertripping cubicle, small type, completely wired for 2 circuits both-way intertripping on each of two PO lines, less jack-in groups and filters | * | 2100 | 6 | 2116 SHT 1 2064 | 23-28 |
| 139 | Intertripping cubicle, small type, completely wired for 4 circuits both-way intertripping on one PO line, less jack-in groups and filters | * | 2100 | 7 | 2116 SHT 1 2064 | 29-33 |
| 140 | Intertripping cubicle, small type, completely wired for 2 circuits both-way intertripping on one PO line and both-way double circuit repetition on a second PO line, less jack-in groups and filters | * | 2100 | 8 | 2116 SHT 1 2064 | 34-39 |
| 141 | Station cubicle wired for Mk I minor system and limited supervisory (with fleeting alarm group) or minor system and 16-way telegraph, but without jack-in groups and filters | * | 2101 | 1 | 2129A SHTS 1 - 7 |  |
| 142 | Not used |  |  |  |  |  |
| 143 | Overflow cubicle without link field, wired for station requirements and fitted with fuse panel, alarm relays and test meters | * | 2102 | 1 | 2051 |  |
| 144 | Overflow cubicle with link field, wired for station requirements and fitted with fuse panel, alarm relays and test meters (for new work see PSI 406) | * | 2102 | 2 | 2051 |  |
| 145A | Mk 1 Minor station 16-way telegraph or limited supervisory control receiver jack-in group | * | 2103 |  | 2104 |  |
| 145B | Mk 1 Minor station 16-way telegraph or LSC receiver interfaced for type 73 VF and GEC AM/VF (DVI 628) | * | 2103 |  | 2104 |  |
| 146 | Not used |  |  |  |  |  |
| 147 | Not used |  |  |  |  |  |
| 148 | Mk 1 Minor station 16-way telegraph repeater at Major station jack-in groups | * | 2108 |  | 2109 |  |
| 149 | Limited supervisory control sender jack-in group (for Mk I minor) | * | 2110 |  | 2111 |  |
| 150 | Not used |  |  |  |  |  |
| 151 | Control telephone (1 cct) jack-in group including uniselector mechanism (superseded by PSI 526 for three tier working) | * | 1502 | 1 | 1000 | SHT 1 |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 152 | Control telephone and interstation dialling jack-in group including uniselector mechanism (for new work at three tier stations see PSI 528) |  | 1520 |  | 1000 1027 | 1 |
| 153 | Line signalling jack-in group at outstation, 2 kV isolation | * | 2095 | 6 | 2113 | 2 |
| 154 | Line signalling jack-in group at outstation, 5 kV isolation | * | 2095 | 6 | 2113 | 2 |
| 155A | Line signalling tie line jack-in type 73 VF (DVI 615) | * | 2095 | 3 | 1019 | 2 |
| 155B | Tie line jack-in group interfaced for type 73 VF (DVI 615) | * |  |  |  |  |
| 156A | Line signalling tie line jack-in group, 5 kV isolation | * | 2096 | 3 | 1019 | 2 |
| 156B | Tie line jack-in group interfaced for type 73 VF (DVI 615) | * |  |  |  |  |
| 157 | PAX coupling unit, station, wall mounting, 2 ccts | * | 2114 | 1 | 1030 |  |
| 158 | Wall mounting station PAX coupling unit equipped for 4 ccts | * | 2114 | 2 | 1030 |  |
| 159 | Oscillator, 2580 Hz with modulation at System Frequency and complete with 2580 Hz band-pass filter suitable for 240 cycle spacing jack-in group | * | 2849 |  | 2850 |  |
| 160 | Not used |  |  |  |  |  |
| 161 | Interstation dialling jack-in group (1 cct) | * | 1500 | 1 | 1027 | 1 |
| 162 | Interstation dialling jack-in group (2 ccts) | * | 1500 | 2 | 1027 | 1 |
| 163 | Interstation dialling and tie line jack-in group | * | 1518 |  | 1027 1019 | 1 1 |
| 164A | Tone inductor, 480 Hz | * | 1116 |  |  |  |
| 164B | Tone generator, solid state, 400/480 Hz | * | 7689 SHTS |  | 7688 SHTS 4, 5 |  |
| 165 | Ringing generator, 2.5 W, d.c. motor driven, and 480 Hz tone inductor (for new work see PSI 855) | * |  |  | 1068 SHTS 1 & 2 |  |
| 166 | Not used |  |  |  |  |  |
| 167 | Regulated supply transformer input 160-265 V, 47.5-51 Hz output 78 VA at 25-0-25 V (for new work see PSI 628) | * |  |  |  |  |
| 168 | Installation charge for each outstation (not used) |  |  |  |  |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 169 | Telephone call, 12 point, and instruction acknowledge jack-in group |  | 2020 | 2 | 2012 | 3 |
| 170 | Oscillator, 2460/2580 Hz, jack-in group | * | 2087 2827 | 2 | 2828 2822 | 5 & 6 |
| 171 | Power pack for use with 10-way meter receiver at outstation jack-in group (not used) |  | 2134 |  | 3133 |  |
| 172A | Duplex signalling, extension telephone, wall mounted, terminating unit 2 wire | * | 2112 SHT 3 |  | 1061 |  |
| 172B | Duplex signalling, extension telephone, wall mounted, terminating unit 2 wire interfaced for type 73 VF | * | 2112 SHT 3 |  | 2333 SHT 67 |  |
| 173 | Line relay jack-in group for party line extension at PAX, 2 kV isolation |  | 2095 | 8 | 1054 | 1 |
| 174 | Line relay jack-in group for party line extension at telephone point, 2 kV isolation |  | 2095 | 9 | 1054 | 2 |
| 175 | Line relay jack-in group for party line extension at PAX 5 kV isolation |  | 2096 | 8 | 1054 | 1 |
| 176 | Line relay jack-in group for party line extension at telephone point, 5 kV isolation |  | 2096 | 9 | 1054 | 2 |
| 177A | Mk I minor system indication receiver and point circuit at Major station jack-in group (40 points) | * | 2034 | 1 & 2 | 2067 | 3 |
| 177B | Mk I minor system indication receiver and point circuit at Major station, jack-in group (40 points) for use with G174 (DVI 640) | * | 2034 | 1, 2 & 3 | 2067 SHT 6 | 3 |
| 178A | Mk 1 minor system indication receiver and point circuit at Major station jack-in group (20 points) | * | 2034 | 1 | 2067 | 3 |
| 178B | Mk I Minor system indication receiver and point circuit at major station jack-in group (20 points). (DVI 640) | * |  |  |  |  |
| 179 | Major station sender (without start relays) for Mk I Minor system jack-in group |  | 2035 | 1 | 2012 | 2 |
| 180 | GCC PAX rack equipped with 42/56 line switches and selector connector bank multiple for 10 ccts less jack-in groups | * | 1106 |  | 1215 SHTS 1 - 13 |  |
| 181 | GCC PAX line circuit equipped for 14 circuits, jack-in group | * | 1521 |  | 1034 | 1 & 2 |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 182 | GCC PAX selector connector jack-in group | * | 1522 |  | 1034 | 2 |
| 183 | National control non priority telephone jack-in group |  | 1523 |  | 1052 |  |
| 184 | National control priority telephone jack-in group (see PSI 447) |  | 1524 |  | 1053 |  |
| 185 | GCC line end open and No 1 overflow telegraph rack less jack-in groups (see also PSI 797) | * | 1109 |  | 1214 SHTS 1 - 7 |  |
| 186 | Overload, jack-in group (15 ccts) | * | 2117 | 1 | 2011 | 10A |
| 187 | Line end open, jack-in group (23 ccts) | * | 2118 | 1 | 2011 | 11 |
| 188 | National and common services rack less jack-in groups | * | 117G |  | 2171 |  |
| 189 | Control desk 24 hour digit type clock control jack-in group (Not Used) | * | 1529 |  | 1058 |  |
| 190 | GCC common 16-way telegraph jack-in group | * | 2038 | 1 | 2013 |  |
| 191 | National 36 points sender (without start relays), jack-in group | * | 2123 | 1 | 2122 | 2 |
| 192 | National indication point, start re-transmitter jack-in group (15 ccts) | * | 2119 | 1 | 2122 | 6 |
| 193 | National 10-way mater sender without direction relays and power pack, jack-in group (not used) |  | 3136 |  | 3135 |  |
| 194 | Inter GCC tie line rack less jack-in groups (for new work see PSI 506) |  | 1118 |  | 1241 SHTS 1 - 8 |  |
| 195 | Both-way 4 wire connector selector jack-in group excluding uniselector mechanism (see PSI 249) | * | 1525 |  | 1055 |  |
| 196 | National parent telephone jack-in group (not used) |  | 1526 |  | 1056 | 1 |
| 197 | National satellite telephone jack-in group (not used) |  | 1527 |  | 1056 | 2 |
| 198 | Indication IDF complete with tag blocks for 40 indication groups | * | 1119 |  | 1208 SHT 2 |  |
| 199 | National telemeter patching board equipped as required (for new work see PSI 795) | * | 1121 |  | 1057 |  |
| 200 | Rate of change power pack jack-in group |  | 3138 |  | 3137 |  |
| 201 | Rate of change of frequency indicator, jack-in group including rack-mounted monitor indicator | * | 3140 |  | 3139 |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 202 | Crystal controlled oscillator having a 10 VA output at 110 V, 50 Hz (non free running) comprising two jack-in groups | * | 3142 |  | 3141 |  |
| 203 | Telemeter impulse generator jack-in group (see also PSI 559) | * | 3144 |  | 3143 |  |
| 204 | Jack-in relay group, ccts as follows:- |  | 2044 | 1 |  |  |
|  | (a) 16-way telegraph |  | 2011 | 3 |  |  |
|  | (b) Watts instructor |  | 2011 | 4 |  |  |
|  | (for new work see PSI 773) |  |  |  |  |  |
| 205 | Jack-in relay group for:- |  | 2044 | 2 |  |  |
|  | (a) 16-way telegraph (2 ccts) |  | 2011 | 3 |  |  |
|  | (for new work see PSI 773) |  |  |  |  |  |
| 206 | Jack-in relay group for:- |  | 2044 | 3 |  |  |
|  | (a) 16-way telegraph (3 ccts) |  | 2011 | 3 |  |  |
|  | (For new work see PSI 773) |  |  |  |  |  |
| 207 | Test desk at GCC with accommodation for loose test equipment (see also PSI 509) | * | 3208 |  | 3038 |  |
| 208 | Test work bench at GCC | * |  |  |  |  |
| 209 | Oscillator 2700/2820 Hz jack-in group |  | 2087 2855 | 3 | 2856 2822 | 5 & 6 |
| 210 | Filter 2700 Hz B/P (for new work see PSI 404) | * | 2858 | Ass A | 2859 |  |
| 211 | Filter 2820 Hz B/P (for new work see PSI 405) | * | 2860 | Ass A | 2861 |  |
| 212 | D.C. line signalling group at GCC jack-in group | * | 2045 | 1 | 2113 | 1 |
| 213 | Line termination and overflow test rack equipped for 30 line ccts (see also PSI 429) | * | 1103 | 1 | 1213 SHTS 1 - 7 |  |
| 214A | Line termination rack at Grid Control Centre (DVI 5082) | * | 1103 SHTS 3, 5 - 12 & 16 |  |  |  |
| 214B | Line termination rack at Nottingham GCC (DVI 5083) | * | 1103 SHTS 13 - 15 & 17 |  | 1213 SHTS 1 & 8 |  |
| 215 | Receiver, 2580 Hz and system frequency demodulator, with B/P filter suitable for 240 Hz spacing jack-in group | * | 2852 | Ass A | 2853 | 1 |
| 216 | Power pack and power amplifier for system frequency, having output of 40 Watts at unity power factor 110 V 50 Hz jack-in group | * | 2852 | Ass B | 2853 | 2 |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 217 | Incoming group selector (36 outlet) and aux telephone jack-in group |  | 2120 | 1 | 2121 | 5 |
| 218 | Test rack complete with test control panel, 100 point instructor, KWH meter, variac and ratiometer, but less jack-in groups |  | 2126 | 1 | 2132 |  |
| 219 | Fleeting alarms at Mk 1 Minor station jack-in group (15 ccts) | * | 2079 | 1 | 2068 | 7 |
| 220 | Fleeting alarms at Mk I Minor station jack-in group (8 ccts) | * | 2079 | 2 | 2068 | 7 |
| 221 | Line end open and overload lamp test routiner jack-in group (including 3 access uniselectors, keys and lamps mounted on rack) | * | 2125 | 1 | 2124 |  |
| 222 | Installation charge (not used) |  |  |  |  |  |
| 223 | GCC station rack with busbars and fuse alarm, also filter mountings, but less filters (not used) |  | 1150 |  | 1230 |  |
| 224 | GCC shelf, VF parent with 2 satellites plus 2 D.C. 2 wire radial stations (for mounting on station rack) (not used) |  | 1151 |  | 1231 |  |
| 225 | GCC shelf, VF parent with 2 satellite plus 1 VF radial station, (for mounting on station rack) (not used) |  | 1152 |  | 1232 |  |
| 226 | GCC shelf, 2 D.C. 4-wire radial stations plus 2 D.C. 2 wire radial stations (for mounting on station rack) (not used) |  | 1153 |  | 1233 |  |
| 227 | GCC shelf, 2 D.C. 4-wire radial stations plus 1 VF radial station, (for mounting on station rack( (not used) |  | 1154 |  | 1234 |  |
| 228 | GCC common relay jack-in group (2 ccts) (not used) |  | 1541 |  | 1064 |  |
| 229 | GCC satellite relay jack-in group (2 ccts) (not used) |  | 1541 |  | 1064 |  |
| 230 | GCC IDF complete with tag blocks for 4 standard keyboard consoles (not used) |  | 1155 |  |  |  |
| 231 | GCC shelf, 3 D.C. 4-wire radial stations, plus capacity for miscellaneous alarm group schedule item 241, (for mounting on station rack) (not used) |  | 1158 |  | 1236 |  |
| 232 | Decoder and sender rack for 10 decoders (2 or 10 way) 5 senders (10 way) without direction indication and 5 senders (10 way) with direction indication, less jack-in groups and filters | * | 3210 3202 |  | 3039 |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 233 | GCC telemeter and decoder overflow rack Leeds, (3 shelves ie 28 telemeters plus reference voltage power pack and one shelf 2 or 10 way decoders) less jack-in groups and filters (not used) |  | 3211 |  | 3040 |  |
| 234 | 10 way meter sender without direction relays and power pack for inter GCC patching, complete with 2220 to 2820 Hz oscillator, jack-in group |  | 3147 |  | 3146 |  |
| 235 | GCC national substitute PAX outgoing equipment jack-in group (not used) |  | 1542 |  | 1065 |  |
| 236 | GCC national substitute PAX incoming equipment jack-in group (not used) |  | 1543 |  | 1066 |  |
| 237 | GCC line termination and national GI rack equipped for 30 line circuits less jack-in group (not used) |  | 1157 |  |  |  |
| 238 | GCC line termination and national GI rack equipped for 50 line circuits less jack-in groups (not used) |  | 1157 | 2 |  |  |
| 239 | GCC national parent rack less jack-in groups (not used) |  | 1159 |  |  |  |
| 240 | Station rack at National GCC less jack-in groups (not Used) |  | 1160 |  |  |  |
| 241 | GCC common alarm jack-in group (not used) |  | 1544 |  | 1067 |  |
| 242 | GCC telephone keyboard console (not used) |  | 1124 |  | 1240 |  |
| 243 | National common relay jack-in group at National Control |  | 2156 |  | 2121 | 1 |
| 244 | National common relay jack-in group at GCC | * | 2157 |  | 2122 | 1 |
| 245 | Parent station rack at National Control less jack-in groups (not used) |  | 1175 |  | 1250 |  |
| 246 | Non-priority GI call supervision group at National Control, jack-in group |  | 1532 |  | 1069 |  |
| 247 | Miscellaneous services rack at National Control equipped with 45 line switches and selector connector bank multiple for 10 ccts, less jack-in groups and filters |  | 1176 |  | 1251 |  |
| 248 | Impulse repeater, jack-in group | * | 1534 |  | 1073 |  |
| 249 | Connector mechanism, 4 wire, jack-in group (3 ccts) (see also PSI 195) | * | 1535 |  | 1077 |  |
| 250 | National 36-point sender group at GCC with 8 start relays | * | 2158 |  | 2122 | 2 & 4 |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 251 | National IDF and telemetering patching panel | * | 1174 |  | 1072 |  |
| 252 | Cost telegraph receiver group at National jack-in group |  | 2159 |  | 2121 | 15 |
| 253 | Cost telegraph indication rack at National, less jack-in groups |  | 1177 | 1 | 1252 SHT 1 |  |
| 254 | National code receiver at GCC with 4 digit decoder jack-in group | * | 2160 |  | 2122 | 5 |
| 255 | National 12-point telephone call and instruction acknowledge at GCC jack-in group |  | 2172 | 1 | 2122 | 3 |
| 256 | National station selector at parent GCC jack-in group equipped for 3 satellite line ccts (not used) |  |  |  |  |  |
| 257 | National 16-way telegraph and telegraph acknowledge at GCC jack-in group | * | 2174 | 1 | 2014 2122 | 7 |
| 258 | Jack-in relay group, ccts as follows:- |  |  |  |  |  |
|  | (a) Telephone and check-selections 1 - 9 |  |  |  |  |  |
|  | (b) 16-way telegraph |  |  |  |  |  |
|  | (c) TGO instructor |  |  |  |  |  |
|  | Superseded by PSI 463 (not used) |  |  |  |  |  |
| 259 | National indication receiver and point cct at National, jack-in group (36 points) |  | 2176 | 1 | 2121 | 6, 8 9 & 10 |
| 260 | National overload jack-in group (15 ccts) |  | 2177 | 1 | 2121 | 10a |
| 261 | National line end open jack-in group (23 ccts) |  | 2178 | 1 | 2121 | 11 |
| 262 | Remote printometer receiver including VF receiver, jack-in group (not used) |  | 2180 | 1 | 2181 2822 |  |
| 263 | Rack supply transformer at GCC input 240 V A.C. output 200 VA at 25-0-25 V. | * |  |  |  |  |
| 264 | Rack supply transformer at GCC input 240 V A.C. output 500 VA at 25-0-25 V. | * |  |  |  |  |
| 265 | National 20 point auxiliary sender at GCC with 12 point telephone call and cost telegraph acknowledge, jack-in group | * | 2179 | 1 | 1222 | 3, 4, 8 |
| 266 | Automatic voltage regulator for mains voltage 4 kW at GCC | * | 3149 |  | 3148 |  |
| 267A | CIS No 2 line GI PAX to CIS PAX jack-in group at outstations 2 kV isolation | * |  |  |  |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 267B | CIS No 2 line GI PAX to CIS PAX jack-in group at outstations 2 kV isolation with interface for type 73 VF (DVI 613) | * |  |  |  |  |
| 268 | Not used |  |  |  |  |  |
| 269 | Not used |  |  |  |  |  |
| 270 | Not used |  |  |  |  |  |
| 271 | Not used |  |  |  |  |  |
| 272 | Not used |  |  |  |  |  |
| 273 | Not used |  |  |  |  |  |
| 274 | Meter channel repeating circuit, (strip mounted relays for minor system at Major station) | * |  |  | 1078 |  |
| 275 | Remote starting or acceleration of feeder protection, both-way (tandem or terminal) | * | 2210 | 1 | 2211 | 1 |
| 276 | Div HQ network connector 200 pt jack-in group | * | 1548 |  | 1081 1010 |  |
| 277 | Combined receiver and 2460/2580 Hz oscillator jack-in group | * | 2025 | 2 | 2807 2828 |  |
| 278 | Remote starting or acceleration of feeder protection, bothway (single cct) using D.C. signalling jack-in group (2 kV isolation) jack-in group | * | 2095 | 13 | 2212 | 1 |
| 279 | Remote starting or acceleration of feeder protection, bothway (single cct) using D.C. signalling jack-in group (5 kV isolation) | * | 2096 | 13 | 2212 | 1 |
| 280 | Indication group selector 10-way, jack-in group (see PSI 360 for new work) |  | 2214 | 1 | 2011 | 17 |
| 281 | Not used |  |  |  |  |  |
| 282 | Electronically controlled power pack (+80-95-120-150 V) wall mounted (see also PSI 78) | * | 3151 |  | 3152 |  |
| 283 | Transistorised 10-way meter sender with direction indication and oscillator for transmission at 2220/2340/2460/2580/2700/2820 Hz consisting of two readily detachable rack mounted units | * | 3153 |  | 3154 |  |
| 286 | Transistorised 10-way meter decoder with direction indication and VF receiver, consisting of two readily detachable rack mounted units | * | 3055 |  | 3156 |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 285 | Mark II minor system subliminal pulsing sending unit (wall mounted) including jack-in relay set (2 kV isolation) | * | 1199 1555 | 4 5 | 1602 | 4 |
| 286 | Mark II minor system subliminal pulsing receiving unit (wall mounted) including jack-in relay set (2 kV isolation) | * | 1199 1555 | 3 6 | 1602 | 5 |
| 287 | Mark II minor system 20 point sender at Minor station, jack-in group | * | 2069 | 1 | 2077 | 1 & 2 |
| 288 | Mark II minor system 20 point auxiliary sender at Minor station, jack-in group |  | 2070 | 1 | 2077 | 2 |
| 289A | Mark II minor system common relay jack-in group at Minor station (for use with earth and AM/VF signalling only) | * | 1557 |  | 1601 SHTS 2 - 5 | 1 |
| 289B | Mark II minor system common relay jack-in group at Minor station (for all types signalling (DVI 609)) | * | 1557 |  | 1601 SHTS 6 & 7 |  |
| 290 | Mark II minor system 100 point control selection decoder at Minor station, jack-in group | * | 2071 | 1 | 2077 | 4 |
| 291 | Mark II minor system cubicle at Minor station fitted with 3 shelves and test links but less instruments, filters and transformers. The upper two shelves to have standard wiring and the third shelf to be wired for station requirements | * | 2076 | 1 | 2059 |  |
| 292 | Mark II minor system VF test panel at Minor station, complete with instruments, test jacks and cord | * | 2223 |  | 2224 |  |
| 293A | Mark II minor system local telephone connector and common telephone relays at Minor station jack-in group including mechanism (for use with earth and AM/VF signalling only) | * | 1558 |  | 1601 SHTS 2 - 5 | 2 |
| 293B | Mark II minor system local telephone connector and common telephone relays, jack-in group at Minor station with interface (for all types of signalling) (DVI 594) | * |  |  | 1601 SHTS 6 & 7 | 2 |
| 294 | Mark II minor system local extension telephone circuit at Minor station (2 ccts), jack-in group | * | 1559 |  | 1601 SHTS 2, 3, 5, 6 & 7 | 3 |
| 295 | Mark II minor system relay set for line between Major and Minor station, jack- | * | 1555 | 1 | 1600 SHT 2 | 2 & 3 |
|  | in group (2 kV isolation) |  |  |  | 1601 SHT 2 | 2 |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 296 | Mark II minor system relay set for line between Major and Minor station, jack-in group (5 kV isolation) |  | 1556 | 1 | 1600 SHT 2 1601 | 2 & 3 |
|  |  |  |  |  | SHT 2 | 2 |
| 297 | Mark II minor system relay set at minor for line to external telephone, jack-in group (2 kV isolation) | * | 1555 | 2 | 1601 SHTS 2 - 7 | 4 |
| 298 | Mark II minor system relay set at minor for line to external telephone, jack-in group (5 kV isolation) | * | 1556 | 2 | 1601 SHTS 2 - 7 | 4 |
| 299 | Mark II minor system relay set at satellite for line to parent station (2 kV isolation) | * | 1555 | 4 | 1602 | 2 |
| 300 | Mark II minor system relay set at satellite for line to parent station (5 kV isolation) | * | 1556 | 4 | 1602 | 2 |
| 301 | Mark II minor system relay set at external telephone extension on Minor station jack-in group (2 kV isolation) | * | 1555 | 3 | 1602 | 1 |
| 302 | Mark II minor system relay set at external telephone extension on Minor station jack-in group (5 kV isolation) | * | 1556 | 3 | 1602 | 1 |
| 303 | Mark II minor system pilot cable terminating box including jack-in relay set (2 kV isolation) | * | 1197 1560 | 1 | 1602 | 6 |
| 304 | Mark II minor system 40 point indication group at Major station or Minor station jack-in group | * | 2073 | 1 | 2078 SHT 1 SHt 3 | 2 & 3 6 & 7 |
| 305 | Mark II minor system indication group selector and common relays including flash and alarm relays at Major or parent Minor station jack-in group | * | 2072 | 1 | 2078 SHT 1 SHT 3 | 1 5 |
| 306 | Mark II minor system 100 point control selection at Major station, jack-in group | * | 2074 | 1 | 2078 SHT 2 SHT 4 | 4 8 |
| 307A | Mark II minor system telephone and check selection sender at Major station; jack-in group, 2 wire working (for use with earth signalling and AM/VF) | * | 1554 |  | 1600 SHTS 2 & 3 | 1 |
| 307B | Mark II minor system telephone and check selection sender at Major station, jack-in group with interface (for all types of signalling) with or without VF call hold (DVI 595) | * | 1554 |  | 1600 SHT 6 |  |
| 308 | Filter, 2000 Hz low pass (similar to PSI 121) (for new work see PSI 375) | * | 2884 |  | 2885 |  |
| 309 | Filter, 2220 Hz B/P (similar to PSI 8) | * | 2882 | Ass R | 2883 |  |
| 310 | Filter, 2340 Hz B/P (similar to PSI 9) | * | 2882 | Ass S | 2883 |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 311 | Filter, 300 Hz combined high pass and low pass (similar to PSI 11) | * | 2886 | Ass A | 2887 2888 |  |
| 312 | National PABX code generator jack-in group (not used) |  | 1550 |  | 1088 |  |
| 313 | National teleprinter operators coupling circuit jack-in group (not used) |  | 1551 |  | 1089 |  |
| 314 | National network connector jack-in group | * | 1552 |  | 1090 |  |
| 315 | National B/W junction circuit jack-in group (not used) |  | 1553 |  | 1091 |  |
| 316 | Transistorised oscillator 300 Hz jack-in group | * | 2217 | 1 | 2874 2222 | 1 |
| 317 | Transistorised oscillator 2220/2340/2460/2580/2700/2820 Hz |  | 2217 | 2 | 2874 2222 | 1 |
|  | jack-in group (see also PSI 4) | * |  |  |  |  |
| 318 | Transistorised VF receiver (300 Hz) jack-in group (see PSI 377 & 5) (for |  | 2218 | 1 | 2877 2222 | 2 |
|  | new work see PSI 437) | * |  |  |  |  |
| 319 | Combined 300 Hz transistorised oscillator and receiver jack-in group (see also PSI 3) (for new work see PSI 438) | * | 2219 | 1 | 2874 2877 2222 | 1 & 2 |
| 320 | Combined 2220/2340/2460/2580/2700/2820 Hz transistorised oscillator and receiver jack-in group (see also PSI 3) (for new work see PSI 439A) | * | 2219 | 2 | 2874 2877 2222 | 1 & 2 |
| 321 | Combined 300 Hz transistorised oscillator receiver and speech amplifier jack-in group (see also PSI 3 and 6) (for new work see PSI 444) | * | 2220 | 1 | 2874 2877 2880 2222 | 1, 2 & |
| 322 | Combined 2220/2340/2460/2580/2700/2820 Hz transistorised oscillator receiver and speech amplifier jack-in group (see also PSI 3 and 6) (for new work see PSI 445) including equaliser | * | 220 | 2 | 2874 2877 2880 2222 | 1, 2 & 3 |
| 323 | Transistorised VF amplifier jack-in group (1 cct) (see also PSI 6), including equaliser |  | 2221 | 2 | 2880 2222 | 3A |
| 324 | Transistorised VF amplifier jack-in group (2 ccts) (see also PSI 7) |  | 2221 | 2 | 2880 2222 | 3A, 3B |
| 325 | Mark II minor system fleeting start storage relays at Minor station (10 ccts) in wall mounted box | * | 2057 | 1 | 2077 | 3 |
| 326 | Line transformer, balanced both windings, 2 kV isolation (for new work see PSI's 580 or 581 and 852) |  |  |  |  |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 327 | PAX operators start circuit at parent GCC jack-in group | * | 1547 |  | 1082 |  |
| 328 | Meter direction repeater, Minor station at Major station (2 ccts), (strip mounted relays) | * | 2102 | 7 | 2105 |  |
| 329 | Loading desk lamp test relays, jack-in group | * | 1549G |  | 2213 |  |
| 330 | Hybrid transformer 4 wire/2 wire working (PO Type 326). | * |  |  |  |  |
| 331 | Meter sender, 2 way, with 2220/2340/2460/2580/2700/2820 Hz transistorised oscillator, jack-in group (not used) |  |  |  |  |  |
| 332 | Meter decoder, 2 way, with transistorised VF receiver, jack-in group (not used) |  |  |  |  |  |
| 333 | Filter 420 Hz B/P |  | 2882 | Ass A | 2883 |  |
| 334 | Filter 540 Hz B/P (see also PSI 120) |  | 2882 | Ass B | 2883 |  |
| 335 | Filter 660 Hz B/P (see also PSI 119) |  | 2882 | Ass C | 2883 |  |
| 336 | Filter 780 Hz B/P |  | 2882 | Ass D | 2883 |  |
| 337 | Filter 900 Hz B/P (see also PSI 117) |  | 2882 | Ass E | 2883 |  |
| 338 | Filter 1020 Hz B/P (see also PSI 118) |  | 2882 | Ass F | 2883 |  |
| 339 | Filter 1140 Hz B/P |  | 2882 | Ass G | 2883 |  |
| 340 | Filter 1260 Hz B/P |  | 2882 | Ass H | 2883 |  |
| 341 | Filter 1380 Hz B/P |  | 2882 | Ass J | 2883 |  |
| 342 | Filter 1500 Hz B/P |  | 2882 | Ass K | 2883 |  |
| 343 | Filter 1620 Hz B/P |  | 2882 | Ass L | 2883 |  |
| 344 | Filter 1740 Hz B/P |  | 2882 | Ass M | 2883 |  |
| 345 | Filter 1860 Hz B/P |  | 2882 | Ass N | 2883 |  |
| 346 | Filter 1980 Hz B/P |  | 2882 | Ass P | 2883 |  |
| 347 | Filter 2100 Hz B/P |  | 2882 | Ass Q | 2883 |  |
| 348 | Transistorised oscillator 420/540/660 Hz jack-in group | * | 2217 | 3 | 2874 2222 | 1 |
| 349 | Transistorised oscillator 780/900/1020 Hz jack-in group |  | 2217 | 4 | 2874 2222 | 1 |
| 350 | Transistorised oscillator 1140/1260/1380/1500 Hz jack-in group | * | 2217 | 5 | 2874 2222 | 1 |
| 351 | Transistorised oscillator 1620/1740/1860/1980/2100 Hz |  | 2217 | 6 | 2874 2222 | 1 |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 352 | Combined 420/540/660 Hz transistorised oscillator and VF receiver, jack-in group (for new work see PSI 440) | * | 2219 | 3 | 2874 2877 2222 | 1, 2 |
| 353 | Combined 780/900/1020 Hz transistorised oscillator and VF receiver, jack-in group (for new work see PSI 441) | * | 2219 | 4 | 2874 2877 2222 | 1, 2 |
| 354 | Combined 1140/1260/1380/1500 Hz transistorised oscillator and VF receiver jack-in group (for new work see PSI 442) | * | 2219 | 5 | 2874 2877 2222 | 1, 2 |
| 355 | Combined 1620/1740/1860/1980/2100 Hz transistorised oscillator and VF receiver, jack-in group (for new work see PSI 443) | * | 2219 | 6 | 2874 2877 2222 | 1, 2 |
| 356 | Interpax VF/D.C. relays at GCC for NO No 2 line (3 ccts), jack-in group | * | 1561 |  | 1092 | 2 |
| 357A | Inter PAX relay group (VF working) for GCC No 2 line at outstation, jack-in group |  | 1562 |  | 1092 | 1 |
| 357B | GCC No 2 line inter PAX group at outstations interfaced for type 73 VF (DVI 606) | * |  |  |  |  |
| 358 | Not used |  |  |  |  |  |
| 359 | Miscellaneous services rack at Bankside National less jack-in group | * | 1176 |  | 1251 SHTS 1 - 5 |  |
| 360 | Indication group selector, 10-way, with 12 telephone call relays jack-in group (see also PSI 280) | * | 2214 | 2 | 2011 | 17 & 18 |
| 361 | National meter decoder rack complete less jack-in groups and filters | * | 3212 |  | 3331 SHTS 1 - 5 |  |
| 362 | Charger cubicle, 50 amp, constant voltage, at GCC (see also PSI 85) | * | 3042 |  | 3043 |  |
| 363 | Group selector, 6-way with 12 secondary telephone outlets, jack-in group | * | 2192 | 1 | 2012 | 10 |
| 364 | National Control priority tie line telephone, jack-in group | * | 1566 |  | 1052 | 2 |
| 365 | National Control tie line group, Newcastle - Glasgow, at Newcastle, consisting of two jack-in groups one 2 position, as 1 position (for new work see PSI 459) | * | 1564 | 1, 2 | 1093 |  |
| 366 | National Control tie line group Newcastle - Glasgow, at Glasgow, jack-in group (for new work see PSI 460) | * | 1565 |  | 1094 |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 367 | National telephone rack at GCC less jack-in groups and filters | * | 1191 1115 |  | 1275 SHTS 1 - 3 |  |
| 368 | Priority tie line bothway 4-wire connector jack-in group (3 ccts per base) (for new work see PSI 424) |  | 1567 |  | 1095 |  |
| 369A | Transistorised parent sender oscillator jack-in group (see also PSI 70) (for new work at three tier stations see PSI 554) | * | 1568 2873 Ass B |  | 2873 SHT 4 1003 | 7 - 9 2 |
|  |  |  | SHTS 6 - 8 |  | SHT 1 2874 SHT 2 Ass B 2222A SHT 1 | 1 |
| 369B | Parent line switching group at Grid Control Centres (DVI 5092) | * |  |  | 1003 SHT 10 |  |
| 370 | Three-way meter sender for subliminal or VF pulsing jack-in group | * | 3166 |  | 3165 |  |
| 371 | Three-way meter decoder for subliminal or VF pulsing jack-in group | * | 3168 |  | 3167 |  |
| 372 | National assessor rack (complete less jack-in groups) | * | 1173 |  | 1274 |  |
| 373 | Miscellaneous repeater relay jack-in group (16 ccts) | * | 1563 |  | 1087 |  |
| 374 | National teleprinter operator cct jack-in group (2 ccts) | * | 1570 |  | 1096 |  |
| 375 | Filter, 2000 Hz low pass (with stop band extended to 3.4 kHz) (see also PSI 121 and 308) | * | 2892 |  | 2893 |  |
| 376 | Transistorised VF receiver (420-1020 Hz) jack-in group (for new work see PSI 437) | * | 2218 2876 | 2 | 2877 2222 | 2 |
| 377 | Transistorised VF receiver (1140-2820 Hz) jack-in group (see PSI 318 & 5) (for new work see PSI 437) | * | 2218 2876 | 3 | 2877 2222 | 2 |
| 378 | Mark II minor system, jack-in group at parent for line to satellite station (2 kV isolation) | * | 1557 | 7 | 1602 | 3 |
| 379 | Mark II minor system, jack-in group at parent for line to satellite station (5 kV isolation) | * | 1556 | 7 | 1602 | 3 |
| 380 | Mark II minor system, combined line signalling and terminating unit excluding transformers and jack-in relay group (5 kV isolation) | * | 1198 | Ass 2 Ass 3 Ass 4 | 1280 |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 381 | Mark II minor system 16-way telegraph repeater from major system, at Major station, jack-in group | * | 2136 |  | 2135 |  |
|  |  |  |  |  | 2222 | 4 & 5 |
| 382 | Protection acceleration (Mk II), terminal station VF (2220 - 2820 Hz) jack-in group (see also PSI 808) | * | 2195 | 1 | 2194 2874 2900 | A |
| 383 | Protection acceleration, (Mk II), terminal station VF (420 - 660 Hz) jack-in group | * | 2195 | 3 | 2194 2874 2900 | C |
|  |  |  |  |  | 2222 | 1, 2 |
| 384 | Protection acceleration (Mk II), terminal station VF (780 - 1020 Hz) jack-in group | * | 2195 | 4 | 2194 2874 2900 | C |
|  |  |  |  |  | 2222 | 4 & 5 |
| 385 | Protection acceleration (Mk II), terminal station VF (1140 - 1500 Hz) jack-in group | * | 2195 | 5 | 2194 2874 2900 | C |
|  |  |  |  |  | 2222 | 4 & 5 |
| 386 | Protection acceleration (Mk II), terminal station VF (1620 - 2100 Hz) jack-in group | * | 2195 | 6 | 2194 2874 2900 | C |
|  |  |  |  |  | 2222 | 4 & 5 |
| 387 | Protection acceleration (Mk II), tandem station VF (2220 - 2820 Hz) jack-in group | * | 2195 | 2 | 2194 2874 2900 | B |
|  |  |  |  |  | 2222 | 4 & 5 |
| 388 | Protection acceleration (Mk II), tandem station VF (420 - 660 Hz) jack-in group | * | 2195 | 7 | 2194 2874 2900 | D |
|  |  |  |  |  | 2222 | 4 & 5 |
| 389 | Protection acceleration (Mk II), Tandem station VF (780 - 1020 Hz) jack-in group | * | 2195 | 8 | 2194 2874 2900 | D |
|  |  |  |  |  | 2222 | 4 & 5 |
| 390 | Protection acceleration (Mk II) tandem station VF (1140 - 1500 Hz) jack-in group | * | 2195 | 9 | 2194 2874 2900 | D |
|  |  |  |  |  | 2222 | 4 & 5 |
| 391 | Protection acceleration (Mk II), tandem station VF (1620 - 2100 Hz) jack-in group | * | 2195 | 10 | 2194 2874 2900 | D |
|  |  |  |  |  | 2222 | 4 & 5 |
| 392 | Protection acceleration (Mk II), D.C. at tandem or terminal station jack-in group | * | 2227 | 1 | 2226 | A |
| 393 | Protection acceleration (Mk II) D.C. line group at outstation jack-in group (2 kV isolation) | * | 2095 | 14 | 2226 | B |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 394 | Protection acceleration (Mk II) D.C. line group at outstation jack-in group (5 kV isolation) | * | 2096 | 14 | 2226 | C |
| 395 | Above speech dialling oscillator, amplifier and signalling relays at GCC for Major station No 1 line transistorised jack-in group | * | 1537 |  | 1035 | 1 |
| 396 | Above speech dialling, receiver, amplifier and signalling relays at outstation transistorised jack-in group (for new work see PSI 446) | * | 1538 |  | 1035 | 2 |
| 397 | Not used |  |  |  |  |  |
| 398 | Mark II minor system, 16-way telegraph, telegraph installation and acknowledge group at Minor station jack-in group (for new work see PSI 576) | * | 2138 |  | 2137 |  |
| 399 | Overflow cubicle with link field, wired for station requirements but fitted with fuse panel, alarm relays, test meters and including wiring for 10 GI PAX extension connectors and associated bank multiple (for three tier working see PSI 531) |  | 2225 | 1 | 2215 |  |
| 400 | Telephone calling group (special), GCC to outstation, jack-in group |  | 2229 | 1 | 2228 | 2 |
| 401 | Telephone calling group (special), outstation to GCC jack-in group |  | 2095 | 15 | 2228 | 1 |
| 402 | Filter 2460 Hz B/P (see also PSI 115) | * | 2882 | T | 2883 |  |
| 403 | Filter 2580 Hz B/P (see also PSI 116) | * | 2882 | U | 2883 |  |
| 404 | Filter 2700 Hz B/P (see also PSI 210) | * | 2882 | V | 2883 |  |
| 405 | Filter 2820 Hz B/P (see also PSI 211) | * | 2882 | W | 2883 |  |
| 406 | Overflow cubicle Mk II with link field wired for station requirements and fitted with fuse panel, alarm relays and test meters, and with 21 jack-in positions, (superseding PSI 144 for new work) | * | 2102 | 2 | 2317 |  |
| 407 | TGO telemeter receiver with direction relays jack-in group, type A fast (for new work see PSI 476) |  | 3175 |  | 3178 |  |
| 408 | TGO telemaster receiver with direction relays, jack-in group, type B medium (for new work see PSI 477) | * | 3175 |  | 3179 |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 409 | Test routiner for Mk II accelerated tripping at tandem point jack-in group | * | 2193 |  | 2190 |  |
| 410A | Combined line signalling and terminating unit (5 kV isolation) equipped with meter, links, jacks, framework and terminal block (excluding transformers) | * | 2094 | 2 | 2097 |  |
| 410B | Line terminating unit less transformers for 5 kV for use with type 73 VF without D.C. interface (DVI 639) | * |  |  |  |  |
| 410C | Line terminating unit less transformers for 5 kV for use with type 73 VF with D.C. interface (DVI 615 and 616) | * |  |  |  |  |
| 411 | Protection acceleration (Mk II) rack complete less jack-in groups and filters | * | 2231 | 1 | 2232 |  |
| 412 | Not used |  |  |  |  |  |
| 413 | D.C. line signalling and amplifier jack-in group at GCC's |  | 2230 | 1 | 2113 2222 | 1 3 |
| 414 | Above speech dialling rack at GCC less jack-in groups and filters |  | 1193 |  | 1279 |  |
| 415A | VF dialling group with transistorised oscillator at GCC for Major station line, jack-in group (2 circuits per base) |  | 1539 |  | 1035 | 1 |
| 415B | VF dialling groups for use at GCC for Major station lines, jack-in group (2 ccts per base) for use with remote VF equipment (DVI 5090) | * |  |  |  |  |
| 416 | Converter unit D.C./D.C. for line signalling with 50 V D.C. input and 4 outputs each of 50 V, 100 mA D.C. 5 kV isolation between input and outputs, and 2 kV isolation between outputs (for 2 output version see PSI 844) | * | 3213 |  | 3045 |  |
| 417A | Transformer tap control and indication sender jack-in group at Mk II and Mk III Minor stations (for new work use 'C' version) | * |  |  | 2233 SHT 2 |  |
| 417B | Transformer tap change control and indicate sender at Major and Minor stations (jack-in group), with GEC Thermal timer) | * |  |  | 2233 SHT 2 |  |
| 417C | Transformer tap change control and indication sender at Major and Minor stations, jack-in group (with PSI 849B timer incorporated) | * |  |  | 2233 SHT 3 |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 418 | Transformer tap indicating jack-in group at Major station for Mk II minor system |  | 2235 | 1 | 2233 | 2 |
| 419G/A | Link field extension (40 point - left hand) for GEC PSI 291 Mk II minor cubicle (points 81 - 120) |  | 2076 | 12 |  |  |
| 419G/B | Link field extension (40 point - right hand) for GEC PSI 291 Mk II minor cubicle (points 121 - 160) |  | 2076 | 12 |  |  |
| 419G/C | Link field extension (40 point upper) for GEC PSI 406 cubicle (all point Nos) |  | 2076 | 12 |  |  |
| 419G/D | Link field extension (40 point lower) for GEC/PSI 406 cubicle (all point Nos) |  | 2076 | 12 |  |  |
| 419S/A | Link field extension (40 point - left hand) for STC PSI 291, Mk II minor cubicle (points 81 - 120) |  | 2076 | 12 |  |  |
| 419S/B | Link field extension (40 point - right hand) for STC PSI 291, Mk II minor cubicle (points 121 - 160) |  | 2076 | 12 |  |  |
| 419S/C | Link field extension (40 point upper or lower) for STC PSI 406 cubicle (all point Nos) |  | 2076 | 12 |  |  |
| 420 | Telemeter rack, with special shelf E, complete less jack-in groups (see also PSI's 49, 534, 776, 777) |  | 3214 3218/9 |  | 3116 |  |
| 421 | Power pack cubicle 250-0-250 V D.C. at GCC (1 circuit per cubicle) | * | 3008 |  | 3046 |  |
| 422 | Installation charge at GCC for each rack using above-ceiling cabling and including fluorescent rack lighting, ladder-rails, and all cabling inside the apparatus room but excluding cabling from racks to the control room (see also PSI 222) (not used) |  |  |  |  |  |
| 423 | Div HQ junction and transistorised amplifier jack-in group at GCC including uniselector mechanisms (see also PSI 73) | * | 1571 |  | 1006 |  |
| 424 | Telephone jack-in group at GCC for inter GCC tie-line, 1 cct per base (replaces PSI 368) | * | 1572 |  | 1610 |  |
| 425 | Inter GCC tie-line sender jack-in group with 10 telephone call relays | * | 2241 |  | 2239 | 2 |
| 426 | Inter GCC tie-line common relays jack-in group | * | 2240 |  | 2239 | 1 |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 427 | Cordless board circuits at national control for GCC operator and teleprinter clerk jack-in group, 2 ccts per base | * | 1569 |  | 1611 |  |
| 428 | Telephone tie line group, manual-auto, for connection of GI - PAX to Post Office PABX No 4 jack-in group, 2 ccts per base (for National Control) | * | 1573 |  | 1612 |  |
| 429 | Combined line terminating rack and overflow station rack at National Control for 30 lines (see also PSI 213) |  |  |  |  |  |
| 430 | Not used |  |  |  |  |  |
| 431 | Miscellaneous alarm rack at GCC (see also PSI 798) | * | 2244 | 1 | 2262 |  |
| 432 | Station alarm relays at GCC (20 circuits) jack-in group |  | 2242 | 1 | 2011 |  |
| 433 | Line end open auxiliary relay group at GCC (23 circuits) jack-in group |  | 2243 | 1 | 2011 |  |
| 434 | Attendants' alarm unit, wall mounted | * | 2245 | 1 | 2236 |  |
| 435 | Telemetering electronic summating amplifier jack-in group (2 ccts per base) | * | 3162 |  | 3161 |  |
| 436 | Plug-in patching board (200-way) |  | 3164 |  | 3163 |  |
| 437A | Transistorised VF receiver jack-in group (see also PSI 318, 376, 377) | * | 2218 2899 | 4 | 2900 2222 | 12 |
| 437B | Transistorised VF receiver jack-in group, with tone monitoring facilities. | * | 7298 |  | 7298 | 4 |
| 438 | Combined 300 Hz transistorised oscillator and receiver jack-in group (see also PSI 319) | * | 2219 2899 | 7 | 2900 2874 2222 | 11, 12 |
| 439A | Combined 2220/2340/2460/2580/2700/2820 Hz transistorised oscillator and receiver jack-in group (see also PSI 320) |  | 2219 2899 | 8 | 2900 2874 2222 | 11, 12 |
| 439B | Combined 2220/2340/2460/2580/2700/2820 Hz transistorised oscillator and receiver with tone monitoring, jack-in group |  | 7298 |  | 7298 |  |
| 439C | Combined 2220/2340/2460/2580 Hz transistorised oscillator and receiver with tone monitoring jack-in group |  | 7298 |  | 7298 |  |
| 440 | Combined 420/540/660 Hz transistorised oscillator and receiver jack-in group (see also PSI 352) | * | 2219 | 9 | 2900 2874 2222 | 11, 12 |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 441 | Combined 780/900/1020 Hz transistorised oscillator and receiver jack-in group (see also PSI 353) | * | 2219 | 10 | 2900 2874 2222 | 11, 12 |
| 442 | Combined 1140/1260/1380/1500 Hz transistorised oscillator and receiver jack-in group (see also PSI 354) |  | 2219 | 11 | 2900 2874 2222 | 11, 12 |
| 443 | Combined 1620/1740/1860/1980/2100 Hz transistorised oscillator and receiver jack-in group (see also PSI 355) |  | 2219 | 12 | 2900 2874 2222 | 11, 12 |
| 444 | Combined 300 Hz transistorised oscillator receiver and speech amplifier jack-in group (see also PSI 321) | * | 2220 | 3 | 2900 2874 2222 | 11, 12 |
|  |  |  |  |  |  | 13 |
|  |  |  |  |  | 2880 |  |
| 445 | Combined 2220/2340/2460/2580/2700/2820 Hz transistorised oscillator, receiver and speech amplifier jack-in group (see also PSI 322) |  | 2220 | 4 | 2900 2874 2880 2222 | 11, 12 & 13 |
| 446 | Above speech dialling receiver, amplifier and signalling relays at outstation transistorised jack-in group (see also PSI 396) |  | 1538 | 2 | 1035 | SHT 2 |
| 447A | Telephone jack-in group at GCC for line to National Control, 1 circuit per base (replaces PSI 184) |  | 1576 |  | 1613 |  |
| 447B | National telephone line jack-in group, 1 circuit per base Glasgow GCC only |  |  |  | 7468 |  |
| 448 | Telephone rack at National Control | * | 1194 SHT 1 |  | 1282 SHTS 1 - 2 |  |
| 449 | Telephone line jack-in group, 4-wire including hybrid, with tie-line calling facilities for use at National Control | * | 1577 |  | 1614 |  |
| 450 | Line finder jack-in group for tie-line between GI - PAX and Post Office PABX No 4, 2 circuits per base, including uniselectors | * | 1578 |  | 1615 |  |
| 451 | Six digit key sender storage relays jack-in group | * | 1579 |  | 1616 | 1 |
| 452 | Six digit key sender impulse generator jack-in group | * | 1580 |  | 1616 | 2 |
| 453 | Six digit key sender auxiliary jack-in group | * | 1581 |  | 1616 | 3 |
| 454 | Inter GCC tie-line auxiliary sender jack-in group (40 points) | * | 2259 |  | 2239 | 3 |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 455 | Meter sender and decoder rack for 10 transistorised senders and 10 transistorised decoders complete less jack-in groups and filters |  | 3217 |  | 3047 |  |
| 456 | Wall mounting unit housing protection signalling terminal equipment for temporary schemes, including line terminating facilities, but less jack-in groups, filters and line transformers, 5 kV isolation (see also PSI 761 and 778) |  | 2260 |  | 2261 |  |
| 457 | TGO telemeter receiver with direction relays jack-in group slow response | * | 3195 | 1 | 3198 |  |
| 458 | TGO telemeter receiver with direction relays jack-in group very slow response | * | 3195 | 2 | 3199 |  |
| 459 | Telephone jack-in group at Newcastle GCC for Glasgow tie-line (replaced PSI 365) | * | 1582 |  | 1617 |  |
| 460 | Telephone jack-in group at Glasgow GCC for tie-line to adjacent GCC (replaced PSI 366) | * | 1583 |  | 1618 |  |
| 461 | Div HQ auxiliary network connector, 200 point, jack-in group |  | 1575 |  | 1080 |  |
| 462 | Overflow telephone rack complete less jack-in groups, 2-motion switches and uniselector mechanisms |  | 1123 |  | 1283 |  |
| 463 | Jack-in relay group at National Control, ccts as follows:- |  | 2031 | 4 | 2121 2011 | 2, 3, 4 |
|  | (a) Telephone selections 1 - 12 |  |  |  |  |  |
|  | (b) Facility for extending telephone selections to 16 |  |  |  |  |  |
|  | (c) 16-way telegraph |  |  |  |  |  |
|  | (d) Watts instructor |  |  |  |  |  |
|  | (superseded PSI 258) |  |  |  |  |  |
| 464 | Single vertical extension to existing intermediate distribution frames (see also PSI 54) |  | 1017 | Ass 2 |  |  |
| 465A | Over/under voltage trip unit at GCC single phase (see also PSI 635A) | * | 3234 |  | 3233 |  |
| 465B | Over/under voltage trip unit at GCC (Nottingham only) single phase | * | 3234 |  | 3233 |  |
| 466 | Electronically controlled power pack (+80-95-120-150 V) wall mounted, with separate A.C. input (not used) |  |  |  |  |  |
| 467 | A.C. primary distribution fuse box wall mounted (for new work see PSI 810) | * | 3237 |  | 3236 |  |
| 468 | A.C. supply cubicle (without distribution outlets) | * | 3224 |  | 3223 |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 469 | D.C. supply cubicle, 50 volt (without distribution outlets) | * | 3227 |  | 3226 |  |
| 470 | Power pack cubicle 250-0-250 V D.C. (without distribution outlets) | * | 3230 |  | 3229 |  |
| 471 | Charger cubicle, 50 amp, constant voltage for use with regulated A.C. input | * | 3232 |  | 3231 |  |
| 472 | A.C. and HT distribution trunking complete with sockets, links and fuses at GCC | * | 3238 |  | 3281 SHT 2 |  |
| 473 | 50 volt D.C. distribution trunking complete with fuses and alarm lamp at GCC | * | 3240 |  | 3281 SHT 2 |  |
| 474 | Feeder flow telemeter receiver (with printed circuit) fast response, jack-in group (see also PSI 63) | * | 3176 |  | 3173 |  |
| 475 | Feeder flow telemeter receiver (with printed circuit). Medium response, jack-in group (see also PSI 94) | * | 3176 |  | 3174 |  |
| 476 | TGO telemeter receiver (with printed circuit) with direction relays, jack-in group, type A, fast (see also PSI's 64 and 407) | * | 3196 |  | 3193 |  |
| 477 | TGO telemeter receiver, (with printed cct) with direction relays, jack-in group, type B medium (see also PSI's 65 and 408) | * | 3196 |  | 3194 |  |
| 478 | Control telephone for three tier working, (2 circuits). Jack-in group (replaces PSI 28) | * | 1501 | 2 | 1000/5 | 1 |
| 479 | Telephone common equipment and operator's circuit for three tier working at outstations (replaces PSI 27) | * | 1503 | 2 | 1000/5 | 2 |
| 480A | Code receiver for digital instruction and 16-way telegraph at outstations jack-in group (replaces PSI 18) | * | 2269 | 1 | 2268 | 1 |
| 480B | Code receiver for digital instruction and 16-way telegraph at outstations equipped with GI 74 | * | 2269 |  | 2268 SHT 3 | 1 |
| 481A | 16-way telegraph, inhibited telegraph acknowledge (1 cct) and digital instruction acknowledge (3 ccts) jack-in group (replaces PSI 19 for three tier working) | * | 2270 | 1 | 2287 |  |
| 481B | 16-way telegraph inhibited telegraph acknowledge (1 cct) and digital instruction acknowledge (3 ccts) jack-in group for outstation equipped with GI 74 | * | 2270 |  | 2287 SHT 2 | 1 & 2 |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 482 | Inter control room telephone calling group (3 circuits per base) (see also PSI 638) | * | 1590 |  | 1624 |  |
| 483 | Line end open rack at three tier control centres | * | 2271 | 1 | 2272 |  |
| 484 | Line end open annunciation jack-in group at three tier control centres (20 ccts) | * | 2273 | 1 | 2265 |  |
| 485 | Not used |  |  |  |  |  |
| 486 | Indication receiver jack-in group at three tier control centres | * | 2274 | 1 | 2265 |  |
| 487 | General annunciation rack at three tier control centres | * | 1702 |  |  |  |
| 488 | Station alarm jack-in group at three tier control centres (25 circuits) | * | 1594 |  | 1629 |  |
| 489 | Circuit-breaker annunciation chime control group, at three tier control centres | * | 1595 |  | 1630 |  |
| 490 | Loading diagram annunciation chime control group at three tier control centres | * | 1596 |  | 1631 |  |
| 491 | Annunciation (50 ccts) jack-in group at three tier control centres | * | 1597 |  | 1632 |  |
| 492 | Line terminating rack at three tier control centres | * | 1707 |  | 1628 |  |
| 493 | Area telephone rack at three tier control centres | * | 1701 |  | 1288 |  |
| 494 | Station finder and above speech dialling rack | * | 1705 |  | 1286 |  |
| 495 | Station finder extension group | * | 1588 |  | 1623 | 1 |
| 496 | Telephone flash and alarm groups | * | 1591 |  | 1625 | 1 |
| 497 | District control room common telegraph jack-in group | * | 2275 | 1 | 2288 2289 | 3 3 |
| 498 | 10-way meter decoder rack at three tier control centres (see also PSI 47) (DVI 5087) | * | 3245 |  | 3246 SHT 3 |  |
| 499A | 10-way meter decoder with transistorised VF receiver. Jack-in group (see also PSI 62) | * | 3177 |  | 3172 |  |
| 499B | 10-way meter decoder interfaced for type 73 VF (DVI 5088) | * |  |  |  |  |
| 500 | 3-way decoder rack at three tier control centres | * | 3248 |  | 3247 |  |
| 501 | VF receiver jack-in group 2220 to 2820 Hz (3 circuits per base) |  | 2276 | 1 | 2222 2900 | 14 |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 502 | Station rack at three tier control centres (see also PSI 543) | * | 1703 |  | 1285 |  |
| 503 | Common relay jack-in group at three tier control centres for use with type 73 VF (DVI 5100) | * |  |  | 2265 |  |
| 504A | Telemeter rack at three tier control centres (50 telemeters) less jack-in groups and plug-in printed circuit boards (see also PSI 49 and 534) | * | 3251 3298 |  | 3250 3252 |  |
| 504B | Telemeter rack at three tier control centres (50 telemeters) less jack-in groups and plug-in printed circuit boards (modified PSI 776) | * | 3405 |  | 3406 3407 |  |
| 505 | Telephone keyboard at standby National Control including speech feed relay flash generator and buzzer |  | 3254 |  | 3253 |  |
| 506 | Standby National rack including patching board and changeover key (see PSI 194) |  | 3257 |  | 3256 |  |
| 507 | Area control room common telegraph jack-in group | * | 2278 | 1 | 2289 | 2 |
| 508 | Main distribution frame at three tier control centres | * | 1709 |  |  |  |
| 509 | Test desk at three tier control centres (see also PSI 207) |  | 3260 |  | 3259 |  |
| 510 | Loading diagram for district control rooms, equipped with blank tiles | * | 1700 |  | 1292 3281 3226 2265 |  |
| 511 | Switching diagram for district control rooms, equipped with blank tiles | * | 2266 |  | 2322 |  |
| 512 | Loading desk for district control rooms. Finish of panels and desk top to be specified |  | 3262 |  | 3261 |  |
| 513 | Switching desk for district control rooms. Finish of panels and desk top to be specified | * | 3264 |  | 3263 |  |
| 514 | Chief control engineer's desk (Nottingham GCC only) | * | 3266 |  | 3265 |  |
| 515 | Miscellaneous instrument cubicle | * | 3268 |  | 3267 |  |
| 516 | Indication rack at three tier control centres | * | 2281 | 1 | 2282 |  |
| 517 | Tie cable IDF at existing control centres | * | 1708 |  |  |  |
| 518 | ‘Area’ telephone groups at three tier control centres (see also PSI 774 and 806) | * | 1508 | 2 | 1003/4 |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 519 | Telegraph and digital instruction jack-in group with 12 telephone selections at three tier control centres | * | 2279 | 1 | 2265 |  |
| 520 | Telephone group for 2 or 4 wire working, at three tier control centres (see PSI 563, 564, 774 and 806) | * | 1507 | 2 | 1003/3 |  |
| 521 | Network connector and above speech dialling rack at existing Grid Control Centres | * | 1706 |  | 1287 |  |
| 522 | Network connectors (2-wire) at three tier control centres | * | 1584 |  | 1619 |  |
| 523 | Network connectors (4-wire) at three tier control centres | * | 1585 |  | 1620 |  |
| 524A | Sender, auxiliary 20-point and above speech dialling jack-in group at radial and parent stations (see also PSI 16) | * | 2280 2899 | 1 | 2012 2222 1053/2 | 4 |
| 524B | Sender, auxiliary 20-point and above speech dialling jack-in group at radial and parent stations for use with remote VF equipment (DVI 598) | * |  |  |  |  |
| 525 | "Broadcast" pre-amplifier and loudspeaker at outstations (for use on existing PSI 38, for new work see PSI 615) | * |  | 1100/3 |  |  |
| 526 | Control telephone (1 cct) jack-in group for three tier working (replaces PSI 151) | * | 1502 | 2 | 1000/3 | 1 |
| 527 | Control telephone and tie line jack-in group for three tier working (replaces PSI 29) | * | 1517 | 2 | 1000/3 1019 | 1 1 |
| 528 | Control telephone and inter station dialling jack-in group for three tier working (replaces PSI 152) | * | 1520 | 2 | 1000/3 1027 | 1 1 |
| 529 | Telephone common equipment for three tier working (replaces PSI 40) | * | 1504 | 2 | 1000/5 | 2 |
| 530 | Station cubicle for three tier working, complete with alternative wiring for 4-wire operation but without jack-in groups (replaces PSI 1) | * | 2283 | 1 | 2284 |  |
| 531 | Overflow cubicle with link field for three tier working wired for station requirements but fitted with fuse panel, alarm relays, test meter and including wiring for 10 GI PAX extensions and associated bank multiple (replaces PSI 399) | * | 2285 | 1 | 2286 |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 532 | Duo path intertripping jack-in group (prototype) |  | 1574 |  | 1099 |  |
| 533 | Not used |  |  |  |  |  |
| 534 | Telemeter rack at three tier control centre (30 telemeters and special shelves D and E for summators or impulse generators) less jack-in groups and plug-in printed circuit boards (see also PSI 504A and 420) | * | 3270 3298 |  | 3269 3271 |  |
| 535 | Line terminating unit with two low-pass filters, two line transformers and two snatch frequency relays (see also PSI 827) | * | 1712 | 1 | 1628 |  |
| 536 | Line terminating unit with two line transformers (see also PSI 827) |  | 1712 | 2 |  |  |
| 537 | Rack transformer 240-110 V 600 VA for peripheral equipment rack (not used) |  |  |  |  |  |
| 538 | Lamp supply transformer for loading and switching diagrams (not used) |  |  |  |  |  |
| 539 | Protection acceleration rack for district control centres |  | 2292 | 1 | 2293 |  |
| 540 | Power unit distribution trunking complete with sockets, at GCC | * | 3242 |  | 3281 |  |
| 541 | Digital conversion rack |  | 1710 |  | 1294 |  |
| 542 | Miscellaneous electronics rack | * | 1711 |  | 1296 |  |
| 543 | No 1 station rack with control room common services (see also PSI 502) | * | 1704 |  | 1285 |  |
| 544 | Telephone call queuing jack-in groups | * | 1593 |  | 1626 |  |
| 545 | ADC buffer stores | * | 1713 |  | 1635 |  |
| 546 | Time pulse generator jack-in group | * | 1714 |  | 1636 |  |
| 547 | Time and date jack-in group | * | 1715 |  | 1637 |  |
| 548 | System frequency jack-in group | * | 1716 |  | 1638 |  |
| 549 | Time error jack-in group | * | 1717 |  | 1639 |  |
| 550 | Operator's finder start jack-in group | * | 1586 |  | 1621 |  |
| 551 | GCC & Div No 2 line to outstation jack-in group |  | 1587 |  | 1622 |  |
| 552 | TGO injection unit, colour to be specified | * | 3273 |  | 3272 3274 |  |
| 553A | Telephone console relay group (see also PSI 669) |  | 3276 |  | 3275 |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 553B | Telephone console relay group (Nottingham GCC only) |  | 3276 |  | 3275 SHT 2 |  |
| 554A | Parent sender oscillator for three tier control (see also PSI 369) | * | 1568 |  | 1003/5 |  |
| 554B | Parent sender oscillator jack-in group at Grid Control Centres for use with type 73 VF (DVI 5092) |  |  |  |  |  |
| 555 | National Control 36 point sender plus 3 re-transmit circuits, jack-in group |  | 2290 | 1 | 2122 | 2, 6 10 |
| 556 | Buffer amplifier and miscellaneous circuit board for telemetering | * | 3279 |  | 3278 |  |
| 557 | Shelf assembly for telemetering buffer amplifier | * | 3284 |  | 3283 |  |
| 558 | Overload alarm (2nd stage) jack-in group 18 ccts with flicker relays |  | 2307 | 1 | 2011 | 23 |
| 559 | Telemeter impulse generator at three tier control centre (see also PSI 203) | * | 3287 |  | 3286 |  |
| 560 | Not used |  |  |  |  |  |
| 561 | Line signalling, jack-in group for tie line without earth return, 2 kV isolation |  | 2095 SHT 14 |  | 2333 SHT 41 |  |
| 562 | Line signalling, jack-in group for tie line without earth return, 5 kV isolation |  | 2096/6 | 16 | 2333 SHT 42 |  |
| 563 | Transformer for use on station rack with PSI 520 for 2 wire working | * |  |  |  |  |
| 564 | Hybrid transformer for use on station rack with PSI 520 for 4 wire working | * |  |  |  |  |
| 565A | 16-way telegraph, inhibited telegraph acknowledge and generation instruction jack-in group (see also PSI 19) | * | 2316 | 1 | 2012 2315 2015 | 6 |
| 565B | 16-way telegraph, inhibited telegraph acknowledge and generation instruction jack-in group for use with GI 74 | * | 2316 |  | 2315 SHT 2 |  |
| 566 | Lamp test master timing unit for three tier Grid Control diagram (1 per diagram) | * | 2297 |  | 2265 | 2J |
| 567 | Apparatus Room travelling ladder |  |  |  |  |  |
| 568 | Station overflow rack at three tier control centres |  | 2294 |  | 2295 |  |
| 569 | Wall mounted A.C. 3 phase supply change-over unit. Manual operation (see also PSI 635A) | * | 3333 |  | 3281 |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 570 | Wall mounted D.C. switch with single pole and link, and centre zero ammeter | * | 3334 |  |  |  |
| 571 | Wall mounted miscellaneous fuse box for control room essential services | * | 3335 |  |  |  |
| 572 | Installation of cabling at a control centre, to include the provision, running and termination of a single multicore cable (Not used) |  |  |  |  |  |
| 573 | Erection of an apparatus rack (or equivalent) at a control centre. To include erection of tie bars, rack lighting etc (Not used) |  |  |  |  |  |
| 574 | Overflow instruction connector (3 ccts) jack-in group (see also PSI 773) |  | 2292 | 1 | 2265 | 3A |
| 575 | Minor station Mk I 16-way telegraph or limited selective control receiver jack-in group with inhibited telegraph acknowledge |  | 2328 | 1 | 2327 |  |
| 576 | Mk II minor system 16-way telegraph receiver jack-in group with inhibited telegraph acknowledge (see also PSI 398) | * | 2319 |  | 2318 |  |
| 577A | Parent telephone jack-in group for three tier working | * | 1505 | 2 | 1002 SHT 2 | 1 |
| 577B | Parent telephone group interfaced for type 73 VF (DVI 605) | * |  |  |  |  |
| 578 | Line end open and overload indication rack at National Control |  |  |  |  |  |
| 579 | Line end open and overload lamp test Routiner jack-in group at National Control, (including 4 access uniselectors, keys and lamps mounted on rack) |  |  |  |  |  |
| 580 | Line isolation transformer (Whiteley type PO No 351A). Isolation up to 14 kV r.m.s. Impedance ratio 1:1. Both windings balanced (see also PSI 135, 136, 326 and 852) | * |  |  |  |  |
| 581 | Line isolation transformer (Whiteley type PO No 351H). Isolation up to 14 kV r.m.s. Station to line impedance ratio 1:2. Both windings balanced (see also PSI 135, 136, 326 and 852) | * |  |  |  |  |
| 582 | Satellite telephone jack-in group (three circuits) for three tier working | * | 1734 |  | 1002 SHT 2 | 2 |
| 583 | Auxiliary sender and telephone call busy signalling jack-in group | * | 1735 |  | 1641 |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 584 | Not used |  |  |  |  |  |
| 585 | Not used |  |  |  |  |  |
| 586 | Protection signalling (Mk II) tandem station VF local/through switching jack-in group, including substitute plug for emergency | * | 2314 | 1 | 2310 |  |
| 587 | National 36 point sender jack-in group with transductor start circuit |  | 2375 | 1 | 2122 | 10 |
| 588G | GEC diagram cubicle for standardised LSC complete with mosaic diagram and common operate keys and lamp indications | * | 2335 | 1 | 2337 | 1 |
| 588S | STC diagram cubicle for standardised LSC complete with mosaic diagram and common operate keys and lamp indications | * | 2335 | 1 | 2337 | 1 |
| 589G | GEC diagram cubicle extension for standardised LSC complete with mosaic diagram, but less common operate keys and lamp indications | * | 2335 | 2 | 2337 | 2 |
| 589S | STC diagram cubicle extension for standardised LSC complete with mosaic diagram, but less common operate keys and lamp indications | * | 2335 | 2 | 2337 | 2 |
| 590G | GEC two end panels for suite of standardised LSC cubicles |  | 2335 | 5 |  |  |
| 590S | STC two end panels for suite of standardised LSC cubicles |  | 2335 | 5 |  |  |
| 591G | Five control and indicate discrepancy keys for GEC standardised LSC complete with lamp, cable and drilled tile coloured to suit | * | 2335 | 11 | 2332 | 2A & 2B |
| 591S | Five control and indicate discrepancy keys to STC standardised LSC complete with lamp, cable and drilled tile coloured to suit | * | 2336 | 11 | 2332 | 2A & 2B |
| 592G | Five indicate only discrepancy keys for GEC standardised LSC, complete with lamp, cable and drilled tile coloured to suit | * | 2335 | 12 | 2332 | 2A or 7 |
| 592S | Five indicate only discrepancy keys for STC standardised LSC, complete with lamp, cable and drilled tile coloured to suit | * | 2335 | 12 | 2332 | 2A or 7 |
| 593 | Alarm facia 24 way (6 high and 4 wide) for standardised LSC, fully wired equipped with blank amber legends and fitted with lamps and resistors |  | 2335 | 21 | 2332 | 4 |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 594G | Tap position instrument (22 positions) for GEC standardised LSC, wired and fitted to a blanking plate and associated raise/lower key complete with label | * | 2334 | 22 | 2332 | 13 |
| 595S | Tap position instrument (22 position) for STC standardised LSC, wired and fitted to a blanking plate and associated raise/lower key complete with label |  | 2335 | 22 | 2332 | 13 |
| 594S (A) | Tap position raise/lower key, complete with engraved tiles for use with PSI 869A | * |  |  |  |  |
| 595A | Common miscellaneous relay jack-in group for standardised LSC (for use with Mk II minor systems) (for new work use PSI 595B) | * | 2341 |  | 2332 | 8A, 3B, 9, 11, 12, 16 |
| 595B | Common miscellaneous relay jack-in group for standardised LSC (for use with Mk II and Mk III minor systems for new work) | * | 2341 |  | 2332 | 8A, 8B , 9, 11A, 12, 16 |
| 596 | Alarm relay jack-in group (15 circuits) for standardised LSC | * | 2342 | 1 | 2332 | 4 |
| 597 | Relay jack-in group (22 tap position indications two circuits per group) for standardised LSC (for new work see PSI 828) | * | 2343 | 1 | 2332 | 13 |
| 598G | Load reduction unit for GEC standardised LSC complete with relays, lamps and keys, with labels and wiring tail | * | 2335 | 31 | 2332 | 5 & 6 |
| 598S | Load reduction unit for STC standardised LSC complete with relays, lamps and keys with labels and wiring tail | * | 2335 | 31 | 2332 | 5 & 6 |
| 599G | Control key plate for GEC standardised LSC complete with key and two separate lamps | * | 2335 | 32 | 2332 | 3B & 3D |
| 599S | Control key plate for STC standardised LSC complete with key and two separate lamps |  | 2335 | 32 | 2332 | 3B & 3D |
| 600G | Control key plate for GEC standardised LSC complete with two keys fitted with integral lamps | * | 2335 | 33 | 2332 | 3B & 3C |
| 600S | Control key plate for STC standardised LSC complete with two keys fitted with integral lamps | * | 2335 | 33 | 2332 | 3B & 3C |
| 601 | Installation charge per standardised LSC cubicle, including erection, jumpering, cabling and glanding. The supply of 200 or 2 x 100 pair SWA cables and SWA power cable for 50 V d.c. (Not used) |  | 2335 | 41 | 2336 |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 602 | Installation charge for the supply, glanding and terminating of a 100 pair SWA cable (std LSC) (Not used) |  | 2335 | 42 | 2336 |  |
| 603 | Switching Desk for Area Control Room (left-hand keyboard). Finish of panels and desk top to be specified | * | 3364 |  | 3363 |  |
| 604 | Switching desk for area control room (right-hand keyboard). Finish of panels and desk top to be specified | * | 3365 |  | 3363 |  |
| 605 | Loading desk for area control room. Finish of panels and desk top to be specified | * | 3367 |  | 3368 |  |
| 606 | Control clerk's desk for area control (see also PSI 738). Finish of panels and desk top to be specified | * | 3370 |  | 3369 3371 |  |
| 607 | Loading diagram for area control room, equipped with blank tiles | * | 1743 |  | 1298 SHTS 1 - 3 |  |
| 608 | Switching diagram for area control room, equipped with blank tiles | * | 2366 |  | 2362 |  |
| 609 | National configuration diagram | * | 2367 |  | 2362 SHT 2 |  |
| 610 | Operator's keyboard at Grid Control Centre (see also PSI 90) | * | 1725 | 2 | 1004 1297 |  |
| 611 | Chief control engineer's desk for area control room. Finish of panels and desk top to be specified | * | 3373 |  | 3374 3372 |  |
| 612 | Meter fail relay (MF) for 3-way decoder mounting details, at outstations |  | 2102 | 17 | 2222 | 12A |
| 613 | Panel with 35 check keys, cableform and tagblock for switching desk at Grid Control Centre, colour to be specified | * | 3171 |  | 3170 |  |
| 614 | Miscellaneous instrument section for area control room (comprises 2 units) | * | 1744 |  | 1748 |  |
| 615 | Broadcast pre-amplifier and loudspeaker, with connection cable, at outstations (see also PSI 525 and 38) | * | 1726 |  | 1736 |  |
| 616 | 16-way telegraph keys for outstation (18 loose keys) with connection cable, (see also PSI 38) | * | 1727 |  | 1737 |  |
| 617 | TGO Watts and Vars indicating instruments at outstation, with terminal block and connection cable. To be scaled as specified (see also PSI 38) | * | 1728 |  | 1738 |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 618 | TGO digital instruction equipment, with connection cable, at outstations (see also PSI 38) | * | 1729 |  | 1739 |  |
| 619 | Audible alarm equipment at outstation, with terminal block and connection cable (see also PSI 38) | * | 1730 |  | 1740 |  |
| 620 | Mk III minor system cubicle at Minor station complete with resistor and diode blocks (400 circuits) | * | 2352 | 1 | 2353 |  |
| 621 | Mk III minor system digital instruction and 16-way telegraph re-transmitter jack-in group at major station | * | 2346 | 1 | 2330 |  |
| 622 | Mk III minor system telephone connector jack-in group at Minor station | * | 1750 |  | 1652 | 1 |
| 623 | Mk III minor system digital instruction and 16-way telegraph decoder jack-in group at Minor station | * | 2347 | 1 | 2331 | 1 |
| 624 | Mk III minor system 400 point indication sender jack-in group at Minor station | * | 2348 | 1 | 2339 | 1 |
| 625 | Mk III minor system common relay jack-in group at Minor station | * | 2349 | 1 | 2338 |  |
| 626 | Mk III minor system telephone and instruction common jack-in group at Major station | * | 1749 |  | 1645 |  |
| 627A | Transductor start circuit equipment (100 points maximum) with power unit and inverter. Not used for new work. | * | 2370 | 1 | 2340 | 1 |
| 627B | Transistorised start circuit equipment (100 point maximum) with power unit. Not used for new work. | * | 25151 |  | 25150 |  |
| 627C | Solid State start circuit (100 point maximum). Used for new work. | * |  |  | 03/2275 |  |
| 628 | Regulated supply transformer, input 160 - 265 V, 46.5 - 50.50 Hz output 150 VA at 25-0-25 V (see also PSI 167) | * | 3018 |  |  |  |
| 629 | Inter GCC tie line priority VF receiver, with 4-wire switching relays jack-in group | * | 1718 |  | 1644 |  |
| 630 | Not used |  |  |  |  |  |
| 631 | Standardised LSC synchro check override (10 circuits) jack-in group | * | 2345 | 1 | 2334 | 1 |
| 632 | Standardised LSC system synchronise (8 circuits) and synchro check override (10 circuits) jack-in group | * | 2345 | 2 | 2334 | 2 & 3 |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 633G | System synchronise control for GEC standardised LSC control keyplate complete with keys and lamps |  | 2335 | 34 | 2332 | 14, 15 & 16 |
| 633S | System synchronise control for STC standardised LSC control keyplate complete with keys and lamps |  | 2335 | 34 | 2332 | 14, 15 & 16 |
| 634G | Five GEC indication lamp units with 1" translucent mosaic tile, 60 V D.C. lamp, lampholder and connecting cable |  | 2335 | 13 | 2332 | 15 |
| 634S | Five STC indication lamp units with 1" translucent mosaic tile, 60 V D.C. lamp, lampholder and connecting cable |  | 2335 | 13 | 2332 | 15 |
| 635A | Over/under voltage trip unit at GCC 3-phase consisting of 2 wall-mounted units (see also PSI 465) | * | 3375 |  | 3376/1 |  |
| 635B | Over/under voltage trip unit at St Albans GCC only, consisting of 2 wall-mounted units | * | 3375 |  | 3376/2 |  |
| 636 | Wall-mounted A.C. 3-phase supply change-over unit and diesel/-alternator controls | * | 3378 |  | 3379 |  |
| 637 | Single-point annunciation auxiliary relays jack-in group, 20 circuits per base at GCC | * | 2374 | 1 | 2011 | 32 |
| 638 | Area-District inter control room telephone jack-in group, 4 cct per base (see also PSI 482) | * | 1746 |  | 1649 |  |
| 639 | Common relay jack-in group at GCC modified for three tier working (modified PSI 55) | * | 2030 | 2 | 2011 | 24 |
| 640 | Mk II and Mk III minor system transformer temperature indication circuit, jack-in group | * |  |  |  |  |
| 641 | Telemetering selective repeat key panel complete with 60 keys and 1 relay at GCC. Colour to be specified | * | 3381 |  | 3382 |  |
| 642 | Telemetering plug-in printed circuit board suitable for selective repeat indications | * | 3390 |  | 3391 |  |
| 643 | Inter control room 10-way instructor key panel in area control room (3 x 10 circuits). Colour to be specified | * | 3384 |  | 3385 |  |
| 644 | Inter control room 10-way instruction receiver key panel in district No 1 control rooms (1 x 10 circuits). Colour to be specified | * | 3386 |  | 3387 |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 645 | TGO digital instructor and display panel in area and district No 1 control rooms. Colour to be specified | * | 3388 |  | 3389 |  |
| 646 | Broadcast amplifier with mounting details but less loudspeaker | * | 1753 |  | 1654 |  |
| 647A | Telemetering plug-in printed circuit board with basic facilities only | * | 3392 SHTS 1 & 2 |  | 3393 SHT 1 |  |
| 647B | Telemetering plug-in printed cct board (output) with basic facilities for use with transistorised telemeter rack PSI 867 (DVI 5113) | * | 3392 SHTS 3 & 4 |  | 3393 SHT 2 |  |
| 648 | Telemetering plug-in printed circuit board suitable for electronic summator or impulse generator units | * | 3394 |  | 3395 |  |
| 649 | Not used |  |  |  |  |  |
| 650 | Mk III minor system 16-way telegraph receiver with inhibited telegraph acknowledge (1 circuit) jack-in group | * | 2351 | 1 | 2344 | 2 |
| 651 | Communication diesel alternator set remote control panel complete with keys, lamps, voltmeter and ammeter. Colour to be specified | * | 3396 |  | 3397 |  |
| 652 | Mk II major system receiver rack at GCC | * | 15097 |  | 15098 |  |
| 653A | Mk II major system telemeter storage jack-in group without plug in boards (hundreds, tens and units) | * | 15050 |  | 15051 15053 |  |
| 653B | Mk II major system telemeter storage jack-in group without plug in board (hundreds and tens only) | * | 7301 SHT 2 |  | 7301 SHT 3 |  |
| 654 | Mk II major system set of three digital plug-in boards to telemeter storage group | * | 15052 |  | 15051 |  |
| 655A | Mk II major system set of three analogue plug-in boards for telemeter storage group | * | 15054 | SHT 1 | 15053 | 1, 2 & 3 |
| 655B | Mk II major system set of two analogue plug-in boards (hundreds and tens only) for telemeter storage group | * | 15054 | SHT 1 | 15053 | 1, 2 & 3 |
| 656A | Mk II major system line end open indication and acknowledge jack-in group (20 circuits) | * | 15056 SHT 1 |  | 15055 SHT 1 |  |
| 656B | Mk II major system line end open indication and acknowledge jack-in group (20 circuits) with plug-in relays (GEC) | * | 15056 SHT 2 |  | 15055 SHT 2 |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 657 | Mk II major system national tie-line and telephone rack | * | 15099 |  | 15100 |  |
| 658 | Mk II major system national telephone jack-in group | * | 15060 |  | 15059 |  |
| 659 | Mk II major system national tie-line jack-in group | * | 15062 |  | 15061 |  |
| 660 | Mk II major system common services rack | * | 15089 |  | 15090 |  |
| 661 | Mk II major system area telephone jack-in group | * | 15066 |  | 15065 |  |
| 662 | Mk II major system push button answering jack-in group 2 telephones |  | 15068 |  | 15067 |  |
| 663 | Mk II major system general supervision and alarm jack-in group |  | 15064 |  | 15063 |  |
| 664 | Mk II major system computer supervision and alarm jack-in group | * | 15070 |  | 15069 |  |
| 665 | Mk II major system time pulse generation jack-in group |  | 15058 |  | 15057 |  |
| 666 | Mk II major system, system frequency analysis jack-in group |  | 15078 |  | 15077 |  |
| 667 | Mk II major system, broadcast jack-in group, system frequency | * | 15086 |  | 15085 |  |
| 668 | Mk II major system, main distribution frame at National | * | 15093 |  | - |  |
| 669 | Clerk's desk telephone group consisting of two jack-in units (see also PSI 553A) | * | 3404 |  | 1651 |  |
| 670 | Mk II major system, display jack-in group, analogue | * | 15080 |  | 15079 |  |
| 671 | Power inverter unit 375 VA output | * |  |  |  |  |
| 672 | Mk II major system frequency error and date coding jack-in group (not used) |  | 15072 |  | 15071 |  |
| 673 | Not used |  |  |  |  |  |
| 674 | Mk II major system frequency analysis cyclometer jack-in group |  | 15074 |  | 15073 |  |
| 675 | Mk II major system line terminating unit with 2 low-pass filters (2300 Hz) and two line transformers (see also PSI's 818 and 827) | * | 15076 |  | 15075 SHT 1 |  |
| 676 | Mk II major system line rack at National | * | 15091 |  | 15092 |  |
| 677 | Mk II major system overflow line rack at National |  |  |  |  |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 678 | Mk II major system, broadcast jack-in group, rate of change | * | 15088 |  | 15087 |  |
| 679 | Mk II major system, display and analysis jack-in group, system frequency |  | 15082 |  | 15081 |  |
| 680 | Not used |  |  |  |  |  |
| 681 | Mk II major system sender rack at GCC | * | 25087 | 1 | 25078 |  |
| 682 | Mk II major system paragraph allotter and request check memory jack-in group | * |  | 1 | 25101 |  |
| 683 | Mk II major system miscellaneous points transmit jack-in group at GCC | * |  |  | 25102 |  |
| 684 | Mk II major system miscellaneous points receive jack-in group at GCC | * |  | 1 | 25103 |  |
| 685 | Mk II major system miscellaneous points transmit jack-in group at National | * |  | 1 | 25104 |  |
| 686 | MK II major system miscellaneous points receive jack-in group at National | * |  | 1 | 25105 |  |
| 687 | Mk II major system 16-way telegraph and acknowledge jack-in group | * |  | 1 | 25106 |  |
| 688 | Mk II major system start unit with 2 x 50 diodes and resistors, 10 word relays and 1 address plug assembly | * | 25115 |  | 25109 25108 |  |
| 689 | Mk II major system start unit without diodes and resistors but with terminal block, 10 word relays, start relay and address plug and lamp assembly | * |  |  | 25108 |  |
| 690 | Mk II major system mounting plate with transistor amplifier and repeater relay | * |  |  | 25108 |  |
| 691A | Mk II major system telemeter paragraph relay plug-in board (5 circuits). For use on GCC send rack | * | 25098 | 1 | 25107 | 1 |
| 691B | Mk II major system, telemeter paragraph relay plug-in board (5 circuits). For use on GCC send racks. Improved version | * | 25098 | 2 | 25107 | 2 |
| 692A | Mk II major system telemeter word relay plug-in board (5 circuits). For use on GCC send racks | * | 25099 | 1 | 25107 | 1 |
| 692B | Mk II major system, telemeter word relay plug-in board (5 circuits). For use on GCC send racks. Improved version | * | 25099 | 2 | 25107 | 2 |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 693A | Mk II major system telemeter word re-transmission relay plug-in board (5 circuits). For use on National send racks | * | 25100 | 1 | 25107 | 3 |
| 693B | Mk II major system telemeter word re-transmission relay plug-in board (5 circuits). For use on National send racks. Improved version | * | 25100 | 2 | 25107 | 2 |
| 694 | AM/FM 2220 Hz transmitter jack-in group | * | 35080 |  | 35051 | SHT 2 |
| 695 | AM/FM 2340 Hz transmitter jack-in group | * | 35081 |  | 35051 | SHT 3 |
| 696 | AM/FM 2460 Hz transmitter jack-in group | * | 35082 |  | 35051 | SHT 4 |
| 697 | AM/FM 2580 Hz transmitter jack-in group | * | 35083 |  | 35051 | SHT 5 |
| 698 | AM/FM 2700 Hz transmitter jack-in group | * | 35084 |  | 35051 | SHT 6 |
| 699 | AM/FM 2820 Hz transmitter jack-in group | * | 35085 |  | 35051 | SHT 7 |
| 700 | AM/FM 2940 Hz transmitter jack-in group | * | 35086 |  | 35051 | SHT 8 |
| 701 | AM/FM 2220/2820 Hz transmitter jack-in group | * | 35087 |  | 35051 35051 | SHT 2 SHT 9 |
| 702 | AM/FM 2340/2820 Hz transmitter jack-in group | * | 35088 |  | 35051 35051 | SHT 3 SHT 9 |
| 703 | AM/FM 2460/2820 Hz transmitter jack-in group | * | 35089 |  | 35051 35051 | SHT 4 SHT 9 |
| 704 | AM/FM 2580/2820 Hz transmitter jack-in group | * | 35090 |  | 35051 35051 | SHT 5 SHT 9 |
| 705 | AM/FM 2700/2820 Hz transmitter jack-in group | * | 35091 |  | 35051 35051 | SHT 6 SHT 9 |
| 706 | AM/FM 2940/2820 Hz transmitter jack-in group | * | 35092 |  | 35051 35051 | SHT 8 SHT 9 |
| 707 | AM/FM 2220 Hz receiver jack-in group | * | 35093 |  | 35061 |  |
| 708 | AM/FM 2340 Hz receiver jack-in group | * | 35094 |  | 35061 |  |
| 709 | AM/FM 2460 Hz receiver jack-in group | * | 35095 |  | 35061 |  |
| 710 | AM/FM 2580 Hz receiver jack-in group | * | 35096 |  | 35061 |  |
| 711 | AM/FM 2700 Hz receiver jack-in group | * | 35097 |  | 35061 |  |
| 712 | AM/FM 2820 Hz receiver jack-in group | * | 35098 |  | 35061 |  |
| 713 | AM/FM 2940 Hz receiver jack-in group | * | 35099 |  | 35061 |  |
| 714 | Mk II major system sender jack-in group | * | 35070 |  | 35052 |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 715 | Mk II major system receiver jack-in group at national | * | 35071 |  | 35062 |  |
| 716 | Mk II major system sender buffer relay jack-in group | * | 35072 |  | 35055 |  |
| 717 | Mk II major system receiver buffer relay jack-in group at national | * | 35073 |  | 35064 |  |
| 718 | Mk II major system telemeter paragraph selector jack-in group | * | 35074 |  | 35053 |  |
| 719 | Mk II major system points parity generator jack-in group | * | 35075 |  | 35054 |  |
| 720 | Mk II major system telemeter retransmit paragraph selector jack-in group at National | * | 35076 |  | 35056 |  |
| 721 | Mk II major system address translator jack-in group | * | 35077 |  | 35063 |  |
| 722A | Mk II major system power supply jack-in group (+24 V and -6 V) | * | 35078 |  | 35066 |  |
| 722B | Mk II major system power supply jack-in group (+24 V, -6 V), for use in national control. | * | 35078 | 2 | 35066 | 6 & 7 |
| 723 | Not used |  |  |  |  |  |
| 724 | Power framework with link boxes, fuses and switch fuses | * | 35142 |  | 35144 35143 |  |
| 725 | Not used |  |  |  |  |  |
| 726 | Not used |  |  |  |  |  |
| 727 | Not used |  |  |  |  |  |
| 728 | A.C. secondary distribution fuse boxes | * | 35145 |  | - |  |
| 729 | Switching and control rack | * | 35182 |  | 35183 |  |
| 730 | Test desk at National Control | * | 35130 |  | 35131 |  |
| 731 | Test trolley | * | 35133 |  | 35134 35067 |  |
| 732 | Teleprinter rack | * | 35159 |  | 35140 |  |
| 733 | Mk II major system receiver jack-in group without data interface plug-in boards at GCC | * | 35079 |  | 35069 |  |
| 734 | Rectifier cubicle (150 amp) | * | 35146 |  | 35147 |  |
| 735 | Power board cubicle |  | 35136 |  | 35138 |  |
| 736 | Mk III minor system operator couple jack-in group at Minor station | * | 1751 |  | 1653 |  |
| 737 | Analogue to digital converter jack-in group | * | 25085 |  | 25086 |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 738 | Control clerk's desk for area control (St Albans only, see also PSI 606) | * | 3370 |  | 3369 3371 |  |
| 739 | Filter, 2300 Hz low pass |  | 15023 |  |  |  |
| 740 | Line end open rack for use at three tier control centres in apparatus room No 1, less jack-in groups | * | 2395 |  | 2396 |  |
| 741 | Feeder flow telemeter receiver, differential response, jack-in group | * |  |  |  |  |
| 742 | Meter sender 15-way with direction indication but less plug-in VF circuit card, double width jack-in group (see also VF interface board PSI 5017) (DVI 644) | * | 35035 |  | 35034 4317 |  |
| 743A | Meter decoder 15-way with direction indication but less plug-in VF circuit cards, double width jack-in group | * | 35037 |  | 35036 |  |
| 743B | Meter decoder 15-way with direction indication but less plug-in VF circuit cards, double width jack-in group (for use with interface boards PSI 5018 and type 73 VF) (DVI 5089) | * |  |  | 35036 4318 SHT 1 |  |
| 744A | Converter unit D.C./D.C, with 50 V d.c. input and two outputs (a) 12 or 24 V d.c., 1A and (b) 3 to 6 V d.c. 4A, each output +/- 5 % regulation (ITT) | * | 35039 |  | 35038 |  |
| 744B | Converter unit D.C./D.C. with 50 V d.c. input and two outputs, (a) 24 V d.c. 500 mA and, (b) 5 V d.c. 1A, each output +/- 5% regulation (APT) | * | 7474 |  | 7474 |  |
| 745A | Transmitter FM VF 2220 Hz 75 baud, including filters, plug-in circuit card | * | 15034 | A | 15033 | Grp A |
| 745B | Transmitter, FM VF 2220 Hz including filters, plug-in circuit card, modified for use with 10-way meter senders | * | 25034 | - | 15033 |  |
| 746A | Transmitter FM VF 2340 Hz 75 baud, including filters, plug-in circuit card | * | 15034 | B | 15033 | B |
| 746B | Transmitter FM VF 2340 Hz, 75 baud, including filters, plug-in circuit card, modified for use with 10-way meter senders | * | 15034 | - | 15033 | - |
| 747A | Transmitter FM VF 2460 Hz 75 baud, including filters, plug-in circuit card | * | 15034 | C | 15033 | C |
| 747B | Transmitter FM VF 2460 Hz, 75 baud, including filters, plug-in circuit card, modified for use with 10-way meter senders | * | 15034 | - | 15033 | - |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 748A | Transmitter FM VF 2580 Hz 75 baud, including filters, plug-in circuit card | * | 15034 | D | 15033 | D |
| 748B | Transmitter FM VF 2580 Hz, 75 baud, including filters, plug-in circuit and modified for use with 10-way meter senders | * | 15034 | - | 15033 | - |
| 749A | Transmitter FM VF 2700 Hz 75 baud, including filters, plug-in circuit card | * | 15034 | E | 15033 |  |
| 749B | Transmitter FM VF 2700 Hz, 75 baud, including filters, plug-in circuit card, modified for use with 10-way meter senders | * | 15034 | - | 15033 | - |
| 750A | Transmitter FM VF 2820 Hz 75 baud, including filters, plug-in circuit card | * | 15034 | F | 15033 | F |
| 750B | Transmitter FM VF 2820 Hz, 75 baud including filters, plug-in circuit card, modified for use with 10-way meter senders | * | 15034 | - | 15033 | - |
| 751 | Transmitter FM VF 2940 Hz 75 baud, including filters, plug-in circuit card | * | 15034 | G | 15033 | G |
| 752 | FM VF receiver 2220 Hz 75 baud, including filters, consisting of two plug-in circuit cards | * | 15036 | A | 15035 |  |
| 753 | FM VF receiver 2340 Hz 75 baud, including filters, consisting of two plug-in circuit cards | * | 15036 | B | 15035 |  |
| 754 | FM VF receiver 2460 Hz 75 baud, including filters, consisting of two plug-in circuit cards | * | 15036 | C | 15035 |  |
| 755 | FM VF receiver 2580 Hz 75 baud, including filters, consisting of two plug-in circuit cards | * | 15036 | D | 15035 |  |
| 756 | FM VF receiver 2700 Hz 75 baud, including filters, consisting of two plug-in circuit cards | * | 15036 | E | 15035 |  |
| 757 | FM VF receiver 2820 Hz 75 baud, including filters, consisting of two plug-in circuit cards | * | 15036 | F | 15035 |  |
| 758 | FM VF receiver 2940 Hz 75 baud, including filters, consisting of two plug-in circuit cards | * | 15036 | G | 15035 |  |
| 759 | Output relays for 75 baud FM VF receivers, plug-in circuit card | * | 15038 |  | 15037 |  |
| 760 | Amplifier for speech or VF by-pass application plug-in circuit card less filter (see PSI 762 - 768) | * | 15040 |  | 15039 |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 761 | Wall mounting unit housing protection signalling tandem equipment for temporary schemes, including line terminating facilities but less jack-in groups, filters and line transformers, 5 kV isolation (see also PSI 456) | * | 2377 |  | 2378 |  |
| 762 | Filter, 2220 Hz B/P for use with amplifier plug-in circuit card (PSI 760) |  | 15032 |  | 15031 |  |
| 763 | Filter, 220 Hz B/P for use with amplifier plug-in circuit card (PSI 760) |  | 15032 |  | 15031 |  |
| 764 | Filter, 2450 Hz B/P for use with amplifier plug-in circuit card (PSI 760) |  | 15032 |  | 15031 |  |
| 765 | Filter, 2580 Hz B/P for use with amplifier Plug-in circuit card (PSI 760) |  | 15032 |  | 15031 |  |
| 766 | Filter, 2700 Hz B/P for use with amplifier plug-in circuit card (PSI 760) |  | 15032 |  | 15031 |  |
| 767 | Filter, 2820 Hz B/P for use with amplifier plug-in circuit card (PSI 760) |  | 15032 |  | 15031 |  |
| 768 | Filter, 2940 Hz B/P for use with amplifier plug-in circuit card (PSI 760) |  | 15032 |  | 15031 |  |
| 769 | Single width jack-in relay base with framework and wiring only to take receiver, transmitter and speech amplifier plug-in circuit cards as required | * | 15041 |  | 15030 | SHT 1 |
| 770 | Single width jack-in relay base with framework and wiring only for one or two amplifier plug-in circuit cards and filters as required | * | 15042 |  | 15030 | SH 2 |
| 771 | Jack-in relay group, three tier working, circuits as follows:- |  | 2301 | 5 |  |  |
|  | (a) Telephone selections 1 - 12 |  |  |  | 2011 | 25 |
|  | (b) 16-way telegraph |  |  |  | 2011 | 26 |
|  | (c) Watts instructor |  |  |  | 2011 | 27 |
|  | (modified PSI 57) | * |  |  |  |  |
| 772 | Not used |  |  |  |  |  |
| 773 | Overflow instruction connector jack-in group, (2 ccts) each circuit for use as digital or 16-way telegraph (replaces PSI 204, 205, 206, 574) | * | 2291 | 2 | 2265 | 4A |
| 774 | Telephone line jack-in group (2 wire) replacing PSI 68 for three tier working (see also PSI 518, 520 and 809) | * | 1508 | 3 | 1003 | SHT 7 |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 775 | Wall mounting unit housing duopath signalling system including Line terminating facilities, line transformers and jack-in groups but less PSI 416 power supply unit, 5 kV isolation | * | 15048 15049 |  | 15045 15046 15047 |  |
| 776 | Telemeter rack at three tier control centres (48 telemeters) less jack-in groups and plug-in printed circuit boards (modified PSI 49) (see also PSI 504B) | * | 3410 3411 |  | 3116 3413 |  |
| 777 | Telemeter rack at three tier control centres (38 telemeters) and special shelf 'E') less jack-in groups and plug-in printed circuit boards (modified PSI 420) ( see also PSI 49) | * | 3412 3411 3219 |  | 3116 3413 3325 |  |
| 778 | Line isolation link panel, 2 wire, for use with wall mounted units for protection signalling temporary schemes, less line isolation (part of PSI 456) |  | 2260 |  | 2261 |  |
| 779 | Indication receiver jack-in group, for use on inter GCC tie-lines | * | 2380 |  | 2239 | 4, 4A 4B |
| 780 | Combined transistorised VF receiver and two 2220/2340/2460/2580/2700/2820 Hz oscillators jack-in group | * | 2873 2899 |  | 2874 SHT 2 Ass B 2900 |  |
| 781 | Mk II major system sender rack at National Control centre less jack-in groups and plug-in circuit boards | * | 25087 | 1 | 25088 |  |
| 782A | Mk II major system telemeter paragraph relay plug-in board (5 ccts) at National Control centre | * | 25116 | 1 | 25L07 | 4 |
| 782B | Mk II major system, telemeter paragraph relay plug-in board (5 ccts) at National Control centre. Improved version. | * | 25116 | 2 | 25107 | 2 |
| 783 | Mk II Major System start unit with 2 x 50 diodes and resistors and 2 address plug assemblies |  |  |  |  |  |
| 784 | Domestic diesel alternator set remote control panel complete with keys, lamps and voltmeter. Colour to be specified | * | 3396 |  | 3397 |  |
| 785 | Mk II major system receiver rack at National Control centre less jack-in groups and plug-in circuit cards | * | 15095 |  | 15096 |  |
| 786 | Above speech dialling and tie-line operator couple jack-in group at Major station | * | 1756 |  | 1655 |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 787 | Display jack-in group digital (Ferranti-Packard) | * | 15084 |  | 15083 |  |
| 788A | Wall mounting station repeater relay unit (4 circuits) | * | 3414 | Fig 1 | 3415 |  |
| 788B | Wall mounted station repeater relay unit (4 circuits) with isolated contact outputs) | * | 3414 |  | 3415 SHT 3 & 4 |  |
| 789A | Wall mounting station repeater relay unit (8 circuits) | * | 3414 | Fig 2 | 3415 |  |
| 789B | Wall mounted station repeater relay unit (8 circuits) with isolated contact outputs | * | 3414 |  | 3415 SHT 3 & 4 |  |
| 790 | Unloading, erecting and cabling of any No 1 Major station cubicle, or any No 12 Minor station cubicle or any overflow cubicle and termination only of any associated earth cable (this description is subject to change) (Not Used) |  |  |  |  |  |
| 791 | Unloading and mounting of any wall-mounting box (this description is subject to change) (Not Used) |  |  |  |  |  |
| 792 | The equipping in any existing overflow cubicle (including the associated cabling) or the addition in any other existing cubicle of any material associated with a single width jack-in group position. A minimum of three such units is chargeable for any single visit to site or whenever a site is visited for work on less than three single-width positions (this description is subject to change) (Not Used) |  |  |  |  |  |
| 793 | The commisioning only of any transferred price schedule item (this description is subject to change) (Not Used) |  |  |  |  |  |
| 794G | Control keyplate for GEC standardised LSC complete with two non-locking twist keys and two separate lamps |  | 2335 | 35 | 2332 | 3B & 3 D |
| 794S | Control key plate for STC standardised LSC complete with two non-locking twist keys and two separate lamps |  | 2335 | 35 | 2332 | 3B & 3D |
| 795 | National telemeter patching board, 200-way, at GCC's (see also PSI 199) | * | 1765 |  | 1766 |  |
| 796 | Station rack in No 1 apparatus room at three tier GCC's less jack-in groups and filters (see also PSI 44 and 45) | * | 1762 SHT 1 |  | 1299 SHTS 1 - 5 |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 797 | Single-point annunciator and overflow telegraph rack in No 1 apparatus room at three tier GCC's less jack-in groups (PSI 185 modified) |  | 1769 |  | 1770 |  |
| 798 | Miscellaneous alarm rack in No 1 apparatus room at three tier GCC's less jack-in groups (see also PSI 431) | * | 2383 | 1 | 2384 |  |
| 799 | Twin stabilised power units, each unit to have input 50 V 50 Hz, output 30 V d.c. at 5A. The whole suitable for mounting on a rack | * | 35169 |  | 35170 |  |
| 800 | Twin stabilised power units, each unit to have input 50 V 50Hz, output 30 V d.c. at 5A. The whole fitted into a wall mounting case | * | 35171 |  | 35170 |  |
| 801 | Mk II major system telephone keyboard for control room desks | * | 35164 |  | 35173 |  |
| 802 | Mk II major system 16-way telegraph keyboard for control room desks | * | 35165 |  | 35173 |  |
| 803 | Mk II major system broadcast keyboard for control room desks | * | 3566 |  | 35173 |  |
| 804 | Mk II major system jack-in group for control room desks | * | 35167 |  | 35168 |  |
| 805 | Standardised LSC of satellite Minor station from parent Mk II or Mk III Minor station, check request jack-in group at the parent Minor station |  | 2381 | 1 | 2382 |  |
| 806 | Telephone line jack-in group (4-wire) replacing PSI 69 for three tier working (see also PSI's 518, 520 and 809) | * | 1507 | 3 | 1003/6 | 1 |
| 807 | Cross Channel cable telephone jack-in group at National | * | 15106 |  | 15105 |  |
| 808 | Protection signalling (Mk II) terminal station VF (2220 - 2820 Hz) jack-in group with reed relay output (see also PSI 382) | * | 2195 | 1A | 2194 2874 2900 2222 | E 4 & 5 |
| 809A | ¦Telephone line auxiliary jack-in group (2W or 4W) for use in conjunction with PSI's 774 or 806 for three tier working, 2 circuits per base (all GCC's except Nottingham) | * | 1757 |  | 1003 SHTS 6 & 7 | 2 |
| 809B | Telephone line auxiliary jack-in group (2W or 4W) for use in conjunction with PSI's 774 or 806 for three tier working, 2 circuits per base (Nottingham GCC only) | * |  |  | 1003 SHTS 8 & 9 |  |
| 810 | A.C. primary distribution fuse box, 3-phase (see also PSI 467) | * | 3236 |  | 3281 SHT 1 |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 811 | National Control PAX rack equipped with line switches and selector connector bank multiple for 10 circuits less jack-in groups | * | 1106 SHT 8 |  | 1215 SHTS 4, 7, 24 - 27 |  |
| 812 | National Control PAX selector connector jack-in group | * | 1522 FIG 2 |  | 1034 | 2 |
| 813 | Miscellaneous repeater and storage relay jack-in group |  |  |  | 1656 |  |
| 814 | Overflow cubicle shelf pre-wired for Mk II protection signalling equipment, including input and output terminal blocks, fuse mounting and filter mountings but excluding filters | * | 2388 | - | 2389 | - |
| 815 | Line teleprinter control jack-in group | * | 35192 |  | 35191 | 2 |
| 816 | Clerk's teleprinter control jack-in group | * | 35193 |  | 35191 | 1 |
| 817 | Not used |  |  |  |  |  |
| 818 | Mk II major system line terminating unit with two line transformers (see also PSI 675 and 827) |  | 15076 |  | 15075 SHT 2 |  |
| 819 | Display conversion jack-in group at GCC |  | 1764 |  | 1658 |  |
| 820 | Distribution panel 25-0-25 V a.c. supply | * | 35185 |  | - |  |
| 821 | Teleprinter room general supervision and alarm jack-in group |  | 15110 |  | 15109 |  |
| 822 | Mk II minor system telephone and check selection sender at Major station jack-in group, 2 or 4 wire working with optional 4 wire switching (see also PSI 307) (not used) |  |  |  |  |  |
| 823 | Flashing audible alarms and common equipment jack-in group Nottingham only |  |  |  | 1009 | 2 |
| 824 | Test plug-in card for Mk II major system, telemeter word relays | * | 35126 |  | 35127 |  |
| 825 | Test plug-in card for Mk II major system, telemeter paragraph relays | * | 35128 |  | 35129 |  |
| 826 | Not used |  |  |  |  |  |
| 827 | Line terminating unit without snatch frequency facilities and filters, but with two line transformers | * | 1712 | 3 | 1042 SHT 3 |  |
|  | Ditto - (ITT version) |  | 3455 SHTS 1, 2 & 3 |  | 3456 |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 828 | Digital indication of transformer tap or winding temperature, jack-in group, for standardised LSC, 2 circuits per base (see also PSI 597) | * | 2390 | - | 2426 | - |
| 829 | Cancelled |  |  |  |  |  |
| 830 | Cancelled (see PSI 15B) |  |  |  |  |  |
| 831 | Cancelled |  |  |  |  |  |
| 832 | Cancelled |  |  |  |  |  |
| 833 | Cancelled |  |  |  |  |  |
| 834 | Mk II minor line signalling jack-in group at Major station with telephone call holding facility (2 kV isolation) | * | 1555 | SHT 8 | 1600/3 2333 | 2 SHT 50 |
| 835 | Mk II minor line signalling jack-in group at Minor station with telephone call holding facility (2 kV isolation) | * | 1555 | SHT 9 | 1601/3 2333 | 5 SHT 49 |
| 836 | Sender-decoder rack with telemetering test facilities | * | 35207 | - | 35208 | - |
| 837 | Single width jack-in relay base with framework and wiring only, to take receiver, transmitter, speech amplifier and miscellaneous equipment plug-in cards as required | * | 35213 | - | 35214 | - |
| 838 | FM/VF tie-line relays, plug-in card |  | 2425 | - | 2424 | 1A |
| 839 | Not used |  |  |  |  |  |
| 840 | Not used |  |  |  |  |  |
| 841 | Not used |  |  |  |  |  |
| 842 | Not used |  |  |  |  |  |
| 843 | Not used |  |  |  |  |  |
| 844 | Power supply unit for line signalling with 50 V d.c. input and 2 outputs each 50 V, 100 mA d.c.; 5 kV isolation between input and outputs, and 2 kV isolation between outputs (for 4 output version see PSI 416) |  | 7151 | - | 7152 | - |
| 845 | Interface unit, reed relay, type 1 (IFU1) energising voltage of relay coil and contact arrangement to be specified. 10 kV isolation (ex NSI 14) for details of variants see TTC 7110 Sht 1 | * | 7110 | SHT 1 | 7110 | SHT 2 |
| 846A | Converter unit D.C./D.C. Input 46 - 54 V. Outputs +28.5 V d.c. at 1 amp and -28.5 V d.c. at 1 amp (see PSI 848 A and B) | * | 7162 | - | 7163 | - |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 846B | Converter unit D.C./D.C. Input 46 - 54 V d.c. Output 24 V +/- 1% at 4 amps (see PSI 848A and B) (SSEB) | * | 7334 |  | 7335 |  |
| 847 | Converter unit D.C./D.C. Input 46 - 54 V d.c. Outputs +28.5 V d.c. at 20 amps and -28.5 V d.c. at 20 amps (see PSI 848A and B) |  | 7164 | - | 7165 | - |
| 848A | Stabiliser unit, output +24 V d.c. at 250 mA (see PSI 846A and B or 847) | * | 7166 | - | 7167 | - |
| 848B | Stabiliser unit, output -24 V d.c. at 250 mA (see PSI 846A and B or 847) | * | 7168 | - | 7169 | - |
| 849A | Timer, operate/release delay, plug-in unit 0.5-30 secs. (Ex NSI 9 and 10) | * | 7059 | SHTS 1 - 4 | 7059 | SHTS 1 – 4 |
| 849B | Timer, operate/release delay, plug-in unit 0.5-30 secs. Replaces 'A' version for new work | * | 7059 | SHTS 1, 3, 4 & 5 | 7059 | SHTS 1, 3, 4 & 5 |
| 850 | Double point VT Buchholz alarm relay jack-in group (5 circuits per base) | * | 2423 |  | 2332 | 12 12A |
| 851 | Interconnecting jack-in group for use between the GI systems at a combined switching and generating station with a common earthing system. NOT USED (see PSI 885) |  | 7186 |  | 7182 |  |
| 852* | Transformer, line isolation, tested at 21 kV r.m.s for 1 minute and at 14 kV r.m.s continuously. Post Office code 351A (screened), both windings balanced (letter subscript reflects impedance ratio, * used if this is to be specified later from A - D below) | * | 7192 |  |  |  |
| 852A | Description as 852* - impedance ratio 1:1 | * | 7192 |  |  |  |
| 852B | Description as 852* - impedance ratio 2:1 | * | 7192 |  |  |  |
| 852C | Description as 852* - impedance ratio 0.5:1 | * | 7192 |  |  |  |
| 852D | Description as 852* - impedance ratio 0.286:1 | * | 7192 |  |  |  |
| 853A | D.C. alarm jack-in group for use at GCC's (first group of two-group unit) |  | 3398 | - | 3226 | - |
| 853B | D.C. alarm jack-in group for use at GCC's (second group of two-group unit) |  | 3399 | - | 3226 | - |
| 854 | Buffer store interface unit (Ex NSI 8) |  | 7061 7062 | - | 7060 | - |
| 855 | Ringing generator 7.5 W d.c. motor driven and tone inductor 480 Hz (Ex NSI II) (see also PSI 165) | * | 7238 | SHTS 1 - 3 | 1068 | SHTS 3 - 5 |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 856 | OA5 diode limiter, Pt No 1031 filter mounted (Ex NSI 4) | * | 851 | - | - | - |
| 857 | TGO instructor panel for use in District 2 control rooms at GCC's | * | 7171 | SHTS 1 - 3 | 7171 | SHT 4 |
| 858 | 10-way instructor panel for use in district 2 control rooms at GCC's | * | 7177 | SHTS 1 - 2 | 7177 | SHT 3 |
| 859 | Voltage regulator, 30 kVA, single-phase input 180 - 260 V a.c. 47 - 51 Hz. Output 240 V a.c. +/- 1% (Ex NSI 2) | * | 7009 | - | 7007 | - |
| 860 | No 1 electronics rack at GCC (not used) |  |  |  |  |  |
| 861 | Converter unit D.C./D.C., input 46 - 54 V d.c. Output 24 V + 1% at 4 amps, not used (see PSI 846B) |  | 7334 | - | 7335 | - |
| 862A | Telemeter receiver plug-in board, solid state feeder flow (fast). 66 2/3 - 133 1/3 IPM (for use with PSI's 863 and 867) | * | 2427 | - | 2428 | - |
| 862B | Telemeter receiver plug-in board, solid state feeder flow (medium). 33 1/3 - 66 2/3 IPM (for use with PSI's 863 and 867) | * | 2427 | - | 2428 | - |
| 862C | Telemeter receiver plug-in board, solid state TGO (fast). 40 - 80 IPM (for use with PSI's 863 and 867) | * | 2429 | - | 2430 | - |
| 862D | Telemeter receiver plug-in board, solid state TGO (medium) 24 - 48 IPM (for use with PSI's 863 and 867) | * | 2429 | - | 2430 | - |
| 862E | Telemeter receiver plug-in board, solid state feeder flow (fast). 66 2/3 - 133 1/3 IPM (for use with PSI's 863 and 867), with addition of indication and test facilities | * | 2427 |  | 2428 |  |
| 862F | Telemeter plug-in board, solid state feeder flow (medium). 33 1/3 - 66 2/3 IPM (for use with PSI's 863 and 867) with addition of indication and test facilities | * | 2427 |  | 2428 |  |
| 862G | Telemeter receiver plug-in board, solid state TGO (fast). 40 - 80 IPM (for use with PSI's 863 and 867) with addition of indication and test facilities | * | 2429 |  | 2430 |  |
| 862H | Telemeter receiver plug-in board, solid state TGO (medium) 24 - 48 IPM (for use with PSI's 863 and 867) with addition of indication and test facilities | * | 2429 |  | 2430 |  |
| 863A | ISEP 19" crate for PSI 862 A - D, PSI 864, PSI 884, PSI 890, PSI 900A, PSI 900B | * | 25140 |  |  |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 863B | ISEP 19" crate with edge connectors for 1 VF duplex telephone PSI 900A and 900B only | * | 25140 |  |  |  |
| 863C | ISEP 19" crate without back plane for use with PSI's 3001, 3002, 3003 and 909, 910, 911. | * |  |  |  |  |
| 863D | ISEP 19" crate for RTE (single edge connector) | * |  |  |  |  |
| 864 | Telemeter receiver power unit plug-in board. Input 50 V d.c. output 24-0-24 V d.c. for use on PSI 863 | * | 2431 |  | 2432 |  |
| 865 | Not used |  |  |  |  |  |
| 866 | Telemeter summation amplifier, plug-in board (for use with PSI 867) (2 circuits) | * | 2433 |  | 2434 |  |
| 867 | Telemeter receiver rack complete with power units with mounting facilities for PSI's 862A, 862B, 862C and 862D | * | 25141 |  | 25142 25145 |  |
| 868A | Wall mounting unit housing combined receiver/oscillator jack-in group with associated filters line transformers and local telephone jack-in group (extension on a Mk II minor) |  | 7348/4 |  | 7348 | Fig 3 |
| 868B | Wall mounting unit housing combined receiver/oscillator jack-in group with associated filters line transformers and local telephone jack-in group (extension on a Major station) |  | 7348/4 |  | 7348 | Fig 2 |
| 869A | Indicator, digital, optical (2 units complete with mounting) for TPI. Note: refer to STC Drg 87UJN50001D00 Sht 1.2 for base plate if required for STC version of LSC diagram. |  | 9007 |  |  |  |
| 869B | Indicator digital, optical. (3 units complete with mounting) for WTI. Note: refer to STC Drg 87UJN50001E00 Sht 1.2 for base plate if required for STC version of LSC diagram |  | 9007 |  |  |  |
| 870A | Solid state time delay relay (for up to 20 seconds) for new work see PSI 870B | * | 7415 |  | 7305 SHT 2 |  |
| 870B | Solid state digital time delay relay, range 0.5 - 60 seconds (to be used for all new work) | * | 7811/3 & 4 |  | 7811/2 |  |
| 871 | Station auxiliary rack for use at Nottingham GCC only (GEC design) |  | 25136 |  | 25137 |  |
| 872 | Manual and system synchronising jack-in group with override at Mk II and Mk III outstations |  | 2345 |  | 2334 |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 873 | Electronic pulse generation equipment at GCC's |  |  |  |  |  |
| 874 | Electronic time error equipment at GCC's |  |  |  |  |  |
| 875 | Telephone tie-line group (auto-auto) for connection of GI PAX No 4 jack-in group 2 ccts per base. For National Control | * |  |  | 7391 |  |
| 876A | Interface unit, reed relay type 2 50 V coil | * |  |  | 7412 |  |
| 876B | Interface unit, reed relay type 2 6 V coil | * |  |  | 7412 |  |
| 876C | Interface unit, reed relay type 2 12 V coil | * |  |  | 7412 |  |
| 876D | Interface unit, reed relay type 2 18 V coil | * |  |  | 7412 |  |
| 876E | Interface unit, reed relay type 2 24 V coil | * |  |  | 7412 |  |
| 876F | Interface unit, reed relay type 2 30 V coil | * |  |  | 7412 |  |
| 876G | Interface unit, reed relay type 2 125 V coil | * |  |  | 7412 |  |
| 877 | Charger cubicle, 50 V d.c. 75 amps constant current | * | 7442 |  | 7443 |  |
| 878 | Mk II test rack at Grid Control Centres (not used) |  |  |  |  |  |
| 879 | Mk II test rack at National Control (not used) |  |  |  |  |  |
| 880 | VF bays for Grid Control Centres (DVI 5134) |  | 35215 |  | 35216 35217 7473 SHT 2 |  |
| 881 | Wall mounted unit for VF telephone extension, less VF equipment, filters and transformers |  |  |  | 7452 |  |
| 882 | Wall mounted unit housing compound D.C./loop VF signalling equipment for a Mk II minor at the MAJOR station | * |  |  |  |  |
| 883 | Wall mounted unit housing compound D.C./loop VF signalling equipment for a Mk II minor at the MINOR station | * |  |  |  |  |
| 884 | Telemeter receiver output board for use with PSI's 862 and 863 (at outstations) | * | 25138 |  | 25139 |  |
| 885 | Indication sender interconnecting jak-in group at Major station, for use at switching and generating stations on a common earth mat | * | 7604 |  | 7605 |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 886 | Marginal cost instructor panel for use at three tier Grid Control Centres | * | 7524 SHTS 1, 2 & 4 |  | 7523 SHTS 1 - 4 |  |
| 887 | Marginal cost instructor panel for use at Nottingham Grid Control Centre only | * | 7524 SHTS 1, 3 & 4 |  | 7523 SHTS 1 - 4 |  |
| 888 | 10 + 10 way telemeter sender-decoder rack for use at Grinstead and St Albans only | * | 7530 SHTS 1 - 4 |  | 7530 SHTS 1 - 4 |  |
| 889 | Telephone relay jack-in group for emergency National Control at St Albans GCC | * |  |  |  |  |
| 890 | Line switching unit for St Albans GCC | * |  |  |  |  |
| 891 | Line switching control group for emergency National at St Albans GCC | * |  |  |  |  |
| 892 | Point storage group interface between telecontrol and Mk I minor | * |  |  | 7584 SHT 1 |  |
| 893 | National line end open rack at GCC's |  |  |  |  |  |
| 894 | No 3 apparatus room at GCC's alarm circuits 1 - 20 jack-in group |  |  |  | 7679 SHT 1 |  |
| 895 | No 3 apparatus room at GCC's alarm circuits 21 - 40 jack-in group |  |  |  | 7679 SHT 2 |  |
| 896A | Line terminating unit (10 kV isolation) equipped with links, earth bar and terminal block but less transformers | * |  |  | 7669 |  |
| 896B/* | Line terminating unit as 896A but equipped with 2 x 852* | * |  |  | 7669 |  |
| 896B/A | Line terminating unit as 896A but equipped with 2 x 852A | * |  |  | 7669 |  |
| 896B/B | Line terminating unit as 896A but equipped with 2 x 852B | * |  |  | 7669 |  |
| 896B/C | Line terminating unit as 896A but equipped with 2 x 852C | * |  |  | 7669 |  |
| 896B/D | Line terminating unit as 896A but equipped with 2 x 852D | * |  |  | 7669 |  |
| 897 | Standby national control rack (St Albans GCC only) |  | 7737 |  | 7738 SHTS 2 & 3 |  |
| 898 | Time pulse generator (19" mounting) for use at Grid Control Centres (replaces PSI 546) |  |  |  | 7796 |  |
| 899 | Solid state driven lamp flasher, frequency 2 Hz 2 x 600 mA V d.c. O/P for PO 3000 type relay mounting |  | 7858 | SHTS 4 & 5 | 7858 | SHT 2 |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 900A | VF duplex telephone frequency shift keying generator/detector at Major or Minor station (Not Used) | * | 7932 | SHT 3 | 7932 | SHT 2 |
| 900B | VF duplex telephone telephony/frequency shift keying interface for Major or Minor station (Not Used) | * | 7933 | SHT 3 | 7933 | SHT 2 |
| 901 | VF duplex telephone plinth with signalling and interface equipment to accept standard PO 700 type telephone for use at remote station (Not Used) | * | 7935 | SHTS 3 - 5 | 7935 | SHT 2 |
| 902 | VF duplex telephone power supply unit with internal standby battery 20 V D.C. O/P for use at remote station (floor or wall mounting) | * | 7936 | SHT 3 | 7936 | SHT 2 |
| 903 | Type 73 VF V28 RTS input interface for telecontrol | * | 7925 |  | 7925 |  |
| 904 | Radio clock time code and date (Rugby 60 KHz slow code) with TSM interface output card | * |  |  | 7897 |  |
| 905 | Interface unit reed relay type 3 2 kV isolation. Energising of relay coils to be specified. For details of variants see TTC 7950 | * |  |  | 7950 |  |
| 906A | Interface unit, reed relay type 4, 48 V coil | * |  |  | 7951 |  |
| 906B | Interface unit, reed relay type 4, 30 V coil | * |  |  | 7951 |  |
| 906C | Interface unit, reed relay type 4, 24 V coil | * |  |  | 7951 |  |
| 906D | Interface unit, reed relay type 4, 18 V coil | * |  |  | 7951 |  |
| 906E | Interface unit, reed relay type 4, 12 V coil | * |  |  | 7951 |  |
| 906F | Interface unit, reed relay type 4, 6 V coil | * |  |  | 7951 |  |
| 907 | Power supply unit, to replace PSI 282 (NSI 3) 30.5 V O/P, 240 A.C input. |  | 7879 | Sht 3 | 7879 | Sht 2 |
| 908 | Telephone J/I Group for Manchester ECR only. |  | 9545 |  | 9545 |  |
| 909A | 19" crate back plane to fit PSI 863C for use with PSI 910 and PSI 911 (Voltage selection and synch check switching circuits) - 6 card positions. |  | 9554 |  |  |  |
| 909B | As above but with 9 card positions. |  | 9554 |  |  |  |
| 910 | Voltage Selection and synch check switching common circuit PCB (1 per system voltage) |  | 9555 |  | 9555 |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 911 | Voltage selection and synch check switching relay PCB (4 CB ccts per PCB) |  | 9556 |  | 9556 |  |
| 912A | 19" EP wall mounted equipment enclosure (IP 55) - 8U | * |  |  |  |  |
| 912B | 19" EP wall mounted equipment enclosure (IP 55) - 12U | * |  |  |  |  |
| 913 | RTE FSK generator/detector PCB - common to installation and remote equipment | * |  |  | 62000 sht 3/4 |  |
| 914A | RTE audio interface PCB - instation end | * |  |  | 62001 sht 3/4 |  |
| 914B | RTE audio interface PCB - remote end | * |  |  | 62002 sht 3/4 |  |
| 915A | Demountable low pass filter - permits use of CCITT 75 bd channels 120 to 124 | * |  |  | 62003 sht 3/4 |  |
| 915B | Demountable low pass filter - permits use of CCITT 75 bd channels 119 to 124 | * |  |  | 62003 sht 3/4 |  |
| 915C | Demountable low pass filter - permits use of CCITT 75 bd channels 117 to 124 (Restricted use) | * |  |  | 62003 sht 3/4 |  |
| 916 | RTE wall mounted housing and mother-board for remote equipment | * |  |  | 62004 sht 3/4 |  |
| 917 | Test unit for use with PSI's 909, 910 and 911 |  | 9557 |  | 9557 |  |
| 918A | (CT) Telegraph/TGO Display Auxiliary Unit Assembly RS422 Input/Output for two displays (only at s/stations) | * |  |  | 62007 |  |
| 918B | (CT) Telegraph/TGO Display Auxiliary Unit RS232 Input/Output for two displays | * |  |  | 62007 |  |
| 918C | (CT) Telegraph/TGO Display Auxiliary Unit RS422 Input/Output for two displays and including provision for locally derived values | * |  |  | 62007 |  |
| 918D | (CT) As PSI 918C but with RS422/232 Input/Output by switch selection | * |  |  | 62007 |  |
| 919 | (CT) Tele/TGO Alphanumeric Telegraph Display single line 40 characters with acknowledge and last message buttons | * |  |  | 62010 |  |
| 920 | (CT) Tele/TGO Alphanumeric TGO display single line 40 characters | * |  |  | 62011 |  |
| 921 | (CT) Tele/TGO Test Unit for use with RS232/RS422 links with adjustable baud rate and dot matrix impact printer | * |  |  | 62012 |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| ITEM | DESCRIPTION |  | LAYOUT |  | DIAGRAM |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Tech Specification available = | * | TTC | GRP | TTC | FIG |
| 922A | (CT) Tele/TGO Display Auxiliay Unit to Display interconnection cable. Screened Ribbon Cable (1 Metre) |  |  |  | 62013 |  |
| 922B | (CT) Tele/TGO Display Auxiliay Unit to Display interconnection cable. Screened ribbon Cable (0.5 Metre) |  |  |  | 62014 |  |
| 923A | (CT) Tele.TGO RS422 Cannon D Connector with 10 metres of 9 core cable. For use with DAUs and GI74 Cubicle. (Cut to make two cables). |  |  |  | 62015 |  |
| 923B | (CT) Tele/TGO RS232 Cannon D Connector with 10 metres of 4 core cable. For use direct with GI74 logger or via 73VF modem for remote DAU from RS232 configurable port. (Cut to make two cables). |  |  |  | 62016 |  |
| 923C | (CT) Tele/TGO G174 Interface (PSI 2331 or 2535 to GI57 cable. Also carries Ack contact signals to status cards. |  |  |  |  |  |
| 924A | (CT) Tele/TGO Scaling Resistor Module for PSI 918C (NMR 750 at 10.42 mA) |  |  |  | 62021 Sht 1 |  |
| 924B | (CT) Tele/TGO Scaling Resistor Module for PSI 918C (NMR 750 at 12.50 mA) |  |  |  | 62021 Sht 1 |  |
| 924C | (CT) Tele/TGO Scaling Resistor Module for PSI 918C (NMR 750 at 9.37 mA) |  |  |  | 62021 Sht 1 |  |
| 924D | (CT) Tele/TGO Scaling Resistor Module for PSI 918C (NMR 600 at 8.33 mA) |  |  |  | 62021 Sht 1 |  |
| 924E | (CT) Tele/TGO Scaling Resistor Module for PSI 918C (NMR 600 at 10.00 mA) |  |  |  | 62021 Sht 1 |  |
| 924F | (CT) Tele/TGO Scaling Resistor Module for PSI 918C (NMR 600 at 9.37 mA) |  |  |  | 62021 Sht 1 |  |
| 924G | (CT) Tele/TGO Scaling Resistor Module for PSI 918C (NMR 80 at 8.33 mA) |  |  |  | 62021 Sht 1 |  |
| 924H | (CT) Tele/TGO Scaling Resistor Module for PSI 918C (NMR 80 at 8.00 mA) |  |  |  | 62021 Sht 1 |  |
| 925 | (CT) Tele/TGO Analogue Input Cables for PSI 918C |  |  |  |  |  |
| 926 | Carrier Fail Adaptor for EM93 (used with Cable System monitor | * |  |  |  |  |
| 927 | Extender Card Assembly for remote Telephone Equipment |  |  |  | 62045 |  |
| 928 | Edge connector for RTE to fit PSI 863D |  |  |  |  |  |
| 929 | Set of two PCB guides for RTE to fit PSI 863D |  |  |  |  |  |
| 930 | Edge connector support for RTE to fit PSI 863D |  |  |  |  |  |
| TTC 333 |  |  |  | 1989 ISSUE A |  |  |

| PSI No | Description TYPE 73 VF |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Common Drawings PLESSEY Mk I, Type 73 VF 50(75) bps MODEM |  |  |  |  |  |  | 1809 1837 | 1865 1817, 1833 | 1818 Sh 1-5 1834 | 1816 Sh 1 |
| 1000/P/101/A | PLESSEY 420 Hz Mk 1 Type 73 VF Modem 50 (75) bps with Type 'A' Interface |  |  |  |  |  | * |  |  | 1810 Sh 1 |  |
| 1000/P/115/A | " | " | 2100 Hz | " | " |  | * |  |  | 1810 Sh 15 |  |
| 1000/P/116/A | " | " | 2220 Hz | " | " |  | * |  |  | 1810 Sh 16 |  |
| 1000/P/117/A | " | " | 2340 Hz | " | " |  | * |  |  | 1810 Sh 17 |  |
| 1000/P/118/A | " | " | 2460 Hz | " | " |  | * |  |  | 1810 Sh 18 |  |
| 1000/P/119/A | " | " | 2580 Hz | " | " |  | * |  |  | 1810 Sh 19 |  |
| 1000/P/120/A | " | " | 2700 Hz | " | " |  | * |  |  | 1810 Sh 20 |  |
| 1000/P/121/A | " | " | 2820 Hz | " | " |  | * |  |  | 1810 Sh 21 |  |
| 1000/P/122/A | " | " | 2940 Hz | " | " |  | * |  |  | 1810 Sh 22 |  |
| 1000/P/123/A | " | " | 3060 Hz | " | " |  | * |  |  | 1810 Sh 23 |  |
| 1000/P/124/A | " | " | 3180 Hz | " | " |  | * |  |  | 1810 Sh 24 |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description TYPE 73 VF |  |  |  |  | Tech Specifiction available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Common Drawings PLESSEY Mk I, Type 73 VF 50(75) bps Transmitter |  |  |  |  |  |  | 1809, 1826, 1837 | 1865, 1821, 1817, 1833 | 1819 Sh 1-5 1835, 1824 | 1816 Sh 2 |
| 1001/P/101/A | PLESSEY 420 Hz Mk I Type 73VF Transmitter 50 (75) bps with Type 'A' Interface |  |  |  |  |  | * |  |  | 1811 Sh 1 1822 Sh 1 |  |
| 1001/P/115/A | " | " | 2100 Hz | " | " |  | * |  |  | 1811 Sh 15 1822 Sh 15 |  |
| 1001/P/116/A | " | " | 2220 Hz | " | " |  | * |  |  | 1811 Sh 16 1822 Sh 16 |  |
| 1001/P/117/A | " | " | 2340 Hz | " | " |  | * |  |  | 1811 Sh 17 1822 Sh 17 |  |
| 1001/P/118/A | " | " | 2460 Hz | " | " |  | * |  |  | 1811 Sh 18 1822 Sh 18 |  |
| 1001/P/119/A | " | " | 2580 Hz | " | " |  | * |  |  | 1811 Sh 19 1822 Sh 19 |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description TYPE 73 VF |  |  |  |  | Tech Specifiction available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Common Drawings PLESSEY Mk I, Type 73 VF 50(75) bps Transmitter |  |  |  |  |  |  | 1809, 1826, 1837 | 1865, 1821, 1817, 1833 | 1819 Sh 1-5 1835, 1824 | 1816 Sh 2 |
| 1001/P/120/A | PLESSEY 2700 Hz Mk I Type 73 VF Transmitter 50 (75) bps with Type 'A' Interface |  |  |  |  |  | * |  |  | 1811 Sh 20 1822 Sh 20 |  |
| 1001/P/121/A | " | " | 2820 Hz | " | " |  | * |  |  | 1811 Sh 21 1822 Sh 20 |  |
| 1001/P/122/A | " | " | 2940 Hz | " | " |  | * |  |  | 1811 Sh 22 1822 Sh 22 |  |
| 1001/P/123/A | " | " | 3060 Hz | " | " |  | * |  |  | 1811 Sh 23 1822 Sh 23 |  |
| 1001/P/124/A | " | " | 3180 Hz | " | " |  | * |  |  | Sh 24 1822 Sh 24 |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description TYPE 73 VF |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Common Drawings PLESSEY Mk I, Type 73 VF 50 (75) bps Receiver only |  |  |  |  |  |  | 1809, 1832, 1837 | 1865, 1827, 1817, 1833 | 1820 Sh 1-5 1836, 1830, 1831 | 1816 Sh 3 |
| 1002/P/101/A | PLESSEY 420 Hz Mk I Type 73 VF Receiver (50(75) bps with Type 'A' Interface |  |  |  |  |  | * |  |  | 1812 Sh 1 1828 Sh 1 |  |
| 1002/P/115/A | " | " | 2100 Hz | " | " |  | * |  |  | 1812 Sh 15 1828 Sh 15 |  |
| 1002/P/116/A | " | " | 2220 Hz | " | " |  | * |  |  | 1812 Sh 16 1828 Sh 16 |  |
| 1002/P/117/A | " | " | 2340 Hz | " | " |  | * |  |  | 1812 Sh 17 1828 Sh 17 |  |
| 1002/P/118/A | " | " | 2460 Hz | " | " |  | * |  |  | 1812 Sh 18 1828 Sh 18 |  |
| 1002/P/119/A | " | " | 2580 Hz | " | " |  | * |  |  | 1812 Sh 19 1828 Sh 19 |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description TYPE 73 VF |  |  |  |  | Tech Specifiction available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Common Drawings PLESSEY Mk I, Type 73 VF 50 (75) bps Receiver only |  |  |  |  |  |  | 1809, 1832, 1837 | 1865, 1827, 1817 1833 | 1820 Sh 1-5 1836, 1830, 1831 | 1816 Sh 3 |
| 1002/P/120/A | PLESSEY 2700 Hz Mk I Type 73 VF Receiver 50 (75) bps with Type 'A' Interface |  |  |  |  |  | * |  |  | 1812 Sh 20 1828 Sh 20 |  |
| 1002/P/121/A | " | " | 2820 Hz | " | " |  | * |  |  | 1812 Sh 21 1828 Sh 21 |  |
| 1002/P/122/A | " | " | 2940 Hz | " | " |  | * |  |  | 1812 Sh 22 1828 Sh 22 |  |
| 1002/P/123/A | " | " | 3060 Hz | " | " |  | * |  |  | 1812 Sh 23 1828 Sh 23 |  |
| 1002/P/124/A | " | " | 3180 Hz | " | " |  | * |  |  | 1812 Sh 24 1828 Sh 24 |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description TYPE 73 VF |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Common Drawings PLESSEY Mk II, Type 73 VF 50(75) bps Modem, Transmitter, Receiver |  |  |  |  |  |  | 1880 | 1881 Shts 1 & 2 | 1882 (not avail- able) Sh 1 | 1890 Shts 1, 2 & 3 |
| 1000/P)/101/B 1001/P) 1002/P) | PLESSEY 420 Hz Mk II Type 73 VF 50 (75) bps Modem, Transmitter, Receiver with Type A Interface |  |  |  |  |  | * | " | " | Shts 2 & 3 (not avail- able) | " |
| 1000/P)/115/B 1001/P) 1002/P) | " | " | 2100 Hz | " | " |  | * | " | " | Shts 30 & 31 | " |
| 1000/P)/116/B 1001/P) 1002/P) | " | " | 2220 Hz | " | " |  | * | " | " | Shts 32 & 33 | " |
| 1000/P)/117/B 1001/P) 1002/P) | " | " | 2340 Hz | " | " |  | * | " | " | Shts 34 & 35 | " |
| 1000/P)/118/B 1001/P) 1002/P) | " | " | 2460 Hz | " | " |  | * | " | " | Shts 36 & 37 | " |
| 1000/P)/119/B 1001/P) 1002/P) | " | " | 2580 Hz | " | " |  | * | " | " | Shts 38 & 39 | " |
| 1000/P)/120/B 1001/P) 1002/P) | " | " | 2700 Hz | " | " |  | * | " | " | Shts 40 & 41 | " |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description TYPE 73 VF |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Common Drawings PLESSEY Mk II, Type 73 VF 50(75) bps Modem, Transmitter, Receiver |  |  |  |  |  |  | 1880 | 1881 Shts 1 & 2 | 1882 (not avail- able) Sh 1 | 1890 Shts 1, 2 & 3 |
| 1000/P)/121/B 1001/P) 1002/P) | " | " | 2820 Hz | " | " |  | * | " | " | Shts 42 & 43 | " |
| 1000/P)/122/B 1001/P) 1002/P) | " | " | 2940 Hz | " | " |  | * | " | " | Shts 44 & 45 | " |
| 1000/P)/123/B 1001/P) 1002/P) | " | " | 3060 Hz | " | " |  | * | " | " | Shts 46 & 47 | " |
| 1000/P)/124/B 1001/P) 1002/P) | " | " | 3180Hz | " | " |  | * | " | " | Shts 48 & 49 | " |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description TYPE 73 VF Remsdaq 50(75) bps *** See TTC 7501 |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1000/RQ/***/A | Remsdaq Mk I type 73 VF Modem 50(75) bps with type 'A' Interface |  |  |  |  |  | * | 82500 Shts 1, 2 | 82500 Shts 3, 7, 8, 10, 12, 14, 16, 18 | 82500 Shts 4, 5, 6, 9, 11, 13, 15, 17, 19 | 82510 Sht 2 |
| 1001/RQ/***/A | Remsdaq Mk I type 73 VF Transmitter 50 (75) bps with type 'A' Interface |  |  |  |  |  | * |  |  |  |  |
| 1002RQ***A | Remsdaq Mk I type 73 VF Receiver 50(75) bps with type 'A' Interface |  |  |  |  |  | * |  |  |  |  |
| 1000/RQ/***/B | Remsdaq Mk II type 73 VF Modem 50 (75) bps with type 'A' Interface |  |  |  |  |  | * | 82520 Shts 2, 3 | 82520 Shts 4, 8, 10 | 82500 Shts 5, 6, 7, 9, 11 |  |
| 1001/RQ/***/B | Remsdaq Mk II type 73 VF Transmitter 50(75) bps with type 'A' Interface |  |  |  |  |  | * |  | 82500 Shts 11, 13, 16 | 82500 Shts 12, 14, 17 |  |
| 1002/RQ/***/B | Remsdaq Mk II type 73 VF Receiver 50(75) bps with type 'A' Interface |  |  |  |  |  | * |  | 82530 Sht 14 | 82530 Sht 15 |  |
|  |  |  | *** Refer to TTC 7501 |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description TYPE 73 VF Remsdaq 50(75) bps *** See TTC 7501 |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1000/RQ/***/C | Remsdaq Mk III type 73 VF Modem 50(75) bps with type 'A' Interface |  |  |  |  |  | * | 82530 Shts 2, 3 | 82530 Shts 4, 8, 10, 12, 14 | 82530 Shts 5, 6, 7, 9, 11, 13, 15 |  |
| 1001/RQ/***/C | Remsdaq Mk III type 73 VF Transmitter 50 (75) bps with type 'A' Interface |  |  |  |  |  | * |  | 82500 Shts 12, 16 | 82500 Shts 13, 17 |  |
| 1002/RQ/***/C | Remsdaq Mk III type 73 VF Receiver 50(75) bps with type 'A' Interface |  |  |  |  |  | * |  |  |  |  |
| 1003/RQ/*** | Remsdaq type 73 VF Amplifier By-Pass 50(75) bps |  |  |  |  |  | * | 82511 Sht 1 | 82511 Shts 2, 5, 6, 7 | 82511 Shts 3, 4, 8 | 82510 Sht 3 |
|  |  |  | *** Refer to Drg TTC 7501 |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description TYPE 73 VF |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Common Drawings PLESSEY Mk I 50(75) bps Type 73 VF Amplifier by-pass |  |  |  |  |  |  | 1847 | 1848 1841 | 1851 Sh 1-2 | 1852 |
| 1003/P/101/A | PLESSEY |  | 420 Hz Mk I 50(75) bps Type 73 VF Amplifier by-pass |  |  |  | * |  |  | 1849 Sh 1 |  |
| 1003/P/115/A | " |  | 2100 Hz | " | " |  | * |  |  | 1849 Sh 15 |  |
| 1003/P/116/A | " |  | 2220 Hz | " | " |  | * |  |  | 1849 Sh 16 |  |
| 1003/P/117/A | " |  | 2340 Hz | " | " |  | * |  |  | 1849 Sh 17 |  |
| 1003/P/118/A | " |  | 2460 Hz | " | " |  | * |  |  | 1849 Sh 18 |  |
| 1003/P/119/A | " |  | 2580 Hz | " | " |  | * |  |  | 1849 Sh 19 |  |
| 1003/P/120/A | " |  | 2700 Hz | " | " |  | * |  |  | 1849 Sh 20 |  |
| 1003/P/121/A | " |  | 2820 Hz | " | " |  | * |  |  | 1849 Sh 21 |  |
| 1003/P/122/A | " |  | 2940 Hz | " | " |  | * |  |  | 1849 Sh 22 |  |
| 1003/P/123/A | " |  | 3060 Hz | " | " |  | * |  |  | 1849 Sh 23 |  |
| 1003/P/124/A | " |  | 3180 Hz | " | " |  | * |  |  | 1849 Sh 24 |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description TYPE 73 VF |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Common Drawings PLESSEY Mk I 50(75) bps Type 73 VF Amplifier by-pass |  |  |  |  |  |  | 1894 Sht 18 | 1894 Sht 1 | 1894 | 1852 |
| 1003/P/101B | PLESSEY |  | 420 Hz Mk II 50(75) bps Type 73 VF Amplifier by-pass |  |  |  | * |  |  | Sh 2 & 3 |  |
| 1003/P/115/B | " |  | 2100 Hz | " | " |  | * |  |  | Sh 6 & 7 |  |
| 1003/P/116/B | " |  | 2220 Hz | " | " |  | * |  |  | Sh 6 & 7 |  |
| 1003/P/117/B | " |  | 2340 Hz | " | " |  | * |  |  | Sh 6 & 7 |  |
| 1003/P/118/B | " |  | 2460 Hz | " | " |  | * |  |  | Sh 6 & 7 |  |
| 1003/P/119/B | " |  | 2580 Hz | " | " |  | * |  |  | Sh 8 & 9 |  |
| 1003/P/120/B | " |  | 2700 Hz | " | " |  | * |  |  | Sh 8 & 9 |  |
| 1003/P/121/B | " |  | 2820 Hz | " | " |  | * |  |  | Sh 8 & 9 |  |
| 1003/P/122/B | " |  | 2940 Hz | " | " |  | * |  |  | Sh 8 & 9 |  |
| 1003/P/123/B | " |  | 3060 Hz | " | " |  | * |  |  | Sh 8 & 9 |  |
| 1003/P/124/B | " |  | 3180 Hz | " | " |  | * |  |  | Sh 8 & 9 |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description TYPE 73 VF |  |  |  |  | Tech Specifiction available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Common Drawings PLESSEY Mk I 50(75) bps Type 73 VF Amplifier by-pass |  |  |  |  |  |  | TBA | TBA | TBA | TBA |
| 1003/P/101/C | PLESSEY |  | 420 Hz Mk III 50(75) bps Type 73 VF Amplifier by-pass |  |  |  | * |  |  | TBA |  |
| 1003/P/115/C | " |  | 2100 Hz | " | " |  | * |  |  | TBA |  |
| 1003/P/116/C | " |  | 2220 Hz | " | " |  | * |  |  | TBA |  |
| 1003/P/117/C | " |  | 2340 Hz | " | " |  | * |  |  | TBA |  |
| 1003/P/118/C | " |  | 2460 Hz | " | " |  | * |  |  | TBA |  |
| 1003/P/119/C | " |  | 2580 Hz | " | " |  | * |  |  | TBA |  |
| 1003/P/120/C | " |  | 2700 Hz | " | " |  | * |  |  | TBA |  |
| 1003/P/121/C | " |  | 2820 Hz | " | " |  | * |  |  | TBA |  |
| 1003/P/122/C | " |  | 2940 Hz | " | " |  | * |  |  | TBA |  |
| 1003/P/123/C | " |  | 3060 Hz | " | " |  | * |  |  | TBA |  |
| 1003/P/124/C | " |  | 3180 Hz | " | " |  | * |  |  | TBA |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description TYPE 73 VF |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1004/P/A | PLESSEY Type 73 VF Amplifier, speech with LP Filters, Hybrid Transformer and Speech Limiter (Duplex) |  |  |  |  |  | * | 1838, 1845 | 1839, 1841, 1843 | 1842 Sht 1-2 1840, 1844 | 1846 |
| 1004/P/B | PLESSEY Mk II Type 73 VF Amplifier, speech with LP Filters (1900 Hz cut-off), Hybrid Transformer and Speech Limiter (Duplex) |  |  |  |  |  | * | 1895 Sht 7 1845 | 1895 Sht 1 1843 | 1895 Sht 2-6 1844 | 1846 |
| 1004/RQ | REMSDAQ Type 73 VF Amplifier, speech with LP Filters (1900 Hz cut-off), Hybrid Transformer and Speech Limiter (Duplex) |  |  |  |  |  | * | 82511 Sht 1 | 82511 Shts 2 2, 5 6, 7 | 82511 Shts 3, 4 8 | 82510 Sht 3 |
| 1005/P/A | PLESSEY Mk I Type 73 VF Amplifier, Matching (Duplex) |  |  |  |  |  | * | 1853 | 1854, 1841 | 1855 Sht 1, 2 | 1857 |
| 1005/P/B | PLESSEY Mk II Type 73 VF Amplifier, Matching (Duplex) |  |  |  |  |  | * | 1896 Sht 5 | 1896 Sht 1 | 1896 Sht 2, 4 | 1857 |
| 1005/RQ | REMSDAQ Type 73 VF Amplifier, Matching (Duplex) |  |  |  |  |  | * | 82511 Sht 1 | 82511 Sht 2, 5, 7 | 82511 Sht 3, 4, 8 | 82510 Sht 3 |
| 1006//P/A | PLESSEY 50 V d.c. Converter Unit (Mk I) |  |  |  |  |  | * | 1806 | 1807 | 1808 |  |
| 1006/P/B | PLESSEY 50 V d.c. Converter Unit (Mk II) |  |  |  |  |  | * | 1873 | 1875 | 1874 |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description TYPE 73 VF |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC | System Sche- atic Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1006/RQ | REMSDAQ 50 v D.C. Converter Unit |  |  |  |  |  | * | 82529 Sht 1 | 82529 Shts 2, 8 | 82529 Shts 3, 4, 5, 6, 7, 9 | 82510 Sht 1 | 82510 Sht 1 |
| 1007/P | PLESSEY 240 V a.c. Power Unit |  |  |  |  | (NOT USED) |  |  |  |  |  |  |
| 1007/RQ | REMSDAQ 240 V a.c. Power Unit |  |  |  |  | (NOT USED) |  |  |  |  |  |  |
| 1008/P/A | PLESSEY Crate Assembly for 1 x 4 wire line (Pre-wired including Line Terminating Unit) |  |  |  |  | (NOT USED) |  |  |  |  |  |  |
| 1008//RQ/A | REMSDAQ Crate Assembly for 1 x 4 wire line (Pre-wired including Line Terminating Unit) |  |  |  |  | (NOT USED) |  |  |  |  |  |  |
| 1008/P/B | PLESSEY Crate Assembly for 2 x 4 wire line (Pre-wired including Line Terminating Units) |  |  |  |  |  | * | 1802 | 1800, 1803 | 1804 Sht 1-2 1801 |  | 1805 |
| 1008/RQ/B | REMSDAQ Crate Assembly for 2 x 4 wire line (Pre-wired including Line Terminating Units) |  |  |  |  |  | * | 82515 Sht 1 | 82515 Shts 2, 4, 6 | 82515 Shts 3, 5, 7 | 82510 Sht 1 | 82510 Sht 1 |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |  |

| PSI No | Description TYPE 73 VF |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC | Frame- work Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1009/P | PLESSEY Crate Blanking Plates |  |  |  |  |  | * |  |  |  |  |  |
| 1009/RQ | REMSDAQ Crate Blanking Plates |  |  |  |  |  | * |  | 82519 Sh 2 | 82519 Sh 3 |  |  |
| 1010/P | PLESSEY Extender Cards |  |  |  |  |  | * |  | 1863 | 1864 |  |  |
| 1010/RQ | REMSDAQ Extender Cards |  |  |  |  |  | * |  | 82518 Sh 2 | 82518 Sh 3 |  |  |
| 1011 | NOT USED |  |  |  |  |  |  |  |  |  |  |  |
| 1012/P | PLESSEY Type 73 VF Test Unit |  |  |  |  |  | * | 1858 | 1859, 1861 | 1860 Sh 1-2 1862 Sh 1-5 |  |  |
| 1012/RQ | REMSDAQ Type 73 VF Test Unit |  |  |  |  |  | * | 82563 Sht 1 | 82563 Shts 2 & 5 | 82563 Shts 3, 4, 6 |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |  |

| PSI No | Description TYPE 73 VF ASSOCIATED ITEMS |  |  |  |  |  |  | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Connection Diagram Drg No | Frame- work Drg No |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Tech Specification available = | * | TTC | TTC | TTC | TTC | TTC |
| 1013A | Cubicle, GI 74 Outstation, complete with necessary installation fittings. Single width 19" EP Equipment Practice |  |  |  |  |  | * | 7470 | 7471 Sh 2 | 7472 Sh 1-7 7472 | 7553 | 7473 Sh 4 |
|  |  |  |  |  |  |  |  |  |  | Sh |  |  |
| 1013B | Short version of PSI 1013A (1.8 metres) |  |  |  |  |  | * |  |  | 9-21 |  |  |
| 1013C | Unequipped version of PSI 1013A with metal doors |  |  |  |  |  | * |  |  |  |  |  |
| 1013D | Unequipped version of PSI 1013A with glass doors |  |  |  |  |  | * |  |  |  |  |  |
| 1013E | Cubicle, complete with one IWATEC inverter (PSI 8087) and having modified rear door (PSI 9113E) |  |  |  |  |  |  |  |  |  |  |  |
| 1013F | Unequipped version of PSI 1013E |  |  |  |  |  |  |  |  |  |  |  |
| 1014A | Cubicle, Outstation, Double width 19" Equipment Practice |  |  |  |  |  |  | 7470 | 7471 Sh 1 | 7472 Sh 1-8 7472 Sh 10-21 | 7552 | 7473 Sh 3 |
| 1014B | Unequipped version of PSI 1014A with glass doors |  |  |  |  |  | * |  |  |  |  |  |
| 1015/P | Protection Signalling Unit for use with Type 73 VF (Plessey) |  |  |  |  |  | * | 1866 Sht 2 | 1866 Sht 3 | 1866 Shts 5-10 | 1866 Sht 4 | - |
| 1016 | Cubicle Terminating Section (Outstations) for use with Cubicles PSI 1013/1014 |  |  |  |  |  |  | - | 7473 Sht 6 | 7473 Sht 5 | - |  |
| 1017/P | Plessey Type 73 VF Remote Frequency Transmit Unit |  |  |  |  |  | * | 1891 Sht 2 | 1891 Sht 7 | 1891 Shts 3, 4, 5 & 6 | 1891 Sht 8 | - |
| 1018/P | Plessey Type 73 VF Remote Frequency Receive Unit |  |  |  |  |  | * | 1892 Sht 2 | 1892 Sht 9 | 1892 Shts 3, 4 5, 6, 7 & 8 | 1892 Sht 10 | - |
| 1019/P | Plessey Type 73 VF Remote Frequency Transformer Unit |  |  |  |  |  | * | 1893 Sht 2 | 1893 Sht 2 | - | 9022 | - |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |  |

| PSI No | Description TYPE 73 VF |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1020/P | Plessey Type 73 VF Automatic Speech Switching Unit |  |  |  |  |  |  | 7959 |  |  |  |
| 1020/RQ | Remsdaq Type 73 VF Automatic Speech Switching Unit |  |  |  |  |  |  | 82564 | 82565 |  |  |
|  | Common Drawings PLESSEY Mk I TYPE 73 VF 100(150) bps MODEM |  |  |  |  |  |  | 1809, 1837 | 1865, 1817, 1833 | 1818 Sh 1-5 1834 | 1816 Sh 1 |
| 1050/P/201/A | PLESSEY 480 Mk I, Type 73 VF 100(150) bps MODEM with Type A Interface |  |  |  |  |  | * |  |  | 1813 Sh 1 |  |
| 1050/P/208/A | " | " | 2160 | " | " |  | * |  |  | 1813 Sh 8 |  |
| 1050/P/209/A | " | " | 2400 | " | " |  | * |  |  | 1813 Sh 9 |  |
| 1050/P/210/A | " | " | 2640 | " | " |  | * |  |  | 1813 Sh 10 |  |
| 1050/P/211/A | " | " | 2880 | " | " |  | * |  |  | 1813 Sh 11 |  |
| 1050/P/212/A | " | " | 3120 | " | " |  | * |  |  | 1813 Sh 12 |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description TYPE 73 VF |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Common Drawings PLESSEY Mk I Type 73 VF 100 (150) bps Transmitter |  |  |  |  |  |  | 1809, 1837, 1826 | 1865, 1821, 1817, 1833 | 1819 Sh 1-5 1835, 1825 | 1816 Sh 2 |
| 1051/P/201/A | PLESSEY 480 Hz Mk I, Type 73 VF 100(150) bps Transmitter with Type A Interface |  |  |  |  |  | * |  |  | 1814 Sh 1 1823 Sh 1 |  |
| 1051/P/208/A | " | " | 2160 Hz | " | " |  | * |  |  | 1814 Sh 8 1823 Sh 8 |  |
| 1051/P/209/A | " | " | 2400 Hz | " | " |  | * |  |  | 1814 Sh 9 1823 Sh 9 |  |
| 1051/P/210/A | " | " | 2640 Hz | " | " |  | * |  |  | 1814 Sh 10 1823 Sh 10 |  |
| 1051/P/211/A | " | " | 2880 Hz | " | " |  | * |  |  | 1814 Sh 11 1823 Sh 11 |  |
| 1051/P/212/A | " | " | 3120 Hz | " | " |  | * |  |  | 1814 Sh 12 1823 Sh 12 |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description TYPE 73 VF |  |  |  |  | Tech Specifiction available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Common Drawings PLESSEY Mk I TYPE 73 VF 100 (150) bps Receiver |  |  |  |  |  |  | 1809, 1832, 1837 | 1865, 1827, 1817, 1833 | 1820 Sh 1-5 1836, 1830 1831 | 1816 Sh 3 |
| 1052/P/201/A | PLESSEY 480 Hz Mk I, Type 73 VF 100(150) bps Receiver with Type A Interface |  |  |  |  |  | * |  |  | 1815 Sh 1 1829 Sh 1 |  |
| 1052/P/208/A | " | " | 2160 Hz | " | " |  | * |  |  | 1815 Sh 8 1829 Sh 8 |  |
| 1052/P/209/A | " | " | 2400 Hz | " | " |  | * |  |  | 1815 Sh 9 1829 Sh 9 |  |
| 1052/P/210/A | " | " | 2640 Hz | " | " |  | * |  |  | 1816 Sh 10 1829 Sh 10 |  |
| 1052/P/211/A | " | " | 2880 Hz | " | " |  | * |  |  | 1815 Sh 11 1829 Sh 11 |  |
| 1052/P/212/A | " | " | 3120 Hz | " | " |  | * |  |  | 1815 Sh 12 1829 Sh 12 |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description TYPE 73 VF |  |  |  |  | Tech Specifiction available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Common Drawings PLESSEY Mk II Type 73 VF 100(150) bps Modem, Transmitter, Receiver |  |  |  |  |  |  | 1880 | 1881 Sh 1 & 2 | 1883 Sh 1 | 1890 Shts 1, 2 & 3 |
| 1050/P) 1051/P)/201/B 1052/P) | PLESSEY 480 Hz Mk II, Type 73 VF 100(150) bps Modem, Transmitter, Receiver with Type A Interface |  |  |  |  |  | * |  |  | Sh 2 & 3 |  |
| 1050/P) 1051/P)/208/B 1052/P) | " | " | 2160 Hz | " |  |  | * |  |  | Sh 16 & 17 |  |
| 1050/P) 1051/P)/209/B 1052/P) | " | " | 2400 Hz | " |  |  | * |  |  | Sh 18 & 19 |  |
| 1050/P) 1051/P)/210/B 1052/P) | " | " | 2640 Hz | " |  |  | * |  |  | Sh 20 & 21 |  |
| 1050/P) 1051/P)/211/B 1052/P) | " | " | 2880 Hz | " |  |  | * |  |  | Sh 22 & 23 |  |
| 1050/P) 1051/P)/212/B 1052/P) | " | " | 3120 Hz | " |  |  | * |  |  | Sh 24 & 25 |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description TYPE 73 VF |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Common Drawings PLESSEY Mk I 100(150) bps Type 73VF Amplifier by-pass |  |  |  |  |  |  | 1847 | 1848 1841 | 1851 Sh 1-2 | 1852 |
| 1053/P/201/A | PLESSEY 480 Hz Mk I 100(150) bps Type 73 VF Amplifier by-pass |  |  |  |  |  | * |  |  |  | 1850 Sh 1 |
| 1053/P/208/A |  | " | 2160 Hz |  |  | 1850 Sh 8 | * |  |  | 1850 Sh 8 |  |
| 1053/P/209/A |  | " | 2400 Hz |  |  | 1850 Sh 9 | * |  |  | 1850 Sh 9 |  |
| 1053/P/210/A |  | " | 2640 Hz |  |  | 1850 Sh 10 | * |  |  | 1850 Sh 10 |  |
| 1053/P/211/A |  | " | 2880 Hz |  |  | 1850 Sh 11 | * |  |  | 1850 Sh 11 |  |
| 1053/P/212/A |  | " | 3120 Hz |  |  | 1850 Sh 12 | * |  |  | 1850 Sh 12 |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description TYPE 73 VF |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Common Drawings PLESSEY Mk II 100(150) bps Type 73VF Amplifier by-pass |  |  |  |  |  |  | 1847 | 1848 1841 | 1851 Sh 1-2 | 1852 |
| 1053/P/201/B | PLESSEY 480 Hz Mk II 100(150) bps Type 73 VF Amplifier by-pass |  |  |  |  |  | * |  |  | 1894 Sh 10 |  |
| 1053/P/208/B |  | " | 2160 Hz | " |  |  | * |  |  | 1894 Sh 12 & 13 |  |
| 1053/P/209/B |  | " | 2400 Hz | " |  |  | * |  |  | 1894 Sh 12 & 13 |  |
| 1053/P/210/B |  | " | 2640 Hz | " |  |  | * |  |  | 1894 Sh 12 & 13 |  |
| 1053/P/211/B |  | " | 2880 Hz | " |  |  | * |  |  | 1894 Sh 12 & 13 |  |
| 1053/P/212/B |  | " | 3120 Hz | " |  |  | * |  |  | 1894 Sh 12 & 13 |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description TYPE 73 VF |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Common Drawings PLESSEY Mk III 100(150) bps Type 73VF Amplifier by-pass |  |  |  |  |  | * | TBA | TBA | TBA | TBA |
| 1053/P/201/C | PLESSEY 480 Hz Mk III 100(150) bps Type 73 VF Amplifier by-pass |  |  |  |  |  | * |  |  | TBA |  |
| 1053/P/208/C |  | " | 2160 Hz | " |  |  | * |  |  | TBA |  |
| 1053/P/209/C |  | " | 2400 Hz | " |  |  | * |  |  | TBA |  |
| 1053/P/210/C |  | " | 2640 Hz | " |  |  | * |  |  | TBA |  |
| 1053/P/211/C |  | " | 2880 Hz | " |  |  | * |  |  | TBA |  |
| 1053/P/212/C |  | " | 3120 Hz | " |  |  | * |  |  | TBA |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description TYPE 73 VF Remsdaq 100(150) bps *** See TTC 7501 |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1050/RQ/***/A | Remsdaq Mk I type 73 VF Modem 100(150) bps with type 'A' Interface |  |  |  |  |  | * | 82500 Shts 1, 2 | 82500 Shts 3, 7, 8, 10, 12, 14, 16 | 82500 Shts 4, 5, 6, 9, 11, 13, 15, 17, | 82510 Sht 2 |
|  |  |  |  |  |  |  |  |  | 18 | 19 |  |
| 1051/RQ/***/A | Rensdaq Mk I type 73 VF Transmitter 100(150) bps with type 'A' Interface |  |  |  |  |  | * |  |  |  |  |
| 1052/RQ/***/A | Remsdaq Mk I type 73 VF Receiver 199(150) bps with type 'A' Interface |  |  |  |  |  | * |  |  |  |  |
| 1050/RQ/***/B | Remsdaq Mk II type 73 VF Modem 100(150) bps with type 'A' Interface |  |  |  |  |  | * | 82520 Shts 2, 3 | 82520 Shts 4, 8, 10 | 82500 Shts 5, 6, 7, 9, 11 |  |
| 1051/RQ/***/B | Remsdaq Mk II type 73 VF Transmitter 100(150) bps with type 'A' Interface |  |  |  |  |  | * |  | 82500 Shts 11, 13, 16 | 82500 Shts 12, 14, 17 |  |
| 1052/RQ/***/B | Remsdaq Mk II type 73 VF Receiver 100(150) bps with type 'A' Interface |  |  |  |  |  | * |  | 82530 Sht 14 | 82530 Sht 15 |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description TYPE 73 VF Remsdaq 100(150) bps *** See TTC 7501 |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1050/RQ/***/C | Remsdaq Mk III type 73 VF Modem 100(150) bps with type 'A' Interface |  |  |  |  |  | * | 82530 Shts 2, 3 | 82530 Shts 4, 8, 10, 12, 14 | 82530 Shts 5, 6, 7, 9, 11, 13, 15 |  |
| 1051/RQ/***/C | Remsdaq Mk III type 73 VF Transmitter 100(150) bps with type 'A' Interface |  |  |  |  |  | * |  | 82500 Shts 12, 16 | 82500 Shts 13, 17 |  |
| 1052/RQ/***/C | Remsdaq Mk III type 73 VF Receiver 100(150) bps with type 'A' Interface |  |  |  |  |  | * |  |  |  |  |
| 1053/RQ/*** | Remsdaq type 73 VF Amplifier By-Pass 100(150) bps |  |  |  |  |  | * | 82511 Sht 1 | 82511 Shts 2, 5, 6, 7 | 82511 Shts 3, 4, 8 | 82510 Sht 3 |
|  | *** Refer to DRG TTC 7501 |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description TYPE 73 VF |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Common Drawings PLESSEY HYBRID Mk III 200(300) bps Type 73 VF Modem, Transmitter, Receiver |  |  |  |  |  |  | TBA | TBA | TBA | TBA |
| 1100/H/) 1101/H/)401/B 1102/H/) | PLESSEY HYBRID 600 Hz (Mk II circuit) 200(300) bps, Type 73 VF Modem, Transmitter, Receiver, all without Type A Interface, V24/28 only, for use in REMSDAQ crate PSI 1008/RQ |  |  |  |  |  | * | TBA | TBA | TBA | TBA |
| 1100/H/) 1101/H/)402/B 1102/H/) | " |  | 1080 Hz |  | " |  | * | TBA | TBA | TBA | TBA |
| 1100/H/) 1101/H/)403/B 1102/H/) | " |  | 1560 Hz |  | " |  | * | TBA | TBA | TBA | TBA |
| 1100/H/) 1101/H/)404/B 1102/H/) | " |  | 2040 Hz |  | " |  | * | TBA | TBA | TBA | TBA |
| 1100/H/) 1101/H/)405/B 1102/H/) | " |  | 2520 Hz |  | " |  | * | TBA | TBA | TBA | TBA |
| 1100/H/) 1101/H/)406/B 1102/H/) | " |  | 3000 Hz |  | " |  | * | TBA | TBA | TBA | TBA |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description TYPE 73 VF |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Common Drawings PLESSEY HYBRID Mk III 200(300) bps Type 73 VF Amplifier by-pass |  |  |  |  |  |  | TBA | TBA | TBA | TBA |
| 1103/H/401/C | PLESSEY HYBRID 600 Hz Mk III 200(300) bps Type 73 VF Amplifier by-pass for use in REMSDAQ crate PSI 1008/RQ |  |  |  |  |  | * |  |  | TBA |  |
| 1103/H/402/C |  | " | 1080 Hz | " |  |  | * |  |  | TBA |  |
| 1103/H/403/C |  | " | 1560 Hz | " |  |  | * |  |  | TBA |  |
| 1103/H/404/C |  | " | 2040 Hz | " |  |  | * |  |  | TBA |  |
| 1103/H/405/C |  | " | 2520 Hz | " |  |  | * |  |  | TBA |  |
| 1103/H/406/C |  | " | 3000 Hz | " |  |  | * |  |  | TBA |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description TYPE 73 VF |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Common Drawings PLESSEY Mk II 200(300) bps Type 73 VF Mode, Transmitter, Receiver |  |  |  |  |  |  | TBA | TBA | TBA | TBA |
| 1100/P/) 1101/P/)401/B 1102/P/) | PLESSEY 600 Hz Mk II 200(300) bps Type 73 VF Modem, Transmitter, Receiver, all without Type A Interface, V24/28 only |  |  |  |  |  | * | TBA | TBA | TBA | TBA |
| 1100/P/) 1101/P/)402/B 1102/P/) |  | " | 1080 Hz | " |  |  | * | TBA | TBA | TBA | TBA |
| 1100/P/) 1101/P/)403/B 1102/P/) |  | " | 1560 Hz | " |  |  | * | TBA | TBA | TBA | TBA |
| 1100/P/) 1101/P/)404/B 1102/P/) |  | " | 2040 Hz | " |  |  | * | TBA | TBA | TBA | TBA |
| 1100/P/) 1101/P/)405/B 1102/P/) |  | " | 2520 Hz | " |  |  | * | TBA | TBA | TBA | TBA |
| 1100/P/) 1101/P/)406/B 1102/P/) |  | " | 3000 Hz | " |  |  | * | TBA | TBA | TBA | TBA |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description TYPE 73 VF |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Common Drawings PLESSEY Mk III 200(300) bps Type 73 VF Amplifier by-pass |  |  |  |  |  |  | TBA | TBA | TBA | TBA |
| 1103/P/401/C | PLESSEY 600 Hz Mk III 200(300) bps Type 73 VF Amplifier by-pass |  |  |  |  |  | * |  |  | TBA |  |
| 1103/P/402/C |  | " | 1080 Hz | " |  |  | * |  |  | TBA |  |
| 1103/P/403/C |  | " | 1560 Hz | " |  |  | * |  |  | TBA |  |
| 1103/P/404/C |  | " | 2040 Hz | " |  |  | * |  |  | TBA |  |
| 1103/P/405/C |  | " | 2520 Hz | " |  |  | * |  |  | TBA |  |
| 1103/P/406/C |  | " | 3000 Hz | " |  |  | * |  |  | TBA |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description TYPE 73 VF Remsdaq 200(300) bps *** See TTC 7501 |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1100/RQ/***/C | Remsdaq Mk III type 73 VF Modem 200(300) bps with type 'A' Interface |  |  |  |  |  | * | 82530 Shts 2, 3 | 82530 Shts 4, 8, 10, 12, 14 | 82530 Shts 5, 6, 7, 9, 11, 13, 15 |  |
| 1101/RQ/***/C | Remsdaq Mk III type 73 VF Transmitter 200(300) bps with type 'A' Interface |  |  |  |  |  | * |  | 82500 Shts 12, 16 | 82500 Shts 13, 17 |  |
| 1102/RQ/***/C | Remsdaq Mk III type 73 VF Receiver 200(300) bps with type 'A' Interface |  |  |  |  | Not Used | * |  |  |  |  |
| 1103/RQ/*** | Remsdaq type 73 VF Amplifier By-Pass |  |  |  |  | Use To Be Avoided | * | 82511 Sht 1 | 82511 Shts 2, 5, 6, 7 | 82511 Shts 3, 4, 8 | 82510 Sht 3 |
|  | *** Refer to DRG TTC 7501 |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description STC (GI 74) OUTSTATION ITEMS |  |  |  |  | Tech Specs for STC GI 74 Items only available from FEU(N) |  | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2000 | Crate Interconnection Module |  |  |  |  |  |  | 83047 |  |  |  |
| 2001 | Common Logic Module |  |  |  |  |  |  | 83037 |  |  |  |
| 2002 | Timing Logic Module |  |  |  |  |  |  | 83038 |  |  |  |
| 2003 | ADC Module |  |  |  |  |  |  | 83039 |  |  |  |
| 2004 | VF Switching Module |  |  |  |  |  |  | 83048 |  |  |  |
| 2005 | Outstation Test Module |  |  |  |  |  |  | 83045 |  |  |  |
| 2006 | Dummy Facility Module |  |  |  |  |  |  | 83050 |  |  |  |
| 2007 | Frequency Input Module (for 1 reading) |  |  |  |  |  |  | 83051 |  |  |  |
| 2008 | Power Supply Module 50 V d.c. Input (1 Crate accommodates 3 Modules) |  |  |  |  |  |  |  |  |  |  |
| 2009 | Points Input Module for 16 Single or 8 Double Points |  |  |  |  |  |  | 83041 |  |  |  |
| 2010 | Analogue Input Module for 14 Low Resolution or 7 High Resolution analogues |  |  |  |  |  |  | 83042 |  |  |  |
| 2011 | Printometer Input Module for 7 printos |  |  |  |  |  |  | 83044 |  |  |  |
| 2012 | Transformer Tap Position Module for for 3 Transformers |  |  |  |  |  |  | 83043 |  |  |  |
| 2013 | Controls Output Module for 32 Single Point or 16 Double Point Controls |  |  |  |  |  |  | 83040 |  |  |  |
| 2014 | Crate Assembly |  |  |  |  |  |  | 83055 |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description STC (GI 74) OUTSTATION ITEMS |  |  |  |  | Tech Specs for STC GI 74 Items only available from FEU(N) |  | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2015 | Plant Facility Test Unit (for STC Telecontrol only) |  |  |  |  |  |  | 83054 |  |  |  |
| 2016 | Extender Module (Outstation) |  |  |  |  |  |  |  |  |  |  |
| 2017 | Power Crate Assembly |  |  |  |  |  |  | 83053 |  |  |  |
| 2018 | Power Crate Alarm Module |  |  |  |  |  |  | 83052 |  |  |  |
| 2019 | Plant Facility Test Unit (for GEC/Ferranti Telecontrol) |  |  |  |  | Not now used See PSI 2316 |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description STC (GI 74) MASTER STATION ITEMS |  |  |  |  | Tech Specs for STC GI 74 Items only available from FEU(N) |  | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2100 | 21 bit Medium Speed Line Unit Transmitter Module |  |  |  |  |  |  | 83032 |  |  |  |
| 2101 | " " " " " " " Receiver Module |  |  |  |  |  |  | 83031 |  |  |  |
| 2102 | 21 bit Medium Speed Test Module |  |  |  |  |  |  | 83030 |  |  |  |
| 2103 | 21 Bit Medium Speed Test Panel |  |  |  |  |  |  | 83036 |  |  |  |
| 2104 | DAC Common Logic Module |  |  |  |  |  |  | 83033 |  |  |  |
| 2105 | Analogue Output Module (for 16 outputs) |  |  |  |  |  |  | 83062 |  |  |  |
| 2106 | Relay Module |  |  |  |  |  |  | 83034 |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description GEC (GI 74) OUTSTATION ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2300 | Block Transfer Organiser Unit |  |  |  |  |  | * | 82000 |  |  |  |
| 2301 | Analogue/Digital Converter Unit |  |  |  |  |  | * | 82001 |  |  |  |
| 2302 | Analogue Input Unit - 7 Relays (14 low precision or 7 high precision) |  |  |  |  |  | * | 82002 |  |  |  |
| 2303 | Analogue Input Unit - 8 Relays (As 2302 but used when more than 10 Units are required) |  |  |  |  |  | * | 82003 |  |  |  |
| 2304 | Points Input Unit (16 Inputs) |  |  |  |  |  | * | 82004 |  |  |  |
| 2305 | Frequency Input Unit (4 Digit BCD)-1 Reading |  |  |  |  |  | * | 82005 |  |  |  |
| 2306 | Printometer Input Unit (for 7 Inputs) |  |  |  |  |  | * | 82006 |  |  |  |
| 2307 | Control Organiser Unit (for 2 step control only) |  |  |  |  |  | * | 82007 |  |  |  |
| 2308 | Control Output Unit (for 16 Outputs for 2 step control only) |  |  |  |  |  | * | 82008 |  |  |  |
| 2309 | VF Switching Unit - Outstation |  |  |  |  |  | * | 82009 |  |  |  |
| 2310 | Transformer Tap Position Input Unit (3 x 21 way) |  |  |  |  |  | * | 82010 |  |  |  |
| 2311 | Telecontrol Test Unit (used at Master and Outstations) |  |  |  |  |  | * | 82011 |  |  |  |
| 2312 | Power Supply Unit (50 V d.c. Input - 5 V and 12 V d.c. Outputs) |  |  |  |  |  | * | 82012 |  |  |  |
| 2313 | Common Equipment Crate Buffer Unit |  |  |  |  |  | * | 82013 |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description GEC (GI 74) OUTSTATION ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2314 | Facility Crate Buffer Unit |  |  |  |  |  | * | 82014 |  |  |  |
| 2315 | Dummy Facilities Unit (2 CB's + 1 Analogue) |  |  |  |  |  | * | 82015 |  |  |  |
| 2316 | Plant Facility Test Unit (for use on GEC & Ferranti Telecontrol systems) |  |  |  |  |  | * | 7724 or 82016 |  |  |  |
| 2317 | Common Equipment Crate Assembly |  |  |  |  |  | * | 82017 |  |  |  |
| 2318 | Facility Crate Assembly |  |  |  |  |  | * | 82018 |  |  |  |
| 2319 | Control/Output Organiser Unit |  |  |  |  |  | * | 82019 |  |  |  |
| 2320A | 8 Bit Parallel Output Unit (with GT daughter board) |  |  |  |  |  | * | 82020 |  |  |  |
| 2321 | Group Alarm Input Unit (for 10 inputs) |  |  |  |  |  | * | 82021 |  |  |  |
| 2322 | 3 Step Control Output Unit (for 16 outputs) |  |  |  |  |  | * | 82022 |  |  |  |
| 2323 | Group Alarm Crate Assembly |  |  |  |  |  | * | 82023 |  |  |  |
| 2324 | Start-up Unit for stations with 2 or more Power Units |  |  |  |  |  | * | 82037 |  |  |  |
| 2325 | VF Switching Unit Cable Assembly (for New Work See PSI 9007) |  |  |  |  |  | * | 82038 |  |  |  |
| 2326A | Crate Buffer Unit Cable Assembly for use with GEC Common and Facility crates (up to 4 crates) |  |  |  |  |  | * | 82039 |  |  |  |
| 2326B | Crate Buffer Unit Cable Assembly for use with METRO and GEC Facility crates (up to 4 crates) |  |  |  |  |  |  | 82040 |  |  |  |
| 2327A | Crate Buffer Unit Cable assembly for use with GEC Common and facility crates (total of 5 to 8 crates) |  |  |  |  |  | * |  |  |  |  |
| 2327B | Crate Buffer Unit Cable Assembly for use with METRO and and GEC Facility crates (total of 5 to 8 crates) |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description GEC (GI 74) OUTSTATION ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2328 | Power Supply Unit Support Rails |  |  |  |  |  | * | 82041 |  |  |  |
| 2329A | Variable Addressing p.c.b. for Facility Crate - 6-Way Switches |  |  |  |  |  |  | 7886 |  |  |  |
| 2329B | Variable Addressing p.c.b. for Facility Crate - 8-Way Switches |  |  |  |  |  |  | 7886 |  |  |  |
| 2330A | Variable Addressing p.c.b. for Common Equipment Crate - 6-way Switches |  |  |  |  |  |  | 7886 |  |  |  |
| 2330B | Variable Addressing p.c.b. for Common Equipment Crate - 8-way Switches |  |  |  |  |  |  | 7886 |  |  |  |
| 2331 | Computing Techniques (GEC compatible) TGO/Telegraph Display Interface Unit |  |  |  |  |  | * | 82042 |  |  |  |
| 2332 | METRO to GEC Interconnection ribbon cable |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description GEC (GI 74) MASTER STATION ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2400 | Serial/Parallel Converter Unit - Standard (up to 2400 bps) |  |  |  |  |  | * | 82024 |  |  |  |
| 2401 | Serial/Parallel Converter Unit - High speed (up to 9600 bps) |  |  |  |  |  | * | 82025 |  |  |  |
| 2402 | Interface Converter Unit 1 |  |  |  |  |  | * | 82026 |  |  |  |
| 2403 | Interface Converter Unit 2 |  |  |  |  |  | * | 82027 |  |  |  |
| 2404 | VF Switching Unit - Master Station |  |  |  |  |  | * | 82028 |  |  |  |
| 2405 | Selector Unit - Master Station |  |  |  |  |  | * | 82029 |  |  |  |
| 2406 | Crate Access Unit - Master Station |  |  |  |  |  | * | 82030 |  |  |  |
| 2407 | Analogue Output Control and DAC - NOT USED - Now Standard March 4 Item |  |  |  |  |  |  | 82031 |  |  |  |
| 2408 | 16 - Way Analogue Output Multiplexer - NOT USED - Now Standard March 4 Item |  |  |  |  |  |  | 82032 |  |  |  |
| 2409 | Analogue Output Extension Unit |  |  |  |  |  | * | 82033 |  |  |  |
| 2410 | March/Telecontrol Peripheral Crate Assembly |  |  |  |  |  | * | 82034 |  |  |  |
| 2411 | Analogue Input Extension Unit |  |  |  |  |  | * | 82035 |  |  |  |
| 2412 | M/S Test Unit Crate Assembly |  |  |  |  |  | * | 82036 |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description FERRANTI OUTSTATION ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2500A | Microprocessor Unit (With TTY/RS232 Interface) |  |  |  |  | (Not Used) |  | 84000 |  |  |  |
| 2500B | Microprocessor Unit (Without TTY/RS232 Interface) (Normally Used) |  |  |  |  |  | * | 84000 |  |  |  |
| 2501 | Analogue/Digital Converter Unit |  |  |  |  |  | * | 84001 |  |  |  |
| 2502A | Analogue Input - 15 Relays (14 Readings) |  |  |  |  |  | * | 84002 |  |  |  |
| 2502B | Analogue Input Unit - 14 Relays (14 Readings) |  |  |  |  |  | * | 84002 |  |  |  |
| 2502C | Analogue Input Unit - 8 Relays (7 Readings) |  |  |  |  |  | * | 84002 |  |  |  |
| 2502D | Analogue Input Unit - 7 Relays (7 Readings) |  |  |  |  |  | * | 84002 |  |  |  |
| 2503 | Not Used |  |  |  |  |  |  |  |  |  |  |
| 2504 | Points Input Unit - (16 Inputs) |  |  |  |  |  | * | 84004 |  |  |  |
| 2505 | Frequency Input Unit - (1 Reading) |  |  |  |  |  | * | 84005 |  |  |  |
| 2506A | Printometer Input Unit - (7 Inputs) |  |  |  |  |  | * | 84006 |  |  |  |
| 2506B | Printometer Input Unit - (2 Inputs) |  |  |  |  |  | * | 84006 |  |  |  |
| 2507 | Not Used |  |  |  |  |  |  |  |  |  |  |
| 2508 | Not Used |  |  |  |  |  |  |  |  |  |  |
| 2509A | VF Switching Unit - Type 1/2 O/Stn |  |  |  |  |  | * | 84009 |  |  |  |
| 2509B | VF Switching Unit - M/Stn (See Master Station List) |  |  |  |  |  | * | 84009 |  |  |  |
| 2509C | VF Switching Unit - (Party Line O/Stn) |  |  |  |  |  | * | 84009 |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description FERRANTI OUTSTATION ITEMS |  |  |  |  | Tech Specifiction available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2510 | Tap Position Input Unit - 3 (x 21 way) Inputs |  |  |  |  |  | * | 84010 |  |  |  |
| 2511 | Telecontrol Test Unit |  |  |  |  |  | * | 84011 |  |  |  |
| 2512 | Power Supply Unit 50 V d.c. |  |  |  |  |  | * | 84012 |  |  |  |
| 2513 | Not Used |  |  |  |  |  |  |  |  |  |  |
| 2514A | Crate Buffer Unit (O/Stn) |  |  |  |  |  | * | 84014 |  |  |  |
| 2514B | Crate Access Unit (M/Stn) (See Master Station List) |  |  |  |  |  | * | 84014 |  |  |  |
| 2515 | Dummy Facilities Unit |  |  |  |  |  | * | 84015 |  |  |  |
| 2516 | Not Used |  |  |  |  |  |  |  |  |  |  |
| 2517A | Outstation Basic Crate Assembly - All card slots equipped. (Normally Used) |  |  |  |  |  | * | 84017 |  |  |  |
| 2517B | Outstation Basic Crate Assembly - Slots 1-4 & 7 not equipped. |  |  |  |  |  | * | 84017 |  |  |  |
| 2518A | Outstation Input/Output Crate assembly Terminal blocks fully equipped (Normally Used) |  |  |  |  |  | * | 84018 |  |  |  |
| 2518B | Outstation Input/Output Crate assembly Terminal blocks equipped for Left Hand PSU |  |  |  |  |  | * | 84018 |  |  |  |
| 2518C | Outstation Input/Output Crate assembly Terminal blocks equipped for Right Hand PSU |  |  |  |  |  | * | 84018 |  |  |  |
| 2518D | Outstation Input/Output Crate assembly Terminal blocks not equipped. |  |  |  |  |  | * | 84018 |  |  |  |
| 2519 | Not Used |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description FERRANTI OUTSTATION ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2520 | Not Used |  |  |  |  |  |  |  |  |  |  |
| 2521 | Not Used |  |  |  |  |  |  |  |  |  |  |
| 2522 | 3-Step Control Output Unit (16 Outputs) |  |  |  |  |  | * | 84022 |  |  |  |
| 2523 | Not Used |  |  |  |  |  |  |  |  |  |  |
| 2524 | Highway Monitor Unit |  |  |  |  |  | * | 84024 |  |  |  |
| 2525 | Extender Unit |  |  |  |  |  |  | 84025 |  |  |  |
| 2526 | Test Unit Control (Part of Telecontrol Test Unit - PSI 2511 |  |  |  |  |  | * | 84026 |  |  |  |
| 2527 | Telecontrol Test Unit Control Panel (Part of Telecontrol Test Unit - PSI 2511) |  |  |  |  |  | * | 84033 |  |  |  |
| 2528 | PSU Daughter Board Extraction Tool |  |  |  |  |  |  | 84034 |  |  |  |
| 2529A | 3 Crate Ribbon Harness (Ferranti Basic to Ferranti I/O) |  |  |  |  |  |  | 84035 |  |  |  |
| 2529B | 3 Crate Ribbon Harness (METRO to Ferranti I/O) |  |  |  |  |  |  | 84035 |  |  |  |
| 2530A | 1 Crate Ribbon Extension - upward extension cable |  |  |  |  |  |  | 84036 |  |  |  |
| 2530B | 1 Crate Ribbon Extension - downward extension cable |  |  |  |  |  |  | 84036 |  |  |  |
| 2531 | 50 Way In-Line Ribbon Cable Switch Connector |  |  |  |  |  |  | 84037 |  |  |  |
| 2532 | Outstation Card Extraction Tool |  |  |  |  |  |  | 84038 |  |  |  |
| 2533 | Variable addressing unit P.C board for basic outstation crate |  |  |  |  |  |  | 7974 |  |  |  |
| 2534 | Variable addressing unit P.C board for outstation I/O crate. |  |  |  |  |  |  | 7974 |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description FERRANTI OUTSTATION ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2535 | Computing Techniques (Ferranti compatible) TGO/Telegraph Display Interface Unit |  |  |  |  |  | * | 84041 |  |  |  |
| 2536 | 1 Crate Ribbon cable extension A side to B side of cubicle |  |  |  |  |  |  | 84042 |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description FERRANTI MASTER STATION ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2509B | VF Switching Unit (Master Stn) (See Outstation List for other variants) |  |  |  |  |  | * | 84009 |  |  |  |
| 2514B | Crate Access Unit (for use with Telecontrol Test Unit Master Station Housing - PSI 2612) (See Outstation List for other variants) |  |  |  |  |  | * | 84014 |  |  |  |
| 2600A | Serial/Parallel Converter (Fully Equipped) (Use at Master and Outstation) Variant 10 |  |  |  |  |  | * | 84027 |  |  |  |
| 2600B | Serial/Parallel Converter Unit (M/Stn) Variant 11 |  |  |  |  |  | * | 84027 |  |  |  |
| 2600C | Serial/Parallel Converter Unit (M/Stn) Variant 12 |  |  |  |  |  | * | 84027 |  |  |  |
| 2601 | Not Used |  |  |  |  |  |  |  |  |  |  |
| 2602 | Interface Converter Unit |  |  |  |  |  | * | 84028 |  |  |  |
| 2603 | Not Used |  |  |  |  |  |  |  |  |  |  |
| 2604 | Not Used |  |  |  |  |  |  |  |  |  |  |
| 2605A | Master Station Cubicle (Equipped with Power Supply, PSU Relay Unit, Computer Termination Unit, Ribbon Cable and Tag Blocks) for five master station buffer unit crates |  |  |  |  |  | * | 84040 |  |  |  |
| 2605B | Master Station Cubicle (Equipped with Power Supply, PSU Relay Unit, Computer Termination Unit, Ribbon Cable and Tag Blocks) for four master station buffer unit crates and one test outstation buffer unit crate. |  |  |  |  |  | * | 84040 |  |  |  |
| 2606 | Not Used |  |  |  |  |  |  |  |  |  |  |
| 2607 | Not Used |  |  |  |  |  |  |  |  |  |  |
| 2608 | Not Used |  |  |  |  |  |  |  |  |  |  |
| 2609 | Not Used |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description FERRANTI MASTER STATION ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2610 | Master Station Crate Assembly |  |  |  |  |  | * | 84029 |  |  |  |
| 2611 | Not Used |  |  |  |  |  |  |  |  |  |  |
| 2612 | Telecontrol Test Unit Master Station Housing |  |  |  |  |  |  | 84030 |  |  |  |
| 2613 | Master Station PSU Relay Unit (Part of PSI 2605) |  |  |  |  |  |  | 84031 |  |  |  |
| 2614 | Computer Termination Unit (Part of PSI 2605) |  |  |  |  |  |  | 84032 |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description BULL METRO OUTSTATION ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2700 | CPU Card |  |  |  |  |  | * | 82600 |  |  |  |
| 2701 | ADC Card |  |  |  |  |  | * | 82601 |  |  |  |
| 2702 | Analogue Input Multiplexer Card (14/16 channels) |  |  |  |  |  | * | 82602 |  |  |  |
| 2703A | ROM Card |  |  |  |  |  | * | 82603 |  |  |  |
| 2703B | 256K RAM Card |  |  |  |  |  | * | 82603 |  |  |  |
| 2703C | Optional ROM Expansion Card |  |  |  |  |  | * | 82603 |  |  |  |
| 2704 | Points Input Card (16 inputs) |  |  |  |  |  | * | 82604 |  |  |  |
| 2705 | Not Used |  |  |  |  |  |  |  |  |  |  |
| 2706 | Not Used |  |  |  |  |  |  |  |  |  |  |
| 2707 | Not Used |  |  |  |  |  |  |  |  |  |  |
| 2708 | Dual Port Asynchronous ASCII Communications Card |  |  |  |  |  | * | 82608 |  |  |  |
| 2709 | Single Port GI 74 Communications Card |  |  |  |  |  | * | 82609 |  |  |  |
| 2710 | TPI/Gray Code encoder for use with all status card types |  |  |  |  |  | * | 03/2898 | 03/2897, 2899, 2902, 2903, 2904 | 04/1989-1990 |  |
| 2711 | Mounting box for PSI 2710 (required if PSI 2710 is remote from GI marshalling cubicle) |  |  |  |  |  | * | - | 06/724-726 03/2900 2901, 2905 | 04/1984-1988 |  |
| 2712A | Power Unit (48v I/P, +5v, +/-15v O/P) for Master or Expansion Crates |  |  |  |  |  | * | 82612 |  |  |  |
| 2712B | Power Unit (48v I/P, +5v, +/-12v O/P) for GEC G174 I/O Crates |  |  |  |  |  | * | 82612 |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description BULL METRO OUTSTATION ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2712C | Danica power unit to power up to 5 Honeywell Bull crates. (48v I/P, +5v +/-15v O/P). Requires cable(s) PSI 9139A/B |  |  |  |  |  |  |  |  |  | See Danica TPS115 Handbook and TDC 6063 |
| 2713 | Power Unit (48v I/P, 48v O/P) for Signal Conditioning (Not Normally Used) |  |  |  |  |  |  | 82612 |  |  |  |
| 2714 | METRO - Ferranti GI 74 Interface |  |  |  |  |  | * | 82613 |  |  |  |
| 2715 | (Gardners) Dummy Facilities Unit (Bull Compatible) (Normally boxed with DFU Cable PSI 9055) |  |  |  |  |  | * | 05/1160 |  |  |  |
| 2716 | METRO - GEC GI 74 Interface |  |  |  |  |  | * | 82616 |  |  |  |
| 2717 | Master Crate (Drawer, Backplane & Control Panel) |  |  |  |  |  | * | 82617 |  |  |  |
| 2718 | Expansion Crate (Drawer, Backplane & Control Panel) |  |  |  |  |  | * | 82618 |  |  |  |
| 2719 | Signal Conditioning Crate (Not Used) |  |  |  |  |  | * | 82619 |  |  |  |
| 2720 | Data Buffer Card (Expansion Crate) |  |  |  |  |  | * | 82620 |  |  |  |
| 2721 | Address Buffer Card (Expansion Crate) |  |  |  |  |  | * | 82621 |  |  |  |
| 2722A | Control Output Card (3 Step, (8 Double or 16 Single O/Ps) (Without Connector Latches) |  |  |  |  |  | * | 82622 |  |  |  |
| 2722B | Control Output Card (3 Step, (8 Double or 16 Single O/Ps) (With Connector Latches to suit PSI 9029B, C, D etc, card ejectors removed) |  |  |  |  |  | * | 82622 |  |  |  |
| 2723 | Points I/P Signal Conditioning (16 ch) (Not Used) |  |  |  |  |  |  | 82623 |  |  |  |
| 2724 | Control O/P Signal Conditioning (16 ch) (Not Used) |  |  |  |  |  |  | 82624 |  |  |  |
| 2725 | Analogue Input Signal Conditioning (16 ch) (Not Used) (See PSI 2726 below) |  |  |  |  |  |  | 82625 |  |  |  |
| 2726A | Analogue Input Signal Conditioning (Klippon ECHI Module) (12.50 mA Input Scaling Resistor) |  |  |  |  |  | * | 82626 |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description BULL METRO OUTSTATION ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Connection Diagram Drg No |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2726B | Analogue Input Signal Conditioning (Klippon ECH1 Module) (10.53 mA Input Scaling Resistor) |  |  |  |  |  | * | 82626 |  |  |  |
| 2726C | Analogue Input Signal Conditioning (Klippon ECH1 Module) (10.42 mA Input Scaling Resistor) |  |  |  |  |  | * | 82626 |  |  |  |
| 2726D | Analogue Input Signal Conditioning (Klippon ECH1 Module) (10.00 mA Input Scaling Resistor) |  |  |  |  |  | * | 82626 |  |  |  |
| 2726E | Analogue Input Signal Conditioning (Klippon ECH1 Module) (9.37 mA Input Scaling Resistor) |  |  |  |  |  | * | 82626 |  |  |  |
| 2726F | Analogue Input Signal Conditioning (Klippon ECH1 Module) (8.68 mA Input Scaling Resistor) |  |  |  |  |  | * | 82626 |  |  |  |
| 2726G | Analogue Input Signal Conditioning (Klippon ECH1 Module) (8.33 mA Input Scaling Resistor) |  |  |  |  |  | * | 82626 |  |  |  |
| 2726H | Analogue Input Signal Conditioning (Klippon ECH1 Module) (7.81 mA Input Scaling Resistor) |  |  |  |  |  | * | 82626 |  |  |  |
| 2726J | Analogue Input Signal Conditioning (Klippon ECH1 Module) (7.50 mA Input Scaling Resistor) |  |  |  |  |  | * | 82626 |  |  |  |
| 2726K | Analogue Input Signal Conditioning (Klippon ECH1 Module) (6.94 mA Input Scaling Resistor) |  |  |  |  |  | * | 82626 |  |  |  |
| 2726L | Analogue Input Signal Conditioning (Klippon ECH1 Module) (6.87 mA Input Scaling Resistor) |  |  |  |  |  | * | 82626 |  |  |  |
| 2726M | Analogue Input Signal Conditioning (Klippon ECH1 Module) (6.51 mA Input Scaling Resistor) |  |  |  |  |  | * | 82626 |  |  |  |
| 2726N | Analogue Input Signal Conditioning (Klippon ECH1 Module) (6.25 mA Input Scaling Resistor) |  |  |  |  |  | * | 82626 |  |  |  |
| 2726P | Analogue Input Signal Conditioning (Klippon ECH1 Module) (5.21 mA Input Scaling Resistor) |  |  |  |  |  | * | 82626 |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description BULL METRO OUTSTATION ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Connection Diagram Drg No |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2726T | Analogue Input Signal Conditioning (Klippon ECH1 Module) (Input network to suit PSI 862 series Telemeters) |  |  |  |  |  | * | 82626 |  |  |  |
| 2726X | Analogue Input Signal Conditioning (Klippon ECH1 Module) (Input Scaling Resistor not fitted, for local provision) |  |  |  |  |  | * | 82626 |  |  |  |
| 2727 | Buffer Unit (for Master Crate YBUF 612) |  |  |  |  |  | * | 82627 |  |  |  |
| 2728 | DRTI Clock Recovery Regenerator Card |  |  |  |  |  | * | 82628 |  |  |  |
| 2729 | Extender Card & Associated Cable |  |  |  |  |  | * | 82629 |  |  |  |
| 2730A | Test Unit (complete, less Printer) (Not Used) |  |  |  |  |  |  | 82630 |  |  |  |
| 2730B | Test Unit (complete, less Printer) |  |  |  |  |  | * | 82630 |  |  |  |
| 2731 | RO Texas Printer for Test Unit (Not Used) |  |  |  |  |  |  | 82631 |  |  |  |
| 2732 | Test Unit Case, Backplane & Control Panel (incl in 2730B) |  |  |  |  |  |  | 82632 |  |  |  |
| 2733A | Power Unit for Test Unit (240vac I/P, +5v O/P) (incl in 2730B) |  |  |  |  |  |  | 82633 |  |  |  |
| 2733B | Power Unit for Test Unit (240vac I/P, +/-15v O/P) (incl in 2730B) |  |  |  |  |  |  | 82633 |  |  |  |
| 2734 | 6" Monitor for Test Unit (incl in 2730B) |  |  |  |  |  |  | 82634 |  |  |  |
| 2735 | VDU Card for Test Unit (incl in 2730B) |  |  |  |  |  |  | 82635 |  |  |  |
| 2736 | Keyboard for Test Unit (incl in 2730B) |  |  |  |  |  |  | 82636 |  |  |  |
| 2737 | Points Output Card for Test Unit (incl 2730B) |  |  |  |  |  | * | 82637 |  |  |  |
| 2738 | (Computing Techniques) METRO Plant Facility Test Unit (complete with test leads) |  |  |  |  |  | * | TBA |  |  |  |
| 2739 | Not Used |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description BULL METRO OUTSTATION ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Connection Diagram Drg No |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2740* | Outstation Application Firmware Chipset (* letter subscript reflects software issue - currently Issue D.05 |  |  |  |  |  | * |  |  |  |  |
| 2741* | Test Unit Firmware Chipset (* letter subscript reflects software issue) - currently Issue B) |  |  |  |  |  | * |  |  |  |  |
| 2742* | Test & Validation Firmware Chipset (* letter subscript reflects software issue) - currently Issue B) |  |  |  |  |  | * |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description INSTEM/HARRIS SUBSTATION CONTROLLER ITEMS |  |  |  |  | Tech Specification available = |  | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Connection Diagram Drg No |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2800 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2801 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2802 | INSTEM/HARRIS SCS Analogue Input Unit (32 An'lgs) (Provisional No) |  |  |  |  |  |  |  |  |  |  |  |
| 2803 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2804 | INSTEM/HARRIS SCS Digital Input Unit (64 I/p) (Provisional No) |  |  |  |  |  |  |  |  |  |  |  |
| 2805 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2806 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2807 | INSTEM/HARRIS SCS Combination I/O Unit (Provisionsl No) 4x2 Controls, 16 Alarms |  |  |  |  |  |  |  |  |  |  |  |
| 2808 | INSTEM/HARRIS SCS Combination I/O Unit, Analogue Daughter Board (16 Analogues) (Provisional No) |  |  |  |  |  |  |  |  |  |  |  |
| 2809 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2810 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2811 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2812 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2813 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description INSTEM/WESTRONIC SUBSTATION CONTROLLER ITEMS |  |  |  |  | Tech Specification available = |  | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Connection Diagram Drg No |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2814 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2815 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2816 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2817 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2818 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2819 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2820 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2821 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2822 | INSTEM/HARRIS SCS Control Output Unit (32x2 O/p) (Provisionsl No) |  |  |  |  |  |  |  |  |  |  |  |
| 2823 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2824 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2825 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2826 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2827 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description INSTEM/WESTRONIC SUBSTATION CONTROLLER ITEMS |  |  |  |  | Tech Specification available = |  | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Connection Diagram Drg No |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2828 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2829 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2830 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2831 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2832 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2833 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2834 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2835 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2836 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2837 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2838 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2839 | Reserved |  |  |  |  |  |  |  |  |  |  |  |
| 2896 | INSTEM/HARRIS SCS CENTRAL CONTROL UNIT/SYSTEM (to be installed by NGC) |  |  |  |  |  |  |  |  |  |  |  |
| 2897 | INSTEM/HARRIS SCS REMOTE PLANT I/O UNIT/SYSTEM (1 per Bay) (to be installed by NGC) |  |  |  |  |  |  |  |  |  |  |  |
| 2896 | INSTEM/HARRIS SCS CENTRAL CONTROL UNIT/SYSTEM (to be installed by Contractor) |  |  |  |  |  |  |  |  |  |  |  |
| 2897 | INSTEM/HARRIS SCS REMOTE PLANT I/O UNIT/SYSTEM (1 per Bay) (to be installed by Contractor) |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description TELEPHONY & DATA MISCELLANEOUS NON-PROPRIETARY |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Drawing Number |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3001 | Exchange Interface Unit - Logic Card |  |  |  |  |  |  |  |  |  |  |
| 3002 | Exchange Interface Unit - Relay Card |  |  |  |  |  |  |  |  |  |  |
| 3003 | Exchange Interface Unit - motherboard for Logic & Relay Cards (to be mounted in Crate PSI 863 - Max 5 per crate |  |  |  |  |  |  |  |  |  |  |
| 3004 | Keltek AC15 signalling unit - single channel |  |  |  |  |  |  |  |  |  |  |
| 3005 | Keltek 19" shelf to mount up to 10 x PSI 3004 signalling Units |  |  |  |  |  |  |  |  |  |  |
| 3006 | Keltek 19" power shelf to provide power distribution, fusing and alarms for up to 6 x PSI 3005. |  |  |  |  |  |  |  |  |  |  |
| 3007 | Keltek 19" combined shelf to mount up to 6 x PSI 3004 signalling units plus associated distribution, fusing and alarms. (Item obsolete, use PSI 3014 for new work) |  |  |  |  |  |  |  |  |  |  |
| 3008 | Blanking Plate (1.2") for PSI 863C |  |  |  |  |  |  |  |  |  |  |
| 3009 | Blanking Plate (1.8") for PSI 863C |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description TELEPHONY & DATA MISCELLANEOUS NON-PROPRIETARY |  |  |  |  | Tech Specification available = |  | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Drawing Number |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3010 | Data Call Signalling Unit Plug-in Module |  |  |  |  |  |  | * |  |  |  |  |
| 3011 | Data Call Signalling Unit Crate (accepts 4 x PSI 3012) |  |  |  |  |  |  | * |  |  |  |  |
| 3012 | Data Call Signalling Unit Backplane |  |  |  |  |  |  | * |  |  |  |  |
| 3013A | Digital Distribution Frame (16 Way) |  |  |  |  |  |  | * |  | 46/38021 |  |  |
| 3013B | Digital Distribution Frame (sub equipped - 8 Way) |  |  |  |  |  |  | * |  | 46/38028 |  |  |
| 3014 | Keltek AC15 10 position combined shelf complete with alarm end plug-in card and spacer kit |  |  |  |  |  |  |  |  |  |  |  |
| 3015 | Keltek AC15 Extender card |  |  |  |  |  |  |  |  |  |  |  |
| 3016 | Keltek AC15 Dummy Panels |  |  |  |  |  |  |  |  |  |  |  |
| 3017 | One only CAE Ltd 75 ohm Coax plug type CP1041 for test leads for PSI 3013A/B |  |  |  |  |  |  |  |  |  |  |  |
| 3018 | One only CAE Ltd Patching Cord Type CP1074 for use with PSI 3013A/B (4 normally required) |  |  |  |  |  |  |  |  |  |  |  |
| 3019 | Pair of Mounting Brackets to suit 19" E.P. to recess PSI 3013 into cubicle |  |  |  |  |  |  |  |  |  |  |  |
| 3020 | Protected Line Jack Unit for use with Control Telephone in a hostile environment |  |  |  |  |  |  |  |  |  | ROF 131 835/2 |  |
| 3021 | DNIC/DTU Isolator Unit to permit remote operation of Newbridge DTU's on operational (hot) sites. |  |  |  |  |  |  |  |  |  |  |  |
| 3022 | Safety links unit providing safety isolation when working on PSI 3021. (Similar to BT Links Isolating 6E). |  |  |  |  |  |  |  |  |  |  | Intercole DL-3022 |
| 3023 | DTU Interface Unit (termination of cable from PSI 3022) |  |  |  |  |  |  |  |  |  |  | Intercole DL-3023 |
| 3024 | Telco Remote Control Telephone, |  |  |  |  |  |  |  |  |  |  | T/AT 210 |
| 3025 | Kit of plugs for PSI 3024 |  |  |  |  |  |  |  |  |  |  |  |
| 3026 | AC15 Krone mounted signal inverter |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description CCN TELEPHONY (DCX 5) THORN ERICSSON ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3200 | ALU. Alarm Unit (8 timeslots) 15 alarms + watchdog |  |  |  |  |  |  |  |  |  | ROF 131 835/2 |  |
| 3201 | BSU. Basic Switch Unit. Main LIM speech & data switch |  |  |  |  |  |  |  |  |  | ROF 131 854/8 |  |
| 3202 | BTU 1. Bothway Trunk Unit (8 timeslots) 2 bothway circuits with loop disconnect signalling (decadic or MF4). Interface with PSTN. |  |  |  |  |  |  |  |  |  | ROF 131 866/2 |  |
| 3203 | CCU 1. Filter Unit for 2 Mbit/s digital circuits. 16 circuits (8 x Tx & 8 x Rx). |  |  |  |  |  |  |  |  |  | ROF 131 4234/1 |  |
| 3204 | CCU 2. Filter Unit for 2 Mbit/s digital circuits. 8 circuits ( 4 x Tx & 4 x Rx). |  |  |  |  |  |  |  |  |  | ROFR 111427/1 |  |
| 3205 | ELU 1. Extension Line Unit 1. (8 timeslots) 6 line extension unit. Decadic or DTMF dialling, earth or time break recall. |  |  |  |  |  |  |  |  |  | ROF 131 806/2 |  |
| 3206 | ELU 2. Extension Line Unit 2. (8 timeslots). Long line extension unit for 2 extensions (mlr = 1600 ohms). DTMF dialling with time break recall only. |  |  |  |  |  |  |  |  |  | ROF 131 767/2 |  |
| 3207 | ELU 5. Extension Line Unit 5. (8 timeslots). 2 wire digital extension unit for 8 digital telephones or 2 control keyboards or 2 operators consoles (max line length 1000m). |  |  |  |  |  |  |  |  |  | ROF 131 833/3 |  |
| 3208 | FBN 9. Filter Magazine |  |  |  |  |  |  |  |  |  | BFDR 329 004/1 |  |
| 3209 | FTU. Failure Transfer Unit. Provides metallic connection of up to 8 incoming trunks to designated extensions during power failure. |  |  |  |  |  |  |  |  |  | ROF 131 831/2 |  |
| 3210 | GCU. Group Clock Unit. Provides system synchronisation between Group switches. 1 PSI 3210 per Group Switch Module (CCX's only). |  |  |  |  |  |  |  |  |  | ROF 131 757/1 |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description TELEPHONY & DATA TELEPHONY THORN ERICSSON ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3211 | GJU G4. Group Junctor Unit (Groupswitch) 4. Interface between Group Switch and CCITT specified PCM link to the LIM. |  |  |  |  |  |  |  |  |  | ROF 131 4247/2 |  |
| 3212 | GJU L4. Group Junctor Unit (LIM) (32 timeslot) Interface brtween LIM and CCITT specified PCM link to Group Switch. |  |  |  |  |  |  |  |  |  | ROF 131 4246/2 |  |
| 3213 | GRU. Group Switch Register Unit. Connects group switches together via the timeswitch (output) and PSI 32lls. 1 PSI 3213 serves 2 timeswitches. |  |  |  |  |  |  |  |  |  | ROF 131 674/1 |  |
| 3214 | GSU 1. Group Switch Unit 1. |  |  |  |  |  |  |  |  |  | ROF 131 681/2 |  |
| 3215 | GSU 2. Group Switch Unit 2. |  |  |  |  |  |  |  |  |  | ROF 131 856/1 |  |
| 3216 | Filter Magazine Mounting Kit |  |  |  |  |  |  |  |  |  |  |  |
| 3217 | IOU. Input/Output Unit (8 timeslots). 2 Peripheral Interface Adaptors (PIA) for connection to magnetic tape recorders and 3 Asynchronous Interface Adaptors (ACIA) for connection to teletype terminals. |  |  |  |  |  |  |  |  |  | ROF 131 828/2 |  |
| 3218 | LBN. LIM Magazine. |  |  |  |  |  |  |  |  |  | BFDR 369 001/1 |  |
| 3219 | LFU. Line Filter Unit for 24 analogue circuits. (ie 24 pairs) |  |  |  |  |  |  |  |  |  | ROF 131 4233/1 |  |
| 3220 | LPU 2. LIM Processor Unit 2. |  |  |  |  |  |  |  |  |  | ROF 131 4228/5 |  |
| 3221 | LPU 2 Display. LIM Processor Display Unit. |  |  |  |  |  |  |  |  |  | ROA 119 4275/1 or ROA 119 4275/2 |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description TELEPHONY & DATA TELEPHONY THORN ERICSSON ITEMS |  |  |  |  | Tech Specification available = |  | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3222 | MEU 3. Memory Unit 3. 0.5 Mbyte per board. |  |  |  |  |  |  |  |  |  |  | ROF 131 4275/1 |  |
| 3223 | MEU 4. Memory Unit 4. 2.0 Mbyte per board. |  |  |  |  |  |  |  |  |  |  | ROF 131 4287/1 |  |
| 3224 | MOD. Dial up Modem for remote interrogation of DCX5 exchange. |  |  |  |  |  |  |  |  |  |  | ROFR 137 0017/1 |  |
| 3225 | MPU 1. Multiparty Unit (32 timeslots). 2 tone inputs and 30 speech channel input/outputs. |  |  |  |  |  |  |  |  |  |  | ROF 131 829/2 |  |
| 3226 | MRU 1. MFC Receiver Unit (8 timeslots). For use with CCITT specification MFC signalling. |  |  |  |  |  |  |  |  |  |  | ROF 131 951/2 |  |
| 3227 | MRU 2. MFC Receiver Unit (8 timeslots). For use with CCITT specification MFC signalling. |  |  |  |  |  |  |  |  |  |  | ROF 131 952/2 |  |
| 3228 | MSU. MFC Sender Unit (8 timeslots). For use with CCITT specification MFC signalling. |  |  |  |  |  |  |  |  |  |  | ROF 131 948/2 |  |
| 3229 | PFU 3. Power Filter Unit 3. (Uses dedicated slot in PSI 3208). |  |  |  |  |  |  |  |  |  |  | ROFR111 0002 |  |
| 3230 | PSN. Power Supply Magazine. For PSI 3231/2. |  |  |  |  |  |  |  |  |  |  | BFDR329 001/1 |  |
| 3231 | PSU 1. 48v to 5v DC to DC Converter. |  |  |  |  |  |  |  |  |  |  | BMRR 00510 |  |
| 3232 | PSU 2. 48v to 12v DC to DC Converter. |  |  |  |  |  |  |  |  |  |  | BMRR 00511 |  |
| 3233 | REU. Ringing Unit. |  |  |  |  |  |  |  |  |  |  | ROF 131 708/4A |  |
| 3234 | RTU 1. Remote Telephone Interface Unit (8 timeslots) (For RTE see PSI 913 to 916). |  |  |  |  |  |  |  |  |  |  | ROFR137 014/1 |  |
| 3235 | SIU. Serial Interface Unit. 2 channels (one V24 and one V24/36) for serial communication with peripheral equipment. |  |  |  |  |  |  |  |  |  |  | ROF 1375215/1 |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description TELEPHONY & DATA TELEPHONY THORN ERICSSON ITEMS |  |  |  |  | Tech Specification available = |  | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3236 | SSU 2. Supplementary Switch Unit. Speech and data SPC (and vice versa). |  |  |  |  |  |  |  |  |  |  | ROF 1314293/1 |  |
| 3237 | TLU 17. Trunk Line Unit 17. (8 timeslots). Two 2 wire circuit unit. Private wire loop disconnect trunk. |  |  |  |  |  |  |  |  |  |  | ROF 1375090/1 |  |
| 3238A | TLU 20. Trunk Line Unit 20. (32 timeslots). Early type digital trunk interface for CCITT specification PCM working between exchanges. |  |  |  |  |  |  |  |  |  |  | ROF 131 954/2 |  |
| 3238B | TLU 20. Trunk Line Unit 20. (32 timeslots). Later type Digital trunk interface for CCITT specification PCM working between exchanges. |  |  |  |  |  |  |  |  |  |  | ROF ****** |  |
| 3239 | TLU 22. Trunk Line Unit 22. (8 timeslots). 3 bothway circuits, 2 or 4 wire E & M trunk unit. Provision for decadic, MF4 and MFC signalling. |  |  |  |  |  |  |  |  |  |  | ROF 137 5202/1 |  |
| 3240 | TRU 1. Tone Receiver Unit 1. (8 timeslots). Used in conjunction with PSI 3241. (superseded by PSI 3303) |  |  |  |  |  |  |  |  |  |  | ROF 131 838/2 |  |
| 3241 | TRU 2. Tone Receiver Unit 2. Used in conjunction with PSI 3240. (superseded by PSI 3303) |  |  |  |  |  |  |  |  |  |  | ROF 131 845/2 |  |
| 3242 | TSU. Tone Sender Unit (24 timeslots). 16 output digital tone generator (supervisory tones or MF4 codes). |  |  |  |  |  |  |  |  |  |  | ROF 131 820/6 |  |
| 3243 | PDU. Power Distribution Unit for PSI 3231/2 |  |  |  |  |  |  |  |  |  |  | ROFR1374009/1 |  |
| 3244 | Group Switch Module Magazine. |  |  |  |  |  |  |  |  |  |  | BFDR369 002/1 |  |
| 3245 | BMU 2. Tape Deck (double tape unit) 19" rack mount |  |  |  |  |  |  |  |  |  |  | KDR 15413 |  |
| 3246 | BMU. Tape Deck (single tape unit) 19" rack mount |  |  |  |  |  |  |  |  |  |  | KDRR 15001 |  |
| 3247 | OPI. Operator Console. |  |  |  |  |  |  |  |  |  |  | DGF 22001/1 |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description TELEPHONY & DATA TELEPHONY THORN ERICSSON ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3248 | Hand Set and Cord. (for use with PSI 3247). |  |  |  |  |  |  |  |  |  | RGL 402009/06001 |  |
| 3249 | Mounting kit for PSI 3245 & PSI 3246. |  |  |  |  |  |  |  |  |  | NTMR 10106 |  |
| 3250 | KDE. Key Distribution Equipment Magazine for Control Telephone Terminal. |  |  |  |  |  |  |  |  |  | BFDR 911001/1 |  |
| 3251 | CPU. Central Processor Unit for Control Telephone Terminal. |  |  |  |  |  |  |  |  |  | ROAR1190037/1 |  |
| 3252 | PSU. 48v to 5 & 12v DC to DC converter. For use with PSI 3250. |  |  |  |  |  |  |  |  |  | ROAR 219617/1 |  |
| 3253 | PSU II. 48v to 23v DC to DC converter. For use with PSI 3250. |  |  |  |  |  |  |  |  |  | ROAR2190004/1 |  |
| 3254 | KCU 2. Keyboard Controller Unit for Control Telephone Terminal. |  |  |  |  |  |  |  |  |  | ROAR 219618/1 |  |
| 3255 | LDU. Lamp Driver Unit for use with PSI 3250. |  |  |  |  |  |  |  |  |  | ROF 131 829/2 |  |
| 3256 | Control Telephone Terminal 300 way Keyboard (less handset and cord - see PSI 3257/8) |  |  |  |  |  |  |  |  |  | AEKR 101008 |  |
| 3257 | HNS. Handset for PSI 3256/9 |  |  |  |  |  |  |  |  |  | 1/RLGR 30101/211 |  |
| 3258 | Cord for PSI 3257. |  |  |  |  |  |  |  |  |  | TRSR 10410 |  |
| 3259 | KBD Control Telephone Terminal 50 way Keyboard (less handset and cord - see PSI 3257/8) |  |  |  |  |  |  |  |  |  |  |  |
| 3260 | Cable cord Set for PSI 3250. |  |  |  |  |  |  |  |  |  | TRSR 10401/1 |  |
| 3261 | CAB. Ribbon Cable for PSI 3250. Length 0.9m. |  |  |  |  |  |  |  |  |  | RPMR 00332/900 |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description TELEPHONY & DATA TELEPHONY THORN ERICSSON ITEMS |  |  |  |  | Tech Specification available = |  | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3262 | CAB. Round Jacketed Ribbon Cable for PSI 3250. Length 0.9m. |  |  |  |  |  |  |  |  |  |  | RPMR 40101/900 |  |
| 3263 | CAB. Cable System 0v Interconnection. Length 0.9m. |  |  |  |  |  |  |  |  |  |  | TRE 32925/560 |  |
| 3264A | CAB. BTU 1, ELU 1 to FTU, REU to PDU for unduplicated LIMs. Length 1.4m. |  |  |  |  |  |  |  |  |  |  | TSR 2020101/1400 |  |
| 3264B | CAB. BTU 1, ELU 1 to FTU, REU to PDU for unduplicated LIMs. Length 2.2m. |  |  |  |  |  |  |  |  |  |  | TSR 2020101/2200 |  |
| 3264C | CAB. BTU 1, ELU 1 to FTU, REU to PDU for unduplicated LIMs. Length 3.0m. |  |  |  |  |  |  |  |  |  |  | TSR 2020101/3000 |  |
| 3264D | CAB. BTU 1, ELU 1 to FTU, REU to PDU for unduplicated LIMs. Length 3.6m. |  |  |  |  |  |  |  |  |  |  | TSR 2020101/3600 |  |
| 3265A | CAB. Cable GRU to GSU 2. Length 0.8m. |  |  |  |  |  |  |  |  |  |  | TSR 2020401/0800 |  |
| 3265B | CAB. Cable GRU to GSU 2. Length 1.2m. |  |  |  |  |  |  |  |  |  |  | TSR 2020401/1200 |  |
| 3266 | CAB. Cable TRU 1 to TRU 2 and MRU 1 to MRU 2. Length 0.75m. |  |  |  |  |  |  |  |  |  |  | TSR 2020404/0075 |  |
| 3267A | CAB. BSU to SSU 2. Length 0.6m. |  |  |  |  |  |  |  |  |  |  | TSR 2040402/0600 |  |
| 3267B | CAB. BSU to SSU 2. Length 0.8m. |  |  |  |  |  |  |  |  |  |  | TSR 2040402/0800 |  |
| 3267C | CAB. BSU to SSU 2. Length 1.8m. |  |  |  |  |  |  |  |  |  |  | TSR 2040402/1800 |  |
| 3267D | CAB. BSU to SSU 2. Length 3.0m. |  |  |  |  |  |  |  |  |  |  | TSR 2040402/3000 |  |
| 3268A | CAB. CCU to CCU (Inter LIM to GSM coax). Length 5m. |  |  |  |  |  |  |  |  |  |  | TSR 2210206/5000 |  |
| 3268B | CAB. CCU to CCU (Inter LIM to GSM coax). Length 6m. |  |  |  |  |  |  |  |  |  |  | TSR 2210206/6000 |  |
| 3268C | CAB. CCU to CCU (Inter LIM to GSM coax). Length 20m. |  |  |  |  |  |  |  |  |  |  | TSR 2210206/20000 |  |
| 3269A | CAB. LFU to IDF. Length 2m. |  |  |  |  |  |  |  |  |  |  | TSR 9010035/2000 |  |
| 3269B | CAB. LFU to IDF. Length 40m. |  |  |  |  |  |  |  |  |  |  | TSR 9010035/40000 |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description TELEPHONY & DATA TELEPHONY THORN ERICSSON ITEMS |  |  |  |  | Tech Specification available = |  | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3269C | CAB. LFU to IDF. Length 20m. (plug on one end only ie made by cutting PSI 3269B) |  |  |  |  |  |  |  |  |  |  | TSR 9010035/20000 |  |
| 3270A | CAB. GJU L4 & TLU 20 to FB. Length 2.2m. |  |  |  |  |  |  |  |  |  |  | TSRR9010016/2200 |  |
| 3270B | CAB. GJU L4 & TLU 20 to FB. Length 3.0m. |  |  |  |  |  |  |  |  |  |  | TSRR9010208/3000 |  |
| 3270C | CAB. GJU L4 & TLU 20 to FB. Length 3.6m. |  |  |  |  |  |  |  |  |  |  | TSRR9010016/3600 |  |
| 3271 | CAB. BTU 1, ELU 2, TLU 17 to FB. Length 2.2m. NOT USED |  |  |  |  |  |  |  |  |  |  | TSR 9010036/2200 |  |
| 3272A | CAB. IOU & ALU 1 to FB. Length 2.2m. |  |  |  |  |  |  |  |  |  |  | TSRR9010017/2200 |  |
| 3272B | CAB. IOU & ALU 1 to FB. Length 3.0m. |  |  |  |  |  |  |  |  |  |  | TSRR9010017/3000 |  |
| 3272C | CAB. IOU & ALU 1 to FB. Length 3.6m. |  |  |  |  |  |  |  |  |  |  | TSRR9010017/3600 |  |
| 3273A | CAB. BTU 1, ELU 1, ELU 2, ELU 5, ELU 22, TLU 17, TLU 74, FTU to FB, 8TLU to FB (non - hostile site). Length 2.2m. |  |  |  |  |  |  |  |  |  |  | TSRR9010018/2200 |  |
| 3273B | CAB. BTU 1, ELU 1, ELU 2, ELU 5, ELU 22, TLU 17, TLU 74, FTU to FB, 8TLU to FB (non - hostile site). Length 3.0m. |  |  |  |  |  |  |  |  |  |  | TSRR9010018/3000 |  |
| 3273C | CAB. BTU 1, ELU 1, ELU 2, ELU 5, ELU 22, TLU 17, TLU 74, FTU to FB, 8TLU to FB (non - hostile site). Length 3.6m. |  |  |  |  |  |  |  |  |  |  | TSRR9010018/3600 |  |
| 3274A | CAB. BTU 1, ELU 2, TLU 17 to FB. Length 2.2m. |  |  |  |  |  |  |  |  |  |  | TSRR9010019/2200 |  |
| 3274B | CAB. BTU 1, ELU 2, TLU 17 to FB. Length 3.0m. |  |  |  |  |  |  |  |  |  |  | TSRR9010019/3000 |  |
| 3274C | CAB. BTU 1, ELU 2, TLU 17 to FB. Length 3.6m. |  |  |  |  |  |  |  |  |  |  | TSRR9010019/3600 |  |
| 3275A | CAB. ELU 1 to FB. Length 2.2m. |  |  |  |  |  |  |  |  |  |  | TSRR9010020/2200 |  |
| 3275B | CAB. ELU 1 to FB. Length 3.0m. |  |  |  |  |  |  |  |  |  |  | TSRR9010020/3000 |  |
| 3275C | CAB. ELU 1 to FB. Length 3.6m. |  |  |  |  |  |  |  |  |  |  | TSRR9010020/3600 |  |
| 3276 | CAB. IOU to TDC. Length 2.5m. |  |  |  |  |  |  |  |  |  |  | TSRR9020040/2500 |  |
| 3277A | CAB. TLU 22 to FB (hostile site). Length 2.2m. |  |  |  |  |  |  |  |  |  |  | TSRR9020060/2200 |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description TELEPHONY & DATA TELEPHONY THORN ERICSSON ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3277B | CAB. TLU 22 to FB (hostile site). Length 3.0m. |  |  |  |  |  |  |  |  |  | TSRR9020060/3000 |  |
| 3277C | CAB. TLU 22 to FB (hostile site). Length 3.6m. |  |  |  |  |  |  |  |  |  | TSRR9020060/3600 |  |
| 3278A | CAB. PSU 1 to PDU (-5v). Length 1.6m. |  |  |  |  |  |  |  |  |  | TSRR9030005/1600 |  |
| 3278B | CAB. PSU 1 to PDU (-5v). Length 2.4m. |  |  |  |  |  |  |  |  |  | TSRR9030005/2400 |  |
| 3279A | CAB. PSU 1 to PDU (+5v). Length 1.6m. |  |  |  |  |  |  |  |  |  | TSRR9030006/1600 |  |
| 3279B | CAB. PSU 1 to PDU (+5v). Length 2.4m. |  |  |  |  |  |  |  |  |  | TSRR9030006/2400 |  |
| 3280A | CAB. PSU 1 to PDU (+12v). Length 1.6m. |  |  |  |  |  |  |  |  |  | TSRR9030007/1600 |  |
| 3280B | CAB. PSU 1 to PDU (+12v). Length 2.4m. |  |  |  |  |  |  |  |  |  | TSRR9030007/2400 |  |
| 3281A | CAB. PSU 1 to PDU (-12v). Length 1.6m. |  |  |  |  |  |  |  |  |  | TSRR9030008/1600 |  |
| 3281B | CAB. PSU 1 to PDU (-12v). Length 2.4m. |  |  |  |  |  |  |  |  |  | TSRR9030008/2400 |  |
| 3282A | CAB. (48v) PSU 2 to either PDU, ALU 1 or REU, or PFU to Klippon terminal block. Length 1.5m. |  |  |  |  |  |  |  |  |  | TSRR9030009/1500 |  |
| 3282B | CAB. (48v) PSU 2 to either PDU, ALU 1 or REU, or PFU to Klippon terminal block. Length 1.6m. |  |  |  |  |  |  |  |  |  | TSRR9030009/1600 |  |
| 3282C | CAB. (48v) PSU 2 to either PDU, ALU 1 or REU, or PFU to Klippon terminal block. Length 2.2m. |  |  |  |  |  |  |  |  |  | TSRR9030009/2200 |  |
| 3282D | CAB. (48v) PSU 2 to either PDU, ALU 1 or REU, or PFU to Klippon terminal block. Length 2.4m. |  |  |  |  |  |  |  |  |  | TSRR9030009/2400 |  |
| 3282E | CAB. (48v) PSU 2 to either PDU, ALU 1 or REU, or PFU to Klippon terminal block. Length 3.0m. |  |  |  |  |  |  |  |  |  | TSRR9030009/3000 |  |
| 3283 | CAB. PSU 2 to TDC (-48v). Length 2.0m. (No longer used) |  |  |  |  |  |  |  |  |  | TSRR9030011/2000 |  |
| 3284A | CAB. PSU 1 & PSU 2 to FB. Length 1.6m. |  |  |  |  |  |  |  |  |  | TSRR9030015/1600 |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description TELEPHONY & DATA TELEPHONY THORN ERICSSON ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3284B | CAB. PSU 1 & PSU 2 to FB. Length 2.4m. |  |  |  |  |  |  |  |  |  | TSRR9030015/2400 |  |
| 3285 | CAB. Common Backplane Earth Magazine 0 to Magazine 1 |  |  |  |  |  |  |  |  |  | TRE 32925/560 |  |
| 3286A | CAB. GJU L4, GJU G4 & TLU 20 to FB. Length 1.4m. |  |  |  |  |  |  |  |  |  | TSR 9010037/1400 |  |
| 3286B | CAB. GJU L4, GJU G4 & TLU 20 to FB. Length 2.2m. |  |  |  |  |  |  |  |  |  | TSR 9010037/2200 |  |
| 3286C | CAB. GJU L4, GJU G4 & TLU 20 to FB. Length 3.0m. |  |  |  |  |  |  |  |  |  | TSR 9010037/3000 |  |
| 3287A | CAB. ALU, IOU, SIU to FB. Length 1.4m. |  |  |  |  |  |  |  |  |  | TSR 9010043/1400 |  |
| 3287B | CAB. ALU, IOU, SIU to FB. Length 2.2m. |  |  |  |  |  |  |  |  |  | TSR 9010043/2200 |  |
| 3287C | CAB. ALU, IOU, SIU to FB. Length 3.0m. |  |  |  |  |  |  |  |  |  | TSR 9010043/3000 |  |
| 3288A | CAB. ELU 1 to FB. Length 1.4m. |  |  |  |  |  |  |  |  | 1/ | TSR 9010038/1400 |  |
| 3288B | CAB. ELU 1 to FB. Length 2.2m. |  |  |  |  |  |  |  |  | 1/ | TSR 9010038/2200 |  |
| 3288C | CAB. ELU 1 to FB. Length 3.0m. |  |  |  |  |  |  |  |  | 1/ | TSR 9010038/3000 |  |
| 3288D | CAB. ELU 1 to FB. Length 3.6m. |  |  |  |  |  |  |  |  | 1/ | TSR 9010038/3600 |  |
| 3289 | CAB. FB to TTY. |  |  |  |  |  |  |  |  |  | TSR 9020038/1000 |  |
| 3290 | T/D Maintenance Tool |  |  |  |  |  |  |  |  |  |  |  |
| 3291 | TM/L Maintenance Tool |  |  |  |  |  |  |  |  |  |  |  |
| 3292 | PCB Extractor Tool |  |  |  |  |  |  |  |  |  | PCB E |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description TELEPHONY & DATA TELEPHONY THORN ERICSSON ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3293 | CAB. IOU to MOD. Length 1.2m |  |  |  |  |  |  |  |  |  | TSR 9020090/1200 |  |
| 3294 | CAB. LFU to MOD. Length 3.3m |  |  |  |  |  |  |  |  |  | TSR 9020089/3300 |  |
| 3295 | 600 foot Data Cartridge Tape |  |  |  |  |  |  |  |  |  | DE1600L Part No. 400903 |  |
| 3296 | DCX 5 Extension User Booklet |  |  |  |  |  |  |  |  |  | LZTR801 2456/RA |  |
| 3297 | DCX 5 Control Telephony Keyboard User Booklet |  |  |  |  |  |  |  |  |  | LZTR801 2457/RA |  |
| 3298 | DCX 5 Operator's Console User Booklet |  |  |  |  |  |  |  |  |  | LZTR801 2154/RB |  |
| 3299 | Auxiliary Handset for CTTK (PSI 3256) |  |  |  |  |  |  |  |  |  | RLCR 30201/131 |  |
| 3300 | Call Annunciator Unit - 13 outputs (8 timeslots) |  |  |  |  |  |  |  |  |  | ROFR 137 0010/1 |  |
| 3301 | CAB. TDC 48v Length 3m. |  |  |  |  |  |  |  |  |  | TSRR 9030021/3000 |  |
| 3302 | CAB. CAU 1/2 to PSU 2 length 3m. |  |  |  |  |  |  |  |  |  | TSRR 9030022/3000 |  |
| 3303 | TRU Direct replacement for TRU 1 or TRU 3 Tone Receiver Unit (12 ccts) |  |  |  |  |  |  |  |  |  | ROF 131 4309-3 R1 |  |
| 3304 | Aux Cradle and Handset |  |  |  |  |  |  |  |  |  |  |  |
| 3305 | PCX(S) filter card to IDF cables, 20m long, two cables required per filter card. |  |  |  |  |  |  |  |  |  | TSR 2020311/20000 |  |
| 3306 | CABINET FOR DCX-5/20 |  |  |  |  |  |  |  |  |  | BYB 21 0111/001 |  |
| 3307 | LBP10 MAGAZINE FOR DCX-5/20 |  |  |  |  |  |  |  |  |  | BFD 324 582/1 |  |
| 3308 | LBP11 MAGAZINE FOR DCX-5/20 |  |  |  |  |  |  |  |  |  | BFD 324 583/1 |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description TELEPHONY & DATA TELEPHONY THORN ERICSSON ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3309A | CAB, Power to LBP10. 1 METRE |  |  |  |  |  |  |  |  |  | TSR 901 0209/1000 |  |
| 3309B | CAB, Power to LBP10. 1.4 METRE |  |  |  |  |  |  |  |  |  | TSR 903 0201/1400 |  |
| 3310 | CAB, Power to Distribution Unit |  |  |  |  |  |  |  |  |  | TSR 903 0203/400 |  |
| 3311 | CAB, Distribution Unit to PFU |  |  |  |  |  |  |  |  |  | TSR 903 0202/800 |  |
| 3312 | CAB, BSU to SSU (LBP10) |  |  |  |  |  |  |  |  |  | TSR 204 0402/400 |  |
| 3313 | CAB, Interconnection, Power Unit |  |  |  |  |  |  |  |  |  | TSR 202 0101/500 |  |
| 3314 | CAB, Power to LBP11. 1.4 metres |  |  |  |  |  |  |  |  |  | TSR 901 0210/1400 |  |
| 3315 | CAB, Power to LBP11. 1.5 metres |  |  |  |  |  |  |  |  |  | TSR 903 0200/1500 |  |
| 3316 | CAB, BSU to SSU (LBP11) |  |  |  |  |  |  |  |  |  | TSR 204 0402/400 |  |
| 3317 | DC/DC CONVERTER 5 VOLT |  |  |  |  |  |  |  |  |  | BFB 101 002/1 |  |
| 3318 | DC/DC CONVERTER 5 / 12 volt |  |  |  |  |  |  |  |  |  | ROF 131 4267/1A |  |
| 3319 | BATTERY for MEU 6 |  |  |  |  |  |  |  |  |  | RNV 991 942/001 |  |
| 3320 | SSU 3 |  |  |  |  |  |  |  |  |  | ROF 131 4400/1 |  |
| 3321 | TSU |  |  |  |  |  |  |  |  |  | ROF 137 5314/1 |  |
| 3322 | CAB, Power ALU |  |  |  |  |  |  |  |  |  | TSR 903 0204/600 |  |
| 3323 | CAB, MFC Interconnection |  |  |  |  |  |  |  |  |  | TSR 202 0404/75 |  |
| 3324A | CAB, Filter to ELU & ALU (4PR), length 1.1 metres. |  |  |  |  |  |  |  |  |  | TSR 901 0205/1100 |  |
| 3324B | CAB, Filter to ELU & ALU (4PR), length 1.1 metres. Direct alternative to PSI 3324A. |  |  |  |  |  |  |  |  |  | TSR 901 0405/1100. |  |
| 3324C | CAB, Filter to ELU & ALU (4PR), length 2.3 metres. |  |  |  |  |  |  |  |  |  | TSR 901 0405/2300. |  |
| 3324D | CAB, Filter to ELU & ALU (4PR), length 3.0 metres. |  |  |  |  |  |  |  |  |  | TSR 901 0405/3000. |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description TELEPHONY & DATA TELEPHONY THORN ERICSSON ITEMS |  |  |  |  | Tech Specification available = |  | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3325 | CAB, Filter to IOU (6PR) |  |  |  |  |  |  |  |  |  |  | TSR 901 0207/1000 |  |
| 3326 | Power Distribution Unit |  |  |  |  |  |  |  |  |  |  | BMF 101 063 |  |
| 3327 | Mounting set |  |  |  |  |  |  |  |  |  |  | NTM 144 14 |  |
| 3328 | CAB, Power (PCX-S) |  |  |  |  |  |  |  |  |  |  | TSR 211 0201/200 |  |
| 3329 | Rectifier, 240 VAC (PCX-S) |  |  |  |  |  |  |  |  |  |  | BML 351 001/2 |  |
| 3330 | CAB, Earthing, 10 metres |  |  |  |  |  |  |  |  |  |  | TFK 100507/08 |  |
| 3331 | Not Used |  |  |  |  |  |  |  |  |  |  |  |  |
| 3332 | SYSTEM STANDBY BATTERY 5/20 FOR PCX-S comprising:- Battery system (YUASA NP24-12 cells) Qty =1 system Cable lugs, Qty = 2 Cable lugs, Qty = 8 |  |  |  |  |  |  |  |  |  |  | BKB 901 002 ACL 00 0004 XXX SET 103 003 |  |
| 3333 | CAB, 48V PFU to Tape deck (PCX-S) |  |  |  |  |  |  |  |  |  |  | RPM 603140/10000 |  |
| 3334 | CAB, IOU to Tape deck (PCX-S) |  |  |  |  |  |  |  |  |  |  | TSR 902 0031/6000 |  |
| 3335 | Tape deck, single desk-top portable for PCX-S |  |  |  |  |  |  |  |  |  |  | RF/TDC 3000/SDM |  |
| 3336 | TLU74, PSTN connection device card, 4 circuits |  |  |  |  |  |  |  |  |  |  | ROF 137 5330/1 |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description CCN TELEPHONY GENERAL PROPRIETARY |  |  |  |  | Tech Specification available = |  | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3337 | TELCO 8000 Remote Control Telephone equipment. Signal inversion block for mounting on Krone frame in PCX Cubicle. 3 circuits. |  |  |  |  |  |  |  |  |  |  |  |  |
| 3338A | TELCO 8000 Remote Control equipment. Free standing or wall mounted outstation end equipment. 240v AC power supply. |  |  |  |  |  |  |  |  |  |  |  |  |
| 3338B | TELCO 8000 Remote Control Telephone equipment. Free standing or wall mounted outstation end equipment. 48v DC power supply. |  |  |  |  |  |  |  |  |  |  |  |  |
| 3339A | TELCO 8000 Remote Control Telephone equipment. Outstation power supply unit with 6 hour battery back up. |  |  |  |  |  |  |  |  |  |  |  |  |
| 3339B | TELCO 8000 Remote Control Telephone equipment. Outstation power supply unit with 24 hour battery back up. |  |  |  |  |  |  |  |  |  |  |  |  |
| 3340 | Ericsson PC Back-up type PBS1, includes all cables, S/W and rack mounting kit. Alternative to Tandberg Tape decks at LTX/CCX/SCX and strategic PCX sites. |  |  |  |  |  |  |  |  |  |  | KDVR101 3001/2 |  |
| 3341 | Spare IOU cable for PSI 3340. |  |  |  |  |  |  |  |  |  |  | TSR 902 0213/600 |  |
| 3342 | Spare Power cable for PSI 3340. |  |  |  |  |  |  |  |  |  |  | TSR2110203 |  |
| 3343 | ELU 25 Extension Line Unit 25. Digital Extension Device card for CTT10 control telephone terminal |  |  |  |  |  |  |  |  |  |  | ROF1375906/3 5A |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description CCN TELEPHONY GENERAL PROPRIETARY |  |  |  |  | Tech Specification available = |  | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3344 | KELTEL Remote admin telephone equipment, comprising 1 off AS44 and 1 off AS50 signalling units. Both units (ie one complete PSI 3344) required at each end of line to telephone. 48v dc powered. |  |  |  |  |  |  |  |  |  |  |  |  |
| 3345 | KELTEL wall mounted box type ASB01 for above units. Two boxes required per PSI 3344 end to be wall mounted. |  |  |  |  |  |  |  |  |  |  |  |  |
| 3346 | KELTEL 19" EP crate type ASS10 capable of housing up to 10 Keltel signalling units (eg AS44, AS50 etc). 1 x PSI 3346 is therefore capable of housing up to 5 ends of PSI 3344 equipment. |  |  |  |  |  |  |  |  |  |  |  |  |
| 3347 | KELTEL 240v ac mains to 48v dc power supply ASP03 for powering 1 off PSI 3344 when it is to be wall mounted. |  |  |  |  |  |  |  |  |  |  |  |  |
| 3348 | TELCO "Dial in System Access" (DISA) unit for use in enabling PSTN to CTN connection at LTX or CCX sites. |  |  |  |  |  |  |  |  |  |  |  |  |
| 3349 | CONVERSE 2-line telephone, in white, complete with 10 memory buttons, LCD display and conference facilities. Requires 3 off AA batteries for LCD display. Intended for special Operational Telephony applications. |  |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description CCN TELEPHONY GENERAL PROPRIETARY |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3350 | ALU2: OTX Alarm card for alarm inputs & outputs |  |  |  |  |  |  |  |  |  | ROF 137 5375/1 |  |
| 3351 | DSU: OTX Distributed Switch Unit |  |  |  |  |  |  |  |  |  | ROF 131 4414/4 |  |
| 3352 | ELU 28: OTX Digital Extension Line Unit for Ericsson Telephones |  |  |  |  |  |  |  |  |  | ROF 137 5334/3 |  |
| 3353 | ELU 29: OTX Analogue Extension Line Unit |  |  |  |  |  |  |  |  |  | ROF 137 5339/2 |  |
| 3354 | GJUL: Group Junctor Unit for additional OTX LIMs |  |  |  |  |  |  |  |  |  | ROF 137 5393/1 |  |
| 3355 | HDU7: OTX Hard Disk Unit for system backup |  |  |  |  |  |  |  |  |  | ROF 137 5398/2 |  |
| 3406 | LPU5: OTX LIM Processor Unit |  |  |  |  |  |  |  |  |  | ROF 131 4602/3 |  |
| 3357 | LSU: OTX LIM Switch Unit |  |  |  |  |  |  |  |  |  | ROF 131 4413/5 |  |
| 3358 | MFU: OTX Multi-Frequency Unit for MFC signalling |  |  |  |  |  |  |  |  |  | ROF 137 5348/1 |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description CCN TELEPHONY GENERAL PROPRIETARY |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3359 | NIU: OTX Network Interface Unit for I/O devices |  |  |  |  |  |  |  |  |  | ROF 137 5396/1 |  |
| 3360 | PSU: OTX AC/DC Power Unit |  |  |  |  |  |  |  |  |  | BML 351 048 |  |
| 3361 | RG5DC: OTX Power & Ringing distribution Unit |  |  |  |  |  |  |  |  |  | ROF 137 5350/2 |  |
| 3362 | TLU 80: OTX Trunk Line Unit for 4W E & M or AC15 trunks |  |  |  |  |  |  |  |  |  | ROF 137 5406/1 |  |
| 3363 | TLU 82: OTX Trunk Line Unit for PSTN 2W analogue trunks |  |  |  |  |  |  |  |  |  | ROF 137 5418/1 |  |
| 3364 | TLU 76/1: OTX ISDN primary rate Trunk Line Unit |  |  |  |  |  |  |  |  |  |  |  |
| 3365 | TLU 76/2: OTX DASS & DPNSS Trunk Line Unit |  |  |  |  |  |  |  |  |  | ROF 132 5338/2 |  |
| 3366 | TLU 76/3: OTX CAS Trunk Line Unit |  |  |  |  |  |  |  |  |  |  |  |
| 3367 | TMU: OTX Tone, Message & Conference Unit |  |  |  |  |  |  |  |  |  | ROF 137 5335/2 |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description CCN TELEPHONY GENERAL PROPRIETARY |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3368 | OTX Terminating plug for HDU |  |  |  |  |  |  |  |  |  | RNV 903 001/1 |  |
| 3369 | OTX Alarm Display Panel |  |  |  |  |  |  |  |  |  | NTM 144 220 |  |
| 3370 | OTX Fujitsu portable hard drive |  |  |  |  |  |  |  |  |  | DYN 640-SE |  |
| 3371 | Ericsson Digital Telephone |  |  |  |  |  |  |  |  |  |  |  |
| 3372 | LFU 14: OTX Line Filter Unit for use on OTX-C only |  |  |  |  |  |  |  |  |  | ROF 137 534/1 |  |
| 3373 | ELU 28/29/ALU 2 cable to MDM |  |  |  |  |  |  |  |  |  | TSR 902 0446/3500 |  |
| 3374 | TLU 82 cable to MDM |  |  |  |  |  |  |  |  |  | TSR 902 0478/3500 |  |
| 3375 | TLU 80 cable to MDM |  |  |  |  |  |  |  |  |  | TSR 902 0465/3500 |  |
| 3376 | NIU cable to Modem/Terminal |  |  |  |  |  |  |  |  |  | TSR 902 0459/3500 |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description CCN TELEPHONY GENERAL PROPRIETARY |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3377 | OTX Aux power cable |  |  |  |  |  |  |  |  |  | TSR 903 0216/500 |  |
| 3378 | OTX External 48V power input cable |  |  |  |  |  |  |  |  |  | TSR 903 0216/1200 |  |
| 3379 | OTX internal battery interconnecting cable |  |  |  |  |  |  |  |  |  | TRE 990 162/1 |  |
| 3380 | Null modem adapter for use with NIU |  |  |  |  |  |  |  |  |  | ZAT 505 403/2 |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description CCN TELEPHONY GENERAL PROPRIETARY |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3400 | GPT Primary Multiplexer (GEC DMD-003) Shelf Framework and Cover (split earthing) (GEC Code 4DMD-003/1A12.1) |  |  |  |  |  |  |  |  |  |  |  |
| 3401 | GPT Primary Multiplexer (GEC DMD-003) Cable Tray (GEC Code D-675636/C) (No Longer Available) |  |  |  |  |  |  |  |  |  |  |  |
| 3402 | GPT Primary Multiplexer (GEC DMD-003) Boxed Set of Common Cards (PSI 3403-3407, 5 x PSI 3408, PSI 3417) (GEC Code 5DMD-003/1AA) |  |  |  |  |  |  |  |  |  |  |  |
| 3403 | GPT Primary Multiplexer (GEC DMD-003) Receive Common Card (GEC Code 1DMD-002/A) (See also PSI 3402 above) |  |  |  |  |  |  |  |  |  |  |  |
| 3404 | GPT Primary Multiplexer (GEC DMD-003) Transmit Common Card (GEC Code 1DMD-003/A) (See also PSI 3402 above) |  |  |  |  |  |  |  |  |  |  |  |
| 3405 | GPT Primary Multiplexer (GEC DMD-003) Alarm Card (GEC Code 1DMD-004/A) (See also PSI 3402 above) |  |  |  |  |  |  |  |  |  |  |  |
| 3406 | GPT Primary Multiplexer (GEC DMD-003) TS16 Signalling Multiplex Card (GEC Code 1DMD-006/B) (See also PSI 3402 above) |  |  |  |  |  |  |  |  |  |  |  |
| 3407 | GPT Primary Multiplexer (GEC DMD-003) Power Card (GEC 1PSA-009/A) (See also PSI 3402 above) |  |  |  |  |  |  |  |  |  |  |  |
| 3408 | GPT Primary Multiplexer (GEC DMD-003) Channel (Speech) Card - 6 Channels (GEC Code 1DMD-011/C) |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description CCN TELEPHONY GENERAL PROPRIETARY |  |  |  |  | Tech Specification available = |  | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3409 | GPT Primary Multiplexer (GEC DMD-003) Data Access Card - 3 Channel GEC Code 1DMD-010/A) (Requires 1 x PSI 3410A, 1 x PSI 3410B, 1 x PSI 3410C) |  |  |  |  |  |  |  |  |  |  |  |  |
| 3410A | GPT 20 Metre Cable (1 pr - w/bl) with connector for use with Channel 1 of Data Access Card (PSI 3409) (GEC Code D-686100/AA) |  |  |  |  |  |  |  |  |  |  |  |  |
| 3410B | GPT 20 Metre Cable (1 pr - w/o) with connector for use with Channel 2 of Data Access Card (PSI 3409) (GEC Code D-686100/AB) |  |  |  |  |  |  |  |  |  |  |  |  |
| 3410C | GPT 20 Metre Cable (1 pr - w/grn) with connector for use with Channel 3 of Data Access Card (PSI 3409) (GEC Code D-686100/AC) |  |  |  |  |  |  |  |  |  |  |  |  |
| 3411 | GPT Primary Multiplexer (DMD-003) E & M (15 Channel) Signalling Card (GEC Code 1SCP-016/D) (Requires 1 x PSI 3412) |  |  |  |  |  |  |  |  |  |  |  |  |
| 3412 | GPT 20 Metre Cable (15pr) with connector for use with E & M Signalling Card (PSI 3411) (GEC Code D686100/DA) |  |  |  |  |  |  |  |  |  |  |  |  |
| 3413A | GPT Primary Multiplexer (GEC DMD-003) Miscellaneous Interface Card (GEC Code 1DMX-001/A) (Requires 5 cables, 2 x PSI 3414A and 3 coax connections using PSI 3424) |  |  |  |  |  |  |  |  |  |  |  |  |
| 3413B | GPT Primary Multiplexer (GEC DMD-003) Miscellaneous Interface Card with low speed option (GEC Code 1DMX-001/F) (Requires 5/6 Cables, 2 x PSI 3414A, 1 x PSI 3414B and 3 coax connections using PSI 3424) |  |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description CCN TELEPHONY GENERAL PROPRIETARY |  |  |  |  | Tech Specification available = |  | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3414A | GPT 20 Metre Cable (6 pr) with connector for use with Miscellaneous Interface Card (PSI 3413) (GEC Code D-686100/CC) |  |  |  |  |  |  |  |  |  |  |  |  |
| 3414B | GPT 20 Metre Cable (6pr) with connector for use with Miscellaneous Interface Card (PSI 3413B) (GEC Code D-686100/CD) |  |  |  |  |  |  |  |  |  |  |  |  |
| 3415 | GPT Primary Multiplexer (GEC DMD-003) PAIR of 20 metre audio cables (TX and RX, each 32 pr) with connector at one end (GEC Code D-675680/A) |  |  |  |  |  |  |  |  |  |  |  |  |
| 3416 | GPT Primary Multiplexer (GEC DMD-003) PAIR of 20 metre co-axial cables (TX and RX) with connector at one end (GEC Code D-675667/AGBBM1) |  |  |  |  |  |  |  |  |  |  |  |  |
| 3417 | GPT Primary Multiplexer (GEC DMD-003) Pair of Information Sheets (GEC Code 5DMD-003/611 and 5DMD-003/612) |  |  |  |  |  |  |  |  |  |  |  |  |
| 3418 | Number discontinued |  |  |  |  |  |  |  |  |  |  |  |  |
| 3419 | Siemens Masterset III Desk mounted Telephone (Beige) For use with DCX5 |  |  |  |  |  |  |  |  |  |  |  |  |
| 3420 | Siemens Masterset III Wall mounted Telephone (Beige) For use with DCX5 (No Longer Available) |  |  |  |  |  |  |  |  |  |  |  |  |
| 3421 | Telephone Instrument Type 746, wall mounted for use with DCX5 (No Longer Available - replaced by PSI 3440) |  |  |  |  |  |  |  |  |  |  |  |  |
| 3422 | Racal Weatherpoof Telephone in yellow case, with mounting brkts. MFPB, TBR for use with DCX5 |  |  |  |  |  |  |  |  |  |  |  |  |
| 3423A | Engel & Gibbs Type SS/TR/5 loud ringing bell interface (Input 63v-100v, 16.67Hz, Output 250v AC 5A, REN = 1.) |  |  |  |  |  |  |  |  |  |  |  |  |
| 3423B | Comtec-Telcom type TPU1 loud ringing bell interface (Input 40-100v rms, 25 Hz, REN=1. Output up to 240v AC/DC 1A) |  |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description CCN TELEPHONY GENERAL PROPRIETARY |  |  |  |  | Tech Specification available = |  | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3424 | GPT Primary Multiplexer (GEC DMD-003) Set of three right-angled Coax Plugs (GEC Code BFG 1628607) (1 set required per PSI 3413) |  |  |  |  |  |  |  |  |  |  |  |  |
| 3425 | GPT Primary Multiplexer (GEC DMD-003) Set of Parts to produce 3 plugs for use with PSI 3409 (GEC Code 1DMD-010/SOP/*A) comprising :- |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Block Cable Tie Cover Socket |  | KS 29626-110 KS 26267-4 KS 29626-134 KS 29626-13 |  |  | (3 off) (3 off) (3 off) (3 off) |  |  |  |  |  |  |  |
| 3426 | GPT Primary Multiplexer (DMD-003) Shelf Connector Kit (GEC Code 4DMD-003/SOP*1A) Supplied as a kit of installation materials (One set required per PSI 3400) and comprising :- |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Cable Supports |  |  |  | (GEC Code D 675774/2) (10 off) |  |  |  |  |  |  |  |  |
|  | Power (Socket) Connector (Pins)1 |  |  |  | (GEC Code KS 29418-4) ( 1 off) (GEC Code KS 29282-2) ( 5 off) |  |  |  |  |  |  |  |  |
|  | Ribbon (Bush Cable (Socket Connector (Cover |  |  |  | (GEC Code KS 29276-11) ( 1 off) (GEC Code KS 29276- 1) ( 1 off) (GEC Code KS 29276- 1) ( 1 off) |  |  |  |  |  |  |  |  |
|  | Coax (Straight Connector (Coax Plugs (GEC Code KS 29284/9) ( 3 off) |  |  |  |  |  |  |  |  |  |  |  |  |
| 3427 | GPT Primary Multiplexer (GEC DMD-003) N X 64 Kbit Data Card(GEC Code 1DMD-072) |  |  |  |  |  |  |  |  |  |  |  |  |
| 3428 | GPT 20 Metre Cable for use with PSI 3427 (GEC Code D-686100/FB) |  |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description CCN TELEPHONY GENERAL PROPRIETARY |  |  |  |  | Tech Specification available = |  | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3429 | GPT Primary Multiplexer (GEC DMD-003) GPT Multibit rate Data Access Card (GEC Code 2 DMD-055A) |  |  |  |  |  |  |  |  |  |  |  |  |
| 3430 | GPT Primary Multiplexer (GEC DMD-003) Pair GPT 20 metre Cables for use with PSI 3429 (GEC Code D-686101/GA) |  |  |  |  |  |  |  |  |  |  |  |  |
| 3431 | GPT Synchronisation Equipment GPT Shelf Framework with Information Cards and Sets of Parts (GEC Code 4NCS-001/1A) |  |  |  |  |  |  |  |  |  |  |  |  |
| 3432 | GPT Synchronisation Equipment GPT Alarm Interface Cards with Sets of Parts (GEC Code INCS-005A) |  |  |  |  |  |  |  |  |  |  |  |  |
| 3433 | GPT Synchronisation Equipment GPT Timing Extraction Card with Sets of Parts (GEC Code INCS-001A) |  |  |  |  |  |  |  |  |  |  |  |  |
| 3434 | GPT Synchronisation Equipment GPT Oscillator Card (GEC Code INCS-004A) |  |  |  |  |  |  |  |  |  |  |  |  |
| 3435 | GPT Synchronisation Equipment GPT Synchronisation Card (GEC Code INCS-002A) |  |  |  |  |  |  |  |  |  |  |  |  |
| 3436 | GPT Synchronisation Equipment GPT Output Card (GEC Code INCS-003A) |  |  |  |  |  |  |  |  |  |  |  |  |
| 3437 | Trojan 4000 Telephone (Green for Control) Desk/Wall Mounted |  |  |  |  |  |  |  |  |  |  |  |  |
| 3438 | Plessey Designer Telephone Model 5022 (with visual indicator) Desk/Wall mounted |  |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description CCN TELEPHONY GENERAL PROPRIETARY |  |  |  |  | Tech Specification available = |  | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3439 | RIFA Plug in Fixed Attenuator (4dB) for use with GPT Speech Channel Card (PSI 3408) |  |  |  |  |  |  |  |  |  |  |  |  |
| 3440 | Trojan 3000 Telephone (cream) Desk/Wall Mounted (To replace PSI 3421) |  |  |  |  |  |  |  |  |  |  |  |  |
| 3441 | Standard PCX-S, hardware equipped for 24 extns (3 x ELU22) & 3 trunks (1 x TLU22), remote access modem, integral 48V supply, single processor and MEU6 memory cards. Additional device cards can be fitted if required. For filter cabling to MDF see PSI 3305 |  |  |  |  |  |  |  |  |  |  | DCX5/20/MD110/20 |  |
| 3442A | ELU 22. Extension Line Unit 22, (8 timeslots). 8 line extension unit. (New unit supplied by Ericsson) |  |  |  |  |  |  |  |  |  |  | ROF 137 5245/1 |  |
| 3442B | ELU 22. Extension Line Unit 22, (8 timeslots). 8 line extension unit. (Second hand unit supplied by Becketts) |  |  |  |  |  |  |  |  |  |  | ROF 137 5245/1 |  |
| 3443 | NOT USED (was TLU 43 but this is not compatible with NGC version of Ericsson software). |  |  |  |  |  |  |  |  |  |  |  |  |
| 3444 | MEU 6. Memory Unit 6, 2.0 Mbyte with battery back up |  |  |  |  |  |  |  |  |  |  | ROF 131 4497/1 |  |
| 3445 | PFU 2. Power Filter Unit 2, for use in PSI 3441 |  |  |  |  |  |  |  |  |  |  | ROF 137 5247/1 |  |
| 3446 | Master Systems 2 Mbps Auxiliary interface tributary |  |  |  |  |  |  |  |  |  |  | 2 x 2 card |  |
| 3447 | Master Systems N x 64kbps Tributary unit |  |  |  |  |  |  |  |  |  |  | N x 64 card |  |
| 3448 | Master Systems 8 Channel Audio Tributary unit |  |  |  |  |  |  |  |  |  |  | AF8 Card |  |
| 3449 | Master Systems 16 Channel E & M Signalling Tributary unit |  |  |  |  |  |  |  |  |  |  | E & M Card |  |
| 3450 | Master Systems Metallic Interface Tributary unit |  |  |  |  |  |  |  |  |  |  | Met I/F Card |  |
| 3451 | Master Systems Network Telemetry Buffer |  |  |  |  |  |  |  |  |  |  | NT Buffer Card |  |
| 3452 | Master Systems Core System (MSC) |  |  |  |  |  |  |  |  |  |  | Crate/MUX Cont Card |  |
| 3453 | Master Systems 240v Mains power supply |  |  |  |  |  |  |  |  |  |  | 240/48v Power Unit |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description CCN TELEPHONY GENERAL PROPRIETARY |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3454 | Master Systems Cable (Details TBA) |  |  |  |  |  |  |  |  |  |  |
| 3455 | Master Systems Cubicle. RJF Cannon 19" x 37U 600mm x 6ft. Goose Grey Acrylic finish (BS4800 A05) with steel front and rear doors, without fans or filters. |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description TELEPHONY & DATA DATA GENERAL PROPRIETARY |  |  |  |  |  |  | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3456 | Newbridge 3600 Mainstreet Single Shelf. Provides Backplane access to a total of six Universal Card Slots (or eight if PSI 3469 is used.) Designed for rear cable entry. NO LONGER SUPPLIED. (See also PSI 3506: Single shelf Dual I/P) |  |  |  |  |  |  |  |  | 90-0010-04 (no longer supplied) |  |  |
| 3457 | Newbridge 3600 Mainstreet Single Shelf. Provides Backplane access to a total of six Universal Card Slots (or eight if PSI 3469 is used.) Designed for side cable entry. NO LONGER SUPPLIED. (See also PSI 3506: Single shelf Dual I/P) |  |  |  |  |  |  |  |  |  | 90-0010-05 |  |
| 3458 | Newbridge 3600 Mainstreet Dual Shelf Cable Assembly. Provides all necessary components for redundant inter- shelf communication in a dual shelf system. |  |  |  |  |  |  |  |  |  | 90-0090-05 |  |
| 3459 | Newbridge 3600 Mainstreet Dual Shelf Cable Assembly Upgrade Kit. Provides replacement parts for PSI 3458 above. |  |  |  |  |  |  |  |  |  | 90-0090-02 |  |
| 3460 | Newbridge 3600 Mainstreet 48v DC Input Power Shelf including power supply module and distribution unit (segregated earth). Use as a pair with PSI 3461. Do not use with PSI 3509/3510 pair or PSI 3533/3534 pair. NO LONGER SUPPLIED. |  |  |  |  |  |  |  |  | 90-0440-01 or 90-0440-04 NO LONGER SUPPLIED. |  |  |
| 3461 | Newbridge 3600 Mainstreet 48v DC Power Shelf redundancy kit. Use as a pair with PSI 3460. Do not use with PSI 3509/3510 pair or PSI 3533/3534 pair. NO LONGER SUPPLIED. |  |  |  |  |  |  |  |  | 90-0480-01 or 90-0480-04 NO LONGER SUPPLIED. |  |  |
| 3462 | Newbridge 3600 Mainstreet 24v DC Input Power Shelf including power supply module and distribution unit. |  |  |  |  |  |  |  |  |  | 90-0658-01 |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |  |

| PSI No | Description TELEPHONY & DATA DATA GENERAL PROPRIETARY |  |  |  |  |  |  | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3463 | Newbridge 3600 Mainstreet 24v DC Power Shelf Redundancy kit. |  |  |  |  |  |  |  |  | 90-0659-01 |  |  |
| 3464 | Newbridge 3600 Mainstreet 240v AC Input Power Shelf including power supply module and distribution unit. Use as a pair with PSI 3465. Do not use with PSI 3511/3512 NO LONGER SUPPLIED. |  |  |  |  |  |  |  |  | 90-0499-01 NO LONGER SUPPLIED |  |  |
| 3465 | Newbridge 3600 Mainstreet 240v AC Power Shelf redundancy kit. Use as a pair with PSI 3464. Do not use with PSI 3511/3512 NO LONGER SUPPLIED. |  |  |  |  |  |  |  |  | 90-0481-01 NO LONGER SUPPLIED. |  |  |
| 3466 | Newbridge 3600 Mainstreet General Facilities Card. Provides order wire access, Diagnostics and Alarms. |  |  |  |  |  |  |  |  | 90-0077-01 or 90-0077-04 |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |  |

| PSI No | Description TELEPHONY & DATA DATA GENERAL PROPRIETARY |  |  |  |  |  |  | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3467 | Newbridge 3600 Mainstreet Serial Port Interchange Card. Provides access to the active serial ports on the Control Cards of a redundant system. (Not supported by release 4) |  |  |  |  |  |  |  |  |  | 90-0497-01 |  |
| 3468 | Newbridge 3600 Mainstreet Expander card (6+6). Provides for sytem expansion to a double shelf sytem. |  |  |  |  |  |  |  |  |  | 90-0035-01 |  |
| 3469 | Newbridge 3600 Mainstreet Expander Module (6 + 2). Provides for system expansion from 6 to 8 slots in one shelf. |  |  |  |  |  |  |  |  |  | 90-0074-01 |  |
| 3470 | Newbridge 3600 Mainstreet Expander Module (8+8). Provides for system expansion to 8 slots in both shelves of a dual shelf system. |  |  |  |  |  |  |  |  |  | 90-0075-01 |  |
| 3471 | Newbridge 3600 Mainstreet Expander Module (16+). Required when card slot bandwidth greater than 1.920Mbps is necessary. |  |  |  |  |  |  |  |  |  | 90-0075-02 |  |
| 3472 | Newbridge 3600 Mainstreet System Control Card 3. Required to run the system software, Revision 1113-37-02 or greater. |  |  |  |  |  |  |  |  |  | 90-0667-01 |  |
| 3473 | Newbridge 3600 Mainstreet Memory Module Generic 1113. (Revision 1113-37-02 or greater), for use with Control Card 3 (PSI 3472). (See also PSI 3508) |  |  |  |  |  |  |  |  |  | 90-1036-01 or 90-1036-38 |  |
| 3474 | Newbridge 3600 Mainstreet E & M Card. Provides six interface circuits for 2 or 4 wire transmission. |  |  |  |  |  |  |  |  |  | 90-0079-01 or 90-0079-03 |  |
| 3475 | Newbridge 3600 Mainstreet DCC X21 Data Card (6 cct). Provides six X21 interfaces. Requires 2 off PSI 3502 |  |  |  |  |  |  |  |  |  | 90-0031-04 |  |
| 3476 | Newbridge 3600 Mainstreet DCC X21 Data Card (4 cct). Provides four X21 interfaces. Requires 1 off PSI 3502 |  |  |  |  |  |  |  |  |  | 90-0031-05 |  |
| 3477 | Newbridge 3600 Mainstreet DCC V35 Data Card (6 cct). Provides six V35 interfaces. |  |  |  |  |  |  |  |  |  | 90-0032-06 |  |
| 3478 | Newbridge 3600 Mainstreet DCC RS232 Data Card (6 cct). Provides six RS 232/V24 interfaces. |  |  |  |  |  |  |  |  |  | 90-0043-03 |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |  |

| PSI No | Description TELEPHONY & DATA DATA GENERAL PROPRIETARY |  |  |  |  |  |  | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3479 | Newbridge 3600 Mainstreet DCC G703 Data Card (4 cct). Provides four G703 interfaces at 64 kbps. |  |  |  |  |  |  |  |  |  | 90-0470-01 |
| 3480 | Newbridge 3600 Mainstreet DNIC Line Card (12 cct.) Provides twelve interfaces to Data Termination Units. |  |  |  |  |  |  |  |  |  | 90-0041-01 |
| 3481 | Newbridge 3600 Mainstreet DNIC Line Card (6 cct). Provides six interfaces to Data Termination Units. |  |  |  |  |  |  |  |  |  | 90-0041-02 |
| 3482 | Newbridge 3600 mainstreet DNIC Line card (3 cct). Provides three interfaces to Data Termination Units. |  |  |  |  |  |  |  |  |  | 90-0041-03 |
| 3483 | Newbridge 3600 mainstreet DNIC DPM-1 Module. One module per DNIC Line Card provides four digital signal processors. |  |  |  |  |  |  |  |  |  | 90-0297-02 |
| 3484 | Newbridge 3600 Mainstreet Single E1 Primary Rate Card. Provides a single 2.048 Mbps G703 interface. |  |  |  |  |  |  |  |  |  | 90-0371-02 |
| 3485 | Newbridge 3600 Mainstreet Dual E1 Primary Rate card. Provides two 2.048 Mbps G703 interfaces. |  |  |  |  |  |  |  |  |  | 90-0565-01 |
| 3486 | Newbridge 3600 mainstreet X21 PR-2 Primary rate card. Provides an X21 interface configured as a DTE and supports bit rate from 64 kbps to 1.920 Mbps. |  |  |  |  |  |  |  |  |  | 90-0569-03 |
| 3487 | Newbridge 3600 Mainstreet LIM Module (E1). Required to interface to G703 75 ohm electrical interfaces. |  |  |  |  |  |  |  |  |  | 90-0568-01 |
| 3488 | Newbridge 3600 Mainstreet Ringing Generator. Provides a 25 Hz ringing generator (for separate mounting). |  |  |  |  |  |  |  |  |  | 90-0496-01 |
| 3489 | Newbridge 3600 Mainstreet External Ringing Generator Assembly. Provides a 19" rack amount assembly, to hold up to four ringing generators, includes two ringing generators (PSI 3488) with space for up to two more. |  |  |  |  |  |  |  |  |  | 90-0347-03 |
| 3490 | Newbridge 3600 Mainstreet DCP Signal Processing Card. Provides increased CPSS throughput. |  |  |  |  |  |  |  |  |  | 90-0670-01 |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description TELEPHONY & DATA DATA GENERAL PROPRIETARY |  |  |  |  |  |  | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3491 | Newbridge 3600 Mainstreet 2601 DTU (RS 232) Data Termination Unit. Connects two RS232/V24 data ports, via a twisted cable pair, to a DNIC Card. |  |  |  |  |  |  |  |  |  | 90-0468-99 |  |
| 3492 | Newbridge 3600 mainstreet 2602 DTU (X21) Data Termination Unit. Connects two X21 data ports, via a twisted cable pair, to a DNIC Card. |  |  |  |  |  |  |  |  |  | 90-0107-99 |  |
| 3493 | Newbridge 3600 mainstreet 2603 DTU (V35) Data Termination Unit. Connects two V35 data ports, via a twisted cable pair, to a DNIC Card. |  |  |  |  |  |  |  |  |  | 90-0108-99 |  |
| 3494A | Newbridge 3600 Mainstreet DTU Power Supply. Accepts 240v ac, powers all DTU devices. |  |  |  |  |  |  |  |  |  | 90-0316-02 or 90-0316-40 |  |
| 3494B | Newbridge 3600 Mainstreet DTU Power Supply. Accepts 115v ac, powers all DTU devices. |  |  |  |  |  |  |  |  |  | 90-0316-02 or 90-0316-40 |  |
| 3495 | Newbridge 3600 Mainstreet DTU Wall - mount. Provides a wall mounting plate for one DTU. |  |  |  |  |  |  |  |  |  | 90-0340-01 |  |
| 3496 | Newbridge 3600 Mainstreet DTU Rack - mount. Provides a 19" shelf to house up to twelve DTUs/DTU Power Supplies. |  |  |  |  |  |  |  |  |  | 90-0531-02 |  |
| 3497 | Newbridge 3600 Mainstreet TJF Shelf. Provides a 19" shelf to accommodate three Krone Block Assemblies ((PSI 3498). |  |  |  |  |  |  |  |  |  | 90-0609-01 |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |  |

| PSI No | Description TELEPHONY & DATA DATA GENERAL PROPRIETARY |  |  |  |  |  |  | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3498A | Newbridge 3600 Mainstreet Krone Block Assembly. Provides access via the shelf backplane to voice/data circuits. (NB "Disconnect" type Krone Blocks are provided). |  |  |  |  |  |  |  |  |  | 90-0080-01 |  |
| 3498B | Newbridge 3600 Mainstreet Krone Block Assembly. Provides access via the shelf backplane to voice/data circuits. (NB "Connect" type Krone Blocks are provided). |  |  |  |  |  |  |  |  |  | 90-0080-03 |  |
| 3499 | Newbridge 3600 Mainstreet Backplane Connector Cable. Three metres of 25pr cable, complete with connectors to connect voice/data circuits between Krone block assemblies (PSI 3498) and shelf backplanes. |  |  |  |  |  |  |  |  |  | 90-0555-04 |  |
| 3500A | Newbridge 3600 Mainstreet RFI Cubicle. Rainford Rack C65 RFI proof cubicle, 600mm square footprint with 39U of available working space. Complete with DC Power Distribution rail (PSI 3525A) and dual rear cable trays |  |  |  |  |  |  |  |  |  | 90-0668-01 |  |
| 3500B | Newbridge 3600 Mainstreet RFI Cubicle. Rainford Rack C65 RFI proof cubicle, 600mm square footprint with 39U of available working space. Complete with AC Power Distribution rail (PSI 3525D) and dual rear cable trays |  |  |  |  |  |  |  |  | order as"similar to 90-0668-01 but with AC power distribution rail" |  |  |
| 3501 | Newbridge 3600 Mainstreet Enhanced DDF (8 way). Provides termination facilities for 2.048 Mbps services. NOT TO BE USED FOR NEW WORK |  |  |  |  |  |  |  |  |  | 90-1250-01 |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |  |

| PSI No | Description TELEPHONY & DATA DATA GENERAL PROPRIETARY |  |  |  |  |  |  | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3502 | Newbridge 3600 Mainstreet X21 Krone Block Assembly. Provides access via the shelf backplane to four X21 circuits. (2 required with DCC X.21 6cct card PSI 3475) |  |  |  |  |  |  |  |  |  | 90-0081-01 |  |
| 3503 | Newbridge 3600 Mainstreet DCC V35 Data Card (3 cct). Provides three V35 interfaces. |  |  |  |  |  |  |  |  |  | 90-0032-07 |  |
| 3504 | GPT Test Lead TEP 1E Two pin polarised to 2 x 4mm banana plugs - 2.5m long. (GPT Code KS 29411/5) |  |  |  |  |  |  |  |  |  |  |  |
| 3505 | GPT Loopback Lead TEP 1E Two pin polarised to two pin polarised - 2.5m long. (GPT Code KS 29411/4) |  |  |  |  |  |  |  |  |  |  |  |
| 3506 | Newbridge 3600 Mainstreet Single Shelf with Dual Cable entry. Provides Backplane access up to 6 Universal Card Slots (or 8 if PSI 3469 used). See also 3456, 3457 for rear and side entry. Meets EMC Class A requirements. |  |  |  |  |  |  |  |  |  | 90-0010-10 |  |
| 3507A | Newbridge 3600 Mainstreet Connector Cable, 9m long for X21 PR-2 Primary Rate Card. |  |  |  |  |  |  |  |  | 90-0354-03 + statement of required length |  |  |
| 3507B | Newbridge 3600 Mainstreet Connector Cable, 15m long for X21 PR-2 Primary Rate Card. |  |  |  |  |  |  |  |  | 90-0354-03 + statement of required length |  |  |
| 3507C | Newbridge 3600 Mainstreet Connector Cable, 20m long for X21 PR-2 Primary Rate Card. |  |  |  |  |  |  |  |  | 90-0354-03 + statement of required length |  |  |
| 3507D | Newbridge 3600 Mainstreet Connector Cable, 25m long for X21 PR-2 Primary Rate Card. |  |  |  |  |  |  |  |  | 90-0354-03 + statement of required length |  |  |
| 3508 | Newbridge 3600 Mainstreet Memory Module Generic 1114. For use with Control Card 3 (PSI 3472). (See also PSI 3473) |  |  |  |  |  |  |  |  |  | 90-1038-01 |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |  |

| PSI No | Description DATA GENERAL PROPRIETARY |  |  |  |  |  |  | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3509 | Newbridge 3600 Mainstreet 48v DC Input Power Shelf including power supply module and distribution unit (segregated earth). Use as a pair with PSI 3510. Do not use with PSI 3460/3461 pair or PSI 3533/3534 pair. |  |  |  |  |  |  |  |  |  | 90-0434-01 |
| 3510 | Newbridge 3600 Mainstreet 48v DC Power Shelf redundancy kit. Use as a pair with PSI 3509. Do not use with PSI 3460/3461 pair or PSI 3533/3534 pair. |  |  |  |  |  |  |  |  |  | 90-0480-02 |
| 3511 | Newbridge 3600 Mainstreet 240V AC Input Power Shelf including power supply module and distribution unit. Use as a pair PSI 3512. Do not use with PSI 3464/3465. |  |  |  |  |  |  |  |  |  | 90-0435-04 |
| 3512 | Newbridge 3600 Mainstreet 240V AC Power Shelf redundancy kit. Use as a pair with PSI 3511. Do not use with PSI 3464/3465. |  |  |  |  |  |  |  |  |  | 90-0481-04 |
| 3513 | Newbridge 3664 Basic System including Single Shelf (PSI 3506), Power Supply (PSI 3509), Control Card (PSI 3532) and Memory Module (PSI 3517) plus all handbooks (PSI 3518*) |  |  |  |  |  |  |  |  |  | 90-0002-04 |
| 3514 | Newbridge 3600 DSP 4 Special Applications Card (supports subrate switching |  |  |  |  |  |  |  |  |  | 90-0038-11 |
| 3515 | Newbridge 3600 Group 3 Fax Module (daughter board), for use with PSI 3514 |  |  |  |  |  |  |  |  |  | 90-1319-01 |
| 3516 | Newbridge 3600 UCS Slot filler plates |  |  |  |  |  |  |  |  |  | 90-0060-01 |
| 3517 | Newbridge 3664 Mainstreet Memory Module Generic Q114. For use with Control Card (PSI 3532) (See also PSI 3513) |  |  |  |  |  |  |  |  |  | 90-1921-01 |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description DATA GENERAL PROPRIETARY |  |  |  |  |  |  | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3518 | Newbridge Documents |  |  |  |  |  |  |  |  |  |  |  |
| 3518A | Newbridge 3600 Release 3, Generic 1113 Technical Practices, 3 Vols |  |  |  |  |  |  |  |  |  | 90-1179-01 |  |
| 3518B | Newbridge 3600 Release 4, Generic 1114 Technical Practices, 3 Vols |  |  |  |  |  |  |  |  |  | 90-1185-01 |  |
| 3518C | Newbridge 3664 Fractional Access Multiplexer Release 1, Generic Q114 3 Vols |  |  |  |  |  |  |  |  |  | 90-1922-01 |  |
| 3519 | Newbridge 3664 Mainstreet RS 232 Krone Block for use with DCC RS 232 Data Card (PSI 3478) |  |  |  |  |  |  |  |  |  | 90-0503-01 90-0503-02 |  |
| 3520 | Newbridge 3664 Mainstreet Voice Compression Module, used with Dual E1 cards to provide ADPCM compressed voice channels. |  |  |  |  |  |  |  |  |  | 90-0566-01 |  |
| 3521 | Newbridge 3600 Mainstreet DTU Rack Mount, with built in 240v a.c. Power supply. Provides a 19" shelf to house up to twelve DTUs. |  |  |  |  |  |  |  |  |  | 90-0531-03 |  |
| 3522 | Newbridge 3600 Mainstreet DTU Power Supply. Provides 48V DC to one DTU Device. 19"Rack Mounted. |  |  |  |  |  |  |  |  |  | 90-1347-01 |  |
| 3523 | Newbridge 3600 Mainstreet DTU Power Supply. Provides 48V DC to one DTU Device (all types). 19" Rack Mounted. CE marked |  |  |  |  |  |  |  |  |  | 90-0317-01 |  |
| 3524 | Newbridge 3600 RFI cubicle key, key no. 715 |  |  |  |  |  |  |  |  |  | E3-26-715-15 |  |
| 3525A | Newbridge DC Power Distribution Rail for use in Newbridge RFI cubicle PSI 3500 |  |  |  |  |  |  |  |  |  |  |  |
| 3525B | Newbridge AC Power Distribution Rail for use in Newbridge RFI cubicle PSI 3500. (Not yet available) |  |  |  |  |  |  |  |  |  |  |  |
| 3526 | Newbridge 3600 Mainstreet 2B1Q Line card (6 circuits). Provides six 2B1Q interfaces to 2700 range of DTUs. |  |  |  |  |  |  |  |  |  | 90-1184-01 |  |
| 3527 | Newbridge 3600 Mainstreet 2701 DTU (V24/RS232) Data Termination Unit. Connects two V24 data ports via twisted cable pairs to a 2B1Q card. |  |  |  |  |  |  |  |  |  | 90-0887-98 |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description DATA GENERAL PROPRIETARY |  |  |  |  |  |  | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3528 | Positron Teleline Isolator. ISDN card module |  |  |  |  |  |  |  |  |  | 751233-1 |  |
| 3529 | Newbridge DSP-3 (2 DSP) card, special apps card with 2 DSP circuits |  |  |  |  |  |  |  |  |  | 90-0038-10 |  |
| 3530 | Newbridge DSP-3 module, DSP module required to up-grade PSI 3529 to 6 DSP circuits |  |  |  |  |  |  |  |  |  | 90-0294-04 |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description DATA GENERAL PROPRIETARY |  |  |  |  |  |  | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3531 | Newbridge 3600 Mainstreet, Ferrite beads for use with single E1 and dual E1 cards (PSI 3484, 3485 respectively) |  |  |  |  |  |  |  |  |  |  |  |
| 3532 | Newbridge 3664 Mainstreet, System Control Card, required to run the system software. For use with PSI 3517. |  |  |  |  |  |  |  |  |  | 90-0667-06 |  |
| 3533 | Newbridge 3600 Mainstreet 48-60V Input Power shelf including power supply module and distribution unit (segregated earth) - use as pair with 3534, Don't use with PSI 3460/3461 pair or PSI 3509/3510 pair. |  |  |  |  |  |  |  |  |  | 90-0434-09 |  |
| 3534 | Newbridge 3600 Mainstreet 48-60V DC Power shelf redundancy kit. - use as pair with 3533. Don't use with PSI 3460/3461 pair or PSI 3509/3510 pair. |  |  |  |  |  |  |  |  |  | 90-0434-05 |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description TELEPHONY & DATA DATA GENERAL PROPRIETARY |  |  |  |  |  |  | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 4000 | Timeplex Bypass Module (BPM) |  |  |  |  |  |  |  |  |  |  |  |
| 4001 | Timeplex Control Mainframe Driver Module (DRC) |  |  |  |  |  |  |  |  |  |  |  |
| 4002 | Timeplex Expander Mainframe Driver Module (DRE) |  |  |  |  |  |  |  |  |  |  |  |
| 4003 | Timeplex Digital Termination Module (DTU.4) Dual Module for 2.048 Mbps, 75 Ohms Unbalanced. Complete with one BNC Y Adaptor, one 2 metre Cable ILMD (ILC to DTU), one 2 metre Cable L1-TU (DTU to Megastream) |  |  |  |  |  |  |  |  |  |  |  |
| 4004 | Timeplex Interlink Module (ILC) |  |  |  |  |  |  |  |  |  |  |  |
| 4005 | Timeplex Interlink Module (ILC.2) Low Power Version |  |  |  |  |  |  |  |  |  |  |  |
| 4006 | Timeplex Network Control Module (NCM) |  |  |  |  |  |  |  |  |  |  |  |
| 4007 | Timeplex Dual Synchronous Module (DSC.2). CCITT V11 (X21)/RS422 |  |  |  |  |  |  |  |  |  |  |  |
| 4008 | Timeplex Quad Asynchronous Module (QAM) CCITT V24/RS232 |  |  |  |  |  |  |  |  |  |  |  |
| 4009 | Timeplex Quad Synchronous Module (QSC) CCITT V24/RS232 |  |  |  |  |  |  |  |  |  |  |  |
| 4010 | Timeplex Quad Synchronous Module (QSC.2) CCITT V11 (X21)/RS422 |  |  |  |  |  |  |  |  |  |  |  |
| 4011 | Timeplex Control Chassis L1829 complete with PSI 4016 Keyboard Display Unit (KDU), PSI 4023 Fan Failure Detection Unit, Fan Tray with standard fan monitoring, Power Supply Chassis no.1, one 240V PSI 4015 Power Supply with PSI 4025 fan monitoring device, one PSI 4006 NCM Card, one PSI 4005 ILC.2 Card and one User Guide |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description TELEPHONY & DATA DATA GENERAL PROPRIETARY |  |  |  |  |  |  | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 4012 | Timeplex Expansion Chassis No.1 L1801/1 complete with ribbon cables and power cables, one 4002 DRE Card, Power Supply Chassis No.2, one 240V 4015 Power Supply with 4025 fan monitoring device |  |  |  |  |  |  |  |  |  |  |  |
| 4013 | Timeplex Expansion Chassis No.2 L1801/2 complete with ribbon cables and power cables, one PSI 4002 DRE Card, one 240V PSI 4015 Power Supply with PSI 4025 fan monitoring device |  |  |  |  |  |  |  |  |  |  |  |
| 4014 | Timeplex Control Chassis L1320 complete with fans with fan monitoring and fan failure detection unit, Keyboard Display Unit (KDU), one 240V PSI 4015 Power Supply with PSI 4025 Fan Monitoring device, one PSI 4006 NCM Card, one 4005 ILC.2 Card and one User Guide |  |  |  |  |  |  |  |  |  |  |  |
| 4015A | Timeplex 240V Power Supply with PSI 4025 fan monitoring device, for use with 18 Slot Control Nest and Expansion Nests and 13 Slot Control Nest |  |  |  |  |  |  |  |  |  |  |  |
| 4015B | As 4015A above but without PSI 4025 fan monitoring device |  |  |  |  |  |  |  |  |  |  |  |
| 4016 | Timeplex Keyboard Display Unit for 18 Slot Node (Keyswitch version) |  |  |  |  |  |  |  |  |  |  |  |
| 4017 | Timeplex Storage Shelf complete with fixings (Part Number SS-1916) |  |  |  |  |  |  |  |  |  |  |  |
| 4018 | Timeplex Fan Unit, 240V, fitted at the top of the Link-1 Cubicle |  |  |  |  |  |  |  |  |  |  |  |
| 4019 | Timeplex Fan Unit, 48V, fitted at the top of the Link-1 Cubicle |  |  |  |  |  |  |  |  |  |  |  |
| 4020 | Timeplex Fan Unit, 240V, fitted to the Link-1 L18 Fan Tray |  |  |  |  |  |  |  |  |  |  |  |
| 4021 | Timeplex Fan Unit, 240V, fitted to the Link-1 L13 KDU |  |  |  |  |  |  |  |  |  |  |  |
| 4022 | Timeplex Unit, 48V, fitted to the Link-1 Fan Tray |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description TELEPHONY & DATA DATA GENERAL PROPRIETARY |  |  |  |  |  |  | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 4023 | Timeplex Fan Failure Control Unit (FFC) fitted behind the KDU |  |  |  |  |  |  |  |  |  |  |  |
| 4024 | Timeplex Fan Monitoring Device, Optoelectronic Transmitter/ Receiver Unit fitted at the top of the Cubicle |  |  |  |  |  |  |  |  |  |  |  |
| 4025 | Timeplex Fan Monitoring Device, Optoelectronic Transmitter/ Receiver Unit fitted to the 240V Power Supply Fan |  |  |  |  |  |  |  |  |  |  |  |
| 4026 | Timeplex Ribbon Cable, BUS EXP 1 |  |  |  |  |  |  |  |  |  |  |  |
| 4027 | Timeplex Ribbon Cable, BUS EXP 2 |  |  |  |  |  |  |  |  |  |  |  |
| 4028 | Timeplex Power Supply Harness |  |  |  |  |  |  |  |  |  | P/N 15212-1 |  |
| 4029 | Timeplex Power Supply Harness |  |  |  |  |  |  |  |  |  | P/N 15212-2 |  |
| 4030 | Timeplex Power Supply Harness |  |  |  |  |  |  |  |  |  | P/N 15212-3 |  |
| 4100 | Racal Milgo Omnimode 14.4 Six Port Modem Table Top Version with M & C |  |  |  |  |  |  |  |  |  |  |  |
| 4101 | Racal Milgo Omnimode 96 Four Port Modem Table Top Version with M & C |  |  |  |  |  |  |  |  |  |  |  |
| 4102 | Racal Milgo Omnimode 96 Single Port Modem Table Top Version with M & C |  |  |  |  |  |  |  |  |  |  |  |
| 4103 | Racal Milgo 19 inch Rack Mounting Kit for Omnimode Modems AA 1712 (3 Slot Housing) |  |  |  |  |  |  |  |  |  |  |  |
| 4104 | Timeplex AIM G703 Modem Card Version |  |  |  |  |  |  |  |  |  |  |  |
| 4105 | Timeplex AIM G703 Modem Table Top Version |  |  |  |  |  |  |  |  |  |  |  |
| 4106 | Timeplex AIM G703 Modem Crate (240V AC) |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description TELEPHONY & DATA DATA GENERAL PROPRIETARY |  |  |  |  |  |  | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 4107 | Timeplex AIM G703 Modem Crate (48V DC) |  |  |  |  |  |  |  |  |  |  |  |
| 4108 | Timeplex AIM 2426, V26 Synchronous Modem Table Top Version |  |  |  |  |  |  |  |  |  |  |  |
| 4109 | Nokia CCITT V33 Equipment. 19" E. P. Rack with Dual Redundant PSU capability (Outstation use). |  |  |  |  |  |  |  |  |  | DSF 3600.11 |  |
| 4110 | Nokia CCITT V33 Equipment. 19" E. P. Rack with Single PSU capability (ACC use). |  |  |  |  |  |  |  |  |  | DSF 3600.7 |  |
| 4111 | Nokia CCITT V33 Equipment. Screw Terminal Unit for Line termination. |  |  |  |  |  |  |  |  |  | DSU 3603.10 |  |
| 4112 | Nokia CCITT V33 Equipment. Dummy Front Panel. |  |  |  |  |  |  |  |  |  | DP 2898.1 |  |
| 4113 | Nokia CCITT V33 Equipment. Designation strip. |  |  |  |  |  |  |  |  |  | DS 2896.1 |  |
| 4114 | Nokia CCITT V33 Equipment. Power Supply Unit (48v DC). |  |  |  |  |  |  |  |  |  | DS 62110.1 |  |
| 4115 | Nokia CCITT V33 Equipment. V33 Modem N1440 (14.4kbps) For new work - USE PSI 4128 |  |  |  |  |  |  |  |  |  | DS 61720.1 |  |
| 4116 | Nokia CCITT V33 Equipment. Multiport Unit (TDM multiplexer providing 6 ports into PSI 4115). |  |  |  |  |  |  |  |  |  | DS 61800.2 |  |
| 4117 | Nokia CCITT V33 Equipment. Dial-up Modem For new work - USE PSI 4129 |  |  |  |  |  |  |  |  |  | DS 61310.10 |  |
| 4118 | Nokia CCITT V33 Equipment. Power Supply Unit 240v AC) |  |  |  |  |  |  |  |  |  | DS 62115.1 |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description TELEPHONY & DATA DATA GENERAL PROPRIETARY |  |  |  |  |  |  | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 4119 | Nokia CCITT V33 Equipment. 19.2 kbps Baseband modem unit (Line Driver) - Rack Mounted 4 wire 50V dc |  |  |  |  |  |  |  |  |  | DS 3613.10 |  |
| 4120 | Nokia CCITT V33 Equipment. 19.2 kbps Baseband modem unit (Line Driver) - Desk Top 4 wire 240V dc |  |  |  |  |  |  |  |  |  | DS 3610.2 |  |
| 4121 | Nokia CCITT V33 Equipment. 19.2 kbps Baseband modem unit (Line Driver) - Desk Top 4 wire 110V dc |  |  |  |  |  |  |  |  |  | DS 3610.10 |  |
| 4122 | Nokia CCITT V33 Equipment. 19.2 kbps Baseband modem unit (Line Driver) - Rack Mounted 2 wire 50V dc |  |  |  |  |  |  |  |  |  | DS 60150.1 |  |
| 4123 | Nokia CCITT V33 Equipment. 19.2 kbps Baseband modem unit (Line Driver) - Desk Top 4 wire 50V dc |  |  |  |  |  |  |  |  |  | DS 60120.2 |  |
| 4124 | RAD MTE/V24 Tail end adapter/buffer (512 bit) unit (stand alone) for use with Nokia V33 equipment Buffer enables interconnection of Nokia TDM channels for EDL synchronous data transmission. Requires 2 I/F cables (PSI 9149) - no power supply required. |  |  |  |  |  |  |  |  |  |  |  |
| 4125 | Nokia CCITT V33 Equipment. 19.2k bps Baseband modem unit (Line Driver) - Desk Top 2 wire 110V ac |  |  |  |  |  |  |  |  |  | DS 3610.10 |  |
| 4126 | Nokia ECM fast (V.34) rack modem (DS 61610) |  |  |  |  |  |  |  |  |  | DS 61610 |  |
| 4127 | Nokia ECM fast (V.34) stand-alone modem (DS 61620) |  |  |  |  |  |  |  |  |  | DS 61620 |  |
| 4128 | Nokia CCITT V34 Equipment. V33 modem N1920 (19.2kbps) replaces PSI 4115 |  |  |  |  |  |  |  |  |  | DS 61740.8 |  |
| 4129 | Nokia CCITT V34 Eqipment ECM Fast modem - rack mounted Replaces PSI 4117 |  |  |  |  |  |  |  |  |  | DS 61610.61 |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description TELEPHONY & DATA DATA GENERAL PROPRIETARY |  |  |  |  |  |  | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 4201 | Racal Milgo Comlink IV, V35, 64 Kbps Baseband Modem Table Top Version |  |  |  |  |  |  |  |  |  |  |  |
| 4202 | Racal Milgo Comlink IV, V35, 64 Kbps Baseband Modem Card Version |  |  |  |  |  |  |  |  |  |  |  |
| 4203 | Racal Milgo Comlink IV, V11, 64 Kbps Baseband Modem Table Top Version |  |  |  |  |  |  |  |  |  |  |  |
| 4204 | Racal Milgo Comlink IV, V11, 64 Kbps Baseband Modem Card Version |  |  |  |  |  |  |  |  |  |  |  |
| 4205 | Racal Milgo Comlink IV, V11 Interface Card |  |  |  |  |  |  |  |  |  |  |  |
| 4206 | Racal Milgo Comlink IV, V35 Interface Card |  |  |  |  |  |  |  |  |  |  |  |
| 4207 | HY-Q International (UK) Ltd 48 Kbps Crystals for Racal Milgo Comlink IV |  |  |  |  |  |  |  |  |  |  |  |
| 4208 | Racal Milgo 19 inch Rack Mounting Kits for Comlink IV (2U Single) |  |  |  |  |  |  |  |  |  |  |  |
| 4209 | Racal Milgo SLD-1 Synchronous Line Driver Table Top Version (Metal Box) |  |  |  |  |  |  |  |  |  |  |  |
| 4210 | Racal Milgo SLD-1 Synchronous Line Driver Table Top Version (Plastic Box) |  |  |  |  |  |  |  |  |  |  |  |
| 4211 | Racal Milgo SLD-1 Synchronous Line Driver Card Version |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description TELEPHONY & DATA DATA GENERAL PROPRIETARY |  |  |  |  |  |  | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 4212 | Racal Milgo ALD-1 Asynchronous Line Driver Table top Version (Metal Box) |  |  |  |  |  |  |  |  |  |  |  |
| 4213 | Racal Milgo ALD-1 Asynchronous Line Driver Table top Version (Plastic Box) |  |  |  |  |  |  |  |  |  |  |  |
| 4214 | Racal Milgo ALD-1 Asynchronous Line Driver Card Version |  |  |  |  |  |  |  |  |  |  |  |
| 4215 | Racal Milgo 19 inch Rack Mounting Kits for SLD/ALD Line Drivers (Metal Box) 1U Single |  |  |  |  |  |  |  |  |  |  |  |
| 4216 | Racal Milgo 19 inch Rack Mounting Kits for SLD/ALD Line Drivers (Plastic Box) 1U Single |  |  |  |  |  |  |  |  |  |  |  |
| 4217 | Racal Milgo High Density Mark III Card Nest for use with Comlink IV, SLD and ALD's |  |  |  |  |  |  |  |  |  | FB1028 |  |
| 4218 | Racal Milgo Power Supply for High Density Card Nest |  |  |  |  |  |  |  |  |  |  |  |
| 4219 | Gandalf High speed Line Driver LDS 260 (48V DC) |  |  |  |  |  |  |  |  |  |  |  |
| 4220 | Gandalf High speed Line Driver LDS 260 (240V DC) |  |  |  |  |  |  |  |  |  |  |  |
| 4221 | Racal Milgo Omnimode 9600 Single Port Table top modem without M/C option |  |  |  |  |  |  |  |  |  | FB1311 |  |
| 4222 | Racal Milgo Omnimode 9600 Multi Port (4)Table top modem without M/C option |  |  |  |  |  |  |  |  |  | FB1315 |  |
| 4223 | Not Used - see PSI 4217 |  |  |  |  |  |  |  |  |  |  |  |
| 4224 | Racal Milgo Omnimode 9600 Single Port Card version modem without M/C option |  |  |  |  |  |  |  |  |  | FB1319 |  |
| 4225 | Racal Milgo Omnimode 9600 Multi Port (4) Card version modem without M/C option |  |  |  |  |  |  |  |  |  | FB1323 |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description TELEPHONY & DATA DATA GENERAL PROPRIETARY |  |  |  |  |  |  | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 4226 | Martisoy 256kbps X21 Base band Line Driver (240V AC powered) NO LONGER AVAILABLE - SEE PSI 4233 |  |  |  |  |  |  |  |  |  |  |  |
| 4227 | Black Box RS-422/RS449 - V35, 240 VAC adaptor |  |  |  |  |  |  |  |  |  | IC481 |  |
| 4228 | Black Box RS-422/RS449 - V35, passive, no power required. |  |  |  |  |  |  |  |  |  |  |  |
| 4229 | Not Used |  |  |  |  |  |  |  |  |  |  |  |
| 4230 | GADC RAD Line driver 48v version |  |  |  |  |  |  |  |  |  |  |  |
| 4231 | GADC RAD Line driver 240v version |  |  |  |  |  |  |  |  |  |  |  |
| 4232 | RAD Data Comms High speed short range modem |  |  |  |  |  |  |  |  |  | ASM 40 |  |
| 4233 | RAD Data X21 short range modem (240 V AC) |  |  |  |  |  |  |  |  |  | ASM 45 |  |
| 4234A | Westermo TD32 50V Dial-up Modem for electrically "hostile" environments. Modulation at V22.bis: 2400/V32: 9600bps/V32bis:14400bps. Protocol AT commands, DTE speeds from 300 to 57600bps. 240V AC powered. |  |  |  |  |  |  |  |  |  |  |  |
| 4234B | Westermo TD32 50V Dial-up Modem for electrically "hostile" environments. Modulation at V22.bis: 2400/V32: 9600bps/V32bis:14400bps. Protocol AT commands, DTE speeds from 300 to 57600bps. 48V DC powered. |  |  |  |  |  |  |  |  |  |  |  |
| 4235A | RAD X21 2 wire short range modem (240V AC powered) |  |  |  |  |  |  |  |  |  | ASM 31-250 |  |
| 4235B | RAD X21 2 wire short range modem (110V AC powered) |  |  |  |  |  |  |  |  |  | ASM 31-115 |  |
| 4235C | RAD X21 2 wire short range modem (48V DC powered) |  |  |  |  |  |  |  |  |  | ASM 31-50 |  |
| 4236 | RAD X21 Fibre Optic short range modem (48V DC powered) |  |  |  |  |  |  |  |  |  | FOM 20 |  |
| 4301A | CAE Ltd U Link Panel for Thirty Pair Termination 19 inch Rack Mount |  |  |  |  |  |  |  |  |  |  |  |
| 4301B | Comtec-Telecom 1A/D 79473, U-link panel for 32 pair termination 19 inch Rack Mount |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description TELEPHONY & DATA DATA GENERAL PROPRIETARY |  |  |  |  |  |  | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 4301C | Reserved for 30 by 4 row U-link panel with 8 metre pre-wired tails |  |  |  |  |  |  |  |  |  |  |  |
| 4301D | Reserved for 30 by 6 row U-link panel with 8 metre pre-wired tails |  |  |  |  |  |  |  |  |  |  |  |
| 4302A | CAE Ltd U33 Bridged Plug with Test Outlet (Black) for PSI 4301A |  |  |  |  |  |  |  |  |  |  |  |
| 4302B | Comtec-Telecom Links 33 U link plug with monitor point, colour black. For use with PSI 4301B. |  |  |  |  |  |  |  |  |  |  |  |
| 4303A | CAE Ltd U33 Bridged Plug with Test Outlet (Red) for PSI 4301A |  |  |  |  |  |  |  |  |  |  |  |
| 4303B | Comtec-Telecom Links 33 U-link plug with monitor point, colour red. For use with PSI 4301B. |  |  |  |  |  |  |  |  |  |  |  |
| 4304A | CAE Ltd U Link Cross Patching Cord for use with Thirty Pair Termination Panel PSI 4301A. One metre in length terminated with two plugs P.O. No 231A (Black) |  |  |  |  |  |  |  |  |  |  |  |
| 4304B | Comtec-Telecom Cross Patching Cord for use with 32 Pair Termination Panel PSI 4301B. 1.25metre in length terminated with two plugs P.O. No 231A (Black) |  |  |  |  |  |  |  |  |  |  |  |
| 4305 | GADC Digital Patching Unit Rack Adaptor for use with DPU modules DPU-24 (V24). Each crate for 19 inch Rack Mounting can hold a maximum of 16 DPU's. (Optional fitting of Interface Display unit in slot 17) |  |  |  |  |  |  |  |  |  |  |  |
| 4306 | GADC Digital Patching Unit Rack adaptor DPU-519RA for use with DPU modules DPU-2403 (V24 with three LED's). Each crate for 19 inch Rack Mounting can hold a maximum of 16 DPUs. This unit is supplied complete with a Digital Power Module DPM-516 (PSI 4311) installed in slot 17, includes the Interface Display Unit. |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description TELEPHONY & DATA DATA GENERAL PROPRIETARY |  |  |  |  |  |  | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 4307 | GADC Digital Patching Unit Rack adaptor for use with DPU modules DPU-X21. Each crate for 19 inch Rack Mounting can hold a maximum of 16 DPUs. (Optional fitting of Interface Display Unit in slot 17) |  |  |  |  |  |  |  |  |  |  |  |
| 4308 | GADC Digital Patching Unit DPU-24 (V24) Female |  |  |  |  |  |  |  |  |  |  |  |
| 4309 | GADC Digital Patching Unit DPU-2403 (V24 with three LEDS) Female |  |  |  |  |  |  |  |  |  |  |  |
| 4310 | GADC Digital Patching Unit DPU-24 X21 Female |  |  |  |  |  |  |  |  |  |  |  |
| 4311 | GADC Digital Power Module DPM-516 for use with DPU Modules DPU-2403. This unit fits in slot 17 of the crate and includes the Interface Display unit |  |  |  |  |  |  |  |  |  |  |  |
| 4312 | GADC Interface Display Unit for use with V24 DPUs |  |  |  |  |  |  |  |  |  |  |  |
| 4313 | GADC Interface Display Unit for use with X21 DPUs |  |  |  |  |  |  |  |  |  |  |  |
| 4314 | GADC Digital Patch Cords for use with V24 DPUs (Standard Length) |  |  |  |  |  |  |  |  |  |  |  |
| 4315 | GADC Digital Patch Cords for use with X21 DPUs (Standard Length) |  |  |  |  |  |  |  |  |  |  |  |
| 4316 | GADC Digital Patching Unit Rack Adaptor (PSI 4305) complete with 16 Digital patching Units DPU-24 (PSI 4308) (V24) (for 19 inch Rack Mounting) |  |  |  |  |  |  |  |  |  |  |  |
| 4317 | GADC Digital Patching Unit Rack Adaptor DPU-519RA (PSI 4306) complete with 16 Digital patching Units DPU-2403 (PSI 4309) (V24 with 3 LEDs). This unit is supplied complete with a Digital power Module DPM-516 (PSI 4311) installed in slot 17. DPM-516 includes the Interface Display Unit (for 19 inch Rack Mounting) |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description TELEPHONY & DATA DATA GENERAL PROPRIETARY |  |  |  |  |  |  | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 4318 | GADC Digital Patching Unit Rack Adaptor (PSI 4307) complete with 16 Digital patching Units DPU-X21 (PSI 4310) (for 19 inch Rack Mounting) |  |  |  |  |  |  |  |  |  |  |  |
| 4319 | GADC Digital Patching Unit Rack Adaptor DPU-519RA complete complete with Digital Power Module UDPU-516 installed in slot 17. This unit includes the Interface Display Unit (for 19 inch Rack Mounting). This unit is for use with modules UDPU-2403 and UDPU-2400 (V24 and X21) |  |  |  |  |  |  |  |  |  |  |  |
| 4320 | GADC Universal Digital Patching Unit Rack Adaptor UDPU-2400 female supplied in black or white (V24) |  |  |  |  |  |  |  |  |  |  |  |
| 4321 | GADC Universal Digital Patching Unit UDPU-2403 female supplied in black or white (V24 with three LEDs for send data, receive data and carrier detect) |  |  |  |  |  |  |  |  |  |  |  |
| 4322 | GADC Universal Digital Patching Unit UDPU-2400 female supplied in black or white (X21) |  |  |  |  |  |  |  |  |  |  |  |
| 4323 | GADC Universal Digital Patching Unit UDPU-2403 female supplied in black or white (X21 with three LEDs for send data, receive data and carrier detect) |  |  |  |  |  |  |  |  |  |  |  |
| 4324 | GADC Universal Digital Patch cord DPC-24 (length one metre) |  |  |  |  |  |  |  |  |  |  |  |
| 4325 | GADC Universal Digital Patch cord DPC-12TP (X21) (length one metre) |  |  |  |  |  |  |  |  |  |  |  |
| 4326 | GADC Universal Digital Patching Unit Rack Adaptor UDPU-519ARA (PSI 4319) complete with Digital Power Module UDPU-516 installed in slot 17 (this unit includes the Interface Display Unit) and 16 Universal Digital Patching Units UDPU-2400 (PSI 4320) female supplied in black or white (V24) |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description TELEPHONY & DATA DATA GENERAL PROPRIETARY |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No | General Assembly Drg No | Item Lists Drg No | Manufacturers Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 4327 | GADC Universal Digital Patching Unit Rack Adaptor UDPU-519ARA (PSI 4319) complete with Digital Power Module UDPU-516 installed in slot 17 (this unit includes the Interface Display Unit) and 16 Universal Digital Patching Units UDPU-2403 (PSI 4321) female supplied in black or white (V24 with three LEDs |  |  |  |  |  |  |  |  |  |  |  |
| 4328 | GADC Universal Digital Patching Unit Rack Adaptor UDPU-519ARA (PSI 4319) complete with Digital Power Module UDPU-516 installed in slot 17 (this unit includes the Interface Display Unit) and 16 Universal Digital Patching Units UDPU-2400 (PSI 4322) female supplied in black or white (X21) |  |  |  |  |  |  |  |  |  |  |  |
| 4329 | GADC Universal Digital Patching Unit Rack Adaptor UDPU-519ARA (PSI 4319) complete with Digital Power Module UDPU-516 installed in slot 17 (this unit includes the Interface Display Unit) and 16 Universal Digital Patching Units UDPU-2403 (PSI 4323) female supplied in black or white (X21 with three LEDs) |  |  |  |  |  |  |  |  |  |  |  |
| 4330 | Krone LSA Plus Subrack (3U high, non-recessed) for 19 inch rack mounting. Complete with 15 strips connexion 237B |  |  |  |  |  |  |  |  |  |  |  |
| 4401 | Optima Cubicle 40 U high to Optima Drawing number OMA-12956 comprising:- R701924R Rack less top panel with rear recessed mounting rails D6119RLSH rear door, Q/REL side panels, Mushroom top panel, P319 and P519 louvred panels fitted below rear door on B08 mounting rails, MDP70 mains distribution panel fitted left hand rear as viewed from rear, Fan Plate assembly FPA 1924/4 fitted top for extraction fan positions A, B, E & F, P1 panel fitted at front top, earth bonded to Optima EB rack, two four inch wide cable trays assembled to rear, one each side. Finish:- Painted Acrylic Front Bezel - White Fan plate and mains distribution panel - Light Grey 201 |  |  |  |  |  |  |  |  |  |  |  |
|  | Remainder - Charcoal 209 (Cable Trays plastic coated PVC type) |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description COMMON SSEB ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC | Frame- work Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 5017 | Sender 15-way Metering Interface plug-in board |  |  |  |  |  | * |  |  |  |  |  |
| 5018 | Sender 15-way Metering Interface plug-in board |  |  |  |  |  | * |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description COMMON MISCELLANEOUS PROPRIETARY |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC | Frame- work Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 8001A | Schroff 19" EP Cubicle (43U) 600x600x2000mm with raised top cover, sides, rear door and panel slide mounts but without front door. Colour to be specified |  |  |  |  |  |  |  |  |  |  |  |
| 8001B | Schroff 19" EP Cubicle (43U) 600x600x2000mm with raised top cover, sides, rear door and panel slide mounts but without front door. Colour to be specified |  |  |  |  |  |  |  |  |  |  |  |
| 8002A | Schroff Glazed Front Door, for PSI 8001A 2000mm high. Colour to be specified. |  |  |  |  |  |  |  |  |  |  |  |
| 8002B | Schroff Glazed Front Door, for PSI 8001B 2200mm high. Colour to be specified. |  |  |  |  |  |  |  |  |  |  |  |
| 8002C | Schroff Plain Front Door, for PSI 8001A 2000mm high. Colour to be specified. |  |  |  |  |  |  |  |  |  |  |  |
| 8002D | Schroff Plain Front Door, for PSI 8001B 2200mm high. Colour to be specified. |  |  |  |  |  |  |  |  |  |  |  |
| 8003A | Schroff Blanking Plate for 19" EP Cubicle. Anodised aluminium 43.6mm (1U) high. |  |  |  |  |  |  |  |  |  |  |  |
| 8003B | Schroff Blanking Plate for 19" EP Cubicle. Anodised aluminium 88.1mm (2U) high. |  |  |  |  |  |  |  |  |  |  |  |
| 8003C | Schroff Blanking Plate for 19" EP Cubicle. Anodised aluminium 177mm (4U) high. |  |  |  |  |  |  |  |  |  |  |  |
| 8003D | Schroff Blanking Plate for 19" EP Cubicle. Anodised aluminium 265.9mm (6U) high. |  |  |  |  |  |  |  |  |  |  |  |
| 8004 | 19" EP Subrack to accommodate 15 Krone connection strips. Fully equipped can terminate up to 150 pairs. |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description COMMON MISCELLANEOUS PROPRIETARY |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC | Frame- work Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 8005 | Jackfield 6 - wire (CAE Ltd) for use in Two Tier GCC Line Marshalling (TJF) Cubicles for Telephony Circuits. |  |  |  |  |  |  |  |  |  |  |  |
| 8006 | Jackfield 4 - wire (CAE Ltd) for use in Two Tier GCC Line Marshalling (TJF) Cubicles for Data (VF and G703) circuits. |  |  |  |  |  |  |  |  |  |  |  |
| 8007 | Jackfield 6/4 - wire (CAE Ltd) for use in Two Tier GCC Line Marshalling Trunk/Tie circuit access. |  |  |  |  |  |  |  |  |  |  |  |
| 8008A | Cable P0226 (CAE Ltd) Male Connector to Stub 25ft long, left hand entry, for use with PSI 8005-7 |  |  |  |  |  |  |  |  |  |  |  |
| 8008B | Cable P0226 (CAE Ltd) Male Connector to Stub 25ft long, right hand entry, for use with PSI 8005-7 |  |  |  |  |  |  |  |  |  |  |  |
| 8009A | Cable P0226 (CAE Ltd) Female Connector to Stub 25ft long, left hand entry, for use with PSI 8005-7 |  |  |  |  |  |  |  |  |  |  |  |
| 8009B | Cable P0226 (CAE Ltd) Female Connector to Stub 25ft long, right hand entry, for use with PSI 8005-7 |  |  |  |  |  |  |  |  |  |  |  |
| 8010/D12 |  | Class T15 Protection Signalling Equipment GEC Meas (Staffs) Type D12. Signalling frequencies etc to be specified |  |  |  |  |  |  |  |  |  |  |
| 8010/D15 |  | Class T15 Protection Signalling Equipment GEC Meas (Staffs) Type D15. Signalling frequencies etc to be specified |  |  |  |  |  |  |  |  |  |  |
| 8010/HSDI-1 |  | Class T40 Intertripping Equipment GEC Meas (Leics) Type HDSI-1. (Not used for new work) |  |  |  |  |  |  |  |  |  |  |
| 8010/HSDI-2 |  | Class T40 Intertripping Equipment GEC Meas (Leics) Type HDSI-2 (600 Baud). Codes and frequencies etc to be specified. Also available in Class T100 (200 Baud) form |  |  |  |  |  |  |  |  |  |  |
| 8010/HSDI-3 |  | Class T40 Intertripping Equipment GEC Meas (Leics) Type HDSI-3 (600 Baud VF version). Codes and frequencies etc to be specified. Other interface currently under development. |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description COMMON MISCELLANEOUS PROPRIETARY |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC | Frame- work Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 8010/NFT2 |  | Class T40 Intertripping Equipment ASEA/BB Type NFT2. (Not used for new work) |  |  |  |  |  |  |  |  |  |  |
| 8010/NSD20 |  | Class T40 Intertripping Equipment ASEA/BB Type NSD20. (Not used for new work) |  |  |  |  |  |  |  |  |  |  |
| 8010/NSD30 |  | Class T15 Protection Signalling Equipment ASEA/BB Type NSD30. Signalling frequencies etc to be specified |  |  |  |  |  |  |  |  |  |  |
| 8010/NSD32 |  | Class T40 Intertripping Equipment ASEA/BB Type NSD32. Signalling frequencies etc to be specified. |  |  |  |  |  |  |  |  |  |  |
| 8010/SD15 |  | Class T15 Protection Signalling Equipment GEC Meas (Staffs) Type SD15. Signalling frequenices and function (ie whether for Acceleration or Blocking/ASLS) etc to be specified |  |  |  |  |  |  |  |  |  |  |
| 8010/SS25 |  | Class T40 Intertripping Equipment GEC Meas (Staffs) Type SS25. Signalling frequenices etc to be specified. Also available in Class T25 form |  |  |  |  |  |  |  |  |  |  |
| 8010/SS30 |  | Class T40 Intertripping Equipment GEC Meas (Staffs) Type SS30. (Not used for new work) |  |  |  |  |  |  |  |  |  |  |
| 8010/T180A |  | Class T180 Intertripping Equipment Type Plessey MK4. (Not used for new work) |  |  |  |  |  |  |  |  |  |  |
| 8010/T180B |  | Class T180 Intertripping Equipment Type GEC 3 Tone. (Not used for new work) |  |  |  |  |  |  |  |  |  |  |
| 8020 | Transmitton Microtel 700 Analogue to Digital Convertor Board MT4A |  |  |  |  |  |  |  |  |  |  |  |
| 8021 | Transmitton Microtel 700 8 Digital Output (Relay) Board MT9 |  |  |  |  |  |  |  |  |  |  |  |
| 8022 | Transmitton Microtel 700 8 Pulsed Output (Relay) Board MT14 |  |  |  |  |  |  |  |  |  |  |  |
| 8023 | Transmitton Microtel 700 8 Input Anaolgue Board MT18 |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description COMMON MISCELLANEOUS PROPRIETARY |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC | Frame- work Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 8024 | Transmitton Microtel 700 16 Point Digital Input Board MT41 |  |  |  |  |  |  |  |  |  |  |  |
| 8025 | Transmitton Microtel 700 Analogue Reference Board MT48 |  |  |  |  |  |  |  |  |  |  |  |
| 8026 | Transmitton Microtel 700 Processor Board MT50 |  |  |  |  |  |  |  |  |  |  |  |
| 8027 | Transmitton Microtel 700 16 Channel Lamp Driver Board MT52 |  |  |  |  |  |  |  |  |  |  |  |
| 8028 | Transmitton Microtel 700 32 Channel Switch Input Board MT53 |  |  |  |  |  |  |  |  |  |  |  |
| 8029 | Transmitton Microtel 700 16 Low Resolution Anaolgue Output Board MT54 |  |  |  |  |  |  |  |  |  |  |  |
| 8030 | Transmitton Microtel 700 Diagnostic Board MT99 |  |  |  |  |  |  |  |  |  |  |  |
| 8031 | Transmitton Microtel 700 Dummy Facilities Board MS27 |  |  |  |  |  |  |  |  |  |  |  |
| 8032 | ATS Modem (Tx) CCITT V23 No. 65 (for use with Transmitton Microtel 700) |  |  |  |  |  |  |  |  |  |  |  |
| 8033 | ATS Modem (Rx) CCITT V23 No. 65 (for use with Transmitton Microtel 700) |  |  |  |  |  |  |  |  |  |  |  |
| 8034 | Parelec PSU AD442 48/5V 30 Watts (for use with Transmitton Microtel 700) |  |  |  |  |  |  |  |  |  |  |  |
| 8035 | Parelec PSU AD442 48/12V 30 Watts (for use with Transmitton Microtel 700) |  |  |  |  |  |  |  |  |  |  |  |
| 8036 | Parelec PSU AD442 48/12V/12V 30 Watts Dual Output (for use with Transmitton Microtel 700) |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description COMMON MISCELLANEOUS PROPRIETARY |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC | Frame- work Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 8037 | Transmitton Microtel 700 16 Point Output (Relay) Board MT23 |  |  |  |  |  |  |  |  |  |  |  |
| 8038 | Transmitton Microtel 700 Main Card Frame |  |  |  |  |  |  |  |  |  |  |  |
| 8039 | Transmitton Microtel 700 Secondary Card Frame |  |  |  |  |  |  |  |  |  |  |  |
| 8040 | Transmitton Microtel 700 (not yet allocated) |  |  |  |  |  |  |  |  |  |  |  |
| 8041 | Krone Distribution Frame 105A (Less connection blocks) |  |  |  |  |  |  |  |  |  |  |  |
| 8042 | Krone 10 Pair Connection Strip with Disconnection Contacts (237A) |  |  |  |  |  |  |  |  |  |  |  |
| 8043 | Krone 10 Pair Connection Strip with Connection Contacts (237B) |  |  |  |  |  |  |  |  |  |  |  |
| 8044 | Krone 8 Pair Connection Strip with Disconnection Contacts (243A) |  |  |  |  |  |  |  |  |  |  |  |
| 8045 | Krone Label and Label Holder for 10 Pair Module |  |  |  |  |  |  |  |  |  |  |  |
| 8046 | Krone Label and Label Holder for 8 Pair Module |  |  |  |  |  |  |  |  |  |  |  |
| 8047 | Krone Double Pole Test Card with Two Plugs |  |  |  |  |  |  |  |  |  |  |  |
| 8048 | Krone Four Pole Test Card with Two Plugs |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description COMMON MISCELLANEOUS PROPRIETARY |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC | Frame- work Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 8049 | Not Used |  |  |  |  |  |  |  |  |  |  |  |
| 8050 | Voltage monitor board for use in Power Equipment Rack PSI 8052/3 |  |  |  |  |  |  |  |  |  |  |  |
| 8051 | Input Signalling Interface (Multiplying Relay) |  |  |  |  |  |  |  |  |  |  |  |
| 8052 | BT Power Equipment Rack, including alarm panel etc with capacity for 2 x PSI 8054 Rectifiers and 2 x PSI 8055 Batteries (equipment colour to be specified) (Normal Version) |  |  |  |  |  |  |  |  |  |  |  |
| 8053 | BT Power Equipment Rack, including alarm panel etc with capacity for 3 x PSI 8054 Rectifiers and 1 x PSI 8055 Battery (equipment colour to be specified) |  |  |  |  |  |  |  |  |  |  |  |
| 8054 | BT Power Equipment Rack Rectifier Unit for use with PSI 8052 or 8053 |  |  |  |  |  |  |  |  |  |  |  |
| 8055 | BT Power Equipment Rack Battery 8 x 6V Monobloc (Cells type No 27 100AH) for use with PSI 8052 or 8053 |  |  |  |  |  |  |  |  |  |  |  |
| 8056A | GEC TEP-1E Rack 1700mm high (D675612/C) supplied with Alarm Ribbon Cable (PSI 8068E) and Klippon Terminals (PSI 8068D) |  |  |  |  |  |  |  |  |  |  |  |
| 8056B | GEC TEP-1E Rack 2200mm high (D675612/B) supplied with Alarm Ribbon Cable (PSI 8068C) and Klippon Terminals (PSI 8068D) |  |  |  |  |  |  |  |  |  |  |  |
| 8057A | Texas 700 Printer (Not used for new work) |  |  |  |  |  |  |  |  |  |  |  |
| 8057B | Texas 703 Printer (for use with DCX-5) |  |  |  |  |  |  |  |  |  |  |  |
| 8057C | Mannesman Tally MT87 (for use with VDU TSM - for new work use PSI 8057D) |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description COMMON MISCELLANEOUS PROPRIETARY |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC | Frame- work Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 8057D | Epson LX850 Printer NO LONGER AVAILABLE - SEE PSI 8057G including serial interface option (Epson Part No 8143) |  |  |  |  |  |  |  |  |  |  |  |
| 8057E | Epson FX850 Printer NO LONGER AVAILABLE - SEE PSI 8057F for use with RSC (PSI 8091). (Parallel Port only) |  |  |  |  |  |  |  |  |  |  |  |
| 8057F | Epson FX870 Printer for use with RSC including serial interface option C823061 |  |  |  |  |  |  |  |  |  |  |  |
| 8057G | Epson LX300 Printer, Serial or Parallel interface. |  |  |  |  |  |  |  |  |  |  |  |
| 8058 | Schroff Blanking Plate 19" EP Cubicle Anodised aluminium 10U |  |  |  |  |  |  |  |  |  |  |  |
| 8059 | ATS Modem (Tx) CCITT R37 No 209 (for use with Transmitton Microtel 700) |  |  |  |  |  |  |  |  |  |  |  |
| 8060 | ATS Modem (Rx) CCITT R37 No 209 (for use with Transmitton Microtel 700) |  |  |  |  |  |  |  |  |  |  |  |
| 8061 | ATS Modem (Rx) Extender Board (for use with Transmitton Microtel 700) |  |  |  |  |  |  |  |  |  |  |  |
| 8062 | Transmitton Microtel 700 Extender Board (including I/O Extender Lead) |  |  |  |  |  |  |  |  |  |  |  |
| 8063 | Transmitton Microtel 700 I/O Cable 3M |  |  |  |  |  |  |  |  |  |  |  |
| 8064 | Transmitton Microtel 700 I/O Cable 6M |  |  |  |  |  |  |  |  |  |  |  |
| 8065 | Transmitton Microtel 700 Main Card Frame (Same as 8038) |  |  |  |  |  |  |  |  |  |  |  |
| 8066 | Transmitton Microtel 700 Secondary Card Frame (Same as 8039) |  |  |  |  |  |  |  |  |  |  |  |
| 8067 | Parelec PSU 48/12V (100 Watt) (For use with Transmitton Microtel 700) |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description COMMON MISCELLANEOUS PROPRIETARY |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC | Frame- work Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 8068A | GEC Alarm Unit 55A (XXT 119048/A) for use with PSI 8056A/B etc |  |  |  |  |  |  |  |  |  |  |  |
| 8068B | GEC 2.2 metre Ribbon Cable numbered 0 - 80 (D 675722A) supplied with 8056B (for use with 8068A) |  |  |  |  |  |  |  |  |  |  |  |
| 8068C | GEC IDC Connector for Alarm Ribbon Cable. Normally supplied as part of PSI 3426 |  |  |  |  |  |  |  |  |  |  |  |
| 8068D | GEC set of Klippon Terminals for use with Alarm Unit PSI 8068A, normally supplied with PSI 8056A/B |  |  |  |  |  |  |  |  |  |  |  |
| 8068E | GEC 1.7 metre Ribbon Cable numbered 0 - 64 (D 675722B) supplied with 8056A (for use with 8068A) |  |  |  |  |  |  |  |  |  |  |  |
| 8069A | Toshiba T1100 Personal Computer complete with carrying case for use as a Mini Test Unit for Metro and PCX Not used for new work |  |  |  |  |  |  |  |  |  |  |  |
| 8069B | Toshiba T1100 Personal Computer complete with carrying case and modem for use as a Mini Test Unit for Metro and PCX Not used for new work |  |  |  |  |  |  |  |  |  |  |  |
| 8069C | Toshiba T1100SE Personal Computer complete with carrying case and modem for use as a Mini Test Unit for Metro and PCX For new work |  |  |  |  |  |  |  |  |  |  |  |
| 8070 | VDU Telecontrol Submaster (TSM) Configurable System manufactured by Vaughan Systems |  |  |  |  |  |  |  |  |  |  |  |
| 8071A | 1 KVA Inverter for use with VDU TSM PSI 8070 (Siemens Type 48W24510) OBSOLETE, DO NOT USE FOR NEW WORK |  |  |  |  |  |  |  |  |  |  |  |
| 8071B | 500VA Inverter for use with RSC (Siemens Type 48W24505) OBSOLETE, DO NOT USE FOR NEW WORK |  |  |  |  |  |  |  |  |  |  |  |
| 8072A | EES M100 (M) Radio Clock complete wiith Aerial, cables and DC Connector |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description COMMON MISCELLANEOUS PROPRIETARY |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC | Frame- work Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 8072B | EES M200 Radio Clock complete with Aerial, cables and DC Connector |  |  |  |  |  |  |  |  |  |  |  |
| 8072C | Radiocode RCC 8000A Radio Clock complete with Aerial |  |  |  |  |  |  |  |  |  |  |  |
| 8072D | Substation Radio Clock providing 1 - RS232, 1 - RS422, 1 - 20mA current loop and 3 - time interval o/p's (time interval o/p's provide 4 c/o contacts each for hour, half hour and programmable pulses). In addition an expansion o/p is provided (see PSI 8081). The clock includes active Aerial, 10m of aerial cable, aerial plug and power plug. |  |  |  |  |  |  |  |  |  |  |  |
| 8072E | Substation Radio Clock providing all features as 8072D above but with RS422 output protocol designed to work with CEGELEC CCS system. The clock includes active Aerial, 10m of aerial cable aerial plug and power plug. |  |  |  |  |  |  |  |  |  |  |  |
| 8072F | Substation Radio Clock providing all features as 8072D above but with RS422 output protocol designed to work with time advancement adjustment for use only with GEC Alstom, Tadpole Space 2000 series 4 systems used for ARS/AVC applications. The clock includes active Aerial, 10m of aerial cable aerial plug and power plug. |  |  |  |  |  |  |  |  |  |  |  |
| 8073* | Set of PROMS for Toshiba Mini Test Unit (PSI 8069A/B (* letter subscript denotes software issue-currently A) |  |  |  |  |  |  |  |  |  |  |  |
| 8074 | En Suite Mounting Kit for Schroff Cubicles PSI 8001A/B |  |  |  |  |  |  |  |  |  |  |  |
| 8075 | Door Earthing Kit for Schroff Cubilces PSI 8001A/B |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description COMMON MISCELLANEOUS PROPRIETARY |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC | Frame- work Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 8076A | Cubicle Side Cover 2000 x 600mm normally supplied with Schroff Cubicle PSI 8001A. Colours to be specified. |  |  |  |  |  |  |  |  |  |  |  |
| 8076B | Cubicle Side Cover 2200 x 600mm normally supplied with Schroff Cubicle PSI 8001B. Colours to be specified. |  |  |  |  |  |  |  |  |  |  |  |
| 8077 | Drawer Unit For Schroff Cubicle PSI 8001A/B complete with Front Panel and Security Lcok. |  |  |  |  |  |  |  |  |  |  |  |
| 8078A | CAE Ltd Single Patch Cord 3ft for use with PSI 8005/6/7 Jackfields (or similar) |  |  |  |  |  |  |  |  |  |  |  |
| 8078B | CAE Ltd Double Patch Cord 3ft for use with PSI 8005/6/7 Jackfields (or similar) |  |  |  |  |  |  |  |  |  |  |  |
| 8079A | CAE Ltd Looping Plug for use with PSI 8005/6/7 Jackfields (or similar) |  |  |  |  |  |  |  |  |  |  |  |
| 8079B | CAE Ltd Single Guard Plug (red) for use with PSI 8005/6/7 Jackfields (or similar) |  |  |  |  |  |  |  |  |  |  |  |
| 8079C | CAE Ltd Quad Guard Plug (red) for use with PSI 8005/6/7 Jackfields (or similar) |  |  |  |  |  |  |  |  |  |  |  |
| 8079D | CAE Ltd Dummy Plug for use with PSI 8005/6/7 Jackfields (or similar) |  |  |  |  |  |  |  |  |  |  |  |
| 8080 | 19" EP Recessed Subrack to Accommodate up to 16 Krone Connection Strips terminating up to 180 Pairs |  |  |  |  |  |  |  |  |  |  |  |
| 8081A | Expansion Unit for Standard Substation Radio Clock (8072D), complete with interconnecting cable. Provides 2 x RS422 and 4 x RS232 Outputs. |  |  |  |  |  |  |  |  |  |  |  |
| 8081B | Expansion Unit for Standard Substation Radio Clock (8072D), complete with interconnecting cable. Provides a second expansion of 2 x RS422 and 4 x RS232 Outputs. NOT AVAILABLE, SEE 8122 |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description COMMON MISCELLANEOUS PROPRIETARY |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC | Frame- work Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 8082 | BICC BT70C Crimp Lugs for Terminating 25 x 3mm LSF insulated Earth Braid. |  |  |  |  |  |  |  |  |  |  |  |
| 8083A | Gresham Powerdyne (Danica) DC - DC Convertor Type TPS/68/48/5/E for Megastream Installations |  |  |  |  |  |  |  |  |  |  |  |
| 8083B | Power Systems International DC-DC Convertor Type PMP 3.48 48V DC 3 Amps. For Megastream Installations |  |  |  |  |  |  |  |  |  |  |  |
| 8083C | DANICA DC-DC convertor type TPS233, 48v DC at 3 Amps. For use in PSI 9014P. Used on FDM Offload project |  |  |  |  |  |  |  |  |  |  |  |
| 8084A | Gresham Powerdyne Eurorack Enclosure (19" EP crate) for 8083A only complete with Card Guides |  |  |  |  |  |  |  |  |  |  |  |
| 8084B | Power Systems International single module mounting enclosure for PSI 8083B only. |  |  |  |  |  |  |  |  |  |  |  |
| 8084C | Power Systems International 19" EP rack mounting enclosure for PSI 8083B only. Accepts up to 3 off 8083B modules. |  |  |  |  |  |  |  |  |  |  |  |
| 8085 | Power Equipment Rack Alarm Board Cayson Type MU2005 (not used for new work) |  |  |  |  |  |  |  |  |  |  |  |
| 8086 | Krone Line Resistor Unit 56 Ohms to fit Krone Equipment Practice (LRU 1A) |  |  |  |  |  |  |  |  |  |  |  |
| 8087 | 1.1 KVA Inverter (based on Iwatec Miniverter series) for use with VDU TSM(PSI 8070) and RSC (PSI8091) etc. (See 1013E for complete system). Complete with by-pass tray, terminals, wiring loom and cables. |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description COMMON MISCELLANEOUS PROPRIETARY |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC | Frame- work Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 8087B | 500 VA Inverter - Not available. Use 8087 |  |  |  |  |  |  |  |  |  |  |  |
| 8088 | Not Used |  |  |  |  |  |  |  |  |  |  |  |
| 8089 | ISI Relay (PSI 8051) mounting rail suitable for installation in 19" E P Rack |  |  |  |  |  |  |  |  |  |  |  |
| 8090 | BT line connection lightning protection unit (Type TBA) |  |  |  |  |  |  |  |  |  |  |  |
| 8091 | Remote Substation Controller Epson PC EL3 Computer Unit, with 2MB Hard Disk, Tape Streamer I/F card and complete with Mains cable |  |  |  |  |  |  |  |  |  |  |  |
| 8091B | Remote Substation Controller Epson PC EL PLUS Computer Unit, with 2MB Hard Disk, Tape Streamer I/F card and complete with Mains cable |  |  |  |  |  |  |  |  |  |  |  |
| 8091C | Remote Substation Controller Epson PC Endeavour Computer Unit, with 240MB Hard Disk, Tape Streamer I/F card and complete with Mains cable |  |  |  |  |  |  |  |  |  |  |  |
| 8092 | Remote Substation Controller Aydin Ranger 21MP Monitor, complete with Mains and Video Cables |  |  |  |  |  |  |  |  |  |  |  |
| 8093 | Remote Substation Controller Mouse and Cable |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description COMMON MISCELLANEOUS PROPRIETARY |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC | Frame- work Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 8094 | Remote Substation Controller AT Standard QWERTY keyboard with cables. |  |  |  |  |  |  |  |  |  |  |  |
| 8095A | Remote Substation Controller Customised Keyboard with cables. (Earlier single key Execute type) |  |  |  |  |  |  |  |  |  |  |  |
| 8095B | Remote Substation Controller Customised Keyboard with cables. Later dual key Execute type - ref TDC 6051 |  |  |  |  |  |  |  |  |  |  |  |
| 8096 | Remote Substation Controller GI74 Communications Unit (for mounting in 19" E. P. Cubicle or local to the RSC). |  |  |  |  |  |  |  |  |  |  |  |
| 8097 | Remote Substation Controller GI74 Communications Unit Handler Cable |  |  |  |  |  |  |  |  |  |  |  |
| 8098 | Remote Substation Controller GI74 Communications Unit Local I/O Cable |  |  |  |  |  |  |  |  |  |  |  |
| 8099A | Remote Substation Controller Desk Unit. No longer available |  |  |  |  |  |  |  |  |  |  |  |
| 8099B | Madeley Tills Remote Substation Controller Desk Unit, latest version with minor cosmetic changes. |  |  |  |  |  |  |  |  |  |  |  |
| 8100 | Microsol Synch Check Interface Rack and Handbook with one Power Filter fitted. (rear brkt accepts up to 2 additional Power Filters (PSI 8101)). |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description COMMON MISCELLANEOUS PROPRIETARY |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC | Frame-work Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 8101 | Microsol Synch Check Interface Additional Power Filter + fixings. |  |  |  |  |  |  |  |  |  |  |  |
| 8102 | Microsol Synch Check Interface Cable Tray. (No longer used, use Standard Cubicle Guide Rail PSI 9147) |  |  |  |  |  |  |  |  |  |  |  |
| 8103 | Microsol Synch Check Interface Rack Backplane (2 slot). Complete with fixings, guide rails, jumper lead kit and 2 x 100r LAN terminating resistors. |  |  |  |  |  |  |  |  |  |  |  |
| 8104 | Microsol Synch Check Interface Rack Backplane (3 Slot). Complete with fixings, guide rails and jumper lead kit. |  |  |  |  |  |  |  |  |  |  |  |
| 8105 | Microsol Synch Check Interface Microprcessor Card. |  |  |  |  |  |  |  |  |  |  |  |
| 8106 | Microsol Synch Check Interface Digital I/P Card. |  |  |  |  |  |  |  |  |  |  |  |
| 8107 | Microsol Synch Check Interface Digital O/P Card. |  |  |  |  |  |  |  |  |  |  |  |
| 8108 | Not Used |  |  |  |  |  |  |  |  |  |  |  |
| 8109 | Microsol Synch Check Interface I/O Cable. Early Version (6m) |  |  |  |  |  |  |  |  |  |  |  |
| 8109A | Microsol Synch Check Interface I/O Cable. Revised Version (6m) (Largely withdrawn as it contains two blue cores due to cable error) |  |  |  |  |  |  |  |  |  |  |  |
| 8109B | Microsol Synch Check Interface I/O cable. Revised Version (12m) |  |  |  |  |  |  |  |  |  |  |  |
| 8109C | Microsol Synch Check Interface I/O Cable. Revised Version (15m) |  |  |  |  |  |  |  |  |  |  |  |
| 8109D | Microsol Synch Check Interface I/O Cable. Revised Vers'n, 18m min |  |  |  |  |  |  |  |  |  |  |  |
| 8110 | Microsol Synch Check Interface Configuration Software. (Shareware distributed throughout NGC) |  |  |  |  |  |  |  |  |  |  |  |
| 8111 | Microsol Synch Check Interface Dummy Front Panel (do not use, not supplied) NB unofficial suffix, A= wide, B= Narrow |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description COMMON MISCELLANEOUS PROPRIETARY |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC | Frame-work Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 8112 | Not Allocated. |  |  |  |  |  |  |  |  |  |  |  |
| 8113 | Not Allocated. |  |  |  |  |  |  |  |  |  |  |  |
| 8114 | Not Allocated. |  |  |  |  |  |  |  |  |  |  |  |
| 8115 | Not Allocated. |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description COMMON MISCELLANEOUS PROPRIETARY |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC | Frame- work Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 8116 | Not Allocated. |  |  |  |  |  |  |  |  |  |  |  |
| 8117 | Not Allocated. |  |  |  |  |  |  |  |  |  |  |  |
| 8118 | Not Allocated. |  |  |  |  |  |  |  |  |  |  |  |
| 8119 | Not Allocated. |  |  |  |  |  |  |  |  |  |  |  |
| 8120 | Remote Substation Controller Mobile Tape Streamer Unit (150MB) |  |  |  |  |  |  |  |  |  |  |  |
| 8121A | Ryder Fenn & Ridgeway (BT cabinet 11A) adapter kit to provide 19'' E. P. mounting - 2U high |  |  |  |  |  |  |  |  |  |  |  |
| 8121B | Ryder Fenn & Ridgeway (BT cabinet 11A) adapter kit to provide 19'' E. P. mounting - 5U high (used for dc-dc converter PSI 8083) |  |  |  |  |  |  |  |  |  |  |  |
| 8122 | Interconnection adapter for Standard Substation Radio Clock (8072D). Allows connection of a second expansion unit (PSI 8081) to a clock (PSI 8072D). |  |  |  |  |  |  |  |  |  |  |  |
| 8123A | RFL Digital Dial Up (V22 bis) Substation Switch, with 8 Way RS 232 Expansion Port. (19'' EP, 48V Working) Un-approved version, use PSI 8123B instead. |  |  |  |  |  |  |  |  |  |  |  |
| 8123B | RFL Digital Dial Up (V22 bis) Substation Switch, with capacity for up to 4 I/O modules (F/O or RS232 as reqd. - see PSI 8128A or B). (19'' EP, 48V Working) NGC approved version. |  |  |  |  |  |  |  |  |  |  |  |
| 8124 | Mumetal Screen for RSC monitor. With earthing lug |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description COMMON MISCELLANEOUS PROPRIETARY |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC | Frame- work Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 8125A | Brush SysCheck Relay for System and Check synchronising Type A. Panel mounted version. |  |  |  |  |  |  |  |  |  |  |  |
| 81525B | Brush SysCheck Relay for System and Check synchronising Type B. 19'' rack mounted version. |  |  |  |  |  |  |  |  |  |  |  |
| 8126A | Meter Impulsing Interposing Unit, 8 way, 2 contact, CDL type MIIU392. |  |  |  |  |  |  |  | 05/5511 |  | 04/5318 |  |
| 8126B | Meter Impulsing Interposing Unit, 8 way, single contact, CDL type MIIU8. |  |  |  |  |  |  |  |  |  |  |  |
| 8127 | RFL Intertrip Timing Test Panel (19'' EP, 1U high) for use with any Intertrip located remote from Relay panels. (Not needed with HSDI-3) |  |  |  |  |  |  |  |  |  |  |  |
| 8128A | RFL RS232 8 way I/O module for use in Digital Substation Switch PSI 8123B |  |  |  |  |  |  |  |  |  |  |  |
| 8128B | RFL Fibre Optic I/O module for use in Digital Substation Switch PSI 8123B. |  |  |  |  |  |  |  |  |  |  |  |
| 8129A | RFL Remote Unit for use with Digital Substation Switch PSI 8123B. Capable of working with either RS232 or Fibre Optic links. 48v DC powered. |  |  |  |  |  |  |  |  |  |  |  |
| 8129B | RFL Remote Unit for use with Digital Substation Switch PSI 8123B. Capable of working with either RS232 or Fibre Optic links. 110v DC powered. |  |  |  |  |  |  |  |  |  |  |  |
| 8130 | RFL Digital Substation Switch Upgrade Kit, comprising 1x replacement crate (PSI 8123B+ 1 x PSI 8128A but less PSU), 1 x PSI 8128B fibre optic remote unit (48v), small upgrade parts and upgrade manual. |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description MISCELLANEOUS ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC | Frame-work Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 9000 | Bays, Double 19'' Equipment practice for GCCs and National (Miscellaneous Equipment) |  |  |  |  |  |  | 7514 | 7513 | 7516 | 7515 | 7473 Sht 1 |
| 9001 | Analogue to Impulse Converter for Telemetering, Plug-in, 2 Circuits |  |  |  |  |  | * | 7600 | 7599 |  |  |  |
| 9002 | Enclosure, Wall Mounted, for Plessey Type 73 VF Equipment at Minor Stations (Not Used for new work) |  |  |  |  |  |  |  |  |  |  |  |
| 9003 | Enclosure, Wall Mounted, for Remsdaq Type 73 VF Equipment at Minor Stations (Not Used for new work) |  |  |  |  |  |  |  |  |  |  |  |
| 9004A | ISEP 33 way socket single ended Connector Cable Assembly - 12 ft (36 core stranded conductor cable - Not Used for new work) |  |  |  |  |  | * |  | 7521 Shts 1-4 |  |  |  |
| 9004B | ISEP 33 way socket double ended Connector Cable Assembly - 10'' (STC outstation Highway connector) |  |  |  |  |  | * |  | 7521 Shts 1-4 |  |  |  |
| 9004C | ISEP 33 Way socket double ended Connector Cable Assembly - 6'' (STC outstation Highway connector) |  |  |  |  |  | * |  | 7521 Shts 1-4 |  |  |  |
| 9004D | ISEP 33 way socket double ended Connector Cable Assembly - 6 metres (to be cut on site, giving two 3m single assys) (36 core 0.3mm solid conductor cable) |  |  |  |  |  | * |  | 7521 Shts 1-4 |  |  |  |
| 9004E | ISEP 33 way socket double ended Connector Cable Assembly - 12 metres (to be cut on site, giving two 6m single assys) (36 core 0.3mm solid conductor cable) |  |  |  |  |  | * |  | 7521 Shts 1-4 |  |  |  |
| 9004F | ISEP 33 way socket double ended Connector Cable Assembly - 15 metres (to be cut on site, giving two 7.5m single assys) (36 core 0.3mm solid conductor cable) |  |  |  |  |  | * |  | 7521 Shts 1-4 |  |  |  |
| 9004G | ISEP 33 way socket double ended Connector Cable Assembly - 18 metres min (to be cut on site, giving two 9m single assys) (36 core 0.3mm solid conductor cable) |  |  |  |  |  | * |  | 7521 Shts 1-4 |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |

| PSI No | Description MISCELLANEOUS ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 9005 | Overvoltage protection unit for 48 V d.c. supplies (for titles of Drgs see TTC 7574 Sht 1 Index |  |  |  |  |  | * | 7574 Sht 5 | 7574 Sht 2 | 7574 Shts 3 & 4 |  |
| 9006 | Interference Filter Boards for use with Type 73 VF at GCCs (Plessey & Remsdaq) |  |  |  |  |  |  | 7678 Shts 1 - 5 |  |  |  |
| 9007 | Cable Assembly 37 way socket ended for use with STC and GEC GI 74 outstation VF switching units (40 core 0.3mm solid conductor cable) |  |  |  |  |  | * | 7783 |  |  |  |
| 9008 | Cable Assembly 25 way plug ended for use with Ferranti GI 74 outstation (only) VF switching units |  |  |  |  |  | * | 7784 |  |  |  |
| 9009 | Cable Assembly 25 way socket ended for use with Ferranti GI 74 Master Station and Outstation VF switching units |  |  |  |  |  | * | 7784 |  |  |  |
| 9010 | Cable Assembly extender 18'' long, plug ended and socket ended. |  |  |  |  |  | * | 7785 |  |  |  |
| 9011 | Inter-area telemeter summator |  |  |  |  |  | * | 7776 |  |  |  |
| 9012 | Not Used |  |  |  |  |  |  |  |  |  |  |
| 9013A | Willsher & Quick Single Width RFI Screened Cubicle (fitted with PSI 9014A, B and C) |  |  |  |  |  |  | 62018 |  |  |  |
| 9013B | Willsher & Quick Single Width RFI Screened Cubicle (not fitted with any PSI 9014* fittings) |  |  |  |  |  |  | 62018 |  |  |  |
| 9013C | Willsher & Quick Single Width RFI Screened Cubicle. Complete with 19'' EP mounting rails, gland plates, ESD studs etc. Used on FDM Offload project. |  |  |  |  |  |  | 62018 |  |  |  |
| 9014A | W&Q 19'' EP Rails for DCX Exchanges consisting of 4 x 1690mm (handed pairs). For use with PSI 9013. |  |  |  |  |  |  | 62019 |  |  |  |
| 9014B | W&Q Filter Chamber and front Cover complete with fixing bolts and screws. For use with PSI 9013. |  |  |  |  |  |  | 62019 |  |  |  |
| 9014C | W&Q 19'' EP Cable Tie Bars - 4 off. For use with PSI 9013 |  |  |  |  |  |  | 62019 |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description MISCELLANEOUS ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 9014D | W&Q 22" EP Mounting Rails consisting of 4 x 1067mm Rails and 4 x 635mm Rails. For use with PSI 9013. |  |  |  |  |  |  | 62019 |  |  |  |
| 9014E | W&Q 22" EP Cable Tie Bars - 4 off. For use with PSI 9013. |  |  |  |  |  |  | 62019 |  |  |  |
| 9014F | W&Q TEP-1E Equipment Practice Mounting Rails (full height) consisting of 2 x 2135mm Rails. For use with PSI 9013. OBSOLETE - NOT TO BE USED |  |  |  |  |  |  | 62019 |  |  |  |
| 9014G | W&Q 19" Equipment Practice Mounting Rails (full height) consisting of 8 x 1067mm Rails. For use with PSI 9013. |  |  |  |  |  |  | 62019 |  |  |  |
| 9014H | W&Q 22" Equipment Practice Mounting Rails (full height) consisting of 8 x 1067mm Rails. For use with PSI 9013. |  |  |  |  |  |  | 62019 |  |  |  |
| 9014J | Kit of miscellaneous power connectors for DCX-5 Terminal Exchange. For use with PSI 9013. |  |  |  |  |  |  |  |  |  |  |
| 9014K | W&Q TEP-1E Equipment Practice Mounting Rails consisting of 2 x 1647mm Rails. OBSOLETE - NOT TO BE USED. For use with PSI 9013. |  |  |  |  |  |  | 62019 |  |  |  |
| 9014L | W&Q 19" EP Shelf. For use with PSI 9013. |  |  |  |  |  |  |  |  |  |  |
| 9014M | Rustington half cubicle height TEP-1E mounting kit. For use with PSI 9013A/B |  |  |  |  |  |  |  |  |  |  |
| 9014N | Rustington full height TEP-1E mounting kit. For use with PSI 9013A/B |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description MISCELLANEOUS ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 9014P | W&Q 3U height crate, accepts up to 3 pairs of PSI 8083C/9014Q For use with PSI 9013C only. Used on FDM Offload project. |  |  |  |  |  |  |  |  |  |  |
| 9014Q | Intercole power filter module. For use in PSI 9014P only. Used of FDM Offload project. |  |  |  |  |  |  |  |  |  |  |
| 9015A | W&Q Fan Tray Assembly complete with 48V DC Fans, Temperature Sensors, Alarm Circuitry and Air Filter (for use with PSI 9013) |  |  |  |  |  |  | 62020 |  |  |  |
| 9016A | Kit of Parts 16 way DC Distribution Panel, Tie Bars Jumper Rings, etc for Schroff Cubicle PSI 8001A/B |  |  |  |  |  |  |  |  |  |  |
| 9016B | Kit of Parts 2 x 6 way DC Distribution Panel, Tie Bars Jumper rings, etc for Schroff Cubicle PSI 8001A/B |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description MISCELLANEOUS ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 9016C | Kit of Parts 2 x 6 way DC Distribution Panel, Tie Bars Jumper Rings, etc for RFI Cubicle PSI 9013 (19" EP) |  |  |  |  |  |  |  |  |  |  |
| 9016D | Kit of Parts 16 way Distribution Panel, Support Bars, Designation strip to fit 1014 O/S Cubicle |  |  |  |  |  |  |  |  |  |  |
| 9016E | Kit of Parts 2 x 6 way DC Distribution Panel with fixing rail only to suit Ultima Cubicle PSI 9135A/B. (Centre Lines 487mm apart). |  |  |  |  |  |  |  |  |  |  |
| 9016F | Kit of Parts 2 x 6 way DC Distribution Panel with fixing rail only to suit RFI Cubicles PSI 9013 |  |  |  |  |  |  |  |  |  |  |
| 9016G | Kit of Parts 1 x 16 way DC Distribution Panel with fixing rail only to suit Schroff Cubicles PSI 8001A/B |  |  |  |  |  |  |  |  |  |  |
| 9016H | Kit of Parts 1 x 6 way DC Distribution Panel with fixing rail only to suit RFI Cubicles PSI 9013A/B |  |  |  |  |  |  |  | 05/5520 |  |  |
| 9017 | Set of Cable Tie Bars for Schroff Cubicle PSI 8001A/B |  |  |  |  |  |  |  |  |  |  |
| 9018 | D' Range 25-pin Socket 'Convenience' Panel for use in Two Tier GCC 73VF Cubicles to accommodate V24 Data cables PSI 9019, 9020, 9021 (32 socket capacity) |  |  |  |  |  |  |  |  |  |  |
| 9019 | V24 Data Cable 25-pin Socket - Stub. Cable length 3 metres for use at Two Tier GCCs between 73VF and Convenience Panel |  |  |  |  |  |  |  |  |  |  |
| 9020 | V24 Data Cable 25-pin Plug - Plug. Cable length 6 metres for use at Two Tier GCCs between Convenience Panel and V24 Patching Panels |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description MISCELLANEOUS ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 9021 | V24 Data Cable 25-pin Plug - Plug. Cable length 7 metres for use at Two Tier GCCs between Convenience Panel and V24 Patching Panels |  |  |  |  |  |  |  |  |  |  |
| 9022 | Kit of Parts for fitting a Krone Type BT 105A Distribution Frame within a Schroff Cubicle 8001A/B |  |  |  |  |  |  |  |  |  |  |
| 9023 | Item Discontinued |  |  |  |  |  |  |  |  |  |  |
| 9023B | Kit of Parts for fitting 2 off TEP-1E (large size) Shelves together with an associated BT No 55A Rack Alarm unit (8068A) within a Schroff Cubicle PSI 8001A/B |  |  |  |  |  |  |  |  |  |  |
| 9024A | Honeywell Master to First Expansion Crate Cable (two supplied per PSI). Short length for adjacent crates. |  |  |  |  |  |  | 62025 |  |  |  |
| 9024B | Honeywell Master to First Expansion Crate Cable (two supplied per PSI). 2.3m long for non adjacent crates. |  |  |  |  |  |  | 62025 |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description MISCELLANEOUS ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 9024C | Honeywell Master to First Expansion Crate Cable (two supplied per PSI). 3.8m long for non adjacent crates. |  |  |  |  |  |  | 62025 |  |  |  |
| 9025A | Honeywell Expansion Crate to further Expansion Crate Cable (two supplied per PSI). Short length for adjacent crates. |  |  |  |  |  |  | 62026 |  |  |  |
| 9025B | Honeywell Expansion Crate to further Expansion Crate Cable (two supplied per PSI). 2.3m long for non adjacent crates. |  |  |  |  |  |  | 62026 |  |  |  |
| 9025C | Honeywell Expansion Crate to further Expansion Crate Cable (two supplied per PSI). 3.8m long for non adjacent crates |  |  |  |  |  |  | 62026 |  |  |  |
| 9026 | Honeywell Signalling Conditioning to Points Input Cable (37-way Cannon D - 64-way DIN) |  |  |  |  |  |  | 62027 |  |  |  |
| 9027A | Honeywell Points Input Cable (37-way Cannon D - 37-way Cannon D) 6 metre, double ended for cutting to make two (3m) cables |  |  |  |  |  |  | 62028 | 03/2863 Sh 1 | 04/1943 Sh 1 | 06/708 Sh 1 06/709 |
| 9027* | Honeywell Points Input Cable (Temporary code for any non standard variant of PSI 9027. Describe details to specify. |  |  |  |  |  |  | 62028 |  |  |  |
| 9027B | Honeywell Points Input Cable (37-way Cannon D - 37-way Cannon D) As for PSI 9027A, but 12 metres long |  |  |  |  |  |  | 62028 | 03/2863 Sh 2 | 04/1943 Sh 2 | 06/708 Sh 2 |
| 9027C | Honeywell Points Input Cable (37-way Cannon D - 37-way Cannon D) As for PSI 9027A, but 15 metres long |  |  |  |  |  |  | 62028 | 03/2863 Sh 2 | 04/1943 Sh 2 | 06/708 Sh 2 |
| 9027D | Honeywell Points Input Cable (37-way Cannon D - 37-way Cannon D) As for PSI 9027A, but 18 metres (min.)long |  |  |  |  |  |  | 62028 | 03/2863 Sh 2 | 04/1943 Sh 2 | 06/708 Sh 2 |
| 9028 | Honeywell Control Output to Signal Conditioning Cable (64-way DIN to 37-way Cannon) |  |  |  |  |  |  | 62029 |  |  |  |
| 9029 | Honeywell Control Output Cable (best used with PSI 2722A) (Belden 9618 cable, with Berg 64-way DIN to 64-way DIN) double ended 6 m long for cutting to make two cables |  |  |  |  |  |  | 62030 | 03/2864 Sh 1 | 04/1945 Sh 1 | 06/710 Sh 1 06/711 |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description MISCELLANEOUS ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 9029* | Honeywell Control Output Cable. Temporary code for any non standard variant of PSI 9029. Describe details to specify. |  |  |  |  |  |  | 62030 |  |  |  |
| 9029A | Honeywell Control Output Cable (best used with PSI 2722B) (Def Stan 61-12 cable, with Panduit 64-way DIN to 64-way DIN latched connector) double ended 6m long for cutting to make two cables |  |  |  |  |  |  | 62030 | 03/2864 Sh 2 | 04/1945 Sh 2 | 06/710 Sh 2 & 3 |
| 9029B | Honeywell Control Output Cable (best used with PSI 2722B) (Def Stan 61-12 cable, with Panduit 64-way DIN to 64-way DIN latched connector) double ended 12m long for cutting to make two cables |  |  |  |  |  |  | 62030 | 03/2864 Sh 2 | 04/1945 Sh 2 | 06/710 Sh 2 & 3 |
| 9029C | Honeywell Control Output Cable (best used with PSI 2722B) (Def Stan 61-12 cable, with Panduit 64-way DIN to 64-way DIN latched connector) double ended 15m long for cutting to make two cables |  |  |  |  |  |  | 62030 | 03/2864 Sh 2 | 04/1945 Sh 2 | 06/710 Sh 2 & 3 |
| 9029D | Honeywell Control Output Cable (best used with PSI 2722B) (Def Stan 61-12 cable, with Panduit 64-way DIN to 64-way DIN latched connector) double ended 18m long for cutting to make two cables |  |  |  |  |  |  | 62030 | 03/2864 Sh 2 | 04/1945 Sh 2 | 06/710 Sh 2 & 3 |
| 9030 | Honeywell Multi-channel Conditioning to Analogue Multiplexer Cable (64-way DIN to 37-way Cannon D) |  |  |  |  |  |  | 62031 | 03/2865 | 04/1947 | 06/712 |
| 9031 | Honeywell Single Channel or Marshalling to Analogue Multiplexer Cable (37-way to 37-way Cannon D) 6 metre, double ended for cutting to make two cables |  |  |  |  |  |  | 62032 | 03/2865 | 04/1947 | 06/712 |
| 9032 | Honeywell Double Port Communications Card to Modem Cable (15-way Cannon D, 45 degrees to 25-way Cannon D) Cable length 2 metres |  |  |  |  |  |  | 62033 | 03/2866 | 04/1949 | 06/713 |
| 9033 | Honeywell G174 Communications Card to Modem Cable (15-way to 15-way Cannon D), Cable length 6 metres, double ended for cutting to make two cables |  |  |  |  |  |  | 62034 | 03/2867 | 04/1951 | 06/714 |
| 9034 | Honeywell Double Port Communications Card to Printer Cable (15-way Cannon D, 45 degrees to 25-way Cannon D). Cable length 6 metres |  |  |  |  |  |  | 62035 | 03/2868 | 04/1953 | 06/715 |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description MISCELLANEOUS ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 9035 | Honeywell Double Port Communications Card to Double Port Communications Card Cable (Satellite use) (15-way Cannon D, 45 degrees to 25-way Cannon D) Cable length 6 metres |  |  |  |  |  |  | 62036 |  |  |  |
| 9036 | Honeywell GI74 Communications Card to GI74 Communications Card Cable for use with Test Box make two cables (15-way Cannon D, 45 degrees x2 to 15-way Cannon D, 45 degrees) |  |  |  |  |  |  | 62037 |  |  |  |
| 9037 | Honeywell Test Box Mains Cable (13A Plug to IEC socket x ft.) |  |  |  |  |  |  | 62038 |  |  |  |
| 9038 | Honeywell Test Box to Printer Mains Cable (IEC Plug to Socket x ft.) |  |  |  |  |  |  |  |  |  |  |
| 9039 | 2 10x20 Tag Block for Jumpering Field |  |  |  |  |  |  |  |  |  |  |
| 9040 | METRO GI74 Communications Break/Out Cable |  |  |  |  |  |  | 62039 |  |  |  |
| 9041 | METRO GI74 Communications Loop Back Extension Cable |  |  |  |  |  |  | 62040 |  |  |  |
| 9042 | Mounting Bracket for BT 105A Krone Frame for fitting into a Standard Outstation Cubicle PSI1013 |  |  |  |  |  |  | 03/1724 |  |  |  |
| 9043 | METRO Extension Cable (15-way Plug to Socket) |  |  |  |  |  |  | 62041 |  |  |  |
| 9044 | METRO Loop Back Cable (Signal) |  |  |  |  |  |  | 62042 |  |  |  |
| 9045 | METRO Loop Back Cable (Power) |  |  |  |  |  |  | 62043 |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description MISCELLANEOUS ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 9046 | METRO Radio Clock Interconnection Cable (15-way Cannon D to 25-way Cannon D). Cable length 3 metres. |  |  |  |  |  |  | 62044 | 03/2869 | 04/1955 | 06/716 |
| 9047 | TVF Filter Block |  |  |  |  |  |  | 7645 |  |  |  |
| 9048A | Earth Bar as fitted to Standard Outstation Cubicle (PSI 1013/4) |  |  |  |  |  |  | 7472 Sht22 |  |  |  |
| 9048B | Protective Earth Bar shortened to fit an RFI Cubicle (PSI 9013) |  |  |  |  |  |  |  |  |  |  |
| 9049A | Cubicle Fitting Kit, Fuse Panel, Cable Guides etc, to convert an unequipped Outstation Cubicle (1013C) to a PSI 1013A |  |  |  |  |  |  | 62043 |  |  |  |
| 9049B | Cubicle Fitting Kit, Fuse Panel, Cable Guides etc, to equip a W&Q ER29 Cubicle (PSI 9050) |  |  |  |  |  |  | 62043 |  |  |  |
| 9050 | Willsher & Quick unequipped ER29 Cubicle (same depth as a PSI 9013) |  |  |  |  |  |  | 62043 |  |  |  |
| 9051 | Miscellaneous 3U Panel, 19" EP, equipped with 2 x 13A Sockets and 2 x 25-way D Type Female Connectors |  |  |  |  |  |  | 62043 |  |  |  |
| 9052 | Mounting Kit for PSI 906E and associated Cable Test/ Interface assembly PSI 9053A/B consisting of 2 x Brackets 480mm long |  |  |  |  |  |  | 7472 Sht 1 DET 3 |  |  |  |
| 9053A | Cable Test/Interface Assembly, 8 Terminals for Type 73VF Protection Signalling Equipment (includes mounting for PSI 876 and 906) |  |  |  |  |  |  | 7472 Sh 23 |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description MISCELLANEOUS ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 9053B | Cable Test/Interface Assembly, 10 Terminals for Type 73VF Protection Signalling Equipment (includes mounting for PSI 876 and 906) |  |  |  |  |  |  | 7472 Sh 25 |  |  |  |
| 9054A | METRO Master Emulate Mode Cable for Mini Test Unit (9-way Cannon, Female to 15-way Cannon, male). Cable length 3 metres |  |  |  |  |  |  |  | 03/2870 | 04/1957 | 06/717 |
| 9054B | METRO Line Monitor Cable for Mini Test Unit (9-way Cannon, Female to 15-way Cannon, Male with side entry) Cable length 3 metres long |  |  |  |  |  |  |  | 03/2871 | 04/1959 | 06/718 |
| 9054C | METRO Clock Set and Dumb Terminal Mode Cable for Mini Test Unit (9-way female to 15- way Cannon male with side entry) Cable length 3 metres |  |  |  |  |  |  |  | 03/2872 | 04/1961 | 06/719 |
| 9055 | METRO Dummy Facilities Unit Cable, normally included with the DFU (PSI 2715) |  |  |  |  |  |  | 05/1160 |  |  |  |
| 9056 | V24 Data Patching Cable 2 x 25 Pin Socket (for monitor facility) to Stub 3 metres long for FCGCP ACCs to replace PSI 9019 between VF Convenience Panel (PSI 9018) and 73VF Crates |  |  |  |  |  |  | NOT USED |  |  |  |
| 9057 | V24 Data Patching Cable 25 Pin to 25 Pin Plug 1 metre long (for VF Convenience Panel 9018) for FCGCP ACCs to provide Emulator patching facilities (Master Station Emulate) |  |  |  |  |  |  | NOT USED |  |  |  |
| 9058 | V24 Data Patching Cable 25 Pin Socket to 25 Pin Plug 1 metre long (for VF Convenience Panel 9018) for FCGCP ACCs to provide Emulator patching facilities (Outstation Emulate) |  |  |  |  |  |  | NOT USED |  |  |  |
| 9059 | Fitting Kit to secure cabling associated with the V24 Convenience Panels (PSI 9018) consisting of 2 x Bars 420mm long and 2 x Cable Brackets 468mm long (includes Cable Clips and fixings). Suitable for Schroff cubicle PSI 8001 only. |  |  |  |  |  |  |  | 03/1712 DET 1, 5 |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description MISCELLANEOUS ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 9060 | Honeywell GI74 Communications card to GI74 Communications Card Cable (15-way Cannon D to 15-way Cannon D). Cable length 6 metres (to be confirmed) for use in parent satellite configuration eg TSM data reduction mode |  |  |  |  |  |  |  |  |  |  |
| 9061 | Honeywell GI74 Communications card to EMEB Hub Equipment Cable (15-way Cannon D to 25-way Cannon D) Cable length 6 metres |  |  |  |  |  |  |  |  |  |  |
| 9062 | Honeywell GI74 Communications card to MEB Hub Equipment Cable. Cable length 6 metres |  |  |  |  |  |  | NOT USED |  |  |  |
| 9063 | Local Earth Bar for the termination of one 25mm x 3mm and up to 20 - 15mm x 1.5mm LSF covered Earth Braid |  |  |  |  |  |  |  |  |  |  |
| 9064 | Isolated VF Convenience Panel consisting of a 4U 19" EP Crate, with backplane and Emulator Patching Panel, capable accommodating up to 16 x VF Isolation Modules (PSI 9065) |  |  |  |  |  |  | 03/2763 03/2765 | 02/292 02/293 03/2762 | 08/1595 08/1597 08/1599 | 08/1600 |
| 9065 | VF Isolation Module providing both isolation between VF and attached computers and monitoring facilities, consisting of PCB with front plate mounting 1 x 25-way D type plug and 1 x 15-way D type Socket |  |  |  |  |  |  | 05/1362 08/1593 &4 | 03/2761 03/2763 | 08/1596 08/1598 |  |
| 9066 | Isolated VF Convenience Panel Emulator Patching Cable consisting of 1 metre Ribbon Cable with 15-way to 15-way 'D' Type Plugs |  |  |  |  |  |  |  |  |  |  |
| 9067 | Isolated VF Convenience Panel Emulator Switch Box providing switching of various circuits for Emulator operation |  |  |  |  |  |  |  |  |  |  |
| 9068 | Isolated VF Convenience Panel Emulator Switch Box Cable consisting of a 'Y' Cable (1 x 9-way to a 2 x 25-way D Type connectors) |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description MISCELLANEOUS ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 9069A | Legend Plate for PSI 2715 Dummy Facilities Unit GI74/EMS version |  |  |  |  |  |  |  |  |  |  |
| 9069B | Legend Plate for PSI 2715 Dummy Facilities Unit EMS/EBU version |  |  |  |  |  |  |  |  |  |  |
| 9069C | Legend Plate for PSI 2715 Dummy Facilities Unit GI74/EMS version, TSM variant (Type 1) |  |  |  |  |  |  |  |  |  |  |
| 9069D | Legend Plate for PSI 2715 Dummy Facilities Unit EMS/EBU version, TSM variant |  |  |  |  |  |  |  |  |  |  |
| 9069E | Legend Plate for PSI 2715 Dummy Facilities Unit GI74/EMS version, TSM variant (Type 2) |  |  |  |  |  |  |  |  |  |  |
| 9069F | Legend Plate for PSI 2715 Dummy Facilities Unit EMS/EBU version, Satellite METRO variant |  |  |  |  |  |  |  |  |  |  |
| 9070 | Standard Substation Radio Clock (PSI 8072D) Time Pulse Output Cable. 8 Pair, 6 Metres Long, single ended with 12 way connector (RS 466-078/466-113) |  |  |  |  |  |  |  | 03/2860 | 04/1930 | 06/707 |
| 9071 | Standard Substation Radio Clock (PSI 8072D) Remote Alarm Output Cable. 4 Pair, 6 Metres Long, single ended with 8 way connector (RS 466-062/466-107) |  |  |  |  |  |  |  | 03/2859 | 04/1929 | 06/706 |
| 9072 | Demand Data Collection Outstation Crate |  |  |  |  |  |  |  |  |  |  |
| 9073 | Demand Data Collection System Dial-Up Modem |  |  |  |  |  |  |  |  |  |  |
| 9074 | Demand Data Collection Master and Slave Outstation EPROM |  |  |  |  |  |  |  |  |  |  |
| 9075 | Not Used |  |  |  |  |  |  |  |  |  |  |
| 9076 | Not Used |  |  |  |  |  |  |  |  |  |  |
| 9077 | Demand Data Collection Outstation and Central Station MCC Microprocessor board with DC - DC converter |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description MISCELLANEOUS ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 9078* | Demand Data Collection Outstation Analogue scaling modules (resistor R1 to be specified - * suffix has same meaning as that for PSI 2726* qv) |  |  |  |  |  |  |  | 03/2861 | 04/1938 |  |
| 9079 | Not Used |  |  |  |  |  |  |  |  |  |  |
| 9080 | Not Used |  |  |  |  |  |  |  |  |  |  |
| 9081 | Not Used |  |  |  |  |  |  |  |  |  |  |
| 9082 | Not Used |  |  |  |  |  |  |  |  |  |  |
| 9083 | (Reserved for Marshalling Cubicle NAT) |  |  |  |  |  |  |  |  |  |  |
| 9084 | (Reserved for Marshalling Cubicle SDIV) |  |  |  |  |  |  |  |  |  |  |
| 9085 | Not Used |  |  |  |  |  |  |  |  |  |  |
| 9086 | Not Used |  |  |  |  |  |  |  |  |  |  |
| 9087A | Cable GI74 MiniMux to METRO connection 2m long. |  |  |  |  |  |  | 07/5450 | 07/5450 |  |  |
| 9087B | Cable GI74 MiniMux to METRO connection 5m long. |  |  |  |  |  |  | 07/5450 | 07/5450 |  |  |
| 9088 | GI74 MiniMux (pre-production version in freestanding box). 6 x 21 bit GI74 plus 1 x 10 bit Asynchronous channels multiplexed to a 2400b.p.s. synchronous composite. |  |  |  |  |  |  |  |  |  |  |
| 9089 | GI74 MiniMux tandem link adaptor panel (for onward linking of GI74 signals at intermediate sites). |  |  |  |  |  |  |  |  |  |  |
| 9090 | GI74 MiniMux tandem link adaptor cable |  |  |  |  |  |  | 07/5451 |  |  |  |
| 9091A | GI74 Traffic Alarm Unit for monitoring METRO Parent - Satellite link (pre FCGCP commissioning only). Suitable for DIN rail mounting OBSOLETE. NOT TO BE USED. |  |  |  |  |  |  | 82638 |  |  |  |
| 9091B | Single Channel Automatic Route Selector (similar to PSI 9091A but with increased timeout period). Suitable for DIN rail mounting. For use with CSM route switching (ref TDC 6050). |  |  |  |  |  |  | 82638 |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description MISCELLANEOUS ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 9092A | As PSI 9088 but production version GI74 Multiplexer card for use in a Nokia rack (PSI 4109 or 4110). |  |  |  |  |  |  |  |  |  |  |
| 9092B | As PSI 9092A but modified to TDC 6047 for enhanced range of comms protocols, carrier detect alarm slugging and "hot crate insertion/removal" capability. |  |  |  |  |  |  |  |  |  |  |
| 9093A | GI74 Multiplexer Interface Unit (for use with PSI 9092). Mounted on rear of Nokia rack (PSI 4109 or 4110). |  |  |  |  |  |  |  |  |  |  |
| 9093B | As 9093A but modified to TDC 6047. |  |  |  |  |  |  |  |  |  |  |
| 9094 | GI74 Multiplexer Alarms Input Card (for use with PSI 9092). |  |  |  |  |  |  |  |  |  |  |
| 9095 | GI74 Multiplexer Interface Unit Screw Terminal. (used with PSI 9096 below). |  |  |  |  |  |  |  |  |  |  |
| 9096 | GI74 Multiplexer Telegraph Interface Card. (may be used for any asynchronous channel with speed up to 50bps) |  |  |  |  |  |  |  |  |  |  |
| 9097 | Cable METRO to Dial-Up Modem (PSI 4117). |  |  |  |  |  |  |  |  |  |  |
| 9098A | Cable GI74 Multiplexer (PSI 9092A) to Multiport card (PSI 4116). |  |  |  |  |  |  | 07/5452 | 07/5452 |  |  |
| 9098B | Cable GI74 Multiplexer (PSI 9092B) to Multiport card (PSI 4116). |  |  |  |  |  |  | 07/5453 | 07/5453 |  |  |
| 9099A | Cable GI74 Multiplexer to Newbridge DTU (PSI 3491). For use only with PSI 9092A. |  |  |  |  |  |  | 07/5454 | 07/5454 |  |  |
| 9099B | Cable GI74 Multiplexer to Newbridge DTU (PSI 3491). For use only with PSI 9092B. Cable length 3m. |  |  |  |  |  |  | 07/5455 | 07/5455 |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description MISCELLANEOUS ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 9100 | Cable High Speed Telegraph |  |  |  |  |  |  | 07/5456 | 07/5456 |  |  |
| 9101A | Vaughan VDU TSM Short Persistence Monitor Upper Tray. |  |  |  |  |  |  |  |  |  |  |
| 9101B | Vaughan VDU TSM Short Persistence Monitor Lower Tray. |  |  |  |  |  |  |  |  |  |  |
| 9102 | Vaughan VDU TSM VM-F (Iss 5) module for use with Short Persistence Monitor (PSI 9103). |  |  |  |  |  |  |  |  |  |  |
| 9103A | Vaughan VDU TSM Short Persistence Monitor (chassis form). |  |  |  |  |  |  |  |  |  |  |
| 9103B | Vaughan VDU TSM Short Persistence Spare Monitor Tube |  |  |  |  |  |  |  |  |  |  |
| 9104A | Vaughan VDU TSM Upgrade kit Type A (with Inverter alarm capability). |  |  |  |  |  |  |  |  |  |  |
| 9104B | Vaughan VDU TSM Upgrade kit Type B (without Inverter alarm capability). |  |  |  |  |  |  |  |  |  |  |
| 9105A | Cable GI74 Multiplexer to Toshiba PC, Standard ASCII Mode |  |  |  |  |  |  |  |  |  |  |
| 9105B | Cable GI74 Multiplexer to Toshiba PC, Master Emulate Mode |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description MISCELLANEOUS ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 9106A | Pacel Station Name Panel (SMALL) for use on ACC/NCC Config. Diagrams. (Overall Length 120mm, Lit Length 90mm) |  |  |  |  |  |  | CC |  |  |  |
| 9106B | Pacel Station Name Panel (MEDIUM) for use on ACC/NCC Config. Diagrams. (Overall Length 210mm, Lit Length 180mm) |  |  |  |  |  |  | NCC |  |  |  |
| 9106C | Pacel Station Name Panel (LARGE) for use on ACC/NCC Config. Diagrams. (Overall Length 315mm, Lit Length 285mm) |  |  |  |  |  |  | NCC |  |  |  |
| 9107 | Inverter for driving Station Name Panels from 48V TIE output Suitable for mounting on rear of Configuration Diagrams. (Type P9) |  |  |  |  |  |  |  |  |  |  |
| 9108 | Paralleling connector to allow two Station Name Panels to be driven from one inverter (PSI 9107). |  |  |  |  |  |  |  |  |  |  |
| 9109 | Pacel Visual Annunciator Illumination Unit for use on ACC/NCC Configuration Diagrams. NO LONGER USED - SEE 9116 & 9117 |  |  |  |  |  |  |  |  |  |  |
| 9110 | (Reserved for Extension Feet to stabilise PSI 1013E Cubicle, when not bolted down) |  |  |  |  |  |  |  |  |  |  |
| 9111 | (Reserved for Fan Unit for 1013E Cubicle) |  |  |  |  |  |  |  |  |  |  |
| 9112 | Pair of slide rail adaptor plates to suit IWATEC Miniverter (PSI 8087). Installation in PSI 1013E Cubicle. |  |  |  |  |  |  |  |  |  |  |
| 9113A | W&Q Standard Metal Cubicle Door for PSI 1013A and 1014A etc |  |  |  |  |  |  |  |  |  |  |
| 9113E | W&Q Modified Metal Cubicle Door for PSI 1013E, to suit IWATEC Miniverter Installation, complete with filter housing & filter |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description MISCELLANEOUS ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 9114A | W&Q Marshalling Cubicle, partially equipped (without terminals or jumper rings). Double width. Normally used in B'tol/Birm GCAs. Uses up to 30 double jumper rings (PSI 9114C). |  |  |  |  |  |  |  |  |  |  |
| 9114B | W&Q Marshalling Cubicle, partially equipped (without terminals). Or jumper rings). Single width. Normally used in B'tol/Birm GCAs 4 but Uses up to 15 double jumper rings (PSI 9114C). |  |  |  |  |  |  |  |  |  |  |
| 9114C | W&Q Double jumper ring for use in marshalling cubicles. Single cubicle uses 15, Double cubicle uses 30. |  |  |  |  |  |  |  | 04/5319 |  |  |
| 9115 | W&Q Marshalling Cubicle, fully equipped (with terminals and jumper rings. Double width. Normally used in St Albans GCA. |  |  |  |  |  |  |  |  |  |  |
| 9116 | Pacel Visual Annunciator Unit, Legend/Acrylic Composite. |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description MISCELLANEOUS ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 9117 | Pacel Visual Annunciator Unit, Cold Cathode Fluorescent Tube/ Inverter/Reflector Unit |  |  |  |  |  |  |  |  |  |  |  |
| 9118 | (Reserved for Inverter Extension Harness for PSI 1013E) |  |  |  |  |  |  |  |  |  |  |  |
| 9119 | Klippon Style Fuse Alarm Assembly for 1013/4 series Outstation Cubicles |  |  |  |  |  |  |  |  |  |  |  |
| 9120 | KENDA Summator Power Supply Cable 6m (One required per end) |  |  |  |  |  |  |  |  |  |  |  |
| 9121 | KENDA Summator Meter I/P Cable 6m (8 max required per FE Unit) |  |  |  |  |  |  |  |  |  |  |  |
| 9122 | KENDA Summator FE/PE Link Cable 10m (Cut in half where extended by site cabling). Early type with pre approval connectors as used with trial systems |  |  |  |  |  |  |  |  |  |  |  |
| 9122A | KENDA Summator FE/PE Link Cable 10m (Cut in half where Extended by site cabling). Later type with post approval connectors |  |  |  |  |  |  |  |  |  |  |  |
| 9123 | KENDA Summator OMSL (Link to ACC via Nokia V33) Cable 6m Early type with pre approval connectors as used with trial systems |  |  |  |  |  |  |  |  |  |  |  |
| 9123A | KENDA Summator OMSL (Link to ACC via Nokia V33) Cable 6m Later type with post approval connectors |  |  |  |  |  |  |  |  |  |  |  |
| 9124 | KENDA Summator to ASB Cable 6m (This PSI presently includes a Current Loop/RS232 converter box plus Mains PSU as well as the OMS to converter box cable. The ASB unit is supplied with the conv box to ASU Cable). This PSI is only used with the trial systems. |  |  |  |  |  |  |  |  |  |  |  |
| 9124A | KENDA Summator to ASB Cable 6m. Later post approval type without current Loop/RS232 converter box. (Includes suppression diodes inside ASB end connector). |  |  |  |  |  |  |  |  |  |  |  |
| 9125 | KENDA Summator Analogue O/P Cable 6m |  |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |  |

| PSI No | Description MISCELLANEOUS ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 9126 | KENDA Summator Printo Pulse O/P Cable 6m |  |  |  |  |  |  |  |  |  |  |
| 9127 | KENDA Summator Radio Clock Synch Pulse I/P Cable 6m |  |  |  |  |  |  |  |  |  |  |
| 9128 | KENDA Summator Alarm O/P Cable 6m |  |  |  |  |  |  |  |  |  |  |
| 9129 | KENDA Summator Frequency I/P (62.5V 50Hz) Cable 6m |  |  |  |  |  |  |  |  |  |  |
| 9130A | Kenda Summator (Front End/Processing End) Equipment, Rack Mounting, 4U High (2 Reqd per System). 32 x meter pulse inputs, 16 x 0 - 10mA analogue outputs (early design requiring use of PSI 9143 filter unit) to drive SCS inputs), 8 x pulse (printo) outputs, 2 x 50Hz freq inputs, V24 OMDO, GRDO and 20mA GRDO serial data ports, Radio Clock Synch pulse input. Preferably use PSI 9130B or C for new work. |  |  |  |  |  |  |  |  |  |  |
| 9130B | Kenda Summator (Front End /Processing End) Equipment, Rack Mounting, 4U High (2 Reqd per System). 32 x meter pulse inputs, 16 x 0 - 10mA analogue outputs (later design NOT requiring filter unit to drive SCS inputs), NO pulse (printo) outputs, 2 x 50Hz freq inputs, V24 OMDO, GRDO and 20mA GRDO serial data ports, Radio Clock Synch pulse input. |  |  |  |  |  |  |  |  |  |  |
| 9130C | Kenda Summator (Front End/Processing End) Equipment, Rack Mounting, 4U High (2 Reqd per System). 16 x meter pulse inputs, 16 x 0 - 10mA analogue outputs (later design NOT requiring filter unit to drive SCS inputs), NO pulse (printo) outputs, 2 x 50Hz freq inputs, V24 OMDO, GRDO and 20mA GRDO serial data ports, Radio Clock Synch pulse input. |  |  |  |  |  |  |  |  |  |  |
| 9131 | KENDA Summator (NUMBER DISCONTINUED, use 9130) |  |  |  |  |  |  |  |  |  |  |
| 9132 | KENDA Summator (Front End Unit wall mount kit) |  |  |  |  |  |  |  |  |  |  |
| 9133 | KENDA Summator Current Loop Output Cable 6m |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description MISCELLANEOUS ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 9134A | KENDA Summator Kit of Software Disk and Manual to enable a Toshiba pc to act as a Local Interrogation Unit (LIU), for diagnostic and personality table amendment. (see also 9134B) |  |  |  |  |  |  |  |  |  |  |
| 9134B | KENDA Summator Kit of 2 Cables and Gender Adaptor to connect Toshiba PC to act as a Local Interrogation Unit (LIU) for diagnostic and personality table amendment. |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description MISCELLANEOUS ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 9135A | Reserved for Ultima Cubicle 2m high (45U) for PSI Inverters |  |  |  |  |  |  |  |  |  |  |
| 9135B | Reserved for Ultima Cubicle 2m high (45U) for PSI Inverters |  |  |  |  |  |  |  |  |  |  |
| 9136 | Multi Channel Automatic Route Selector for use at ACCs/NCC. Consists of 8 ccts equivalent to PSI 9091B, for use with CSM route switching. |  |  |  |  |  |  |  |  |  |  |
| 9137A | Cable - Nokia Multiport (PSI 4116) to Nokia Baseband modem (PSI 4119) - length 0.5 metre Required for EDL onward link |  |  |  |  |  |  | 07/5457 | 07/5457 |  |  |
| 9137B | Cable - Nokia Multiport (PSI 4116) to Nokia Baseband modem (PSI 4119) - length 2 metres Required for EDL onward link |  |  |  |  |  |  | 07/5457 | 07/5457 |  |  |
| 9138 | Cable - Nokia Multiport (PSI 4116) to CISCO router - spec only length as required Required for EDL link at ACC |  |  |  |  |  |  |  |  |  |  |
| 9139A | Cable - PSI 2712C METRO PSU to PSI 2717 or 2718 crate to extend existing crate loom. 1 cable is required for each crate loom. When the power supply is positioned centrally, up to 3 crates may be connected. Cable length 300 mm. See 9139B for connection of 4th and 5th crate. |  |  |  |  |  |  | 6/3471 | 6/3471 |  |  |
| 9139B | Cable - PSI 2712C METRO PSU to PSI 2717 or 2718 crate to extend existing crate loom. 1 cable is required for each crate loom, see 9139A. When the power supply is positioned centrally, use this cable to connect 4th and 5th crate to power supply. Length 600mm |  |  |  |  |  |  | 6/3471 | 6/3471 |  |  |
| 9140A | Multiple Tandem Panel mounting sub rack (19" EP) Includes 3 x 8 way GI74 tandem panels plus cable guides for use at ACCs/NCC. OBSOLETE, NOT FOR NEW WORK |  |  |  |  |  |  |  |  |  |  |
| 9140B | Multiple Tandem Panel mounting sub rack (19" EP) Includes 1 x 8 way GI74 tandem panel but with provision to mount 2 additional tandem link panels to (PSI 9089). For use at Outstations |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description MISCELLANEOUS ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 9141 | RJ45 Socket to Terminal Block adaptor PCB for use with Isol VF Convenience Panel crate PSI 9064. One PSI 9141 required per slot |  |  |  |  |  |  |  |  |  |  |
| 9142 | RJ45 Socket to Terminal Block adaptor PCB for use with Type 73VF crates PSI 1008/P/B or 1008/RQ/B. One PSI 9142 required per slot. |  |  |  |  |  |  |  |  |  |  |
| 9143 | KENDA Summator. Analogue Output External Filter Unit, required to enable PSI 9130A early type OMS PE to drive capacitive loads typical of most SCS systems. |  |  |  |  |  |  |  |  |  |  |
| 9144 | GI 74 Communications Interface Unit. 19" mounting. 1U high (Equivalent to 2 x PSI 9092, GI Mux) |  |  |  |  |  |  |  |  |  |  |
| 9145 | GI 74 Communications Interface Unit Composite Cable. To Connect PSI 9144 to Nokia TDM (PSI 4116) or Newbridge DTU. |  |  |  |  |  |  |  |  |  |  |
| 9146 | Cable - 25 Way D Type Male to 25 Way D Type Female (250mm long) to connect System Monitoring Equipment to Radio Clock (PSI 8072D) |  |  |  |  |  |  |  |  |  |  |
| 9147 | GI74 I/O Cable guide assembly (as normally fitted to PSI 1014A). One assembly only complete with 20 nylon cable clips. |  |  |  |  |  |  |  |  |  |  |
| 9148 | Cable assembly - to allow parallel output from OMS summator OMDO port to Nokia TDM (to ACC / Nokia baseband (EDL Link). |  |  |  |  |  |  |  |  |  |  |
| 9149 | Cable - 25 way D Type male to 25 way D Type male (1 metre long) to connect Nokia TDM to RAD MTE/V24 512 bit buffer (EDL bypass) |  |  |  |  |  |  |  |  |  |  |
| 9150A | W&Q CTU wall box complete with terminals, patch panels, gland plates, trunking. Prototype version. Size in mm TBA |  |  |  |  |  |  | 44/107200 | 55/344853 |  |  |
| 9150B | W&Q CTU wall box complete with terminals, patch panels, gland plates, trunking. Provides improved RFI shielding. Used on FDMO project. Dimensions in mm, 100H x 235D x 585W, excluding mounting brackets. |  |  |  |  |  |  |  |  |  |  |
| 9151 | Rustington PTO wall box complete with 6 off Krone strips (PSI 8043). Used on FDM Offload project. |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description MISCELLANEOUS ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 9152 | Nokia Auto/Manual V.24 switch |  |  |  |  |  |  |  |  |  |  |
| 9153 | Nokia V.24 switch backplane |  |  |  |  |  |  |  |  |  |  |
| 9154A | Nokia V.24 switch to V34/V.33 modem/DTU, 0.5m cable (DTE to DCE) |  |  |  |  |  |  |  |  |  |  |
| 9154B | Nokia V.24 switch to V34/V.33 modem/DTU, 3m cable (DTE to DCE) |  |  |  |  |  |  |  |  |  |  |
| 9155A | Nokia V.24 switch to GI74 mux, 0.5m cable |  |  |  |  |  |  |  |  |  |  |
| 9155B | Nokia V.24 switch to GI74 mux, 3m cable |  |  |  |  |  |  |  |  |  |  |
| 9156A | Nokia V.24 switch to GI74 CIU, 0.5m cable |  |  |  |  |  |  |  |  |  |  |
| 9156B | Nokia V.24 switch to GI74 GIU, 3m cable |  |  |  |  |  |  |  |  |  |  |
| 9157 | Nokia sub-rack screw terminal unit adaptor for V.34 modem (FCC68) |  |  |  |  |  |  |  |  |  |  |
| 9158 | Nokia V.34 rack modem line cable (FCC68 4 way to BT line jack) |  |  |  |  |  |  |  |  |  |  |
| 9159 | Nokia V.34 modem configuration port cable, RJ11 to 9 way D female |  |  |  |  |  |  |  |  |  |  |
| 9160 | Datum Solutions Summator Power Supply Cable 6m (One required per end) |  |  |  |  |  |  |  |  |  |  |
| 9161 | Datum Solutions Summator Meter I/P Cable 6m (8 max required per FE unit) |  |  |  |  |  |  |  |  |  |  |
| 9162 | Datum Solutions Summator FE/PE Link Cable 10m (Cut in half where extended by site cabling). |  |  |  |  |  |  |  |  |  |  |
| 9163 | Datum Solutions Summator OMSL (Link to ACC via Nokia V33) Cable 6m |  |  |  |  |  |  |  |  |  |  |
| 9164 | Datum Solutions Summator (GRDO RS232) to ASB Monitor cable 6m. (Includes suppression diodes inside ASB end connector). |  |  |  |  |  |  |  |  |  |  |
| 9165 | Datum Solutions Summator Analogue O/P Cable 6m |  |  |  |  |  |  |  |  |  |  |
| 9166 | Datum Solutions Summator Printo Pulse O/P Cable 6m |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description MISCELLANEOUS ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 9167 | Datum Solutions Summator Radio Clock Synch Pulse I/P Cable 6m |  |  |  |  |  |  |  |  |  |  |
| 9168 | Datum Solutions Summator Alarm O/P Cable 6m |  |  |  |  |  |  |  |  |  |  |
| 9169 | Datum Solutions Summator Frequency I/P (62.5v 50Hz) Cable 6m |  |  |  |  |  |  |  |  |  |  |
| 9170 | Datum Solutions Summator (Front End) Equipment, Rack Mounting, 2U High. (use with PSI 9171 per system). 32 x meter pulse inputs and 2 x 50Hz freq inputs. |  |  |  |  |  |  |  |  |  |  |
| 9171 | Datum Solutions Summator (Processing End) Equipment, Rack Mounting, 2U High, (use with PSI 9170 per system). 16 x 0 - 10mA analogue outputs, 8 x pulse (printo) outputs, V24 OMDO, GRDO and 20mA GRDO serial data ports, Radio Clock Synch pulse input. |  |  |  |  |  |  |  |  |  |  |
| 9172 | Reserved for Datum Solutions Summator new item |  |  |  |  |  |  |  |  |  |  |
| 9173 | Datum Solutions Summator (GRDO) Current Loop Output Cable 6m |  |  |  |  |  |  |  |  |  |  |
| 9174A | Datum Solutions Summator Configuration Software Please register your copy with Richard Smith CTN 790 3854 to ensure you will be updated with later version(s) |  |  |  |  |  |  |  |  |  |  |
| 9174B | Datum Solutions Summator Set of Configuration Software and Serial link test cables |  |  |  |  |  |  |  |  |  |  |
| 9175 | W&Q Special Enclosure for mounting on top of H.A.M cubicles. 435H x 600W x 600D, Glazed front door, rear steel door, equipment mounting rail. |  |  |  |  |  |  |  |  |  |  |
| 9176 | W&Q Wall Mounted Enclosure, 591H x 600W x 450D, Glazed Door, Equipment Mounting Rail. |  |  |  |  |  |  |  |  |  |  |
| 9177 | Laptop PC, type Panasonic CF61 with CD Room, Modem, Ethernet card, OS2 Warp V3 software. For testing IONA equipment. |  |  |  |  |  |  |  |  |  |  |
| 9178 | Quad Booster Control System Tap Position Encoder |  |  |  |  |  |  |  |  |  |  |
| 9179 | Quad Booster Control System Computer |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |

| PSI No | Description MISCELLANEOUS ITEMS |  |  |  |  | Tech Specification available = | * | Circuit Diagram Drg No TTC | General Assembly Drg No TTC | Item Lists Drg No TTC | Connection Diagram Drg No TTC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 9180 | Quad Booster Control System Maintenance Keyboard + Adaptor |  |  |  |  |  |  |  |  |  |  |
| 9181 | Quad Booster Control System Display Unit on 6U Panel |  |  |  |  |  |  |  |  |  |  |
| 9182 | Quad Booster Control System Functional Keyboard |  |  |  |  |  |  |  |  |  |  |
| 9183 | Quad Booster Control System Functional Keyboard Output Cable |  |  |  |  |  |  |  |  |  |  |
| 9184 | Quad Booster Control System RTU EMC Rack Type RAK060 |  |  |  |  |  |  |  |  |  |  |
| 9185 | Quad Booster Control System RTU Modbus Processor Card |  |  |  |  |  |  |  |  |  |  |
| 9186 | Quad Booster Control System RTU Standard Processor Card CPR021 |  |  |  |  |  |  |  |  |  |  |
| 9187 | Quad Booster Control System RTU 16 Ch Analogue Input Card HAI020 |  |  |  |  |  |  |  |  |  |  |
| 9188 | Quad Booster Control System RTU 32 Ch Digital Input Card HDI0410 |  |  |  |  |  |  |  |  |  |  |
| 9189 | Quad Booster Control System RTU 16 Ch Digital Output Card HD0021 |  |  |  |  |  |  |  |  |  |  |
| 9190 | Quad Booster Control System RTU Communications Cable |  |  |  |  |  |  |  |  |  |  |
| 9191 | Quad Booster Control System RTU I/O Cable |  |  |  |  |  |  |  |  |  |  |
| 9192 | Quad Booster Control System Power Supply Unit Module |  |  |  |  |  |  |  |  |  |  |
| 9193 | Quad Booster Control System PSU Input Cable |  |  |  |  |  |  |  |  |  |  |
| 9194 | Quad Booster Control System PSU Output Cable |  |  |  |  |  |  |  |  |  |  |
| 9195 | Reserved for Quad Booster Control System (Ref Nigel Thomas) |  |  |  |  |  |  |  |  |  |  |
| 9196 | Reserved for Quad Booster Control System (Ref Nigel Thomas) |  |  |  |  |  |  |  |  |  |  |
| 9197 | Reserved for Quad Booster Control System (Ref Nigel Thomas) |  |  |  |  |  |  |  |  |  |  |
| 9198 | Reserved for Quad Booster Control System (Ref Nigel Thomas) |  |  |  |  |  |  |  |  |  |  |
| 9199 | Reserved for Quad Booster Control System (Ref Nigel Thomas) |  |  |  |  |  |  |  |  |  |  |
| TTC 333 |  |  |  |  |  |  |  |  | 1999 ISSUE A |  |  |